[image: image1.jpg]Alabama Community
College System





Heating and Air Conditioning (ASC) Course Directory

COURSE DESCRIPTIONS: CAREER/TECHNICAL DISCIPLINES 

HEATING AND AIR CONDITIONING (ASC)
	CIP Code: 47:0201
Title: Heating, Air Conditioning, Ventilation and Refrigeration Maintenance 
Definition:  A program that prepares individuals to apply technical knowledge and skills to repair, install, service and maintain the operating condition of heating, air conditioning, and refrigeration systems. Includes instruction in diagnostic techniques, the use of testing equipment and the principles of mechanics, electricity, and electronics as they relate to the repair of heating, air conditioning and refrigeration systems.


3/26/19
	Summary of Changes

	DATE
	COURSE NUMBER
	COURSE TITLE
	RECENT CHANGES

	
	
	
	

	Comments:
10/24/17 – The following courses were archived:

126, 133, 134, 135, 139, 149, 150, 183, 186, 192, 200, 209

4/3/18—The following course was reactivated at the request of Southern Union State CC:  134

3/26/19—The following course was reactivated at the request of Ingram:  209



	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	111
	PRINCIPLES OF REFRIGERATION
	1
	2
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITES:  As determined by college.

NOTE:  There is an approved standardized plan-of-instruction for this course.

This course emphasizes the fundamental principles for air conditioning and refrigeration. Instruction is provided in the theory and principles of refrigeration and heat transfer, HVAC/R system components, common, and specialty tools for HVAC/R, and application of the concepts of basic compression refrigeration. Upon completion, students should identify system components and understand their functions, identify and use common and specialty HVAC/R tools, and maintain components of a basic compression refrigeration system.  This is a CORE course.  


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	112
	HVACR SERVICE PROCEDURES
	1
	2
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITE: As determined by college

NOTE:  There is an approved standardized plan-of-instruction for this course.

This course covers system performance checks and refrigerant cycle diagnosis. Emphasis is placed on the use of refrigerant recovery/recycle units, industry codes, refrigerant coils and correct methods of charging and recovering refrigerants. Upon completion, students should be able to properly recover/recycle refrigerants and demonstrate safe, correct service procedures which comply with the no-venting laws.


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	113
	REFRIGERATION PIPING PRACTICES
	1
	2
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITES:  As determined by college.

NOTE:  There is an approved standardized plan-of-instruction for this course.

The course introduces students to the proper installation procedures of refrigerant piping and tubing for the heating, ventilation, air conditioning and refrigeration industry. This course includes various methods of working with and joining tubing. Upon completion, students should comprehend related terminology, and be able to fabricate pipe, tubing, and pipe fittings. This is a CORE course.  


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	119
	FUNDAMENTALS OF GAS HEATING SYSTEMS
	1
	2
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITES:  As determined by college.

NOTE:  There is an approved standardized plan-of-instruction for this course.

This course provides instruction on general service and installation for common gas furnace system components.  Upon completion, students will be able to install and service gas furnaces in a wide range of applications.  


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	120
	FUNDAMENTALS OF ELECTRIC HEATING SYSTEMS
	1
	2
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITES:  As determined by college
NOTE:  There is an approved standardized plan-of-instruction for this course.

This course covers the fundamentals of electric furnace systems. Emphasis is placed on components, general service procedures, and basic installation. Upon completion, students should be able to install and service electric furnaces, heat pumps, and solar and hydronics systems.  


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	121
	PRINCIPLES OF ELECTRICITY FOR HVACR
	1
	2
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITE: As determined by college.

NOTE:  There is an approved standardized plan-of-instruction for this course.

This course is designed to provide the student with the basic knowledge of electrical theory and circuitry as it pertains to air conditioning and refrigeration. This course emphasizes safety, definitions, symbols, laws, circuits, and electrical test instruments. Upon completion students should understand and be able to apply the basic principles of HVACR circuits and circuit components.  This is a CORE course.


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	122
	HVACR ELECTRIC CIRCUITS
	1
	2
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITE:  As determined by college.

NOTE:  There is an approved standardized plan-of-instruction for this course.

This course introduces the student to electrical circuits and diagrams. Electrical symbols and basic wiring diagrams are constructed in this course. Upon completion, student should understand standard wiring diagrams and symbols and be able to construct various types of electrical circuits.  This is a CORE course.  


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	123
	HVAC/R ELECTRICAL COMPONENTS
	1
	2
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITE: As required by college. 

NOTE:  There is an approved standardized plan-of-instruction for this course.

This course introduces students to electrical components and controls. Emphasis is placed of the operations on motors, relays, contactors, starters, and other HVAC electrical components. Upon completion, students should be able to install electrical components and determine their proper operation.  This is a CORE course.  


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	125
	FUNDAMENTALS OF GAS AND ELECTRICAL HEATING SYSTEMS
	2
	4
	6

	Course Description
	Added
	8/12/14

	PREREQUISITE: As required by college. 

NOTE:  There is an approved standardized plan-of-instruction for this course.

This course provides instruction on general service and installation for common gas and electrical heating systems.  Emphasis is placed on components, general service procedures, and basic installation. Upon completion, students will be able to install and service gas and electrical heating systems in a wide range of applications.  NOTE:  This course is a suitable substitution for ASC 119 and 120 if those both courses are taken.


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	127
	HVACR ELECTRIC MOTORS
	1
	2
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITE:  As determined by college.

NOTE:  There is an approved standardized plan-of-instruction for this course.

This course covers the basic maintenance of electric motors used in HVAC/R systems. Topics include types of motors, motor operations, motor installation, and troubleshooting motors.  Upon completion student should be able to install and service HVAC/R electric motors.  


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	128
	HEAT LOAD CALCULATIONS
	3
	0
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITE: As required by college. 

NOTE:  There is an approved standardized plan-of-instruction for this course.

This course focuses on heat flow into and out of building structures. Emphasis is placed on determining heat gain/heat loss of a given structure. Upon completion, students should be able to calculate heat load and determine HVAC equipment size requirements. 


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	132
	RESIDENTIAL AIR CONDITIONING
	1
	2
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITE:  As determined by college.

NOTE:  There is an approved standardized plan-of-instruction for this course.

This course introduces students to residential air conditioning systems. Emphasis is placed on the operation, service, and repair of residential air conditioning systems.  Upon completion, students will be able to service and repair residential air conditioning systems.


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	134
	ICE MACHINES
	1
	2
	3

	Course Description
	Updated
	2/6/05

	NDC
PREREQUISITE: As required by college. 

NOTE:  There is an approved standardized plan-of-instruction for this course.

This course introduces students to commercial ice machines. Emphasis is placed on components, electrical and mechanical operation sequences, control adjustment procedures, preventive maintenance, repairs, and installation procedures. Upon completion, student should be able to install, service and repair commercial ice machines.


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	138
	CUSTOMER RELATION IN HVAC
	3
	0
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITE: As required by college. 

This course covers the basic aspects of customer relations needed be the HVAC technician. Topics include employability skills associated with job performance, record keeping, service invoices, certification requirements, local ordinances, and business ethics. Upon completion, students should be able to get a job and keep it. 


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	147
	REFRIGERANT TRANSITION AND RECOVERY THEORY
	3
	0
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITE:  As determined by college.

NOTE:  There is an approved standardized plan-of-instruction for this course.

This course is EPA-approved and covers material relating to the requirements necessary for type I, II, and III universal certification. Upon completion, students should be prepared to take the EPA 608 certification examination.  


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	148
	HEAT PUMP SYSTEMS I
	1
	2
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITE:  As determined by college.

NOTE:  There is an approved standardized plan-of-instruction for this course.

Instruction received in this course centers around the basic theory and application of heat pump systems and components.  Upon completion students will be able to install and service heat pumps in a wide variety of applications.  


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	152 
	HEAT PUMP SYSTEMS
	2
	4
	6

	Course Description
	Added
	8/12/14

	PREREQUISITE: As required by college. 

NOTE:  There is an approved standardized plan-of-instruction for this course.

This course provides instruction on the operation and servicing of heat pump systems.  Emphasis is placed on theory and application of refrigerants for heat pump systems and on basic service of components.  Students should possess a strong foundation of electrical principles and theory. Upon completion students will be able to install and service heat pumps.  NOTE:  Information in this course is identical to ASC 148 and 149 and may be used as an alternative to those courses.


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	181 
	SPECIAL TOPICS IN AIR CONDITIONING AND REFRIGERATION I
	3
	0
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITE: As required by college. 

This course provides specialized instruction in various areas related to the air conditioning and refrigeration industry.


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	182
	SPECIAL TOPICS IN AIR CONDITIONING AND REFRIGERATION II
	0
	3
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITE: As required by college. 

This course provides students with opportunities to experience hands-on application of specialized instruction in various areas related to the air conditioning and refrigeration industry. 


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	184
	SPECIAL TOPICS IN AIR CONDITIONING AND REFRIGERATION
	0
	1
	1

	Course Description
	Updated
	8/12/14

	PREREQUISITE: As required by college. 

This course provides students with opportunities to experience hands-on application of specialized instruction in various areas related to the air conditioning and refrigeration industry. 


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	185
	SPECIAL TOPICS IN AIR CONDITIONING AND REFRIGERATION
	2
	0
	2

	Course Description
	Updated
	8/12/14

	PREREQUISITE: As required by college. 

This course provides students with opportunities to experience hands-on application of specialized instruction in various areas related to the air conditioning and refrigeration industry. 


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	203
	COMMERCIAL REFRIGERATION
	1
	2
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITE: As determined by college. 

NOTE:  There is an approved standardized plan-of-instruction for this course.

This course focuses on commercial refrigeration systems. Emphasis is placed on evaporators, condensers, compressors, expansion devices, special refrigeration components and application of refrigeration systems. Upon completion students should be able to service and repair commercial refrigeration systems.


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC/ACR
	209
	COMMERCIAL AIR CONDITIONING SYSTEMS
	1
	2
	3

	Course Description
	Updated
	2/6/05

	NDC
PREREQUISITE:  As determined by college.

NOTE:  There is an approved standardized plan-of-instruction for this course.

This course focuses on servicing and maintaining commercial and residential HVAC/R systems.  Topics include system component installation and removal and service techniques.  Upon completion, the student should be able to troubleshoot and perform general maintenance on commercial and residential HVAC/R systems.


	DPT
	CRS
	COURSE TITLE
	THEORY
	LAB
	COURSE

	ASC
	210
	TROUBLESHOOTING HVACR SYSTEMS
	1
	2
	3

	Course Description
	Updated
	8/12/14

	PREREQUISITE:  As determined by college.

NOTE:  There is an approved standardized plan-of-instruction for this course.

This course provides instruction in the use of various meters and gauges used in the HVACR industry.  Emphasis is placed on general service procedures, system diagnosis, and corrective measure, methods of leak detection, and system evacuation, charging and performance checks.  Upon completion students should be able to perform basic troubleshooting of HVAC/R.  


ACCS Copyright© 2017

All rights reserved
7
ACCS Copyright© 2017
All rights reserved

[image: image1.jpg]