[image: image1.jpg]Alabama Community
College System





Instrumentation Technology Course Directory

COURSE DESCRIPTIONS: CAREER/TECHNICAL DISCIPLINES 
INSTRUMENTATION TECHNOLOGY (IST)
	CIP Code 15.0404

Title: Instrumentation Technology/Technician.

Definition: A program that prepares individuals to apply basic engineering principles and technical skills in support of engineers engaged in developing control and measurement systems and procedures. Includes instruction in instrumentation design and maintenance, calibration, design and production testing and scheduling, automated equipment functions, applications to specific industrial tasks, and report preparation.


10/26/17
	Summary of Changes

	Date
	CRS #
	COURSE TITLE
	RECENT CHANGES

	
	
	
	

	Comments:

10/26/17 – Courses archived:  106, 203, 210, 214, 237, 258, 264, 267, 287


	DPT
	CRS.
	COURSE TITLE
	THEORY
	LAB
	COURSE

	IST 
	137
	INDUSTRIAL PROCESS EQUIPMENT
	3
	2
	5

	Course Description
	Updated
	

	PREREQUISITE: As required by program
In this course, students learn how pneumatic, mechanical, and electronic equipment is used in the process industry. Subjects covered include the operation of the pilot plant, basic plant maintenance skills, basic tool safety, calibrations and equipment preventive maintenance, unit conversions, calculation or ratios, maintenance of logs and notes concerning plan operation. Upon completion, students will be able to maintain logs on the operation of the process models, calibrate and adjust pneumatic, mechanical, and electronic equipment, work independently and in teams, and demonstrate an ability to work under pressure and time constraints in solving problems and taking lab tests. 


	DPT
	CRS.
	COURSE TITLE
	THEORY
	LAB
	COURSE

	IST
	167
	INDUSTRIAL MEASUREMENTS
	3
	2
	5

	Course Description
	Updated
	

	PREREQUISITE: As required by program. (IST 137)
Methods of measuring flow, level, temperature, pressure and moisture, as well as pH and other analyzers are covered. Subjects include correct and safe operation of test equipment, test equipment set-up, calibration, operation of electronics measuring devices, loop simulation, equipment used in the measurement of basic process variables, P&ID diagrams, and loop sheets. Upon completion, students will demonstrate the ability to calibrate and operate basic pressure, level, temperature, low, and analytical devices and will also have a basic understanding of P&ID diagrams.  


	DPT
	CRS.
	COURSE TITLE
	THEORY
	LAB
	COURSE

	IST
	207
	PRINCIPLES OF AUTOMATIC CONTROL
	3
	2
	5

	Course Description
	Updated
	

	PREREQUISITE: As required by program. (IST 137)
Students learn how automatic controllers work and operate and the importance of automation in the modern process industry. Subjects covered include PID control (pneumatic, electronic, and D.C.S. systems), Ziegler-Nichols tuning, controller operation and tuning for different process variables, cascade loops, correct operation and maintenance of valves and pumps, correct valve and piping sizing, basic tubing and pipe fitting. Upon completion, students will be able to tune and control a process in automatic as well as understand the operation of control loops (input, decision, and action), and all the equipment involved in the process. 


	DPT
	CRS.
	COURSE TITLE
	THEORY
	LAB
	COURSE

	IST
	233
	UNIT OPERATION
	3
	2
	5

	Course Description
	Updated
	

	PREREQUISITE: As required by program.
This course acquaints students with basic processes used in the chemical industry by operation of the pilot plants at the college and extensive plant tours to local industries. Subjects covered include pilot plant operation of the most common process variables, operation of basic plant equipment (distillation, heat exchangers, and boilers), plant safety, workplace and plant skills, plant tours, special assignments related to the operation of the specific unit or plant visited. Upon completion, students will be able to operate the pilot plants at the college and demonstrate the abilities to keep records, provide routine and preventive maintenance, analyze, and adjust control equipment. 


1
ACCS Copyright© 2017
All rights reserved
3
ACCS Copyright© 2017
All rights reserved

[image: image1.jpg]