[image: image1.jpg]Alabama Community
College System





Water and Wastewater Linkage Course Directory

COURSE DESCRIPTIONS:  CAREER/TECHNICAL DISCIPLINES 

Water and Wastewater Linkage (WMT) 
	CIP CODE: 15.0506
Title: Water Quality and Wastewater Treatment Management and Recycling Technology/Technician.
Definition: A program that prepares individuals to apply basic engineering principles and technical skills in support of engineers and other professionals engaged in developing and using water storage, waterpower, and wastewater treatment systems. Includes instruction in water storage, power and/or treatment systems and equipment; testing and inspection procedures; system maintenance procedures; and report preparation.


10/26/17
	Summary of Changes

	Date
	CRS #
	COURSE TITLE
	RECENT CHANGES

	
	
	
	

	COMMENTS: 

10/26/17 – Courses archived:

205, 280, 281


	DPT
	CRS
	COURSE TITLE
	Credit Hours 

	CODE
	#
	
	THEORY
	LAB
	COURSE

	WMT
	100
	WATER SUPPLY AND WASTEWATER CONTROL
	3
	0
	3

	Course Description
	Updated
	Mm/dd/yy

	PREREQUISITE: As required by program. 

This course is designed to familiarize the student with water supply and wastewater control. Emphasis is on the engineering aspects of water supply, water distribution, wastewater collection, and wastewater treatment and disposal. Upon course completion, students should be able to apply engineering and scientific concepts and principles of water supply and wastewater control. 


	DPT
	CRS
	COURSE TITLE
	Credit Hours 

	CODE
	#
	
	THEORY
	LAB
	COURSE

	WMT
	101
	INTRODUCTION TO WATER TREATMENT PROCESSES
	3
	0
	3

	Course Description
	Updated
	Mm/dd/yy

	PREREQUISITE: As required by program. 

This course is designed to train prospective water treatment plant operators and managers in the practical aspects of operating and maintaining water treatment plants, with emphasis on the use of safe practices and procedures.  Students will learn how to safely operate and maintain coagulation, flocculation, sedimentation, filtration, and disinfection processes.   They will also learn how to control tastes and odors in drinking water, control corrosion to meet the requirements of the Lead and Copper Rule, perform basic water laboratory procedures, and solve arithmetic problems commonly associated with water treatment plant operations.  


	DPT
	CRS
	COURSE TITLE
	Credit Hours 

	CODE
	#
	
	THEORY
	LAB
	COURSE

	WMT
	102
	INTRODUCTION TO WASTEWATER TREATMENT PROCESS
	2
	1
	3

	Course Description
	Updated
	Mm/dd/yy

	PREREQUISITE: As required by program. 

This course is designed to train prospective wastewater treatment plant operators and managers in the practical aspects of operating and maintaining wastewater treatment plants, with emphasis on the use of safe practices and procedures.  Students will learn how to operate and maintain racks, screens, comminutors, sedimentation tanks, trickling filters, rotating biological contactors, package activated sludge plants, oxidation ditches, ponds, and chlorination facilities.  Students will also learn how to analyze and solve operational problems and how to perform mathematical calculations relating to wastewater treatment process control.  


	DPT
	CRS
	COURSE TITLE
	Credit Hours 

	CODE
	#
	
	THEORY
	LAB
	COURSE

	WMT
	120
	SANITARY CHEMISTRY AND BIOLOGY
	3
	0
	3

	Course Description
	Updated
	Mm/dd/yy

	PREREQUISITE: As required by program. 

This course is designed to acquaint the student with the fundamentals of microbiology and chemistry applicable to water and wastewater management. Emphasis is on laboratory procedures pertinent to water/wastewater treatment. Upon course completion, students should be able to perform relevant laboratory procedures. 


	DPT
	CRS
	COURSE TITLE
	Credit Hours 

	CODE
	#
	
	THEORY
	LAB
	COURSE

	WMT
	213
	WATER AND WASTEWATER INSTRUMENTATION AND CONTROLS
	3
	0
	3

	Course Description
	Updated
	Mm/dd/yy

	PREREQUISITE: As required by program. 

This course focuses on the basic fundamentals of instrumentation applicable to water and wastewater management. The application, maintenance, and calibration of instruments in water and wastewater systems are emphasized. Upon course completion, students should be able to read, calibrate and maintain mechanical, electrical, hydraulic, and pneumatic sensing equipment; and indicating, recording, and control equipment. 


	DPT
	CRS
	COURSE TITLE
	Credit Hours 

	CODE
	#
	
	THEORY
	LAB
	COURSE

	WMT
	214
	BASIC HYDRAULICS FOR WATER AND WASTEWATER TECHNOLOGY
	3
	0
	3

	Course Description
	Updated
	Mm/dd/yy

	PREREQUISITE: As required by program. 

This course is designed to provide the student with an understanding of practical hydraulic design related to water supply and wastewater control. Topics include the collection, treatment, and distribution of water and collection and treatment of domestic and industrial wastewater. Upon course completion, students should be able to apply principles of hydraulic systems to water and wastewater management practices. 


	DPT
	CRS
	COURSE TITLE
	Credit Hours 

	CODE
	#
	
	THEORY
	LAB
	COURSE

	WMT
	291
	MUNICIPAL INTERNSHIP
	0
	3
	3

	Course Description
	Updated
	Mm/dd/yy

	PREREQUISITE: As required by program. 

This course is designed to allow a student first-hand experience in a municipal wastewater facility or a research facility. These placements will be coordinated through the wastewater treatment program and may include compensated or uncompensated placement. 


1
ACCS Copyright© 2017
All rights reserved
3
ACCS Copyright© 2017
All rights reserved

[image: image1.jpg]