[image: image1.jpg]Alabama Community
College System





Principles of Refrigeration














ACR 111 / ASC 111


May 1, 2018
ACR 111/ASC 111

Principles of Refrigeration

Plan of Instruction
COURSE DESCRIPTION  

This course emphasizes the fundamental principles for air conditioning and refrigeration. Instruction is provided in the theory and principles of refrigeration and heat transfer, HVAC/R system components, common, and specialty tools for HVAC/R, and application of the concepts of basic compression refrigeration. Upon completion, students should identify system components and understand their functions, identify and use common and specialty HVAC/R tools, and maintain components of a basic compression refrigeration system.    

CRITICAL COMPETENCIES
· Handling and disposing of hazardous materials

· Refrigeration cycle
· Removal, installation, and testing of HVAC/R components
CREDIT HOURS 

Theory
  

1 credit hour 

Lab



2 credit hours  

Total



3 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as 3:1 and/or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)
NOTE:  Information contained in this plan of instruction reflects minimum competencies based on business and industry needs and certification standards for individuals completing this program of instruction.  Additional competencies may be added at the instructor’s discretion based on business and industry standards and student learning needs. 
Student Learning Outcomes

	Industry/Professional Competencies
	KSA Indicator

	1.0
Handling and disposing of hazardous materials

1.1
Explain the purpose and importance of safety policies.

1.2
Identify common and specialty tools used for HVAC/R.

1.3
Value the importance of adhering to safety policies.

1.4
Demonstrate continuous support and compliance with all safety policies.
1.5
Properly handle hazardous materials associated with HVAC/R.

1.6
Demonstrate understanding of Safety Data Sheets (SDS).

1.7
Differentiate between hazardous materials, substances, and wastes.

1.8
Describe procedures for disposing of hazardous materials.
	1/A

1

A

3

2

2

2

2

	2.0
Refrigeration cycle
2.1
Demonstrate use of various HVAC/R measurement instruments.

2.2
Differentiate between various reference points of temperature.

2.3
Calculate total heat in BTU’s.

2.4
Recognize specified English and metric measuring systems.
	1
2

1
1

	3.0
Removal, installation, and testing of HVAC/R components
3.1
Explain the purpose of various HVAC/R components.
3.2
Compute temperature-pressure problems.
	2

2


	Key Topics:

	· Safety policies and tool use

· Safety Data Sheets (SDS)

· Disposal of hazardous materials, substances, and wastes
· HVAC/R terms

· HVAC/R measurement instruments 

· Theory and principles of refrigeration

· Calculating BTU’s

· English and metric measurement systems 

· Refrigeration cycle
· Common HVAC/R components
· Removing, installing, and testing common HVAC/R components

· Pressure/temperature relationship


	Learner’s Knowledge, Skills and Abilities (KSA)

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Recognize basic information about the subject including terms and nomenclature.

· Students must demonstrate ability to recall information such as facts, terminology or rules related to information previously taught.  

· Performs simple parts of the competency.  Student requires close supervision when performing the competency.

	2
	Moderate Knowledge and Proficiency
	· Distinguish relationships between general principles and facts. Adopts prescribed methodologies and concepts.

· Students must demonstrate understanding of multiple facts and principles and their relationships, and differentiate between elements of information.  Students state ideal sequence for performing task. 

· Performs most parts of the competency with instructor assistance as appropriate.

	3
	Advanced Knowledge and Proficiency
	· Examines conditions, findings, or other relevant data to select an appropriate response.  

· The ability to determine why and when a particular response is appropriate and predict anticipated outcomes. 

· Students demonstrate their ability to seek additional information and incorporate new findings into the conclusion and justify their answers.

· Performs all parts of the competency without instructor assistance.

	4
	Superior Knowledge and Proficiency
	· Assessing conditions, findings, data, and relevant theory to formulate appropriate responses and develop procedures for situation resolution. Involves higher levels of cognitive reasoning. 
· Requires students to formulate connections between relevant ideas and observations. 

· Students apply judgments to the value of alternatives and select the most appropriate response. 

· Can instruct others how to do the competency.

· Performs competency quickly and accurately.

	A
	Affective Objectives
	· Demonstrates acceptable levels of interests, attitudes, appreciations, values, and emotional sets or biases related to the topic.


The Alabama Community College System

Copyright © 2018
All Rights Reserved

PAGE  
2
ACCS Copyright© 2018
All rights reserved


[image: image1.jpg]