May 1, 2018

# ACR 120/ASC 120

Fundamentals of Electric Heating Systems

Plan of Instruction

## COURSE DESCRIPTION:

This course covers the fundamentals of electric heating system systems. Emphasis is placed on components, general service procedures, and basic installation. Upon completion, students should be able to install and service electric heating systems and heat pumps.

CRITICAL COMPETENCIES

- Principles of electric heating systems

- Servicing electric heating systems

CREDIT HOURS

Theory	1 credit hour

Lab		2 credit hours

Total		3 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as 3:1 and/or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)

NOTE:  Information contained in this plan of instruction reflects minimum competencies based on business and industry needs and certification standards for individuals completing this program of instruction.  Additional competencies may be added at the instructor’s discretion based on business and industry standards and student learning needs.

Student Learning Outcomes

| Industry/Professional Competencies | KSA Indicator |
| --- | --- |
| 1.0 Principles of electric heating systems 1.1 Demonstrate safe use of personal protective equipment. 1.2 Describe hazards associated with specified equipment and tools. 1.3 Demonstrate the use of test instruments used to service electric heating systems. 1.4 Describe safety checks of equipment and accessories. 1.5 Identify electric heating system components from schematics and explain the operation of the system. | 3/A 2 3 2 2 |
| 2.0 Servicing electric heating systems 2.1 Describe the function of various components of electric heating systems. 2.2 Demonstrate use of various test equipment. 2.3 Demonstrate the process for removing and installing various components of an electric heating system. 2.4 Demonstrate service techniques for various electric heating systems. | 2 3 3 3 |
| Key Topics: |  |
| - Safety and tool use - Sequence of operation of electric heating systems - Schematic symbols - Test instruments used to service electric furnaces - Components of various types of electric furnace - Testing and servicing techniques |  |

| Learner’s Knowledge, Skills and Abilities (KSA) |  |  |
| --- | --- | --- |
| Indicator | Key Terms | Description |
| 1 | Limited Knowledge and Proficiency | - Recognize basic information about the subject including terms and nomenclature. - Students must demonstrate ability to recall information such as facts, terminology or rules related to information previously taught. - Performs simple parts of the competency. Student requires close supervision when performing the competency. |
| 2 | Moderate Knowledge and Proficiency | - Distinguish relationships between general principles and facts. Adopts prescribed methodologies and concepts. - Students must demonstrate understanding of multiple facts and principles and their relationships, and differentiate between elements of information. Students state ideal sequence for performing task. - Performs most parts of the competency with instructor assistance as appropriate. |
| 3 | Advanced Knowledge and Proficiency | - Examines conditions, findings, or other relevant data to select an appropriate response. - The ability to determine why and when a particular response is appropriate and predict anticipated outcomes. - Students demonstrate their ability to seek additional information and incorporate new findings into the conclusion and justify their answers. - Performs all parts of the competency without instructor assistance. |
| 4 | Superior Knowledge and Proficiency | - Assessing conditions, findings, data, and relevant theory to formulate appropriate responses and develop procedures for situation resolution. Involves higher levels of cognitive reasoning. - Requires students to formulate connections between relevant ideas and observations. - Students apply judgments to the value of alternatives and select the most appropriate response. - Can instruct others how to do the competency. - Performs competency quickly and accurately. |
| A | Affective Objectives | - Demonstrates acceptable levels of interests, attitudes, appreciations, values, and emotional sets or biases related to the topic. |