[image: image1.jpg]Alabama Community
College System





Fundamentals of Gas and Electrical Heating Systems
ASC/ACR 125 


May 1, 2018
ACR/ASC 125

Fundamentals of Gas and Electrical heating Systems

Plan of Instruction

COURSE DESCRIPTION:
This course provides instruction on general service and installation for common gas and electrical heating systems.  Emphasis is placed on components, general service procedures, and basic installation. Upon completion, students will be able to install and service gas and electrical heating systems in a wide range of applications.  
CRITICAL COMPETENCIES
· Gas heating principles and practices
· Electric heating principles and practices
CONTACT/CREDIT HOURS 

Theory Credit Hours  
  

2 hours
Lab Credit Hours



4 hour  

Total Credit Hours 



6 hour
NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as 3:1 and/or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)

NOTE:  Information contained in this plan of instruction reflects minimum competencies based on business and industry needs and certification standards for individuals completing this program of instruction.  Additional competencies may be added at the instructor’s discretion based on business and industry standards and student learning needs. 

Student Learning Outcomes
	Industry/Professional Competencies
	KSA Indicator

	1.0
Gas heating principles and practices

1.1
Demonstrate compliance with all safety policies and procedures.

1.2
Identify gas heating system components by symbol and explain their operation.

1.3
Demonstrate the use of various test instruments used to service gas heating systems.

1.3
Determine temperature rise across a furnace.

1.4
Determine gas pressure of a furnace.

1.5
Remove, install, and test gas heating system components.
	3/A

2

3

3

3

3

	2.0
Electric heating principles and practices

2.1
Demonstrate compliance with all safety policies and procedures.

2.2
Identify electric heating system components by symbol and explain their operation.

2.3
Demonstrate the use of various test instruments used to service electric heating systems.

2.4
Perform safety checks of equipment and accessories for servicing electric heating systems.

2.5
Remove, install, test, and service electric heating system components.
	3/A

2

3

3

3


	Key Topics:

	· Gas Heating Systems

· Safety

· Blueprints and electrical diagrams

· Components of a gas heating systems

· Test instruments

· Determining temperature rise

· Determining gas pressure
· Removal, installation, and service techniques for gas furnaces
· Electric Heating Systems
· Safety
· Sequence of operation of electric heating systems

· Test instruments 

· Electric heating system components

· Removal, installation, and service techniques for electric furnaces


	Learner’s Knowledge, Skills and Abilities (KSA)

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Recognize basic information about the subject including terms and nomenclature.

· Students must demonstrate ability to recall information such as facts, terminology or rules related to information previously taught.  

· Performs simple parts of the competency.  Student requires close supervision when performing the competency.

	2
	Moderate Knowledge and Proficiency
	· Distinguish relationships between general principles and facts. Adopts prescribed methodologies and concepts.

· Students must demonstrate understanding of multiple facts and principles and their relationships, and differentiate between elements of information.  Students state ideal sequence for performing task. 

· Performs most parts of the competency with instructor assistance as appropriate.

	3
	Advanced Knowledge and Proficiency
	· Examines conditions, findings, or other relevant data to select an appropriate response.  

· The ability to determine why and when a particular response is appropriate and predict anticipated outcomes. 

· Students demonstrate their ability to seek additional information and incorporate new findings into the conclusion and justify their answers.

· Performs all parts of the competency without instructor assistance.

	4
	Superior Knowledge and Proficiency
	· Assessing conditions, findings, data, and relevant theory to formulate appropriate responses and develop procedures for situation resolution. Involves higher levels of cognitive reasoning. 
· Requires students to formulate connections between relevant ideas and observations. 

· Students apply judgments to the value of alternatives and select the most appropriate response. 

· Can instruct others how to do the competency.

· Performs competency quickly and accurately.

	A
	Affective Objectives
	· Demonstrates acceptable levels of interests, attitudes, appreciations, values, and emotional sets or biases related to the topic.


Alabama Community College System

Copyright© 2018
All Rights Reserved
PAGE  
3
ACCS Copyright© 2018
All Rights Reserved

[image: image1.jpg]