[image: image1.jpg]Alabama Community
College System





Commercial Heating Systems

ACR/ACS 126

May 31, 2018
ACR126/ASC 126

commercial heating systems

Plan of Instruction

COURSE DESCRIPTION:  This course covers the theory and application of larger heating systems emphasizing commercial applications such as gas heaters, boilers, unit heaters, duct heaters, and hydronic systems.  Upon completion, students will be able to troubleshoot and perform general maintenance on commercial heating systems. 
CREDIT HOURS 

Theory

2 credit hours

Lab


1 credit hour

Total


3 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as 3:1 and/or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)

CRITICAL COMPETENCIES

· Service electrical, gas, and hydronic commercial heating systems
NOTE:  Information contained in this plan of instruction reflects minimum competencies based on business and industry needs and certification standards for individuals completing this program of instruction.  Additional competencies may be added at the instructor’s discretion based on business and industry standards and student learning needs. 

STUDENT LEARNING OUTCOMES

	Industry/Professional Competencies
	KSA Indicator

	1.0
Introduction to commercial heating systems

1.1
Follow all safety rules and policies.

1.2
Interpret wiring schematics.

1.3
State the type and function of tools and measurement instruments used to service commercial heating systems.

1.4
Differentiate between the general operation of commercial and residential heating systems.
	3

2

2

2

	2.0
Electric forced air/boiler systems

2.1
State the function of various components of an electric forced air/boiler system.

2.2
Troubleshoot an electric forced air/boiler system to identify faults.

2.3
Replace various components of an electric air/boiler system and test for proper operation.
	2

2

3

	3.0
Gas forced air/boiler systems

3.1
State the function of various components of a gas forced air/boiler system.

3.3
Troubleshoot a gas forced air/boiler system.

3.4
Replace various components of a gas forced air/boiler system and test for proper operation.

	2

2

3

	4.0
Hydronic systems

4.1
Explain the principles of hydronic systems.

4.2
State the function of various components of a hydronic system.

3.3
Troubleshoot a hydronic system.

3.4
Replace various components of a hydronic system and test for proper operation.

	2

2

2

3




	Key Topics:

	· Introduction to commercial heating systems

· Safety

· Characteristics and function of commercial heating systems

· Electric forced air/boiler systems
· Components

· Troubleshooting

· Servicing

· Gas forced air/boiler systems

· Components

· Troubleshooting

· Servicing

· Hydronic systems

· Components

· Troubleshooting

· Servicing


	Learner’s Knowledge, Skills and Abilities (KSA)

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Recognize basic information about the subject including terms and nomenclature.

· Students must demonstrate ability to recall information such as facts, terminology or rules related to information previously taught.  

· Performs simple parts of the competency.  Student requires close supervision when performing the competency.

	2
	Moderate Knowledge and Proficiency
	· Distinguish relationships between general principles and facts.

· Adopts prescribed methodologies and concepts.

· Students must demonstrate understanding of multiple facts and principles and their relationships, and differentiate between elements of information.  Students state ideal sequence for performing task. 

· Performs most parts of the competency with instructor assistance as appropriate.

	3
	Advanced Knowledge and Proficiency
	· Examines conditions, findings, or other relevant data to select an appropriate response.  

· The ability to determine why and when a particular response is appropriate and predict anticipated outcomes. 

· Students demonstrate their ability to seek additional information and incorporate new findings into the conclusion and justify their answers.

· Performs all parts of the competency without instructor assistance.

	4
	Superior Knowledge and Proficiency
	· Assessing conditions, findings, data, and relevant theory to formulate appropriate responses and develop procedures for situation resolution. Involves higher levels of cognitive reasoning. 
· Requires students to formulate connections between relevant ideas and observations. 

· Students apply judgments to the value of alternatives and select the most appropriate response. 

· Can instruct others how to do the competency.

· Performs competency quickly and accurately.

	A
	Affective Objectives
	· Demonstrates acceptable levels of interests, attitudes, appreciations, values, and emotional sets or biases related to the topic.


The Alabama Community College System

Copyright © 2018
All Rights Reserved
ACS Copyright© 2018

6
All rights reserved


[image: image1.jpg]