[image: image1.jpg]Alabama Community
College System





Troubleshooting HVAC/R Systems

ACR/ASC 210


May 8, 2018
ACR 210/ASC 210

Troubleshooting HVAC/R Systems

Plan of Instruction

COURSE DESCRIPTION  

This course provides instruction in the use of various meters and gauges used in the HVAC/R industry.  Emphasis is placed on general service procedures, system diagnosis, and corrective measure, methods of leak detection, and system evacuation, charging and performance checks.  Upon completion students should be able to perform basic troubleshooting of mechanical and electrical components of HVAC/R systems.  
CREDIT HOURS  
Theory
  

1 credit hour  

Lab



2 credit hours  

Total



3 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as 3:1 and/or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)

CRITICAL COMPETENCIES
· Perform troubleshooting on various refrigeration system components. 
· Perform troubleshooting on various air conditioning system components. 
NOTE:  Information contained in this plan of instruction reflects minimum competencies based on business and industry needs and certification standards for individuals completing this program of instruction.  Additional competencies may be added at the instructor’s discretion based on business and industry standards and student learning needs. 

Student Learning Outcomes
	Industry/Professional Competencies
	KSA Indicator

	1.0
Troubleshooting principles and practices for HVAC/R

1.1
Follow all safety rules, regulations, and policies.

1.2
Perform safety checks of equipment, tools, and accessories.

1.3
Describe various approaches to problem solving and troubleshooting. 

1.4
Describe the characteristics and use of various instruments used to troubleshoot HVAC/R systems. 
	3

3

2

2



	2.0
Troubleshooting refrigeration systems

2.1
Identify refrigeration system components.

2.2
Perform troubleshooting on various refrigeration system components. 
	2

3

	3.0
Troubleshooting air conditioning systems

3.1
Identify air conditioning system components.

3.2
Perform troubleshooting on various air conditioning system components. 
	2

3


	Key Topics:

	· Troubleshooting principles and practices
· Safety and tool use

· Approaches to problem solving and troubleshooting
· Test instruments

· Troubleshooting refrigeration systems
· Troubleshooting air conditioning systems


	Learner’s Knowledge, Skills and Abilities (KSA)

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Recognize basic information about the subject including terms and nomenclature.

· Students must demonstrate ability to recall information such as facts, terminology or rules related to information previously taught.  

· Performs simple parts of the competency.  Student requires close supervision when performing the competency.

	2
	Moderate Knowledge and Proficiency
	· Distinguish relationships between general principles and facts.

· Adopts prescribed methodologies and concepts.

· Students must demonstrate understanding of multiple facts and principles and their relationships, and differentiate between elements of information.  Students state ideal sequence for performing task. 

· Performs most parts of the competency with instructor assistance as appropriate.

	3
	Advanced Knowledge and Proficiency
	· Examines conditions, findings, or other relevant data to select an appropriate response.  

· The ability to determine why and when a particular response is appropriate and predict anticipated outcomes. 

· Students demonstrate their ability to seek additional information and incorporate new findings into the conclusion and justify their answers.

· Performs all parts of the competency without instructor assistance.

	4
	Superior Knowledge and Proficiency
	· Assessing conditions, findings, data, and relevant theory to formulate appropriate responses and develop procedures for situation resolution. Involves higher levels of cognitive reasoning. 
· Requires students to formulate connections between relevant ideas and observations. 

· Students apply judgments to the value of alternatives and select the most appropriate response. 

· Can instruct others how to do the competency.

· Performs competency quickly and accurately.

	A
	Affective Objectives
	· Demonstrates acceptable levels of interests, attitudes, appreciations, values, and emotional sets or biases related to the topic.


The Alabama Community College System

Copyright© 2018
All rights reserved
PAGE  
2
ACCS Copyright© 2018
All rights reserved

[image: image1.jpg]