[image: image1.png](e

AL






COURSE DESCRIPTION 

This course covers the use and installation techniques of instruments such as thermocouples, temperature sensors, and strain gages on different types of aircraft and structures.  Topics include bonding materials, soldering techniques, electrical testing of temperature sensors and strain gages, mixing and applying adhesives for pressure, the effects of corrosion and weather, fuel tank sealing, adhesive selection, and safety.  This supports CIP code 15.0801.

CREDIT HOURS 

Theory

2 credit hours

Lab


1 credit hour



Total


3 credit hours


NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1 contact to credit hour ratio) or experimental (2:1 contact to credit hour ratio).

PREREQUISITE COURSES 
Determined by college unless stated otherwise 

CO-REQUISITE COURSES 
Determined by college unless stated otherwise

INSTRUCTIONAL NOTE:  All strain gages and thermocouples come with manufacturers handling and installation instructions. Follow these instructions explicitly for successful handling.

INDUSTRY/PROFESSIONAL COMPETENCIES
· Apply general shop and industry/government safety rules and procedures as specifically related to attachments/bonding.
· Identify, install, and troubleshoot strain gages.

· Identify, install, and troubleshoot temperature sensors.

· Identify, mix, and apply various types of adhesives used in aerospace manufacturing.

· Use documentation to complete attachments/bonding projects. 

GENERAL INSTRUCTIONAL OBJECTIVES  

The cognitive objective for this course is for each student to comprehend foundational knowledge of Instrumentation Attachments and Adhesive Bonding Procedures in an industrial environment.

The performance objective of this course is for each student to apply foundational knowledge of Instrumentation Attachments and Adhesive Bonding Procedures encountered in a classroom simulated industrial environment.

INDUSTRY/PROFESSIONAL COMPETENCIES/STUDENT PERFORMANCE

Unless otherwise indicated, evaluation of student’s attainment of cognitive and performance objectives is based on knowledge gained from this course.  During performance evaluations, students will be provided necessary tools, equipment, materials, specifications, and any other resources necessary to accomplish the task.  Specifications may be in the form of, but not limited to, certification agencies, national and state codes, health care facility policies, locally developed lab/clinical assignments, or any combination of specifications.

	MODULE A – SAFETY

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	A1.0   
Apply general shop & industry/government safety rules and procedures as specifically related to attachments/bonding.


(3C)
	A1.1   Use the proper personal protection equipment (PPE). (3)

A1.2
Use the material safety data sheets (MSDS) for chemicals found in the surface preparation and bonding industrial environment. (3)

A1.3
Use the proper safety procedures to handle, use, store, and/or dispose of hazardous materials. (3)



	ENABLING OBJECTIVES
	KSA

Indicator

	A1.1.1 
Identify appropriate personal protection equipment (PPE).

A1.1.2
Describe how to don PPE.

A1.2.1
Explain how to find and use various MSDS’.

A1.3.1
Describe the proper safety procedures for handling, using, storing, and/or disposing of hazardous materials.   
	C

c

c

c


	MODULE B – STRAIN GAGES

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	B1.0   
Identify, install, and troubleshoot strain gages. (3d)
	B1.1   Prepare surfaces for strain gage installation. (3)

B1.2
Layout location of strain gage. (3)

B1.3
Apply proper bonding techniques to install strain gages. (3)

B1.4
Solder wires to strain gages. (3)

B1.5
Test and troubleshoot strain gage resistance. (3)

	ENABLING OBJECTIVES
	KSA

Indicator

	B1.1.1 
Identify the types of strain gages.

B1.1.2
Describe how to prepare surfaces for strain gage installation.

B1.2.1
Explain how to layout the location for a strain gage.

B1.3.1
Describe the method for properly applying bonding techniques when installing strain gages.

B1.4.1
Explain the techniques for soldering wires on strain gages.

B1.5.1
Describe how to test resistance on a strain gage.


	B

b

c

c

c

d




	MODULE C – TEMPERATURE SENSORS

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	C1.0   
Identify, install, and troubleshoot temperature sensors. (3d)
	C1.1   Select the appropriate materials for thermocouple application. (3)

C1.2
Build a thermocouple. (3)

C1.3
Install a thermocouple. (3)

C1.4
Test and troubleshoot thermocouple resistance. (3)

	ENABLING OBJECTIVES
	KSA

Indicator

	C1.1.1 
Identify the types of temperature sensors.

C1.1.2
Describe the characteristics of a thermocouple.

C1.2.1
Explain the procedures for building a thermocouple.

C1.3.1
Describe the installation procedures for thermocouples.

C1.4.1
Describe how to test resistance on thermocouples.


	B

B

c

b

d




	MODULE D – ADHESIVES AND SURFACE PREPARATION

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	D1.0   Identify, mix, and apply various types of adhesives used in aerospace manufacturing. (3c)
	D1.1   Select and mix the appropriate adhesive for the application. (3)

D1.2
Prepare the surface for bonding. (3)

D1.3
Apply adhesive(s). (3)

	ENABLING OBJECTIVES
	KSA

Indicator

	D1.1.1 
Describe the characteristics of adhesives, including shelf life, pot life, work life, and chemical composition.

D1.1.2
Describe the effects of corrosive elements on surfaces.

D1.1.3
Explain how to select and mix various adhesives for the appropriate application.

D1.2.1
Describe the procedures for preparing a surface for bonding.

D1.3.1
Explain the process for applying adhesives.
	B

B

c

c

c


	MODULE E – ACCOUNTABILITY/TRACEABILITY

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	E1.0   Use documentation to complete attachment/bonding projects. (3c)
	E1.1   Follow verbal and written instructions and use reference materials to complete specified attachment/bonding projects. (3)

	ENABLING OBJECTIVES
	KSA

Indicator

	E1.1.1 
Explain how to read, interpret, and follow written instructions, such as routing sheets and shop followers, to perform assembly projects.

E1.1.2
Describe how to follow verbal instructions (if non-conflicting with written instructions) to perform projects.

E1.1.3
Discuss following electronically transmitted instructions, such as routing sheets and shop followers, to perform projects.

E1.1.4
Explain how to comply with industry specifications in performing projects.
	c

c

C

C




COURSE CONTENT OUTLINE

MODULE A – SAFETY
· PPE use

· MSDS

· Procedures

· Handling

· Use

· Storage

· Disposal
MODULE B – STRAIN GAGES

· Surface preparation

· Layout

· Bonding techniques

· Soldering

· Testing and troubleshooting

MODULE C – TEMPERATURE SENSORS

· Material selection
· Sensor types
· Thermocouple characteristics
· Thermocouple construction
· Thermocouple installation
· Testing and troubleshooting
MODULE D – ADHESIVES AND SURFACE PREPARATION

· Adhesive characteristics
· Effects of corrosive elements
· Adhesives
· Selection
· Mixing
· Surface preparation
· Application
MODULE E – ACCOUNTABILITY/TRACEABILITY

· Verbal instructions

· Written instructions

· Electronic instructions

· Industry specification compliance requirements

Learning Objectives Table of specifications

The table of specifications below identifies the percentage of objectives at a cognitive level for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation. 
	ENABLING OBJECTIVES TABLE OF SPECIFICATIONS

	
	Cognitive Domain

	
	Facts/ Nomenclature A/a
	Principles/ Procedures B/b
	Analysis/ Operating Principles C/c
	Evaluation/ Complete Theory    D/d

	Module A
	
	
	100%
	

	Module B
	
	33%
	50%
	17%

	Module C
	
	60%
	20%
	20%

	Module D
	
	40%
	60%
	

	Module E
	
	
	100%
	


	Knowledge, Skills, and Abilities (KSA) Indicators

	
	Value
	Key Word(s)
	Definition

	Performance 
Ability 
	4
	Highly 

Proficient
	Performs competency quickly and accurately.  Instructs others how to do the competency. 

	
	3
	Proficient
	Performs all parts of the competency.  Needs only a spot check of completed work.

	
	2
	Partially

 Proficient
	Performs most parts of the competency.  Needs help only on hardest parts. 

	
	1
	Limited Proficiency
	Performs simple parts of the competency.  Needs to be told or shown how to do most of the competency. 

	Knowledge of Skills
	d
	Complete

Theory
	Predicts, isolates, and resolves problems about the competency.

	
	c
	Operating Principles
	Identifies why and when the competency must be done and why each step is needed.

	
	b
	Procedures
	Determines step-by-step procedures for doing the competency.

	
	a
	Nomenclature
	Names parts, tools, and simple facts about the competency.

	Knowledge
	D
	Evaluation
	Evaluates conditions and makes proper decisions about the subject.

	
	C
	Analysis
	Analyzes facts and principles and draws conclusions about the subject.

	
	B
	Principles
	Identifies relationship of basic facts and states general principles about the subject.

	
	A
	Facts
	Identifies basic facts and terms about the subject.

	Affective
	*5
	Characterization by Value
	Acting consistently with the new value

	
	*4
	Organization
	Integrating a new value into one's general set of values, giving it some ranking among one's general priorities

	
	*3
	Valuing
	Showing some definite involvement or commitment

	
	*2
	Responding
	Showing some new behaviors as a result of experience

	
	*1
	Receiving
	Being aware of or attending to something in the environment

	Alpha Scale Values - Any item with an upper case letter (A, B, C, D) by itself is taught as general information on a topic.  This information may be related to the competency or encompass multiple competencies.  Examples might include mathematical computations or knowledge of principles such as Ohm’s Law.

A lower case letter indicates a level of ”Knowledge of Skills."  Individuals are taught information pertaining to performing a competency .  These may be indicated alone or in conjunction with a numerical scale value.  A lower case letter by itself indicates the individual is not required to perform the task-just know about the task.  (example: Can state or explain procedures for doing a task).

Numerical Scale Values - The numbers reflect the levels the individual will be able to perform a competency. Number values are always accompanied by lower case letters (i.e. 1a, 2b, 3c...etc.) in order to specify the level of knowledge of skills associated with the competency.   

Example:  An individual with a competency with a scale indicator of 3b has received training of knowledge of skills whereby he or she can determine the correct procedures and perform with limited supervision; only requiring evaluation of the finished product or procedure.

Asterisk items indicate desired affective domain levels and are used alone to indicate the desired level for a given competency.   They may be used independently or with other indicators (i.e.   1a-*1, 2c-*3).  If used with another indicator, separate with a hyphen.

NOTE:  Codes indicate terminal values.


ARS 276





Instrumentation Attachments and Adhesive Bonding Procedures





Plan of Instruction





Effective Date: Fall 2007			Version Number: Base Document						








PAGE  
The Alabama College System

Copyright © 2004

All Rights Reserved


