[image: image2.png]


[image: image2.png]
Advanced Programmable Logic Controllers 
 AUT 221, ATM 212, ELT 232, ENT 205, IAT 260, ILT 196, IET 232, INT 284 


Industry Evaluated Spring 2011

 January 18, 2012

COURSE DESCRIPTION:

This course includes the advanced principals of PLC's including hardware, programming, and troubleshooting. Emphasis is placed on developing advanced working programs, and troubleshooting hardware and software communication problems. Upon completion, students should be able to demonstrate their ability in developing programs and troubleshooting the system.  
CREDIT HOURS 

Theory Hours  
  

2 hours
Lab Hours



1 hour  

Total Hours 



3 hours
NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as 3:1 and/or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)

Recent Changes

	
	Changes

	Module A

	Added 1.6 Performance Objective
Added 1.6.1, 1.6.2,and 1.6.3 Learning Objectives
	Added these objectives due to industry feedback.


	Module B
	Added Sinking Wiring/Termination troubleshooting techniques

Added Sourcing Wiring/Termination troubleshooting techniques
	Added these to the outline due to industry feedback.


PREREQUISITE COURSES 

As determined by college.

CO-REQUISITE COURSES 

As determined by college.

INSTRUCTOR’S NOTE
PROFESSIONAL COMPETENCIES

· Develop advanced PLC programs.
· Troubleshoot a PLC system.
INSTRUCTIONAL GOALS  
· Cognitive – Comprehend principles and concepts related to advanced programmable logic controllers.
· Psychomotor – Apply principles of advanced programmable logic controllers.
· Affective – Value the importance of adhering to policy and procedures related to advanced programmable logic controllers.
STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab/clinical assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES

	MODULE A – Advanced Programming

	MODULE DESCRIPTION – The purpose of this module is to teach the students to develop advanced PLC programming techniques.  Topics include control instructions, comparison instructions, math instructions, data manipulation, and sequencers and/or PID instructions. 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Develop advanced PLC programs.
	A1.1
Construct programs with program control instructions.
	3

	
	A1.2
Construct programs using comparison instructions.
	3

	
	A1.3
Construct programs using math instructions.
	3

	
	A1.4
Construct programs using data manipulations.
	3

	
	A1.5
Construct programs using sequencers and/or PID controls.
	3

	
	A1.6
Construct programs using range and scale functions for analog to digital conversion.
	3

	LEARNING OBJECTIVES 
	KSA

	A1.1.1
Describe the zone control commands.
A1.1.2
Describe the jump and label commands. 
A1.1.3
Describe the subroutine commands.
	3
3
3

	A1.2.1
Describe the greater than instruction.

A1.2.2
Describe the less than instruction.

A1.2.3
Describe the equal to instruction.
	3
3
3

	A1.3.1  
Describe the add function.

A1.3.2  
Describe the subtract function.

A1.3.3  
Describe the multiply function.

A1.3.4  
Describe the divide function.
	3
3
3
3

	A1.4.1  
Explain the move command.
A1.4.2  
Explain the copy command.
	3
3

	A1.5.1  
Explain the function of a sequencer and/or PID control.
	3

	A1.6.1
Differentiate between the Binary and Hexadecimal numbering systems and convert from one to the other.

A1.6.2
Describe the 0 to 10 and 4 to 20 milliamp signals used for analog input.
A1.6.3
Describe how to scale analog signals into digital signals. 
	3
3

3

	MODULE A OUTLINE:

· Control Instructions

· Zone control commands

· Jump and label commands 

· Subroutine commands

· Comparison Instruction
· Greater than instruction

· Less than instruction

· Equal to instruction

· Math Instructions
· Add function

· Subtract function

· Multiply function

· Divide function

· Data Manipulations
· Move command

· Function of a sequencer



	MODULE B – Troubleshooting

	MODULE DESCRIPTION – The purpose of this module is to teach the students to troubleshoot a PLC system.  Topics include troubleshooting hardware and software problems.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Troubleshoot a PLC system.
	B1.1
Troubleshoot a PLC system for various hardware problems.
	3

	
	B1.2
Troubleshoot PLC system for various software problems.
	3

	LEARNING OBJECTIVES 
	KSA

	B1.1.1
Describe the troubleshooting techniques for the controller.
B1.1.2
Describe the troubleshooting techniques for wiring/termination.
B1.1.3
Describe the troubleshooting techniques for field devices.
B1.1.4
Describe the process of using software to troubleshoot the PLC system.
	3
3
3
3

	B1.2.1
Describe the operation and troubleshooting process of the communication software.

B1.2.2
Describe the process of troubleshooting the PLC program. 
	3
3

	MODULE B OUTLINE:

· Troubleshooting hardware 
· Controller troubleshooting techniques
· Sinking Wiring/Termination troubleshooting techniques

· Sourcing Wiring/Termination troubleshooting techniques 

· Field Device troubleshooting techniques
· Software based troubleshooting techniques 
· Troubleshooting Software

· The operation and troubleshooting process of the communication software

· Troubleshooting the PLC program


LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Facts/ Nomenclature
	Principles/ Procedures
	Analysis/ Operating Principles
	Evaluation/ Complete Theory

	
	A/a
	B/b
	C/c
	D/d

	Module A
	
	
	100%
	

	Module B
	
	
	100%
	


The KSA is NOT determined by the verb used in the learning objective, but rather in the context in which the verb is used and the depth of knowledge and skills required. 
Example: Three KSA levels using the same verb (describe):
KSA 1 – Describe three characteristics of metamorphic rocks. (simple recall)

KSA 2 – Describe the difference between metamorphic and igneous rocks. (requires cognitive processing to determine the differences in the two rock types)

KSA 3 – Describe a model that you might use to represent the relationships that exist within the rock cycle. (requires deep understanding of rock cycle and a determination of how best to represent it)

	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Identifies basic facts and terms about the subject or competency.

· Performs simple tasks associated with the competency.  Needs to be told or shown how to do most tasks.  

· Requires close supervision.

	2
	Moderate Knowledge and Proficiency
	· Identifies relationship of basic facts and states general principles and can determine step-by-step procedures for doing the competency.

· Performs most parts of the competency.  Needs help only on hardest parts.  

· Requires limited supervision.

	3
	Advanced Knowledge and Proficiency
	· Analyzes facts and principles and draws conclusions about the subject to include why and when the competency must be done and why each step is needed.  Can predict outcomes.

· Performs all parts of the competency.  Needs only a spot check of completed work.  

· Requires little or no direct supervision.

	4
	Superior Knowledge and Proficiency
	· Can evaluate conditions and make appropriate decisions as related to resolving problems. 

· Performs competency quickly and accurately with no direct supervision and is able to instruct and supervise others.  


[image: image1.jpg]Teaching and Learning Continuum

Teacher Contribution

Close Support

Receiving

Moderate Support

Accepting

Consulting

Internalizing

Synergy,

Synthesizing

Pedagogy

Mesagogy

Andragogy

Heutagogy

——Active
Independent

Learner Contribution ——— ¥




AUT 221, ATM 212, ELT 232, ENT 205, IAT 260, ILT 196, IET 232, INT 284





Advanced Programmable Logic Controllers 





Plan of Instruction





Effective Date: Fall 2009								Version Number: 2011-1  











Alabama Community College System

Copyright© 2011

All Rights Reserved
PAGE  
2
ACCS Copyright© 2011

All Rights Reserved

