AC/DC Machines

AUT 117

[image: image1.png]CARCAM

Consortium for Alabama:gegional Center
for Automotive Manufacturing







         [image: image2.png]



	AUT 117
AC/DC Machines

Plan of Instruction

Effective Date: 2004
  



Version Number: 2011-1 



COURSE DESCRIPTION:

This course covers the theory and operation of DC motors, single and three phase AC motors, and the labs will reinforce this knowledge.  Emphasis is placed on the various types of single and three phase motors, wiring diagrams, starting devices, and practical application in the lab.

CREDIT HOURS 

Theory Credit Hours  
  

1 hour

Lab Credit Hours



2 hours  

Total Credit Hours 



3 hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as 3:1 and/or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)

Date_____________ Name & Contact information ____________________________

Company Name_______________________________________________________________

Please indicate whether this course applies to your particular industry: Yes___ No____

If NO, please move on to the next course to be reviewed.
	Course Evaluated

AUT 117 AC/DC Machines
Based on your company’s standards, please place a check in the appropriate box for each question. Provide your comments below for any rating of (1) CHANGES NEEDED.
	Changes Needed
	Adequate
	Aligns Well

	
	1
	2
	3

	1.
How well do the listed industry competencies reflect expectations of entry- level employees associated with your company?
	1
	2
	3

	Comments:



	2.
How well does the material in each module reflect your company’s standards in scope and quantity?
	1
	2
	3

	Comments:



	3.
How well do the performance objectives and their KSA level reflect your company’s standards? (Please see KSA chart)
	1
	2
	3

	Comments:



	4.
How well do the learning objectives and their KSA level reflect your company’s standards? (Please see KSA chart)
	1
	2
	3

	Comments:



	5.
Given the entire content of this course how frequently is this information used? (1) Annually, (2) Monthly , (3) Daily/Weekly
	1
	2
	3

	Comments:



	6.
How frequently should this course be evaluated by industry? 


(1) Annually, (2) Every 3 years , (3) Every 5 years


	1


	2


	3



	7.
Are there competencies listed that are not required of individuals in your company? Use column 1 for Yes and column 3 for No. 
	1
	
	3

	If you answered yes (1), please list what should be removed.


	8.
Are there competencies not listed that you expect in an individual at the entry-level position in your company? Use column 1 for Yes and 3 for No.
	1
	
	3

	If you answered yes (1), please list what is missing.




STUDENT LEARNING OUTCOMES

	MODULE A – DC GENERATORS

	MODULE DESCRIPTION – The purpose of this module is to teach the operation, connection, maintenance, and basic troubleshooting of DC generators. Topics include DC generator operating principles, construction, safety, schematics and output measurement.


	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Comprehend the operation, connection, maintenance, and basic troubleshooting of DC generators. 

	A1.1
Connect a DC generator, measure output and verify proper operation.
	2

	LEARNING OBJECTIVES 
	KSA

	A1.1.1
Explain how a DC generator works.

A1.1.2
Explain the operating principles of a DC generator.

A1.1.3
Describe the construction of a simple DC generator.

A1.1.4
Identify the various hazards of working with DC generators.

A1.1.5
Interpret schematics to identify system components and how they connect.

A1.1.6
Describe how to connect a DC generator.

A1.1.7
Explain how to measure the output of a DC generator.

A1.1.8
Explain factors affecting DC generator voltage output.

A1.1.9
Explain left hand rule for generators.

A1.1.10
Describe how to determine generator output polarity.

A1.1.11
Explain basic principles of generator maintenance and troubleshooting.

A1.1.12
Interpret nameplate data for various generators.

	2

2

2

3

2

2

3

2

1

2

3

3

	MODULE A OUTLINE:

· DC Generators

· Operating principles

· Construction

· Connection

· Measuring the output

· Factors affecting voltage output

· Left hand Rule

· Polarity

· Maintenance and Troubleshooting



	Comments:




	MODULE B – DC MOTORS

	MODULE DESCRIPTION – The purpose of this module is to teach the operation, connection, maintenance, and basic troubleshooting of DC motors. Topics include operating principles, construction, safety, schematics, measuring and calculating various inputs and outputs.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Comprehend the operation, connection, maintenance, and basic troubleshooting of DC motors.
	B1.1
Connect various DC motors, run, reverse, vary the speed and verify proper operation.


	2

	LEARNING OBJECTIVES 
	KSA

	B1.1.1
Explain the operating principles of shunt, permanent magnet, series, separately excited, and compound DC motors.

B1.1.2
Describe the construction of shunt, permanent magnet, series, separately excited, and compound DC motors.

B1.1.3
Explain the right hand rule for DC motors.

B1.1.4
Identify the various hazards of working with DC motors.

B1.1.5
Interpret schematics to identify system components and how they connect.

B1.1.6
Explain connections for shunt, permanent magnet, series, separately excited, and compound DC motors.

B1.1.7
Describe how to reverse motor direction of shunt, permanent magnet, series, separately excited, and compound DC motors.

B1.1.8
Describe how to vary the speed of shunt, permanent magnet, series, separately excited, and compound DC motors.

B1.1.9
Measure output speed and torque, and calculate horsepower and power factor.

B1.1.10
Measure input voltage and current, and calculate input power.

B1.1.11
Explain basic principles of DC motor maintenance and troubleshooting.


B1.1.12
Interpret nameplate data for various motors.
	2

2

1

3

2

2

2

2

3

3

3

3

	MODULE B OUTLINE:

· DC motors

· Types


· Shunt

· Permanent magnet

· Series

· Separately excited

· Compound

· Operating principles

· Construction

· Connections

· Reversing

· Speed control

· Maintenance and Troubleshooting

	Comments:




	MODULE C – AC GENERATORS

	MODULE DESCRIPTION – The purpose of this module is to teach the operation, connection, maintenance, and basic troubleshooting of AC generators. Topics include operating principles, construction, safety, schematics, measuring and calculating various inputs and outputs.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	C1.0
Comprehend the operation, connection, maintenance, and basic troubleshooting of AC generators. 

	C1.1
Connect an AC generator, measure output and verify proper operation.
	2

	LEARNING OBJECTIVES 
	KSA

	C1.1.1
Explain how an AC generator works.

C1.1.2
Explain the operating principles of an AC generator.

C1.1.3
Describe the construction of a simple AC generator.

C1.1.4
Identify the various hazards of working with DC generators.

C1.1.5
Interpret schematics to identify system components and how they connect.

C1.1.6
Describe how to connect an AC generator for Wye and Delta operation.

C1.1.7
Explain how to measure the speed and output of an AC generator.

C1.1.8
Explain factors affecting AC generator voltage output.

C1.1.9
Explain left hand rule for AC generators.

C1.1.10
Explain basic principles of generator maintenance and troubleshooting.

D1.1.11
Interpret nameplate data for various generators.
	2

2

2

3

2

2

3

3

1

3

3

	MODULE C OUTLINE:

· AC Generators

· Operating principles

· Construction

· Connection

· Wye operation

· Delta operation

· Measuring output

· Factors affecting voltage output

· Left hand rule

· Maintenance and Troubleshooting

	Comments:




	MODULE D – SINGLE PHASE AC MOTORS

	MODULE DESCRIPTION – The purpose of this module is to teach the operation, connection, maintenance, and basic troubleshooting of single phase AC motors. Topics include operating principles, construction, safety, schematics, reversing direction, varying speeds, measuring and calculating various inputs and outputs.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	D1.0
Comprehend the operation, connection, maintenance, and basic troubleshooting of single phase AC motors.
	D1.1
Connect, run, reverse, and vary the speed of various single phase AC motors and verify proper operation.
	2

	LEARNING OBJECTIVES 
	KSA

	D1.1.1
Explain the operating principles of capacitive, split phase, repulsion, universal, and shaded pole AC motors.

D1.1.2
Describe the construction of capacitive, split phase, repulsion, universal, and shaded pole AC motors.

D1.1.3
Identify the various hazards of working with AC Motors.

D1.1.4
Interpret schematics to identify system components and how they connect.

D1.1.5
Explain connections for capacitive, split phase, repulsion, universal, and shaded pole AC motors.

D1.1.6
Describe how to reverse motor direction for capacitive, split phase, universal, and shaded pole AC motors.

D1.1.7
Describe how to vary the speed of single phase AC motors.

D1.1.8
Measure output speed and torque, and calculate horsepower and power factor.

D1.1.9
Measure input voltage and current, and calculate input power.

D1.1.10
Calculate synchronous speed, frequency, and number of poles on AC motors.

D1.1.11
Explain basic principles of single phase AC motor maintenance and troubleshooting.


D1.1.12
Interpret nameplate data for various motors.
	2

2

3

2

2

2

2

3

3

3

3

3

	MODULE D OUTLINE:

· Single Phase AC motors

· Types

· Capacitive

· Split Phase

· Repulsion

· Universal

· Shaded Pole

· Construction

· Connections

· Reversing

· Speed control

· Maintenance and Troubleshooting

	Comments:




	MODULE E – THREE PHASE AC MOTORS

	MODULE DESCRIPTION – The purpose of this module is to teach the operation, connection, maintenance, and basic troubleshooting of three phase AC motors. Topics include operating principles, construction, safety, schematics, reversing direction, varying speeds, measuring and calculating various inputs and outputs.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	E1.0
Comprehend the operation, connection, maintenance, and basic troubleshooting of three phase AC motors.
	E1.1
Connect, run, reverse, and vary the speed of various three phase AC motors and verify proper operation.
	2

	LEARNING OBJECTIVES 
	KSA

	E1.1.1
Explain the operating principles of Wye and Delta AC motors.

E1.1.2
Describe the construction of Wye and Delta AC motors.

E1.1.3
Identify the various hazards of working with AC generators.

E1.1.4
Interpret schematics to identify system components and how they connect.

E1.1.5
Explain connections for three-lead, six-lead, nine-lead, and 12-lead three phase AC motors.

E1.1.6
Describe how to reverse motor direction for three phase AC motors.

E1.1.7
Describe how to vary the speed of three phase AC motors.

E1.1.8
Measure output speed and torque, and calculate horsepower and power factor.

E1.1.9
Measure input voltage and current, and calculate input power.

D1.1.10
Calculate synchronous speed, frequency, and number of poles on AC motors.

E1.1.11
Explain basic principles of three phase AC motor maintenance and troubleshooting.

E1.1.12
Interpret nameplate data for various motors.

	2

2

3

2

3

2

2

3

3

3

3

3

	MODULE E OUTLINE:

· Three phase AC motors

· Types

· Wye

· Delta

· Operating principles

· Construction

· Connections

· Three-lead

· Six-lead

· Nine-lead

· 12-lead

· Reversing

· Speed control

· Maintenance and Troubleshooting

	Comments:




	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1

Recall & Reproduction
	Limited Knowledge and Proficiency
	· Identifies basic facts and terms about the subject or competency.

· Performs simple tasks associated with the competency.  Needs to be told or shown how to do most tasks.  

· Requires close supervision.

	2

Skills & Concepts
	Moderate Knowledge and Proficiency
	· Identifies relationship of basic facts and states general principles and can determine step-by-step procedures for doing the competency.

· Performs most parts of the competency.  Needs help only on hardest parts.  

· Requires limited supervision.

	3

Strategic Thinking
	Advanced Knowledge and Proficiency
	· Analyzes facts and principles and draws conclusions about the subject to include why and when the competency must be done and why each step is needed.  Can predict outcomes.

· Performs all parts of the competency.  Needs only a spot check of completed work.  

· Requires little or no direct supervision.

	4

Extended Thinking
	Superior Knowledge and Proficiency
	· Can evaluate conditions and make appropriate decisions as related to resolving problems. 

· Performs competency quickly and accurately with no direct supervision and is able to instruct and supervise others.  

	A

Attitudes and Motivation
	Affective Objective
	· Describes learning objectives that emphasize a feeling tone, an emotion, or a degree of acceptance or rejection.  

· Objectives vary from simple attention to selected phenomena to complex but internally consistent qualities of character and conscience. 

· Expressed as interests, attitudes, appreciations, values, and emotional sets or biases.








Supported in part by a grant from the National Science Foundation

Advanced Technology Education Program.
Supported in part by a grant from the National Science Foundation



1

Advanced Technology Education Program.

