Metrology

MSP 131, AUT 155

[image: image1.png]CARCAM

Consortium for Alabama:gegional Center
for Automotive Manufacturing







         [image: image2.png]



	MSP 131, AUT 155

Metrology

Plan of Instruction

Effective Date:  2006





Version Number:  2011-1



COURSE DESCRIPTION:
This course introduces the care and use of precision measuring instruments. Emphasis is placed on the inspection of machine parts and use of a wide variety of measuring instruments. Upon completion, students should be able to demonstrate the correct use of measuring instruments.
CREDIT HOURS 
Theory

1 credit hour
Lab


1 credit hour

Total


2 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as 3:1 and/or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)

Date_____________ Name & Contact information ____________________________

Company Name_______________________________________________________________

Please indicate whether this course applies to your particular industry: Yes___ No____

If NO, please move on to the next course to be reviewed.
	Course Evaluated

MSP 131, AUT 155 Metrology
Based on your company’s standards, please place a check in the appropriate box for each question. Provide your comments below for any rating of (1) CHANGES NEEDED.
	Changes Needed
	Adequate
	Aligns Well

	
	1
	2
	3

	1.
How well do the listed industry competencies reflect expectations of entry- level employees associated with your company?
	
	
	

	Comments:



	2.
How well does the material in each module reflect your company’s standards in scope and quantity?
	
	
	

	Comments:



	3.
How well do the performance objectives and their KSA level reflect your company’s standards? (Please see KSA chart)
	
	
	

	Comments:



	4.
How well do the learning objectives and their KSA level reflect your company’s standards? (Please see KSA chart)
	
	
	

	Comments:



	5.
Given the entire content of this course how frequently is this information used? (1) Annually, (2) Monthly , (3) Daily/Weekly
	
	
	

	Comments:



	6.
How frequently should this course be evaluated by industry? 


(1) Annually, (2) Every 3 years , (3) Every 5 years

	
	
	

	7.
Are there competencies listed that are not required of individuals in your company? Use column 1 for Yes and column 3 for No. 
	
	
	

	If you answered yes (1), please list what should be removed.


	8.
Are there competencies not listed that you expect in an individual at the entry-level position in your company? Use column 1 for Yes and 3 for No.
	
	
	

	If you answered yes (1), please list what is missing.



STUDENT LEARNING OUTCOMES

	MODULE A – THE STEEL RULE

	MODULE DESCRIPTION – This module covers the use of the steel rule in inspection and process improvement.  Emphasis is placed on the usage, care, and maintenance of the steel rule as a precision measurement instrument.  NIMS Level 1, Duty Areas 2.0 (all) and 3.0 (all) are addressed in this module.  

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Use a steel rule as a precision measurement instrument.
	A1.1
Use the steel rule to perform precision measurements.
	3

	LEARNING OBJECTIVES 
	KSA

	A1.1.1
Differentiate between various types of steel rules.

A1.1.2
Describe how to read a U.S. Conventional steel rule.

A1.1.3
Describe how to read a Metric steel rule.

A1.1.4
Describe how to care and maintain steel rules.
	3

2

2

3

	MODULE A OUTLINE:

· Types and uses

· US Conventional

· Metric
· Care and maintaining
· Inspection

	Comments:




	MODULE B – THE MICROMETER

	MODULE DESCRIPTION – This module covers the use of the micrometer caliper in inspection and process improvement.  Emphasis is placed on the usage, care, and maintenance of the micrometer caliper as a precision measurement instrument.  NIMS Level 1, Duty Areas 2.0 (all) and 3.0 (all) are addressed in this module.  

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Use micrometer precision measurement instruments.
	B1.1
Use micrometers to perform precision measurements.
	3

	LEARNING OBJECTIVES 
	KSA

	B1.1.1
Differentiate between various types of micrometers. 

B1.1.2
Describe considerations for using micrometers in order to obtain accurate readings.

B1.1.3
Describe how to read an inch-based micrometer.

B1.1.4
Describe how to use an inside micrometer.

B1.1.5
Describe how to use a micrometer depth gage.

B1.1.6
Describe how to care and maintain micrometers.
	3

2

2

2

2

3

	MODULE B OUTLINE:

· Types and uses

· Inch-based

· Inside micrometer

· Micrometer depth gage

· Care and maintaining
· Inspection

	Comments:




	MODULE C – CALIPERS AND VERNIER MEASURING TOOLS

	MODULE DESCRIPTION – This module covers the use of vernier measuring tools in inspection and process improvement.  Emphasis is placed on the usage, care, and maintenance of vernier measuring tools as precision measurement instruments.  NIMS Level 1, Duty Areas 2.0 (all) and 3.0 (all) are addressed in this module.  

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	C1.0
Use Vernier measuring instruments.
	C1.1
Use Vernier measuring tools to perform precision measurements.
	3

	LEARNING OBJECTIVES 
	KSA

	C1.1.1
Differentiate between various types of Vernier calipers.

C1.1.2
Describe how to read an inch-based Vernier scale.

C1.1.3
Describe how to read a metric-based Vernier scale.

C1.1.4
Describe considerations for using Vernier calipers in order to obtain accurate readings.

C1.1.5
Describe how to use a Universal Vernier Bevel Protractor.

C1.1.6 
Describe how to and use and read a height gage

C1.1.7 
Describe how to care and maintain Vernier measuring tools.
	3

2

2

2

2

2

3

	MODULE C OUTLINE:

· Types and uses

· Inch-based

· Metric-based

· Vernier calipers (inside and outside)

· Dial calipers (inside and outside)

· Universal Vernier Bevel Protractor

· Care and maintaining
· Inspection

	Comments:




	MODULE D – GAGES

	MODULE DESCRIPTION – This module covers the use of gages in inspection and process improvement.  Emphasis is placed on the usage, care, and maintenance of gages as precision measurement instruments.  NIMS Level 1, Duty Areas 2.0 (all) and 3.0 (all) are addressed in this module.  

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	D1.0
Use various gages to perform precision measurements.
	D1.1
Use various gages to perform precision measurements.
	3

	LEARNING OBJECTIVES 
	KSA

	D1.1.1
Differentiate between various types of gages.

D1.1.2
Describe how to use a plug gage.

D1.1.3
Describe how to use a ring gage.

D1.1.4
Describe how to use a snap gage.

D1.1.5
Describe how to use gage blocks. 

D1.1.6
Describe how to use air gages.

D1.1.7
Describe how to use optical flats.

D1.1.8
Describe how to use a thickness gage.

D1.1.9
Describe how to use a screw pitch gage.

D1.1.10
Describe how to use a fillet and radius gage.

D1.1.11
Describe how to use a profilometer

D1.1.12 Describe how to and use coordinate measuring machines

D1.1.13 Describe how to and use surface plates/angle plates

D1.1.14
Describe how to and use an inside caliper.

D1.1.15
Describe how to and use a telescoping gage.

D1.1.16 Describe how to and use a small hole gage. 

D.1.1.17 Describe how to care and maintain various gages.
	3

2

2

2

2

2

2

2

2

2

2

2

2

2

2

2

3

	MODULE D OUTLINE:

· Type and uses

· Plug
· Ring
· Snap
· Thread
· Gage blocks

· Air
· Optical comparator (manual and computer numeric control (CNC))

· Optical flats

· Thickness
· Screw pitch

· Fillet and radius

· Profilometer
· Coordinate measuring machine (CMM)

· Inside caliper

· Telescoping gage

· Small hole gage

· Surface plate

· Care and maintaining

· Inspection

	Comments:




	MODULE E – INDICATORS

	MODULE DESCRIPTION – This module covers the use of indicators in inspection and process improvement.  Emphasis is placed on the usage, care, and maintenance of indicators as precision measurement instruments.  NIMS Level 1, Duty Areas 2.0 (all) and 3.0 (all) are addressed in this module.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	E1.0
Use indicators for measurement purposes.
	E1.1
Perform precision measurements using various indicators.
	3

	LEARNING OBJECTIVES 
	KSA

	E.1.1.1 
Differentiate between various types of indicators.

E.1.1.2 
Describe how to use universal dial test indicators.

E.1.1.3 
Describe how to use perpendicular dial test (plunger-type) indicators.

E.1.1.4 
Describe how to use continuous reading indicators.

E.1.1.5 
Describe how to use digital direct reading indicators.

E.1.1.6 
Describe how to use various indicator attachments.

E.1.1.7 
Describe how to care and maintain various types of indicators and indicator attachments.
	3

2

2

2

2

2

3

	MODULE E OUTLINE:

· Types and uses

· Universal dial test

· Perpendicular dial test (plunger-type)

· Continuous reading

· Digital direct reading

· Indicator attachments

· Care and maintaining

· Inspection



	Comments:




	MODULE F – QUALITY INSPECTION TECHNIQUES (OPTIONAL)

	MODULE DESCRIPTION – This module covers quality inspection techniques and process improvement.  Emphasis is placed on the various types of measurements used to perform inspections, analysis of those inspections, and process improvement recommendations.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	F1.0
Perform geometric measurements. 

	F1.1
This competency is measured cognitively.


	2

	F2.0
Use various measurement instruments to inspect parts. 
	F2.1
Select the required measuring instruments and conduct specified inspection procedures to include a written report and justification to accept or reject component parts. 
	2

	F3.0 
Analyze and recommend improvements for production of a single part. 
	F3.1 
Document a process improvement recommendation.
	3

	LEARNING OBJECTIVES 
	KSA

	F1.1.1 
Define linear measure, angular measure, and circular measure.

F1.1.2
Explain how to convert linear measurements between units.

F1.1.3
Explain and give examples of various forms of tolerance.

F1.1.4
Describe how to perform angular measurement
	1

2

2

2

	F2.1.1
Explain considerations for inspecting parts.

F2.1.2 
Explain the importance of inspecting the tolerances and specifications of machine parts.

F2.1.3
Select the appropriate measurement instrument(s) for an inspection.

F2.1.4 
Describe various techniques to obtain accurate measurement. 


	2

2

1

3

	F3.1.1 
State the purpose of process adjustment in single part production.

F3.1.2 
Describe the activities associated with process adjustment in a single part production.
	1

3

	MODULE F OUTLINE:

· Geometric measurement

· Definitions

· Linear

· Angular

· Circular

· Conversion

· Tolerance

· Angular measurement

· Inspection 

· Tolerances

· Measurement instruments

· Selection

· Purpose

· Use

· Importance

· Process improvements

· Adjustments

· Activities



	Comments:




LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Limited Knowledge and Proficiency
	Moderate Knowledge and Proficiency
	Advanced Knowledge and Proficiency
	Superior Knowledge and Proficiency

	KSA
	1
	2
	3
	4

	Module A
	
	50%
	50%
	

	Module B
	
	71%
	29%
	

	Module C
	
	71%
	29%
	

	Module D
	
	88%
	12%
	

	Module E
	
	71%
	29%
	

	Module F
	30%
	50%
	20%
	


	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Identifies basic facts and terms about the subject or competency.

· Performs simple tasks associated with the competency.  Needs to be told or shown how to do most tasks.  

· Requires close supervision.

	2
	Moderate Knowledge and Proficiency
	· Identifies relationship of basic facts and states general principles and can determine step-by-step procedures for doing the competency.

· Performs most parts of the competency.  Needs help only on hardest parts.  

· Requires limited supervision.

	3
	Advanced Knowledge and Proficiency
	· Analyzes facts and principles and draws conclusions about the subject to include why and when the competency must be done and why each step is needed.  Can predict outcomes.

· Performs all parts of the competency.  Needs only a spot check of completed work.  

· Requires little or no direct supervision.

	4
	Superior Knowledge and Proficiency
	· Can evaluate conditions and make appropriate decisions as related to resolving problems. 

· Performs competency quickly and accurately with no direct supervision and is able to instruct and supervise others.  


[image: image3.jpg]Teaching and Learning Continuum

Teacher Contribution

Close Support

Receiving

Moderate Support

Accepting

Consulting

Internalizing

Synergy,

Synthesizing

Pedagogy

Mesagogy

Andragogy

Heutagogy

——Active
Independent

Learner Contribution ——— ¥










Supported in part by a grant from the National Science Foundation

Advanced Technology Education Program.
Supported in part by a grant from the National Science Foundation



2

Advanced Technology Education Program.

