[image: image1.png](e

AL




Homebuilders License Exam Review

BUC 150 


April 22, 2008


COURSE DESCRIPTION:

This course prepares students to take the State Builders License exam for residential construction.  Topics include basic residential frame and finish review, basic estimating, and associated areas.  With appropriate field experience, upon completion, students should qualify to take the residential contractors exam.
CONTACT/CREDIT HOURS 

Theory Credit Hours  
  

3 hours

Lab Credit Hours



0 hours  

Total Credit Hours 



3 hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1 contact to credit hour ratio) or experimental (2:1 contact to credit hour ratio).

PREREQUISITE COURSES 

As determined by college.

CO-REQUISITE COURSES 

As determined by college.

PROFESSIONAL COMPETENCIES

· Explain the homebuilder’s license process and the benefits of obtaining a license.

· Explain the various aspects of managing a homebuilding business.

· Explain how the residential building code book is organized.

· Identify appropriate and inappropriate use of OSHA regulations.

· Explain basic concrete installation practices.

· Explain basic masonry practices.

· Explain basic carpentry and construction practices.

· Explain basic truss installation practices.

· Explain basic piping and excavation practices.

INSTRUCTIONAL GOALS

· Cognitive – Comprehend principles and concepts related to the homebuilders license exam.
· Psychomotor – Apply principles of the homebuilders license exam.
· Affective – Value the importance of adhering to policy and procedures related to the homebuilders license exam.
STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab/clinical assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES

	MODULE A – HOMEBUILDERS LICENSURE OVERVIEW

	MODULE DESCRIPTION – The purpose of this module is to teach the students about the homebuilder’s license process, and the benefits of obtaining a license.  Topics include who needs a license, how to obtain one, how to maintain your license, testing requirements, and the responsibilities that come with licensure.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Explain the homebuilder’s license process and the benefits of obtaining a license.
	A1.1
This competency is measured cognitively.
	B

	LEARNING OBJECTIVES 
	KSA

	A1.1.1
Identify the various types of projects requiring a homebuilder’s license.

A1.1.2
Explain the process for obtaining a homebuilder’s license.

A1.1.3
Explain the requirements for maintaining a homebuilder’s license.

A1.1.4
Explain the steps necessary to sit for the state homebuilder’s licensure exam.

A1.1.5
Identify the source material required for taking the homebuilder’s licensure exam.

A1.1.6
Explain the industry standards typically required of a licensed homebuilder.

A1.1.7
Explain the need for demonstrating professionalism as a licensed homebuilder.
	A

b

b

b

B

B

C

	MODULE A OUTLINE:

· Homebuilders Licensure Overview

· Who needs a license

· How to obtain a license

· License maintenance

· Testing requirements

· Licensure responsibilities


	MODULE B – BUSINESS MANAGEMENT

	MODULE DESCRIPTION – The purpose of this module is to teach the students the various aspects of managing a homebuilding business.  Topics include licensing, estimating and bidding, liens, financial management, payroll and taxes, personnel and labor issues, project management, contracts, business models, and risk management.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Explain the various aspects of managing a homebuilding business.
	B1.1
This competency is measured cognitively.
	B

	LEARNING OBJECTIVES 
	KSA

	B1.1.1
Explain the various licenses and permits required before beginning construction.

B1.1.2
Explain the process for obtaining accurate estimates necessary to prepare a bid.

B1.1.3
Explain the role liens play in the construction industry.

B1.1.4
Explain the process for filing a lien.

B1.1.5
Explain the basic financial responsibilities and procedures for managing a homebuilding business.

B1.1.6
Explain how to calculate various payroll taxes due for employees.

B1.1.7
Differentiate between hourly employees and sub-contract employees.

B1.1.8
Explain the basic concepts of project management.

B1.1.9
Explain how to develop a basic project timeline.

B1.1.10
Explain the importance of various types of contracts.

B1.1.11
Identify the basic components of a contract. 

B1.1.12
Differentiate between a sole proprietorship, partnership, corporations, a limited liability corporation, and limited liability partnership.

B1.1.13
Identify the various types of liabilities associated with residential construction.

B1.1.14
Identify the various types of insurances needed for a residential construction company.
	B

b

B

b

B

b

B

B

b

B

B

B

B

B

	MODULE B OUTLINE:

· Business management

· Licensing

· Estimating and bidding

· Liens

· Financial management

· Payroll and taxes

· Personnel and labor

· Project management

· Contracts

· Business models

· Risk management


	MODULE C – RESIDENTIAL BUILDING CODE

	MODULE DESCRIPTION – The purpose of this module is to teach the students how the residential building code book is organized.  Topics include layout, reasoning, and various subsections.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	C1.0
Explain how the residential building code book is organized.
	C1.1
This competency is measured cognitively.
	B

	LEARNING OBJECTIVES 
	KSA

	C1.1.1
Describe the layout of the residential building code book.

C1.1.2
Explain why it is laid out in this fashion.

C1.1.3
Identify the primary subsections of the residential building code book.

C1.1.4
Describe how to use the residential code book for finding relevant information in the shortest amount of time.

C1.1.5
Describe how to use span tables to identify the types of framing members necessary to satisfy given conditions.

C1.1.6
Describe how to use drawings and figures to identify design criteria for a residential structure in a given geographic location.

C1.1.7
Describe how to use necessary tables to identify code requirements for construction.  


	B

B

B

b

b

b

b

	MODULE C OUTLINE:

· Requirements

· Layout

· Reasoning

· Subsections

· Building planning

· Foundations

· Floor, wall, ceiling, and roof construction

· Mechanical systems, electrical, and piping


	MODULE D – OSHA

	MODULE DESCRIPTION – The purpose of this module is to teach the students to identify appropriate and inappropriate use of OSHA regulations.  Topics include general safety and health, personal protective equipment, fire protection and prevention, materials handling, scaffolding, ladders, and fall protection, and excavation safety.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	D1.0
Identify appropriate and inappropriate use of OSHA regulations.
	D1.1
This competency is measured cognitively.
	B

	LEARNING OBJECTIVES 
	KSA

	D1.1.1
Identify general safety and health considerations for a licensed contractor.

D1.1.2
Identify various personal protective equipment items necessary for safety on a construction site.

D1.1.3
Identify appropriate fire protection and prevention practices for a construction site.

D1.1.4
Identify various considerations for appropriate materials handling.

D1.1.5
Identify appropriate and inappropriate hazardous materials use, handling, and disposal.

D1.1.6
Identify appropriate and inappropriate use of scaffolding, ladders, and fall protection.

D1.1.7
Identify appropriate and inappropriate use of excavation safety. 
	B

B

B

B

B

B

B

	MODULE D OUTLINE:

· General Safety and health provisions

· Personal protective equipment

· Fire protection and prevention

· Materials handling 

· Use

· Handling

· Disposal

· Scaffolding, ladders, and fall protection
· Excavation safety




	MODULE E – CONCRETE CONSTRUCTION 

	MODULE DESCRIPTION – The purpose of this module is to teach the students basic concrete installation practices.  Topics include concrete, foundations, formwork, reinforcement, and placement and finishing.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	E1.0
Explain basic concrete installation practices.
	E1.1
This competency is measured cognitively.
	B

	LEARNING OBJECTIVES 
	KSA

	E1.1.1
Explain how to determine the specific concrete needed for a given structure and conditions.

E1.1.2
Describe how site conditions determine the foundation design.

E1.1.3
Describe the various types of foundations.

E1.1.4
Explain the types of formwork used in various types of concrete construction.

E1.1.5
Explain how to determine the type and placement of the required reinforcement.

E1.1.6
Describe the appropriate and safe use of tools and equipment for placing and finishing concrete.
	B

B

B

B

B

B

	MODULE E OUTLINE:

· Concrete

· Foundations

· Formwork

· Reinforcement

· Placement and finishing


	MODULE F – MASONRY

	MODULE DESCRIPTION – The purpose of this module is to teach the students basic masonry practices.  Topics include tools and equipment, safety, estimating materials, concrete block, brick, stonework, mortar and grout, anchors, ties, and reinforcement.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	F1.0
Explain basic masonry practices.
	F1.1
This competency is measured cognitively.
	B

	LEARNING OBJECTIVES 
	KSA

	F1.1.1
Explain appropriate use of masonry tools and equipment.

F1.1.2
Identify basic safety considerations when working with masonry units.

F1.1.3
Explain how to accurately estimate the amount of material needed for a project.

F1.1.4
Identify the appropriate handling of concrete block, and brick.

F1.1.5
Identify the appropriate use of stonework.

F1.1.6
Explain how to determine the appropriate mix of mortar and grout for a project.

F1.1.7
Explain the appropriate use of anchors, ties, and reinforcement.
	B

B

b

B

B

b

B

	MODULE F OUTLINE:

· Tools and equipment

· Safety

· Estimating materials

· Concrete block, and brick

· Stonework

· Mortar and grout

· Anchors, ties and reinforcement


	MODULE G – CARPENTRY AND BUILDING CONSTRUCTION

	MODULE DESCRIPTION – The purpose of this module is to teach the students basic carpentry and construction practices.  Topics include safety, tools and equipment, floors, walls, roofs, finishing, and estimating.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	G1.0
Explain basic carpentry and construction practices.
	G1.1
This competency is measured cognitively.
	b

	LEARNING OBJECTIVES 
	KSA

	G1.1.1
Explain appropriate use of carpentry tools and equipment.

G1.1.2
Identify basic carpentry safety considerations.

G1.1.3
Identify appropriate construction techniques for floors, walls, and roofs.

G1.1.4
Explain appropriate interior and exterior finishing techniques.

G1.1.5
Explain how to accurately estimate floor and wall framing materials.

G1.1.6
Explain how to accurately estimate floor and wall sheathing materials, and sheet rock and other finish materials.
	b

B

B

B

b

b



	MODULE G OUTLINE:

· Safety 

· Tools and equipment

· Floors

· Walls

· Roofs

· Interior and exterior finishing

· Estimating




	MODULE H – TRUSSES

	MODULE DESCRIPTION – The purpose of this module is to teach the students basic truss installation practices.  Topics include safety, hoisting, installing trusses, installing hip set roof, and bracing, and reinforcing.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	H1.0
Explain basic truss installation practices.
	H1.1
This competency is measured cognitively.

	b

	LEARNING OBJECTIVES 
	KSA

	H1.1.1
Explain basic safety practices when working with trusses.

H1.1.2
Explain basic handling and hoisting procedures for trusses.

H1.1.3
Explain proper procedures for installing long span trusses.

H1.1.4
Explain proper procedures for installing hip set roofs.

H1.1.5
Explain the proper procedures for restraining, bracing, and reinforcing trusses. 

	B

B

b

b

b



	MODULE H OUTLINE:

· Safety

· Handling and hoisting

· Installing long span trusses

· Installing hip set roof

· Bracing and reinforcing


	MODULE I – PIPING AND EXCAVATION

	MODULE DESCRIPTION – The purpose of this module is to teach the students basic piping and excavation practices.  Topics include excavation, estimating and bidding earthwork, site preparation, soil compaction, water and sewer installation, and earthwork equipment. 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	I1.0
Explain basic piping and excavation practices.
	I1.1
This competency is measured cognitively.
	b

	LEARNING OBJECTIVES 
	KSA

	I1.1.1
Explain how to read an excavation plan.

I1.1.2
Explain how to determine the slope of a pipe from a set of excavation plans.

I1.1.3
Explain how to determine the amount of surface excavation required for a specified project.

I1.1.4
Explain how to estimate equipment and labor costs for a project.

I1.1.5
Explain how to prepare a bid for an earthwork project.

I1.1.6
Explain the various considerations for completing site preparation such as grass, brush, trees, rock, ground water, and explosives.

I1.1.7
Explain how to determine soil compaction requirements.

I1.1.8
Describe how to select the appropriate materials for water and sewer systems.

I1.1.9
Explain how to determine the necessary earthwork equipment for a project.
	b

b

b

b

b

B

b

b

b

	MODULE I OUTLINE:

· Excavation plans

· Estimating earthwork

· Bidding earthwork

· Site preparation

· Soil compaction

· Installing water and sewer systems

· Earthwork equipment




LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Facts/ Nomenclature
	Principles/ Procedures
	Analysis/ Operating Principles
	Evaluation/ Complete Theory

	
	A/a
	B/b
	C/c
	D/d

	Module A
	14%
	72%
	14%
	

	Module B
	
	100%
	
	

	Module C
	
	100%
	
	

	Module D
	
	100%
	
	

	Module E
	
	100%
	
	

	Module F
	
	100%
	
	

	Module G
	
	100%
	
	

	Module H
	
	100%
	
	

	Module I
	
	100%
	
	


	Knowledge, Skills, and Attitudes (KSA) Indicators

	
	Value
	Key Word(s)
	Definition

	Performance 
Ability 
	4
	Highly 

Proficient
	Performs competency quickly and accurately.  Instructs others how to do the competency. 

	
	3
	Proficient
	Performs all parts of the competency.  Needs only a spot check of completed work.

	
	2
	Partially

 Proficient
	Performs most parts of the competency.  Needs help only on hardest parts. 

	
	1
	Limited Proficiency
	Performs simple parts of the competency.  Needs to be told or shown how to do most of the competency. 

	Knowledge of Skills
	d
	Complete

Theory
	Predicts, isolates, and resolves problems about the competency.

	
	c
	Operating Principles
	Identifies why and when the competency must be done and why each step is needed.

	
	b
	Procedures
	Determines step-by-step procedures for doing the competency.

	
	a
	Nomenclature
	Names parts, tools, and simple facts about the competency.

	Knowledge
	D
	Evaluation
	Evaluates conditions and makes proper decisions about the subject.

	
	C
	Analysis
	Analyzes facts and principles and draws conclusions about the subject.

	
	B
	Principles
	Identifies relationship of basic facts and states general principles about the subject.

	
	A
	Facts
	Identifies basic facts and terms about the subject.

	Affective
	*5
	Characterization by Value
	Acting consistently with the new value

	
	*4
	Organization
	Integrating a new value into one's general set of values, giving it some ranking among one's general priorities

	
	*3
	Valuing
	Showing some definite involvement or commitment

	
	*2
	Responding
	Showing some new behaviors as a result of experience

	
	*1
	Receiving
	Being aware of or attending to something in the environment

	Alpha Scale Values - Any item with an upper case letter (A, B, C, D) by itself is taught as general information on a topic.  This information may be related to the competency or encompass multiple competencies.  Examples might include mathematical computations or knowledge of principles such as Ohm’s Law.

A lower case letter indicates a level of ”Knowledge of Skills."  Individuals are taught information pertaining to performing a competency .  These may be indicated alone or in conjunction with a numerical scale value.  A lower case letter by itself indicates the individual is not required to perform the task-just know about the task.  (example: Can state or explain procedures for doing a task).

Numerical Scale Values - The numbers reflect the levels the individual will be able to perform a competency. Number values are always accompanied by lower case letters (i.e. 1a, 2b, 3c...etc.) in order to specify the level of knowledge of skills associated with the competency.   

Example:  An individual with a competency with a scale indicator of 3b has received training of knowledge of skills whereby he or she can determine the correct procedures and perform with limited supervision; only requiring evaluation of the finished product or procedure.

Asterisk items indicate desired affective domain levels and are used to indicate the desired level for a given competency.   They may be used independently or with other indicators (i.e.   1a-*1, 2c-*3).  If used with another indicator, separate with a hyphen.

NOTE:  Codes indicate terminal values.


BUC 150





Homebuilders License Exam Review





Plan of Instruction





Effective Date: Fall 2009								Version Number: 2009-1  











Alabama Community College System

Copyright© 2008

All Rights Reserved
PAGE  
2
ACCS Copyright© 2008

All Rights Reserved

