[image: image1.png](e

AL




Floors, Walls, and Site Prep

CAR 112


COURSE DESCRIPTION 

This course introduces the student to site preparation, floor and wall layout, and construction. Topics include methods of site preparation, measurement and leveling tools, framing, layouts, and components of wall and floor framing to include beams, girders, floor joists, sub-flooring, partitions, bracing, headers, sills, doors and corners. Upon course completion, students will be able to identify various types of wall and floor framing systems and their components, identify building lines, set backs, and demonstrate a working knowledge of leveling applications.  This supports CIP code 46.0201.  CORE
CREDIT HOURS (applicable if entire course is taught in a career/technical education degree or non-degree program)  
Theory

3 credit hours

Lab


0 credit hour

Total


3 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1 contact to credit hour ratio) or experimental (2:1 contact to credit hour ratio).

PREREQUISITE COURSES 
Determined by college unless stated otherwise 

CO-REQUISITE COURSES 

CAR 113 (Floors, Walls, Site Prep Lab.)

INSTRUCTIONAL NOTE:  This course is theory only.  The student performance objectives will be accomplished in the co-requisite lab, CAR 113.
INDUSTRY/PROFESSIONAL COMPETENCIES
· Demonstrate knowledge of site preparation.

· Demonstrate knowledge of floor installation.

· Demonstrate knowledge of wall layout and framing.
· Value the importance of measurement, leveling, and site prep.

GENERAL INSTRUCTIONAL OBJECTIVES  

The cognitive objective for this course is for each student to comprehend foundational knowledge of floors, walls and site preparation.

The performance objective of this course is for each student to apply foundational knowledge of floors, walls and site preparation to a simulated construction environment.

INDUSTRY/PROFESSIONAL COMPETENCIES/STUDENT PERFORMANCE

Unless otherwise indicated, evaluation of student’s attainment of cognitive and performance objectives is based on knowledge gained from this course.  During performance evaluations, students will be provided necessary tools, equipment, materials, specifications, and any other resources necessary to accomplish the task.  

Specifications may be in the form of, but not limited to, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab assignments, or any combination of specifications.

	MODULE A – Distance measurment, leveling, AND SITE PREP  

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	A1.0 
Demonstrate knowledge of site preparation.  (c)

A2.0 
Value the importance of distance measurement, leveling, and site prep. (*4)
	A1.1 
This objective is measured cognitively.

A2.1 
This objective is affectively surveyed.



	ENABLING OBJECTIVES/KEY INDICATORS
	KSA Indicator

	A1.1.1 
Describe the major responsibilities of the carpenter relative to site layout. 

A1.1.2 
Explain how to convert measurements stated in feet and inches to equivalent measurements stated in decimal feet and vice versa.

A1.1.3 
Interpret site/plot drawings.

A1.1.4 
Explain how to identify building lines, set backs, and control points.

A1.1.5 
Explain how to use measuring equipment and procedures to make distance measurements and perform site layout tasks.

A1.1.6 
Describe how to use a builders level or transit, and differential leveling equipment and procedures to determine site and building elevations.

A1.1.7 
Explain how to establish and construct batter boards.

A1.1.8 
Describe how to check and or establish 90 degree angles using the 3/4/5 rule.

A1.1.9 
Explain how to establish footings and other foundation lines


	B

B

C

b

b

b

b

c

b


	MODULE B –  FLOOR SYSTEMS 

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	B1.0 
Demonstrate knowledge of floor installation. (c) 

B2.0 
Value the importance of proper floor layout. (*4)


	B1.1 
This objective is tested cognitively.

B2.1 
This objective is affectively surveyed.

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	B1.1.1 
Identify the different types of flooring systems.

B1.1.2 
Read and understand drawings and specifications to determine floor system requirements.

B1.1.3 
Identify floor and sill framing and support members.

B1.1.4 
Describe the method used to fasten sills to the foundations.

B1.1.5 
Describe the various types of girders and their uses.

B1.1.6 
Given specific floor load and span data, select the proper joist size from a list of available joists.

B1.1.7 
Describe the different types of bridging.

B1.1.8 
Describe different types of flooring materials and describe where and when each would be used.

B1.1.9 
Explain the purpose of sub flooring and underlayment.

B1.1.10 Match selected fasteners used in floor framing to their correct uses.


	A

C

A

c

B

C

B

B

B

B




	MODULE C – Wall FRAMING 

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	C1.0
Demonstrate knowledge of wall framing. (c)

C2.0 
Comprehend the installation of wall systems. (b)

C3.0 
Value the importance of proper layout, squaring and plumbing of wall systems. (*4)
	C1.1 
This objective is measured cognitively.

C2.1 
This objective is measured cognitively.

C3.1 
This objective is affectively surveyed.



	ENABLING OBJECTIVES/KEY INDICATORS
	KSA Indicator

	C1.1.1 
Explain the various types of wall framing.

C1.1.2 
Identify components of a wall layout.

C1.1.3 
Describe the procedure for laying out a wood frame wall, including plates, sills, corner posts, headers, door and window openings, partition Ts, bracing, and fire-stops.

C2.1.1 
Describe the correct procedure for erecting an exterior wall.

C2.1.2 
Describe the correct procedure for erecting an interior wall.

C2.1.3 
Describe common materials and methods used for installing sheathing on walls.
	A

B

c

b

b

b




COURSE CONTENT OUTLINE

MODULE A – DISTANCE MEASUREMENT, LEVELING AND SITE PREP

· Carpenter responsibilities

· Measurement conversion introduction

· Site/plot drawings

· Property lines, set backs, and bench marks 

· Measuring distances

· Taping

· Electronic measurement devices

· Site layout measurements and drawings

· Differential leveling tools and equipment

· Builders level

· Transit

· Automatic leveling instruments

· Laser leveling instruments

· Leveling rods

· Differential leveling

· Terminology

· Procedures

· Field notes

· Leveling applications 

· Batter Boards

· Angles and the 3/4/5 Rule 

· Footings and foundation lines

MODULE B – FLOOR SYSTEMS

· Foundation plan

· Floor plan

· The floor system

· Determining floor system requirements

· Floor and sill framing

· Beams/girders and supports

· Solid lumber girders

· Built up lumber girders

· Engineered lumber girders

· Steel I-beam girders

· Beam and girder supports

· Floor joists

· Wood I-Beams

· Trusses

· Notching and drilling of wooden joists

· Bridging

· Layout and installation

· Laying out sills and girders for floor joists

· Installing the sill

· Installing the beam/girder

· Laying out joist locations for the partition and floor openings

· Cutting and installing joist headers

· Installing floor joists

· Framing openings in the floor

· Installing bridging

· Sub flooring 

· Plywood sub floors

· Manufactured board panel sub floors

· Board sub floors

· Laying out and constructing a platform floor assembly
MODULE C – WALL LAYOUT AND FRAMING 

· Types of wall framing

· Components of a wall layout

· Plates

· Sills

· Corners 

· Headers

· Doors and windows

· Partition Ts

· Bracing

· Fire-stops

· Sheathing

· Measuring and cutting studs

· Erecting walls

· Plumbing and aligning walls

· Sheathing installation

RECOMMENDED METHODS OF EVALUATION:  The tables of specifications below identify the number of psychomotor (performance) objectives and cognitive (knowledge) enabling objectives/key indicators per module.  Instructors should develop a minimum of 1-3 performance evaluations per psychomotor objective and a minimum of 1-3 test questions per cognitive objective.  Create comprehensive, checklist evaluations for each psychomotor objective. For cognitive objectives, use appropriate written test type based on the complexity indicator for each objective.  Affective objectives may be used for graduation criteria, but should not be assigned a letter grade.
Facts/Nomenclature:  Multiple Choice, Fill-in, List, Matching, Alternative Response (true/false or yes/no) 

Principles/Procedures:  Multiple Choice, Fill-in, List, Short Answer

Analysis/Operating Principles:  Multiple Choice, Short Answer, Essay

Evaluation/Complete Theory: Multiple Choice, Short Answer, Essay

Performance Objectives (1/2/3/4/):  Observation, Comprehensive Checklist 

Affective Objectives (*1/*2/*3/*4/*5): Likert scale, Go/no go, Survey, Observation Checklist.

COGNITIVE TABLE OF SPECIFICATIONS
	
	Cognitive Domain

	
	Facts/ Nomenclature
	Principles/ Procedures
	Analysis/ Operating Principles
	Evaluation/ Complete Theory
	Minimum Total Test Items

	Module A
	
	7
	2
	
	9

	Module B
	2
	5
	3
	
	10

	Module C
	1
	4
	1
	
	6

	Total
	3
	16
	6
	
	25


	
	Psychomotor Domain

	
	Limited Proficiency
	Partially Proficient
	Proficient
	Highly Proficient
	Minimum Total Evaluations

	Module A
	
	
	
	
	-

	Module B
	
	
	
	
	-

	Module C
	
	
	
	
	-

	Total
	
	
	
	
	-


Psychomotor Table of Specifications
	AFFECTIVE OBJECTIVES Table of Specifications

	
	Affective Domain

	
	Receiving

*1
	Responding

*2
	Valuing

*3
	Organization

*4
	Characterization by Value

*5
	Total

Objectives

	Module A
	
	
	
	1
	
	1

	Module B
	
	
	
	1
	
	1

	Module C
	
	
	
	1
	
	1

	Total
	
	
	
	3
	
	3


	Knowledge, Skills, and Abilities (KSA) Indicators

	
	Value
	Key Word(s)
	Definition

	Performance 
Ability 
	4
	Highly 

Proficient
	Performs competency quickly and accurately.  Instructs others how to do the competency. 

	
	3
	Proficient
	Performs all parts of the competency.  Needs only a spot check of completed work.

	
	2
	Partially

 Proficient
	Performs most parts of the competency.  Needs help only on hardest parts. 

	
	1
	Limited Proficiency
	Performs simple parts of the competency.  Needs to be told or shown how to do most of the competency. 

	Knowledge of Skills
	d
	Complete

Theory
	Predicts, isolates, and resolves problems about the competency.

	
	c
	Operating Principles
	Identifies why and when the competency must be done and why each step is needed.

	
	b
	Procedures
	Determines step-by-step procedures for doing the competency.

	
	a
	Nomenclature
	Names parts, tools, and simple facts about the competency.

	Knowledge
	D
	Evaluation
	Evaluates conditions and makes proper decisions about the subject.

	
	C
	Analysis
	Analyzes facts and principles and draws conclusions about the subject.

	
	B
	Principles
	Identifies relationship of basic facts and states general principles about the subject.

	
	A
	Facts
	Identifies basic facts and terms about the subject.

	Affective
	*5
	Characterization by Value
	Acting consistently with the new value

	
	*4
	Organization
	Integrating a new value into one's general set of values, giving it some ranking among one's general priorities

	
	*3
	Valuing
	Showing some definite involvement or commitment

	
	*2
	Responding
	Showing some new behaviors as a result of experience

	
	*1
	Receiving
	Being aware of or attending to something in the environment

	Alpha Scale Values - Any item with an upper case letter (A, B, C, D) by itself is taught as general information on a topic.  This information may be related to the competency or encompass multiple competencies.  Examples might include mathematical computations or knowledge of principles such as Ohm’s Law.

A lower case letter indicates a level of ”Knowledge of Skills."  Individuals are taught information pertaining to performing a competency .  These may be indicated alone or in conjunction with a numerical scale value.  A lower case letter by itself indicates the individual is not required to perform the task-just know about the task.  (example: Can state or explain procedures for doing a task).

Numerical Scale Values - The numbers reflect the levels the individual will be able to perform a competency. Number values are always accompanied by lower case letters (i.e. 1a, 2b, 3c...etc.) in order to specify the level of knowledge of skills associated with the competency.   

Example:  An individual with a competency with a scale indicator of 3b has received training of knowledge of skills whereby he or she can determine the correct procedures and perform with limited supervision; only requiring evaluation of the finished product or procedure.

Asterisk items indicate desired affective domain levels and are used alone to indicate the desired level for a given competency.   They may be used independently or with other indicators (i.e.   1a-*1, 2c-*3).  If used with another indicator, separate with a hyphen.

NOTE:  Codes indicate terminal values.


CAR 112





Floors, Walls, and Site Prep





Plan of Instruction





Effective Date: Fall 2006			Version Number: Base Document						














1
Alabama College System

Copyright© 2004

All rights reserved
2
Alabama College System

Copyright© 2004

All rights reserved


