[image: image1.png](e

AL








COURSE DESCRIPTION 

This course introduces the students to metal framing of floors, walls, ceilings and roofs.  Emphasis is placed on metal frame construction.  Upon completion, students are expected to be able to describe components and proper application of metal framing, properly construct floors, walls, ceilings, and roofs.  This course supports CIP 46.0201
CREDIT HOURS (applicable if entire course is taught in a career/technical education degree or non-degree program)  

Theory

0 credit hour

Lab 


3 credit hours

Total


3 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Lab credit is 3:1.  Clinical credit is 3:1.  

PREREQUISITE COURSES 
Determined by college unless stated otherwise. 

CO-REQUISITE COURSES 
Determined by college unless stated otherwise.

INDUSTRY/PROFESSIONAL COMPETENCIES
· Recognize metal construction components.
· Value the importance of safety techniques when working with steel.
· Use metal framing to construct floors.

· Use metal framing components to construct walls.
· Use metal framing components to construct ceilings and roofs.

GENERAL INSTRUCTIONAL OBJECTIVES  

The cognitive objective for this course is for each student to comprehend foundational knowledge of the wall and floor specialties.

The performance objective of this course is for each student to apply foundational knowledge of floors, wall and floor specialties in a simulated construction environment.

INDUSTRY/PROFESSIONAL COMPETENCIES/STUDENT PERFORMANCE

Unless otherwise indicated, evaluation of student’s attainment of cognitive and performance objectives is based on knowledge gained from this course.  During performance evaluations, students will be provided necessary tools, equipment, materials, specifications, and any other resources necessary to accomplish the task.  

Specifications may be in the form of, but not limited to, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab assignments, or any combination of specifications.

	MODULE A – INTRODUCTION TO METAL FRAMING

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	A1.0
Recognize metal construction components. (B)
A2.0
Value the importance of safety techniques when working with steel. (*4)
	A1.1
This competency will be measured cognitively.
A2.1
This competency will be measured affectively, throughout the course.

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	A1.1.1
List and describe common types of metal framing members. 

A1.1.2
Describe how metal framing members are fastened together.

A1.1.3
Identify tools used to work with metal framing members.

A2.1.1
Discuss metal framing safety precautions.

A2.1.2
Discuss safe operation of metal framing tools.

A2.1.3
Discuss personal protection equipment necessary for metal framing. 


	B

B

B

*4

*4

*4




	MODULE B – FLOOR CONSTRUCTION 

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	B1.0
Use metal framing components to construct floors. (2b)

	B1.1
Properly layout and build a metal-framed floor. (2)



	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	B1.1.1
Describe how to layout a metal framed floor to specification.

B1.1.2
Describe how to construct a metal framed floor.  
	b

b


	MODULE C – WALL CONSTRUCTION

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	C1.0
Use metal framing components to construct walls. (2b)

	C1.1
Properly layout and build metal-framed walls. (2)

C1.2
Properly frame for doors and windows. (2)

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	C1.1.1
Describe how to layout a metal framed wall to specification.

C1.1.2
Describe how to construct a metal framed wall.  

C1.2.1
Explain how to frame for doors and windows in a metal wall.


	b

b

b


	MODULE D – CEILING AND ROOF CONSTRUCTION

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	D1.0
Use metal framing components to construct ceilings and roofs.
(2b)



	D1.1
Properly layout and install metal ceiling joists. (2)

D1.2
Properly layout and build a metal roof.  (2)



	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	D1.1.1
Describe how to layout a metal ceiling joists to specification.

D1.1.2
Describe how to construct a metal ceiling.  

D1.2.1
Describe how to layout a metal roof.

D1.2.2
Explain how to construct a metal roof.


	b

b

b

b




COURSE CONTENT OUTLINE

MODULE A – INTRODUCTION TO METAL FRAMING

· Safety

· Metal framing components

· Tools

MODULE B – FLOOR CONSTRUCTION

· Layout

· Construction

MODULE C – WALL CONSTRUCTION
· Layout

· Construction

· Door and window framing

MODULE D – CEILING AND ROOF CONSTRUCTION
· Layout

· Construction

 RECOMMENDED METHODS OF EVALUATION:  The tables of specifications below identify the number of psychomotor (performance) objectives and cognitive (knowledge) enabling objectives/key indicators per module.  Instructors should develop a minimum of 1-3 performance evaluations per psychomotor objective and a minimum of 1-3 test questions per cognitive objective.  Create comprehensive, checklist evaluations for each psychomotor objective. For cognitive objectives, use appropriate written test type based on the complexity indicator for each objective.  Affective objectives may be used for graduation criteria, but should not be assigned a letter grade.
Facts/Nomenclature:  Multiple Choice, Fill-in, List, Matching, Alternative Response (true/false or yes/no) 

Principles/Procedures:  Multiple Choice, Fill-in, List, Short Answer

Analysis/Operating Principles:  Multiple Choice, Short Answer, Essay

Evaluation/Complete Theory: Multiple Choice, Short Answer, Essay

Performance Objectives (1/2/3/4/):  Observation, Comprehensive Checklist 

Affective Objectives (*1/*2/*3/*4/*5): Likert scale, Go/no go, Survey, Observation Checklist.

COGNITIVE TABLE OF SPECIFICATIONS 

	
	Cognitive Domain

	
	Facts/ Nomenclature
	Principles/ Procedures
	Analysis/ Operating Principles
	Evaluation/ Complete Theory
	Minimum Total Test Items

	Module A
	
	3
	
	
	3

	Module B
	
	2
	
	
	2

	Module C
	
	3
	
	
	3

	Module D
	
	4
	
	
	4

	Total
	
	12
	
	
	12


	
	Psychomotor Domain

	
	Limited Proficiency
	Partially Proficient
	Proficient
	Highly Proficient
	Minimum Total Evaluations

	Module A
	
	
	
	
	

	Module B
	
	1
	
	
	1

	Module C
	
	2
	
	
	2

	Module D
	
	2
	
	
	2

	Total
	
	5
	
	
	5


Psychomotor Table of Specifications
	AFFECTIVE OBJECTIVES Table of Specifications

	
	Affective Domain

	
	Receiving

*1
	Responding

*2
	Valuing

*3
	Organization

*4
	Characterization by Value

*5
	Total

Objectives

	Module A
	
	
	
	3
	
	3

	Module B
	
	
	
	
	
	

	Module C
	
	
	
	
	
	

	Module D
	
	
	
	
	
	

	Total
	
	
	
	3
	
	3


	Knowledge, Skills, and Abilities (KSA) Indicators

	
	Value
	Key Word(s)
	Definition

	Performance 
Ability 
	4
	Highly 

Proficient
	Performs competency quickly and accurately.  Instructs others how to do the competency. 

	
	3
	Proficient
	Performs all parts of the competency.  Needs only a spot check of completed work.

	
	2
	Partially

 Proficient
	Performs most parts of the competency.  Needs help only on hardest parts. 

	
	1
	Limited Proficiency
	Performs simple parts of the competency.  Needs to be told or shown how to do most of the competency. 

	Knowledge of Skills
	d
	Complete

Theory
	Predicts, isolates, and resolves problems about the competency.

	
	c
	Operating Principles
	Identifies why and when the competency must be done and why each step is needed.

	
	b
	Procedures
	Determines step-by-step procedures for doing the competency.

	
	a
	Nomenclature
	Names parts, tools, and simple facts about the competency.

	Knowledge
	D
	Evaluation
	Evaluates conditions and makes proper decisions about the subject.

	
	C
	Analysis
	Analyzes facts and principles and draws conclusions about the subject.

	
	B
	Principles
	Identifies relationship of basic facts and states general principles about the subject.

	
	A
	Facts
	Identifies basic facts and terms about the subject.

	Affective
	*5
	Characterization by Value
	Acting consistently with the new value

	
	*4
	Organization
	Integrating a new value into one's general set of values, giving it some ranking among one's general priorities

	
	*3
	Valuing
	Showing some definite involvement or commitment

	
	*2
	Responding
	Showing some new behaviors as a result of experience

	
	*1
	Receiving
	Being aware of or attending to something in the environment

	Alpha Scale Values - Any item with an upper case letter (A, B, C, D) by itself is taught as general information on a topic.  This information may be related to the competency or encompass multiple competencies.  Examples might include mathematical computations or knowledge of principles such as Ohm’s Law.

A lower case letter indicates a level of ”Knowledge of Skills."  Individuals are taught information pertaining to performing a competency .  These may be indicated alone or in conjunction with a numerical scale value.  A lower case letter by itself indicates the individual is not required to perform the task-just know about the task.  (example: Can state or explain procedures for doing a task).

Numerical Scale Values - The numbers reflect the levels the individual will be able to perform a competency. Number values are always accompanied by lower case letters (i.e. 1a, 2b, 3c...etc.) in order to specify the level of knowledge of skills associated with the competency.   

Example:  An individual with a competency with a scale indicator of 3b has received training of knowledge of skills whereby he or she can determine the correct procedures and perform with limited supervision; only requiring evaluation of the finished product or procedure.

Asterisk items indicate desired affective domain levels and are used alone to indicate the desired level for a given competency.   They may be used independently or with other indicators (i.e.   1a-*1, 2c-*3).  If used with another indicator, separate with a hyphen.

NOTE:  Codes indicate terminal values.


CAR 226 





Metal Framing





Plan of Instruction





Effective Date: Fall 2006			Version Number: Base Document						














PAGE  
Alabama College System

Copyright© 2004

All rights reserved

