[image: image2.jpg]Alabama
Department of
Postsecondary Education
Representing the Alabama Community College System





Drawing for Residential Construction 

DDT 155

DRAFT 06/22/12 

[image: image2.jpg]
COURSE DESCRIPTION:
This course is an applications lab for the theory of residential drawing and design. Topics include house design, site and space planning, construction materials and process, terminology, and specific types of drawings required to complete a set of construction documents. Introductory and intermediate level topics are covered. Upon completion, students should be able to produce drawings to convey the various issues and requirements essential to the field of residential drawing and design.
CREDIT HOURS 

Theory Credit Hours  
  

0 hours
Lab Credit Hours



4 hours  

Total Credit Hours 



4 hours
NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Programs may schedule practical lab hours as 3:1 or 2:1 contact to credit ratio; Clinical hours are 3:1 contact to credit ratio; and Preceptorships may be scheduled as 3:1 (P3) or 5:1 (P5) (Ref Board Policy 705.01).

PREREQUISITE COURSES 
As determined by college.
CO-REQUISITE COURSES 
As determined by college.
PROFESSIONAL COMPETENCIES

· Produce residential floor plans

· Produce residential exterior elevation drawings 

· Produce residential interior elevation drawings and schedules

· Produce common residential type wall and/or building sections 

· Produce a common residential type foundation plan and floor framing plan

· Produce a common residential type roof plan and roof framing plan

· Produce residential electrical drawings and legends 

· Produce a common residential type presentation drawing

INSTRUCTIONAL GOALS

· Cognitive – Comprehend principles and concepts related to drawing for residential construction.
· Psychomotor – Apply principles of fundamental drawing for residential construction.
· Affective – Value the importance of adhering to policy and procedures related to drawing for residential construction.
STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab/clinical assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES
	MODULE A – FLOOR PLANS

	MODULE DESCRIPTION – 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0  
Produce residential floor plans (2b)

	A1.1 
Draw a residential floor plan.

A1.2 
Draw basic floor plan symbols used for residential drafting.

A1.3 
Apply dimensions and notes to floor plan.
	

	LEARNING OBJECTIVES 
	KSA

	A1.1.1 
Explain the process to draw a residential floor plan
	b

	A1.2.1 
Identify basic floor plan symbols
	a

	A1.3.1 
Explain the methods for applying dimensions and annotations to floor plan
	b

	MODULE A OUTLINE:
· Floor plan layout

· Floor plan conventions

· Dimensioning




	MODULE B – EXTERIOR ELEVATIONS

	MODULE DESCRIPTION – 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0  
Produce residential exterior elevation drawings (2b)
	B1.1 Draw the exterior elevations for a floor plan.

B1.2 Draw basic exterior elevation symbols used for residential drafting.

B1.3 Apply dimensions and notes to elevation drawings.
	

	LEARNING OBJECTIVES 
	KSA

	B1.1.1 
Explain the process to draw the exterior elevations for a floor plan
	b

	B1.2.1 
Identify basic exterior elevation symbols used for residential drafting
	a

	B1.3.1 
Explain the methods for applying dimensions and annotations to floor plan
	b

	MODULE B OUTLINE:
· Exterior elevation layout

· Exterior elevation conventions




	MODULE C – Cabinet elevations, interior elevations and schedules

	MODULE DESCRIPTION – 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	C1.0  
Produce residential interior elevation drawings and schedules (2b)
	C1.1 
Draw basic cabinet elevations and/or other interior feature elevations for a floor plan.

C1.2 
Draw basic interior elevation symbols used for residential drafting.

C1.3 
Apply dimensions and notes to interior elevation drawings.

C1.4 
Produce door, window and finish schedules.
	

	LEARNING OBJECTIVES 
	KSA

	C1.1.1 
Explain the process to draw basic cabinet elevations and/or other interior feature elevations for a floor plan
	b



	C1.2.1 
Identify basic interior elevation symbols such as cabinets, appliances, materials rendering and drawing reference symbols.
	a

	C1.3.1 
Explain the methods for applying dimensions and annotations to floor plan
	b

	C1.4.1 
Explain the process to produce door, window and finish schedules
	b

	MODULE C OUTLINE:
· Cabinet elevation conventions

· Interior elevation conventions

· Door schedules

· Window schedules

· Finish schedules




	MODULE D – SECTIONS

	MODULE DESCRIPTION – 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	D1.0  
Produce common residential type wall and/or building sections (2b)

	D1.1 
Draw common residential type wall and/or building sections.
	

	LEARNING OBJECTIVES 
	KSA

	D1.1.1 
Identify common residential type wall and/or building sections.
	a

	MODULE D OUTLINE:
· Residential wall sections

· Residential building sections




	MODULE E – foundation Plan & floor framing plans

	MODULE DESCRIPTION – 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	E1.0  
Produce a common residential type foundation plan and floor framing plan. (2b)

	E1.1 
Draw a foundation plan.

E1.2 
Draw a floor framing plan.

E1.3 
Apply dimensions and notes to a foundation and/or floor framing plan.
	

	LEARNING OBJECTIVES 
	KSA

	E1.1.1 
Identify a foundation plan 

E1.1.2 
Explain the process to draw a foundation plan
	a

b

	E1.2.1 
Identify a floor framing plan

E1.2.2 
Explain the process to draw a floor framing plan
	a

b

	E1.3.1
Explain the methods for applying dimensions and annotations to foundation and floor framing plans
	b

	MODULE E OUTLINE:
· Foundation plans

· Floor framing plans




	MODULE F – roof plan & roof framing plans

	MODULE DESCRIPTION – 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	F1.0 
Produce a common residential type roof plan and roof framing plan(2b)
	F1.1 
Draw a roof plan.

F1.3 
Draw a roof framing plan.

F1.3 
Apply dimensions and notes to a roof plan and/or roof framing plan.
	

	LEARNING OBJECTIVES 
	KSA

	F1.1.1 
Identify a roof plan

F1.1.2 
Explain the process to draw a roof plan
	a
b

	F1.2.1 
Identify a roof framing plan

F1.2.2 
Explain the process to draw a framing plan
	a
b

	F1.3.1 
Explain the methods for applying dimensions and annotations to roof and roof framing plans
	b

	MODULE F OUTLINE:
· Roof plans

· Roof framing plans


	MODULE G – ELECTRICAL PLANS

	MODULE DESCRIPTION – 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	G1.0  
Produce residential electrical drawings and legends according to industry standards. (2b)
	G1.1 
Draw a basic electrical layout plan.

G1.2 
Draw basic electrical symbols used for residential drafting.

G1.3 
Annotate electrical plan and produce an electrical layout plan legend.
	

	LEARNING OBJECTIVES 
	KSA

	G1.1.1 Explain the process to draw a basic electrical layout plan
	b

	G1.2.1 Identify basic electrical symbols used for residential drafting

G1.2.2 Explain how to draw basic electrical symbols used for residential drafting
	a
b

	G1.3.1 Explain the methods to annotate electrical plan 

G1.3.2 Explain the process to produce an electrical layout plan legend
	b
b

	MODULE G OUTLINE:
· Electrical layout plans

· Electrical layout plan legends


	MODULE H – Presentation drawings

	MODULE DESCRIPTION – 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	H1.0  
Produce a common residential type presentation drawing. (2b)
	H1.1 
Draw a common residential type presentation drawing.
	

	LEARNING OBJECTIVES 
	KSA

	H1.1.1 
Explain the process to draw a common residential type presentation drawing
	b

	MODULE H OUTLINE:
· Residential presentation drawings




LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation. 
	
	Limited Knowledge and Proficiency
	Moderate Knowledge and Proficiency
	Advanced Knowledge and Proficiency
	Superior Knowledge and Proficiency

	KSA
	1
	2
	3
	4

	Module A
	
	
	
	

	Module B
	
	
	
	

	Module C
	
	
	
	

	Module D
	
	
	
	


The KSA is NOT determined by the verb used in the learning objective, but rather in the context in which the verb is used and the depth of knowledge and skills required. 
Example: Three KSA levels using the same verb (describe):
KSA 1 – Describe three characteristics of metamorphic rocks. (simple recall)

KSA 2 – Describe the difference between metamorphic and igneous rocks. (requires cognitive processing to determine the differences in the two rock types)

KSA 3 – Describe a model that you might use to represent the relationships that exist within the rock cycle. (requires deep understanding of rock cycle and a determination of how best to represent it)

[image: image1.jpg]Teaching and Learning Continuum

Teacher Contribution

Close Support

Receiving

Moderate Support

Accepting

Consulting

Internalizing

Synergy,

Synthesizing

Pedagogy

Mesagogy

Andragogy

Heutagogy

——Active
Independent

Learner Contribution ——— ¥





	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Recognize basic information about the subject including terms and nomenclature.

· Students must demonstrate ability to recall information such as facts, terminology or rules related to information previously taught.  
· Performs simple parts of the competency.  Student requires close supervision when performing the competency.

	2
	Moderate Knowledge and Proficiency
	· Distinguish relationships between general principles and facts. Adopts prescribed methodologies and concepts.
· Students must demonstrate understanding of multiple facts and principles and their relationships, and differentiate between elements of information.  Students state ideal sequence for performing task. 
· Performs most parts of the competency with instructor assistance as appropriate.

	3
	Advanced Knowledge and Proficiency
	· Examines conditions, findings, or other relevant data to select an appropriate response.  

· The ability to determine why and when a particular response is appropriate and predict anticipated outcomes. 
· Students demonstrate their ability to seek additional information and incorporate new findings into the conclusion and justify their answers.
· Performs all parts of the competency without instructor assistance.

	4
	Superior Knowledge and Proficiency
	· Assessing conditions, findings, data, and relevant theory to formulate appropriate responses and develop procedures for situation resolution. Involves higher levels of cognitive reasoning. 
· Requires students to formulate connections between relevant ideas and observations. 
· Students apply judgments to the value of alternatives and select the most appropriate response. 
· Can instruct others how to do the competency.
· Performs competency quickly and accurately.

	A
	Affective Objective
	· Describes learning objectives that emphasize a feeling tone, an emotion, or a degree of acceptance or rejection.  
· Objectives vary from simple attention to selected phenomena to complex but internally consistent qualities of character and conscience. 
· Expressed as interests, attitudes, appreciations, values, and emotional sets or biases.


DDT 155





Drawing for Residential Construction





Plan of Instruction





Effective Date: 2004 							Version Number:  2012-1











Alabama Community College System

Copyright© 2012

All Rights Reserved
PAGE  
2
ACCS Copyright© 2012

All Rights Reserved

