[image: image2.jpg]Alabama
Department of
Postsecondary Education
Representing the Alabama Community College System





Dental Radiology

DAT/DNT 112


9/21/11
[image: image2.jpg]
COURSE DESCRIPTION:
This course is designed to cover the essential knowledge of radiographic technique for the practice of dentistry. Students will be taught to produce diagnostically acceptable intra and extra-oral radiographs with emphasis being placed on x-ray properties, generation of x-rays, film processing, operator and patient safety, infection control, quality assurance, intraoral radiographic technique and image characteristics. Upon completion, students should be able to expose, process, and mount radiographs for diagnostic purposes under the direct supervision of a licensed dentist. CORE
CONTACT/CREDIT HOURS 

Theory Credit Hours  
  

2 hours
Lab Credit Hours



1 hour  

Total Credit Hours 



3 hours
NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule practical lab hours as 3:1 and/or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)

PREREQUISITE COURSES 
As determined by college.
CO-REQUISITE COURSES 
As determined by college.
PROFESSIONAL COMPETENCIES

· Comprehend the foundational aspects of radiographs.
· Identify and operate the various types of radiograph equipment.
· Identify the various types and speeds of film, and describe the appropriate care and storage of each.
· Comprehend the principles of safe exposure of radiographs.
· Perform various radiographic examinations.
· Process and mount radiographs.
· Discuss the desired features of radiographs and apply the appropriate corrective action for errors.

INSTRUCTIONAL GOALS

· Cognitive – Comprehend principles and concepts related to dental radiology.
· Psychomotor – Apply principles of dental radiology.
· Affective – Value the importance of adhering to policy and procedures related to dental radiology.
STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab/clinical assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES
	MODULE A – RADIOGRAPH FOUNDATIONS

	MODULE DESCRIPTION – The purpose of this module is to teach the students the foundational aspects of radiographs. Topics include the history of radiographs, and x-ray emission properties and principles.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Comprehend the foundational aspects of radiographs.
	A1.1
This competency is measured cognitively.
	1

	LEARNING OBJECTIVES 
	KSA

	A1.1.1
Discuss historical events from the discovery of x-radiation to the present.

A1.1.2
Describe the theory and principles of radiation production. 
 
	1
1

	MODULE A OUTLINE: 

· History of Radiographs

· X-Ray emission

· Properties

· Principles




	MODULE B – RADIOGRAPH EQUIPMENT

	MODULE DESCRIPTION – The purpose of this module is to teach the students to identify and operate the various types of radiograph equipment as well as to identify the various types and speeds of film, and the appropriate care and storage of each. Topics include equipment components, function, and settings, film speed, film types, film care and storage, darkroom equipment, and duplication of radiographs.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Identify and operate the various types of radiograph equipment.
B1.0
Identify the various types and speeds of film, and describe the appropriate care and storage of each.
	B1.1
Safely operate radiographic equipment including the adjustment of settings to meet patient and film requirements. 

B1.1
Demonstrate appropriate duplication procedures.
	2
2

	LEARNING OBJECTIVES 
	KSA

	B1.1.1
Identify the various types of radiographic equipment.
B1.1.2
Describe the function of the radiographic equipment.

B1.1.3
Explain how to adjust equipment settings.

B1.1.4
Differentiate between the various types and speeds of radiographic film.

B1.1.5
Describe the proper care and storage of radiographic film.

B1.1.6
Identify the components of the processing unit.

B1.1.7
Explain care of darkroom equipment.

B1.1.8
Describe the function, safe use and disposal of the processing chemicals.

B1.1.9
Describe how to duplicate radiographs.
	1
2

2

2

2

2

2

3

2

	MODULE B OUTLINE:
· Radiographic equipment

· Identify components

· Demonstrate function

· Adjust settings

· X-Ray film

· Speed

· Types

· Care

· Storage

· Darkroom equipment and apparatus

· Identify

· Operate

· Processing chemicals
· Duplicating radiographs



	MODULE C – RADIOGRAPHIC SAFETY

	MODULE DESCRIPTION – The purpose of this module is to teach the students the principles of safe exposure of radiographs. Topics include biological effects of radiation, radiation protection, and OSHA standards and techniques for infection control.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	C1.0
Comprehend the principles of safe exposure of radiographs.
	C1.1
Demonstrate the safe exposure of radiographs.
	3

	LEARNING OBJECTIVES 
	KSA

	C1.1.1
Discuss the biological effects of radiation on body tissue.
C1.1.2
Summarize the radiation protection methods for the operator and patient.

C1.1.3
Discuss the standards and techniques for radiologic infection control.

C1.1.4
Explain the roles techniques and exposure choices play in preventing unnecessary radiation exposure. 


	1
3

3

3

	MODULE C OUTLINE:
· Biological effects of radiation

· Radiation protection (ALARA method)

· Patient

· Operator
· OSHA standards and techniques for infection control
· Film

· Radiographic operatories
· Darkrooms 




	MODULE D – TYPES OF RADIOGRAPHIC EXAMINATIONS 

	MODULE DESCRIPTION – The purpose of this module is to teach the students to perform various radiographic examinations. Topics include full mouth, panoramic, periapical, occlusal, bitewing and digital radiographs.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	D1.0
Perform various radiographic examinations.
	D1.1
Demonstrate various techniques when performing radiographic examinations as specified.
	2

	LEARNING OBJECTIVES 
	KSA

	D1.1.1
Describe the appropriate technique for a full mouth radiograph.
D1.1.2
Describe the appropriate technique for a panoramic radiograph.
D1.1.3
Describe the appropriate technique for a periapical radiograph.
D1.1.4
Describe the appropriate technique for a occlusal radiograph.
D1.1.5
Describe the appropriate technique for a bitewing radiograph.
D1.1.6
Describe the appropriate technique for a digital radiograph.
	2
2

2

2

2

2

	MODULE D OUTLINE:
· Full Mouth radiographs (adult and pediatric)

· Position
· Expose

· Panoramic radiograph 

· Position

· Expose

· Periapical radiograph

· Position

· Expose

· Occlusal radiograph 

· Position

· Expose

· Bitewing radiograph

· Position

· Expose

· Digital radiograph

· Position

· Expose




	MODULE E – RADIOGRAPH PROCESSING AND MOUNTING

	MODULE DESCRIPTION – The purpose of this module is to teach the students how to process and mount radiographs. Topics include solution properties, processing procedures, maintenance, types of mounts and mounting procedures.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	E1.0
Process and mount radiographs.
	E1.1
Demonstrate the proper technique for processing radiographs.

E1.1
Demonstrate the proper technique for mounting radiographs.
	2
2

	LEARNING OBJECTIVES 
	KSA

	E1.1.1
Explain the functions of each processing chemical.
E1.1.2
List, in sequence the steps in processing dental film.

E1.1.3
Explain the role chemical replenishment and solution changes play in maintaining the darkroom.

E1.1.4
Explain the cleaning procedure for processing equipment.

E1.1.5
Identify various types of x-ray mounts.

E1.1.6
Discuss the proper method for mounting radiographs.


	1
3

2

2

1

2

	MODULE E OUTLINE:
· Processing 

· Solution properties

· Procedures

· Maintenance

· Solution

· Equipment

· Film

· Types of mounts
· Mounting procedures



	MODULE F – RADIOGRAPHIC QUALITY & INTERPRETATION

	MODULE DESCRIPTION – The purpose of this module is to teach the students the desired features of radiographs and how to apply the appropriate corrective action for errors. Topics include X-Ray density, contrast, definition, distortion, identification of landmarks, exposure faults and processing faults.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	F1.0
Discuss the desired features of radiographs and apply the appropriate corrective action for errors.
	F1.1
Determine whether a radiograph is of an acceptable diagnostic quality and correct the errors as applicable.
	2

	LEARNING OBJECTIVES 
	KSA

	F1.1.1
Describe the importance of proper density, contrast, definition, and distortion.
F1.1.2
Describe how mA and kVp and exposure time affect film density and image contrast.

F1.1.3
Describe how to prevent radiographic technique errors and image distortion.

F1.1.4
Differentiate between normal and abnormal dental anatomy on radiographs.

F1.1.5
Identify and correct non-diagnostic radiographs.


	1
1

2

2

2

	MODULE F OUTLINE: 

· X-Ray quality
· Density

· Contrast

· Definition

· Distortion

· Interpretation

· Identification

· Landmarks

· Exposure faults

· Processing faults




LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Limited Knowledge and Proficiency
	Moderate Knowledge and Proficiency
	Advanced Knowledge and Proficiency
	Superior Knowledge and Proficiency

	KSA
	1
	2
	3
	4

	Module A
	100%
	
	
	

	Module B
	11%
	78%
	11%
	

	Module C
	25%
	
	75%
	

	Module D
	
	100%
	
	

	Module E
	33%
	50%
	17%
	

	Module F
	40%
	60%
	
	


The KSA is NOT determined by the verb used in the learning objective, but rather in the context in which the verb is used and the depth of knowledge and skills required. 

Example: Three KSA levels using the same verb (describe):

KSA 1 – Describe three characteristics of metamorphic rocks. (simple recall)

KSA 2 – Describe the difference between metamorphic and igneous rocks. (requires cognitive processing to determine the differences in the two rock types)

KSA 3 – Describe a model that you might use to represent the relationships that exist within the rock cycle. (requires deep understanding of rock cycle and a determination of how best to represent it)
	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1

Recall & Reproduction
	Limited Knowledge and Proficiency
	· Identifies basic facts and terms about the subject or competency.

· Performs simple tasks associated with the competency.  Needs to be told or shown how to do most tasks.  

· Requires close supervision.

	2

Skills & Concepts
	Moderate Knowledge and Proficiency
	· Identifies relationship of basic facts and states general principles and can determine step-by-step procedures for doing the competency.

· Performs most parts of the competency.  Needs help only on hardest parts.  

· Requires limited supervision.

	3

Strategic Thinking
	Advanced Knowledge and Proficiency
	· Analyzes facts and principles and draws conclusions about the subject to include why and when the competency must be done and why each step is needed.  Can predict outcomes.

· Performs all parts of the competency.  Needs only a spot check of completed work.  

· Requires little or no direct supervision.

	4

Extended Thinking
	Superior Knowledge and Proficiency
	· Can evaluate conditions and make appropriate decisions as related to resolving problems. 

· Performs competency quickly and accurately with no direct supervision and is able to instruct and supervise others.  

	A

Attitudes and Motivation
	Affective Objective
	· Describes learning objectives that emphasize a feeling tone, an emotion, or a degree of acceptance or rejection.  

· Objectives vary from simple attention to selected phenomena to complex but internally consistent qualities of character and conscience. 

· Expressed as interests, attitudes, appreciations, values, and emotional sets or biases.


[image: image1.jpg]Teaching and Learning Continuum

Teacher Contribution

Close Support

Receiving

Moderate Support

Accepting

Consulting

Internalizing

Synergy,

Synthesizing

Pedagogy

Mesagogy

Andragogy

Heutagogy

——Active
Independent

Learner Contribution ——— ¥




DAT/DNT 112





Dental Radiology





Plan of Instruction





Effective Date: Fall 2011	 									Version Number: 2011-1  











Alabama Community College System

Copyright© 2011

All Rights Reserved
PAGE  
2
ACCS Copyright© 2011

All Rights Reserved

