[image: image2.jpg]Alabama
Department of
Postsecondary Education
Representing the Alabama Community College System





Concepts of Alternating Current

EET 113, ELT 112, ETC 119, ILT 107, INT 122

01/05/12
[image: image2.jpg]
COURSE DESCRIPTION:
This course provides an advanced study of alternating current (AC) concepts and application principles.  Specific topics include safety, terms and symbols, AC electrical theory, components, circuits, electrical measurement instruments, laws of AC, and methods for constructing and measuring various types of AC circuits.  Students gain hands-on experience through laboratory exercises designed to analyze complex circuits, power requirements, faults, phase relationships, and power factors.  Emphasis is placed on the use of scientific calculators and the operation of various types of test equipment used to analyze and troubleshoot AC circuits. This course may serve as a substitute core for AC Fundamentals.
CREDIT HOURS 

Theory Credit Hours  
  

3 hours
Lab Credit Hours



2 hour  

Total Credit Hours 



5 hours
NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as 3:1 and/or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)

PREREQUISITE COURSES 
As determined by college.
CO-REQUISITE COURSES 
As determined by college.
PROFESSIONAL COMPETENCIES

· Practice safety.
· Explain concepts related to AC electrical theory.
· Use AC electrical measurement instruments. 
· Construct and analyze various AC circuits.
INSTRUCTIONAL GOALS

· Cognitive – Comprehend principles and concepts related to the fundamentals of alternating current.
· Psychomotor – Apply principles of the fundamentals of alternating current.

· Affective – Value the importance of adhering to policy and procedures related to the fundamentals of alternating current.

STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab/clinical assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES
	MODULE A – INTRODUCTION TO AC ELECTRICAL THEORY

	MODULE DESCRIPTION – This module is designed to teach the students the concepts related to AC electrical theory. Topics include magnetism, sine waves, Ohm’s law, and AC power laws.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Practice safety.
	A1.1
Perform lab activities in a safe manner.
	3

	
	A1.2
Select and safely use the appropriate tools.
	3

	A2.0
Explain concepts related to AC electrical theory. 
	A2.1
This competency is measured cognitively.
	2

	LEARNING OBJECTIVES 
	KSA

	A1.1.1
Explain safety rules and procedures for lab activities.
	2

	A1.2.1
Explain the proper use of basic electrical tools. 

A1.2.2
Explain inspection procedures for tools.
	2

2

	A2.1.1
Define terms associated with AC electricity.

A2.1.2
Identify basic symbols used with AC electricity.

A2.1.3
Explain magnetism.

A2.1.4
Explain magnetic units.

A2.1.5
Explain electromagnetic induction.

A2.1.6
Identify a sine wave.

A2.1.7
Describe sine wave generation.

A2.1.8
Define measurements of a sine wave.

A2.1.9
Analyze basic AC circuits using Ohm’s Law.

A2.1.10
Calculate sine wave measurements.
A2.1.11
Explain AC power law formulas.

A2.1.12
Calculate circuit values using AC power law.
	1

1

2

2
2

1

2

2

3

3

2

3

	MODULE A OUTLINE:
· Safety and tool use
· Terms 

· Symbols

· Magnetism

· Magnetism characteristics     


· Magnetic units

· Electromagnetic induction

· Sine wave measurements

· Peak to peak

· Peak 

· RMS

· Average

· Period 

· Frequency

· AC Ohm’s Law

· Formulas

· Calculations

· AC Power Law

· Formulas

· Calculations




	MODULE B – AC ELECTRICAL MEASUREMENTS

	MODULE DESCRIPTION – This module is designed to teach the students to use AC electrical measurement instruments. Topics include components and operation of an oscilloscope, and how it differs from other electrical measurement instruments.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Use AC electrical measurement instruments.
	B1.1
Use various instruments to measure AC quantities.
	3

	LEARNING OBJECTIVES 
	KSA

	B1.1.1
Identify components of an oscilloscope.

B1.1.2
Explain the operation of an oscilloscope. 

B1.1.3
Differentiate between the measurements of an oscilloscope and other electric measurement instruments.
	1
3
3

	MODULE B OUTLINE:
· Oscilloscope

· Multi-meter

· Other devices




	MODULE C – AC CIRCUITS

	MODULE DESCRIPTION – The purpose of this module is to teach students to construct and analyze various AC circuits. Topics include RC, RL, and RLC circuits, safety, magnetism, sine waves, oscilloscopes, schematics, transformers, and troubleshooting.  

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	C1.0
Construct and analyze various AC circuits.
	C1.1
Construct RC circuits and measure electrical quantities.
	3

	
	C1.2
Construct RL circuits and measure electrical quantities.
	3

	
	C1.3
Construct RLC circuits and measure electrical quantities.
	3

	LEARNING OBJECTIVES 
	KSA

	C1.1.1
Identify schematics and symbols for various AC circuits.

C1.1.2
Explain the characteristics of capacitors.

C1.1.3
Calculate total capacitance in series and parallel.

C1.1.4
Calculate capacitive reactance.

C1.1.5
Calculate impedance.

C1.1.6
Calculate phase angle.

C1.1.7
Calculate current.

C1.1.8
Calculate voltage.

C1.1.9
Calculate power factors.

C1.1.10
Calculate time constants.
	1

2

3

3

3
3

3

3

3

3

	C1.2.1
Explain the characteristics of inductors.

C1.2.2
Calculate total inductance in series and parallel.

C1.2.3
Calculate inductive reactance.

C1.2.4
Calculate impedance.

C1.2.5
Calculate phase angle.

C1.2.6
Calculate current.

C1.2.7
Calculate voltage.

C1.2.8
Calculate power factors.

C1.2.9
Calculate time constants.

C1.2.10
Explain the turns ratio of transformers.

C1.2.11
Define electrical characteristics of transformers.
	2

3

3

3

3

3

3

3

3

2

2

	C1.3.1
Calculate impedance.

C1.3.2
Calculate phase angle.

C1.3.3
Calculate current.

C1.3.4
Calculate voltage.

C1.3.5
Calculate power factors.

C1.3.6
Calculate resonance.

C1.3.7
Describe filters.

C1.3.8
Measure bandwidth.
	3

3

3

3

3

3

2

3

	MODULE C OUTLINE:
· Schematics and symbols

· Capacitive circuits

· Capacitive reactance

· Inductive circuits

· Inductive reactance

· Transformers

· Turns ratio

· Primary/secondary

· Electrical characteristics

· Resistive, capacitive, inductive circuits

· Time constants

· RC

· LR

· Resonant circuits

· Types and functions of filters

· Measurement and calculations

· Circuit construction techniques
· Troubleshooting



LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Limited Knowledge and Proficiency
	Moderate Knowledge and Proficiency
	Advanced Knowledge and Proficiency
	Superior Knowledge and Proficiency

	KSA
	1
	2
	3
	4

	Module A
	20%
	60%
	20%
	

	Module B
	33%
	0%
	67%
	

	Module C
	3%
	17%
	80%
	


	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Identifies basic facts and terms about the subject or competency.

· Performs simple tasks associated with the competency.  Needs to be told or shown how to do most tasks.  

· Requires close supervision.

	2
	Moderate Knowledge and Proficiency
	· Identifies relationship of basic facts and states general principles and can determine step-by-step procedures for doing the competency.

· Performs most parts of the competency.  Needs help only on hardest parts.  

· Requires limited supervision.

	3
	Advanced Knowledge and Proficiency
	· Analyzes facts and principles and draws conclusions about the subject to include why and when the competency must be done and why each step is needed.  Can predict outcomes.

· Performs all parts of the competency.  Needs only a spot check of completed work.  

· Requires little or no direct supervision.

	4
	Superior Knowledge and Proficiency
	· Can evaluate conditions and make appropriate decisions as related to resolving problems. 

· Performs competency quickly and accurately with no direct supervision and is able to instruct and supervise others.  


[image: image1.jpg]Teaching and Learning Continuum

Teacher Contribution

Close Support

Receiving

Moderate Support

Accepting

Consulting

Internalizing

Synergy,

Synthesizing

Pedagogy

Mesagogy

Andragogy

Heutagogy

——Active
Independent

Learner Contribution ——— ¥




EET 113, ELT 112, ETC 119, ILT 107, INT 122





Concepts of Alternating Current





Plan of Instruction





Effective Date:  2005							Version Number:  2012-1











Alabama Community College System

Copyright© 2011

All Rights Reserved
PAGE  
2
ACCS Copyright© 2011

All Rights Reserved

