[image: image2.png]


[image: image2.png]
Elements of Industrial Controls with PLCs II

EET 276, AUT 217, ILT 276, INT 276, ELT 276

03/28/13

COURSE DESCRIPTION:

This course includes the advanced principals of PLC's including hardware, programming, variable speed drives, and troubleshooting. Emphasis is placed on developing advanced working programs, and troubleshooting hardware and software communication problems. Upon completion, students should be able to demonstrate their ability in developing programs and troubleshooting the system.
CONTACT/CREDIT HOURS 

Theory Credit Hours  
  

3 hours
Lab Credit Hours



0 hours  

Total Credit Hours 



3 hours
NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as (3:1 contact to credit hour ratio), (2:1 contact to credit hour ratio) or a combination of the two as needed, but all like courses must be treated the same.

	Date
	Recent Changes

	03/28/13
	Changed title - added PLCs 

	03/28/13
	Updated KSA’s and KSA table 


PREREQUISITE COURSES 

As determined by college.

CO-REQUISITE COURSES 

EET 277 or AUT 218 or ILT 277 or INT 277 or ELT 277
INSTRUCTOR NOTE:  This is the theory portion of a two part PLC course and should be taught in conjunction with co-requisite lab.  Lectures should be designed to provide the students with the concepts they will be demonstrating in the lab.  The focus of this course is on teaching the learning objectives to a sufficient level so that students grasp the concepts and are prepared to perform in the lab.
PROFESSIONAL COMPETENCIES

· Develop advanced PLC programs.
· Troubleshoot a PLC system.
INSTRUCTIONAL GOALS

· Cognitive – Comprehend principles and concepts related to advanced programmable logic controllers.
· Psychomotor – Apply principles of advanced programmable logic controllers.
· Affective – Value the importance of adhering to policy and procedures related to advanced programmable logic controllers.
STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab/clinical assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES

	MODULE A – Advanced Programming

	MODULE DESCRIPTION – The purpose of this module is to teach the students to develop advanced PLC programming techniques.  Topics include control instructions, comparison instructions, math instructions, data manipulation, sequencers and/or PID instructions, and variable speed drives. 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Develop advanced PLC programs.
	A1.1
This competency is measured cognitively.
	3

	
	A1.2
This competency is measured cognitively.
	3

	
	A1.3
This competency is measured cognitively.
	3

	
	A1.4
This competency is measured cognitively.
	3

	
	A1.5
This competency is measured cognitively.
	3

	
	A1.6
This competency is measured cognitively.
	3

	LEARNING OBJECTIVES 
	KSA

	A1.1.1
 Describe the zone control commands.
A1.1.2  Describe the jump and label commands. 
A1.1.3
 Describe the subroutine commands.
	3
3
3

	A1.2.1
 Describe the greater than instruction.

A1.2.2
 Describe the less than instruction.

A1.2.3
 Describe the equal to instruction.
	3
3
3

	A1.3.1  Describe the add function.

A1.3.2  Describe the subtract function.

A1.3.3  Describe the multiply function.

A1.3.4  Describe the divide function.
	3
3
3
3

	A1.4.1  Explain the move command.
A1.4.2  Explain the copy command.
	3
3

	A1.5.1  Explain the function of a sequencer and/or PID control.
	3

	A1.6.1
Explain the function of a variable speed drive.

A1.6.2
Explain how to install and set up a variable speed drive.

A1.6.3
Describe how to set the operational parameters.
A1.6.4
Identify and interpret error codes.

A1.6.5
Describe how to analyze and clear error codes.
	3
3
3
3
3

	MODULE A OUTLINE:

· Control Instructions

· Zone control commands

· Jump and label commands 

· Subroutine commands

· Comparison Instruction
· Greater than instruction

· Less than instruction

· Equal to instruction

· Math Instructions
· Add function

· Subtract function

· Multiply function

· Divide function

· Data Manipulations
· Move command

· Function of a sequencer
· Variable speed drive
· Input/output commands

· Operational parameters

· Error codes




	MODULE B – Troubleshooting

	MODULE DESCRIPTION – The purpose of this module is to teach the students to troubleshoot a PLC system.  Topics include troubleshooting hardware and software problems.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Troubleshoot a PLC system.
	B1.1
This competency is measured cognitively.
	3

	
	B1.2
This competency is measured cognitively.
	3

	LEARNING OBJECTIVES 
	KSA

	B1.1.1
Describe the troubleshooting techniques for the controller.
B1.1.2
Describe the troubleshooting techniques for wiring/termination.
B1.1.3
Describe the troubleshooting techniques for field devices.
B1.1.4
Describe the process of using software to troubleshoot the PLC system.
	3
3
3
3

	B1.2.1
Describe the operation and troubleshooting process of the communication software.

B1.2.2
Describe the process of troubleshooting the PLC program. 
	3
3

	MODULE B OUTLINE:

· Troubleshooting hardware 
· Controller troubleshooting techniques
· Wiring/Termination troubleshooting techniques
· Field Device troubleshooting techniques
· Software based troubleshooting techniques 
· Troubleshooting Software

· The operation and troubleshooting process of the communication software

· Troubleshooting the PLC program


LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Limited Knowledge and Proficiency
	Moderate Knowledge and Proficiency
	Advanced Knowledge and Proficiency
	Superior Knowledge and Proficiency

	KSA
	1
	2
	3
	4

	Module A
	
	
	100%
	

	Module B
	
	
	100%
	


The KSA is NOT determined by the verb used in the learning objective, but rather in the context in which the verb is used and the depth of knowledge and skills required. 
Example: Three KSA levels using the same verb (describe):
KSA 1 – Describe three characteristics of metamorphic rocks. (simple recall)

KSA 2 – Describe the difference between metamorphic and igneous rocks. (requires cognitive processing to determine the differences in the two rock types)

KSA 3 – Describe a model that you might use to represent the relationships that exist within the rock cycle. (requires deep understanding of rock cycle and a determination of how best to represent it)

[image: image1.jpg]Teaching and Learning Continuum

Teacher Contribution

Close Support

Receiving

Moderate Support

Accepting

Consulting

Internalizing

Synergy,

Synthesizing

Pedagogy

Mesagogy

Andragogy

Heutagogy

——Active
Independent

Learner Contribution ——— ¥





	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Recognize basic information about the subject including terms and nomenclature.

· Students must demonstrate ability to recall information such as facts, terminology or rules related to information previously taught.  

· Performs simple parts of the competency.  Student requires close supervision when performing the competency.

	2
	Moderate Knowledge and Proficiency
	· Distinguish relationships between general principles and facts. Adopts prescribed methodologies and concepts.

· Students must demonstrate understanding of multiple facts and principles and their relationships, and differentiate between elements of information.  Students state ideal sequence for performing task. 

· Performs most parts of the competency with instructor assistance as appropriate.

	3
	Advanced Knowledge and Proficiency
	· Examines conditions, findings, or other relevant data to select an appropriate response.  

· The ability to determine why and when a particular response is appropriate and predict anticipated outcomes. 

· Students demonstrate their ability to seek additional information and incorporate new findings into the conclusion and justify their answers.

· Able and willing to perform tasks independently.

	4
	Superior Knowledge and Proficiency
	· Assessing conditions, findings, data, and relevant theory to formulate appropriate responses and develop procedures for situation resolution. Involves higher levels of cognitive reasoning. 
· Requires students to formulate connections between relevant ideas and observations. 

· Students apply judgments to the value of alternatives and select the most appropriate response. 

· Can instruct others how to do the competency.

· Performs competency quickly and accurately.

	A
	Affective Objective
	· Describes learning objectives that emphasize a feeling tone, an emotion, or a degree of acceptance or rejection.  
· Objectives vary from simple attention to selected phenomena to complex but internally consistent qualities of character and conscience. 
· Expressed as interests, attitudes, appreciations, values, and emotional sets or biases.


EET 276, AUT 217, ILT 276, INT 276, ELT 276 





Elements of Industrial Controls with PLCs II 





Plan of Instruction





Effective Date: Fall 2009								Version Number: 2013-1  











Alabama Community College System

Copyright© 2013
All Rights Reserved
PAGE  
2
ACCS Copyright© 20013
All Rights Reserved

