[image: image1.png](e

AL




Residential Wiring II

















ELT 115



This course may be taught in its entirety in career/technical education degree programs, non-degree programs, and Training for Business and Industry programs.  Individual instructional modules may be taught in customized training, adult education work-based project learner activities, and short-term training.

COURSE DESCRIPTION  

This course is a study of residential wiring practices and methods, the NEC requirements and residential blueprint interpretations. Core ELT 114 and ELT 115 may be taken in the place of ELT 116.  This course supports CIP code 46.0302.

CONTACT/CREDIT HOURS 
Theory Credit Hours  
  

2 credit hour  

Lab Credit Hours



1 credit hours  

Total Credit Hours 



3 credit hours

NOTE:  Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1 contact to credit hour ratio) or experimental (2:1 contact to credit hour ratio).

PREREQUISITE COURSES 
Basic AC/DC Principles course or demonstrated knowledge of AC/DC principles and other courses as determined by the instructor.

CO-REQUISITE COURSES 

Determined by college unless stated otherwise.

INSTRUCTIONAL NOTE:  Foundational academic skills in General Math including such as integers, percents, ratio and proportions, metric system and linear equations and Technical Writing such as research, organization, composition, documentation, and report presentation are used throughout this discipline.
INDUSTRY COMPETENCIES:

· Obtain information from plans and specifications

· Draw the electrical system for a residential floor plan

· Identify conductors and cables

· Select the correct junction or device box

· Make proper electrical connections

· Install and wire a single-pole switched lighting circuit

· Install and wire a three-way switched lighting circuit

· Install and wire a combination three-way and four-way switched lighting circuit

· Install and wire a duplex receptacle outlet

· Install and wire a split circuit duplex receptacle outlet circuit

· Install and wire a special-purpose outlet circuit

· Install and connect lighting circuits and fixtures

· Identify the parts of a service entrance

· Install a load center or panel-board

· Install a service entrance meter base

· Install a low-voltage signal system

· Calculate total job installation requirements

· Install a smoke detector 

· Obtain electrical wiring installation information from a commercial floor plan

· Install Arc Fault Circuit Interruption (AFCI)

· Install Ground Fault Circuit Interruption (GFCI)

GENERAL INSTRUCTIONAL OBJECTIVES  

The cognitive objective of this course is for each student to comprehend foundational knowledge needed to perform stated entry-level industry competencies as they apply to standard electrical wiring methods and National Electrical Code (NEC) requirements in residential and industrial environments.

The performance objective of this course is for each student to apply foundational knowledge to residential wiring problems and exercises encountered in class and in simulated classroom environments. 

INDUSTRY COMPETENCIES/STUDENT PERFORMANCE

Unless otherwise indicated, evaluation of student’s attainment of cognitive and performance objectives is based on knowledge gained from this course.  During performance evaluations, students will be provided necessary tools, equipment, materials, specifications, and any other resources necessary to accomplish the task.  Specifications may be in the form of, but not limited to, certification agencies, national and state codes, health care facility policies, locally developed lab/clinical assignments, or any combination of specifications.
	MODULE A – FUNDAMENTALS OF RESIDENTIAL WIRING

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	Obtain information from plans and specifications
	Identify and interpret information/specifications from design plans

	Draw the electrical system for a residential floor plan
	Design and prepare an electrical system floor plan

	Identify conductors and cables
	Identify and differentiate various conductor and cable types

	Select the correct junction or device box
	Select the correct junction or device box

	ENABLING OBJECTIVES/KEY INDICATORS

	· See ELT 114


	MODULE B – RESIDENTIAL WIRING PRACTICAL

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	Make proper electrical connections
	Select and connect various electrical connections

	Install and wire a single-pole switched lighting circuit
	Install and connect a single-pole switched lighting circuit

	Install and wire a three-way switched lighting circuit
	Install and connect a three-way switched lighting circuit

	Install and wire a combination three-way and four-way switched lighting circuit
	Install and connect a combination three-way and four-way switched lighting circuit

	Install and wire a duplex receptacle outlet
	Install and connect a duplex receptacle outlet

	Install and wire a split circuit duplex receptacle outlet circuit
	Install and connect a split circuit duplex receptacle outlet circuit

	Install and wire a special-purpose outlet circuit
	Install and connect a special-purpose outlet circuit

	Install and connect lighting circuits and fixtures
	Install and connect lighting circuits and fixtures

	Identify the parts of a service entrance
	Identify the parts of a service entrance

	Install a load center or panel-board
	Install a load center or panel-board

	Install a service entrance meter base
	Install a service entrance meter base

	Install a low-voltage signal system
	Install a low-voltage signal system

	Calculate total job installation requirements
	Calculate total job installation requirements

	ENABLING OBJECTIVES/KEY INDICATORS

	· See ELT 114


	MODULE C – RESIDENTIAL WIRING MISCELLANEOUS

	INDUSTRY/PERFORMANCE COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	Install a smoke detector 
	Install a smoke detector 

	Obtain electrical wiring installation information from a commercial floor plan
	Identify and interpret electrical wiring installation information from a commercial floor plan

	Install Arc Fault Circuit Interruption (AFCI)
	Install Arc Fault Circuit Interruption (AFCI)

	Install Ground Fault Circuit Interruption (GFCI)
	Install Ground Fault Circuit Interruption (GFCI)

	ENABLING OBJECTIVES/KEY INDICATORS

	· See ELT 114


COURSE CONTENT OUTLINE

· Safety

· Electrical Symbols and Outlets

· Conductors

· Circuits

· Lighting

· Low-voltage

· Detectors

· Service entrance

RECOMMENDED METHODS OF EVALUATION:  The table of specifications below identifies the number of enabling objectives/key indicators per cognitive domain level of learning (Knowledge, Comprehension, Application) per module.  The instructor should develop 1-3 test questions per Knowledge Level of Learning, 2-4 test questions per Comprehension Level of Learning, and 5-6 questions per Application Level Learning.   The numbers shown on the table of specifications represent minimum recommended questions per module to ensure adequate sampling of knowledge and behavior.  The instructor should use the following test item types for each level of learning:

Knowledge:  Alternative Response test items (true/false or yes/no) 

Comprehension:  Multiple Choice

Application: Multiple Choice, Short Answer Exercises

The table of specifications below identifies the number of criterion objectives per module.  The instructor should ensure each student meets the performance and standards published in each objective.
TABLE OF SPECIFICATIONS:

	Domain of Learning/

Content
	Cognitive Domain

Knowledge   Comprehension   Application
	Total Cognitive
	Total Performance

	MODULE A
	-
	-
	-
	-
	4

	MODULE B
	-
	-
	-
	-
	13

	MODULE C
	-
	-
	-
	-
	4

	Number of indicators per level
	0
	0
	0
	0
	21


	Cognitive Level

(Thinking)
	Goal For Students
	Teaching Methods
	Teaching Activities

	Knowledge

Descriptive Verbs:

Defines, Lists, States, Describes, Identifies
	Knows common terms, specific facts, methods, procedures, basic concepts, principles
	Lecture

Computer Based Instruction

Video 

Demonstration
	Mnemonics

Examples or Illustrations

Repetition

Summaries 

Reviews

	Comprehension

Descriptive Verbs:

Describe, Explains,

Summarizes
	Understands facts and principles

Interprets verbal material

Interprets charts and graphs

Translates verbal material to mathematical formulas

Estimates future consequences

Justifies methods and procedures
	Informal Lecture

Discussion

Demonstration

Participation

Interactive Computer Based Instruction
	1. Teach to the Knowledge Level

2. Explains and demonstrates concept, principle or procedure learned

3. Put students in new situation, and instructor and students co-solve employing the indicated concept, principle, or procedure.

4. Put students in a new situation, and the students solve the new situation using the concept, principle, or procedure while instructor supervises.

5. Reteach as required

	Application

Descriptive Verbs:

Uses, Solves, Operates, Produces,

Demonstrates, Constructs
	Applies concepts and principles to new situations

Applies laws and theories to practical situations

Solves mathematical problems

Constructs charts, graphs, or simple mechanism

Demonstrates correct usage of a method or procedure
	Demonstration

Individual Research

Lab Exercises

Case Studies

Experiments
	1. Teach to the Knowledge Level

2. Teach to the Comprehension Level

3. Student must identify the concept, principle, or procedure and use it to solve new scenario

4. Reteach as required

	Psychomotor Level

(Doing)
	Goal For Students
	Teaching Methods
	Teaching Activities

	Mechanism

Descriptive Verbs:

Assembles, calibrates, constructs, measures, fixes, dismantles, sketches
	Learned responses have become habitual and can be performed with some confidence and proficiency
	Lab Exercises

Case Studies

Experiments
	1. Demonstration

2. Observation

3. Feedback

4. Reteach as required




RECOMMENDED INSTRUCTIONAL METHODOLOGIES:  The table below links the teaching methods and activities most effective for facilitating student achievement of learning outcomes published in this plan of instruction. 

	Glossary of Terms

	Plan of Instruction (POI)
	A teaching-learning plan which includes student centered instructional objectives, outlined content, instructional and evaluation strategies, and other relevant information needed to guide the development and/or revision of learning experiences such that students achieve stated educational outcomes.   

	Industry Competencies  


	Entry-level skills students must acquire during enrollment In the course.  

	Course Objectives  


	The overall goal of the course of instruction stated in broad terms.

	Criterion Objectives  


	The terminal outcome each student is required to meet.  Criterion objectives are directly related to industry competencies.  There will be one or more criterion objectives published for each industry competency.

	Enabling Objectives/Key Indicators 
	The required knowledge and/or skill each student must acquire in order to have the best chance of achieving the stated performance in the criterion objective.

	Table of Specifications  


	Used to ensure adequate sampling of student knowledge as specified by the enabling and criterion objectives.

	Cognitive Domain 


	The domain of learning typified by thinking and focused on the development of intellectual capabilities.

	Psychomotor Domain  


	The domain of learning typified by performing or doing and focused on the development of motor skills.

	Section Explanation

	Course Description 
	A broad description of key elements in a given course.

	Course Prefix/numbers
	 Used to identify courses taught in multiple disciplines. 

	Co-requisite Course
	Course required in conjunction to the specified course often in the form of a lab

	Modules
	A grouping of interrelated knowledge and skills representing a sub-element of a course.

	Course Content Outline
	A listing of topics for instruction in a particular course

	Contact/Credit hours
	Specifies the recommended contact to credit hours for each course.  Mandates the total credit hours awarded for each course.

	Prerequisite Knowledge
	Intellectual capabilities required for handling the academic rigors of the discipline.

	Recommended Methods of Evaluation 
	Suggests test item options for measuring student achievement of enabling objectives.  Suggests the number of test items required to adequately measure student achievement of enabling objectives.  Mandates the evaluation of criterion objectives. 

	Recommended Instructional Methodologies
	Suggests the most effective instructional methods for achieving stated learning levels

	Directions for Use

	1.
	Review the entire document.

	2.
	Assess the industry competencies specified in the POI keeping in mind that the stated skills are the target outcomes for the course.

	3.
	Assess the criterion objectives written for each competency keeping in mind the objective specifies the behavior each student must exhibit in order to achieve the competency. 

	4.
	Adjust performance evaluation instruments to ensure each criterion objective is addressed.

	5.
	Develop additional performance evaluations as needed

	6.
	Assess enabling objectives/key indicators specifying student outcomes 

	7.
	Adjust objective evaluations based on the guidance provided in the POI table of specification to ensure adequate sampling of student learning outcomes.

	8.
	Evaluate current classroom curriculum and determine if learning experiences support student achievement of skills identified in criterion objectives.  Adjust as necessary.

	9.
	Review recommended instructional methodologies for teaching activities appropriate to specified levels of learning.

	10.
	Develop appropriate learning experiences for those skills not addressed. 

	11.
	Ensure specified contact hours are enough to cover existing and new learning experiences developed.

	12.
	Ensure adequate time exists to evaluate each student on all criterion objectives. 

	13.
	Adjust course syllabus to reflect changes made.

	14.


	If necessary, adjust school surveys to reflect changes made.


ELT 115


RESIDENTIAL WIRING II


Plan Of Instruction





Effective Date: 2004						Version Number: Base Document						











PAGE  
2
Alabama College System


