[image: image2.jpg]Alabama
Department of
Postsecondary Education
Representing the Alabama Community College System





AC/DC Machines

AUT 117, ELT 117, & ILT 167 

Industry Evaluated Fall 2011
April 22, 2011  
[image: image2.jpg]
COURSE DESCRIPTION:
This course covers the theory and operation of DC motors, single and three phase AC motors, and the labs will reinforce this knowledge.  Emphasis is placed on the various types of single and three phase motors, wiring diagrams, starting devices, and practical application in the lab.
CONTACT/CREDIT HOURS 

Theory Credit Hours  
  

1 hour
Lab Credit Hours



2 hours  

Total Credit Hours 



3 hours
NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as 3:1 and/or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)

PREREQUISITE COURSES 
As determined by college.
CO-REQUISITE COURSES 
As determined by college.
PROFESSIONAL COMPETENCIES

· Comprehend the operation, connection, maintenance, and basic troubleshooting of DC generators. 
· Comprehend the operation, connection, maintenance, and basic troubleshooting of DC motors.
· Comprehend the operation, connection, maintenance, and basic troubleshooting of AC generators.
· Comprehend the operation, connection, maintenance, and basic troubleshooting of single phase AC motors.
· Comprehend the operation, connection, maintenance, and basic troubleshooting of three phase AC motors.
INSTRUCTIONAL GOALS

· Cognitive – Comprehend principles and concepts related to AC/DC Machines.
· Psychomotor – Apply principles of AC/DC Machines.
· Affective – Value the importance of adhering to policy and procedures related to AC/DC Machines.
STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab/clinical assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES
	MODULE A – DC GENERATORS

	MODULE DESCRIPTION – The purpose of this module is to teach the operation, connection, maintenance, and basic troubleshooting of DC generators. Topics include DC generator operating principles, construction, safety, schematics and output measurement.


	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Comprehend the operation, connection, maintenance, and basic troubleshooting of DC generators. 

	A1.1
Connect a DC generator, measure output and verify proper operation.
	2

	LEARNING OBJECTIVES 
	KSA

	A1.1.1
Explain how a DC generator works.
A1.1.2
Explain the operating principles of a DC generator.
A1.1.3
Describe the construction of a simple DC generator.
A1.1.4
Identify the various hazards of working with DC generators.

A1.1.5
Interpret schematics to identify system components and how they connect.

A1.1.6
Describe how to connect a DC generator.

A1.1.7
Explain how to measure the output of a DC generator.
A1.1.8
Explain factors affecting DC generator voltage output.
A1.1.9
Explain left hand rule for generators.
A1.1.10
Describe how to determine generator output polarity.
A1.1.11
Explain basic principles of generator maintenance and troubleshooting.
A1.1.12
Interpret nameplate data for various generators.

	2
2

2

3

2

2

3

2

1

2

3

3

	MODULE A OUTLINE:
· DC Generators

· Operating principles

· Construction

· Connection

· Measuring the output
· Factors affecting voltage output

· Left hand Rule
· Polarity

· Maintenance and Troubleshooting



	MODULE B – DC MOTORS

	MODULE DESCRIPTION – The purpose of this module is to teach the operation, connection, maintenance, and basic troubleshooting of DC motors. Topics include operating principles, construction, safety, schematics, measuring and calculating various inputs and outputs.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Comprehend the operation, connection, maintenance, and basic troubleshooting of DC motors.
	B1.1
Connect various DC motors, run, reverse, vary the speed and verify proper operation.

	2

	LEARNING OBJECTIVES 
	KSA

	B1.1.1
Explain the operating principles of shunt, permanent magnet, series, separately excited, and compound DC motors.
B1.1.2
Describe the construction of shunt, permanent magnet, series, separately excited, and compound DC motors.

B1.1.3
Explain the right hand rule for DC motors.
B1.1.4
Identify the various hazards of working with DC motors.

B1.1.5
Interpret schematics to identify system components and how they connect.

B1.1.6
Explain connections for shunt, permanent magnet, series, separately excited, and compound DC motors.
B1.1.7
Describe how to reverse motor direction of shunt, permanent magnet, series, separately excited, and compound DC motors.
B1.1.8
Describe how to vary the speed of shunt, permanent magnet, series, separately excited, and compound DC motors.
B1.1.9
Measure output speed and torque, and calculate horsepower and power factor.

B1.1.10
Measure input voltage and current, and calculate input power.

B1.1.11
Explain basic principles of DC motor maintenance and troubleshooting.

B1.1.12
Interpret nameplate data for various motors.
	2
2

1

3

2

2

2

2

3

3

3

3

	MODULE B OUTLINE:
· DC motors

· Types

· Shunt
· Permanent magnet

· Series

· Separately excited

· Compound
· Operating principles
· Construction
· Connections
· Reversing

· Speed control

· Maintenance and Troubleshooting


	MODULE C – AC GENERATORS

	MODULE DESCRIPTION – The purpose of this module is to teach the operation, connection, maintenance, and basic troubleshooting of AC generators. Topics include operating principles, construction, safety, schematics, measuring and calculating various inputs and outputs.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	C1.0
Comprehend the operation, connection, maintenance, and basic troubleshooting of AC generators. 

	C1.1
Connect an AC generator, measure output and verify proper operation.
	2

	LEARNING OBJECTIVES 
	KSA

	C1.1.1
Explain how an AC generator works.
C1.1.2
Explain the operating principles of an AC generator.
C1.1.3
Describe the construction of a simple AC generator.
C1.1.4
Identify the various hazards of working with DC generators.

C1.1.5
Interpret schematics to identify system components and how they connect.

C1.1.6
Describe how to connect an AC generator for Wye and Delta operation.

C1.1.7
Explain how to measure the speed and output of an AC generator.

C1.1.8
Explain factors affecting AC generator voltage output.
C1.1.9
Explain left hand rule for AC generators.
C1.1.10
Explain basic principles of generator maintenance and troubleshooting.
D1.1.11
Interpret nameplate data for various generators.

	2
2

2

3

2

2

3

3

1

3

3

	MODULE C OUTLINE:
· AC Generators

· Operating principles
· Construction

· Connection

· Wye operation

· Delta operation

· Measuring output

· Factors affecting voltage output

· Left hand rule
· Maintenance and Troubleshooting


	MODULE D – SINGLE PHASE AC MOTORS

	MODULE DESCRIPTION – The purpose of this module is to teach the operation, connection, maintenance, and basic troubleshooting of single phase AC motors. Topics include operating principles, construction, safety, schematics, reversing direction, varying speeds, measuring and calculating various inputs and outputs.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	D1.0
Comprehend the operation, connection, maintenance, and basic troubleshooting of single phase AC motors.
	D1.1
Connect, run, reverse, and vary the speed of various single phase AC motors and verify proper operation.
	2

	LEARNING OBJECTIVES 
	KSA

	D1.1.1
Explain the operating principles of capacitive, split phase, repulsion, universal, and shaded pole AC motors.
D1.1.2
Describe the construction of capacitive, split phase, repulsion, universal, and shaded pole AC motors.
D1.1.3
Identify the various hazards of working with AC Motors.

D1.1.4
Interpret schematics to identify system components and how they connect.

D1.1.5
Explain connections for capacitive, split phase, repulsion, universal, and shaded pole AC motors.
D1.1.6
Describe how to reverse motor direction for capacitive, split phase, universal, and shaded pole AC motors.

D1.1.7
Describe how to vary the speed of single phase AC motors.
D1.1.8
Measure output speed and torque, and calculate horsepower and power factor.

D1.1.9
Measure input voltage and current, and calculate input power.

D1.1.10
Calculate synchronous speed, frequency, and number of poles on AC motors.

D1.1.11
Explain basic principles of single phase AC motor maintenance and troubleshooting.

D1.1.12
Interpret nameplate data for various motors.
	2
2

3

2

2

2

2

3

3

3

3

3

	MODULE D OUTLINE:
· Single Phase AC motors

· Types
· Capacitive

· Split Phase

· Repulsion

· Universal

· Shaded Pole
· Construction
· Connections

· Reversing

· Speed control

· Maintenance and Troubleshooting


	MODULE E – THREE PHASE AC MOTORS

	MODULE DESCRIPTION – The purpose of this module is to teach the operation, connection, maintenance, and basic troubleshooting of three phase AC motors. Topics include operating principles, construction, safety, schematics, reversing direction, varying speeds, measuring and calculating various inputs and outputs.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	E1.0
Comprehend the operation, connection, maintenance, and basic troubleshooting of three phase AC motors.
	E1.1
Connect, run, reverse, and vary the speed of various three phase AC motors and verify proper operation.
	2

	LEARNING OBJECTIVES 
	KSA

	E1.1.1
Explain the operating principles of Wye and Delta AC motors.

E1.1.2
Describe the construction of Wye and Delta AC motors.
E1.1.3
Identify the various hazards of working with AC generators.

E1.1.4
Interpret schematics to identify system components and how they connect.

E1.1.5
Explain connections for three-lead, six-lead, nine-lead, and 12-lead three phase AC motors.
E1.1.6
Describe how to reverse motor direction for three phase AC motors.

E1.1.7
Describe how to vary the speed of three phase AC motors.
E1.1.8
Measure output speed and torque, and calculate horsepower and power factor.

E1.1.9
Measure input voltage and current, and calculate input power.

D1.1.10
Calculate synchronous speed, frequency, and number of poles on AC motors.

E1.1.11
Explain basic principles of three phase AC motor maintenance and troubleshooting.
E1.1.12
Interpret nameplate data for various motors.

	2
2

3

2

3

2

2

3

3

3

3

3

	MODULE E OUTLINE:
· Three phase AC motors

· Types
· Wye
· Delta

· Operating principles

· Construction

· Connections

· Three-lead
· Six-lead

· Nine-lead
· 12-lead
· Reversing

· Speed control

· Maintenance and Troubleshooting


LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Limited Knowledge and Proficiency
	Moderate Knowledge and Proficiency
	Advanced Knowledge and Proficiency
	Superior Knowledge and Proficiency

	KSA
	1
	2
	3
	4

	Module A
	8%
	58%
	34%
	

	Module B
	8%
	50%
	42%
	

	Module C
	9%
	45.5%
	45.5%
	

	Module D
	
	50%
	50%
	

	Module E
	
	42%
	58%
	


	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Identifies basic facts and terms about the subject or competency.

· Performs simple tasks associated with the competency.  Needs to be told or shown how to do most tasks.  

· Requires close supervision.

	2
	Moderate Knowledge and Proficiency
	· Identifies relationship of basic facts and states general principles and can determine step-by-step procedures for doing the competency.

· Performs most parts of the competency.  Needs help only on hardest parts.  

· Requires limited supervision.

	3
	Advanced Knowledge and Proficiency
	· Analyzes facts and principles and draws conclusions about the subject to include why and when the competency must be done and why each step is needed.  Can predict outcomes.

· Performs all parts of the competency.  Needs only a spot check of completed work.  

· Requires little or no direct supervision.

	4
	Superior Knowledge and Proficiency
	· Can evaluate conditions and make appropriate decisions as related to resolving problems. 

· Performs competency quickly and accurately with no direct supervision and is able to instruct and supervise others.  


[image: image1.jpg]Teaching and Learning Continuum

Teacher Contribution

Close Support

Receiving

Moderate Support

Accepting

Consulting

Internalizing

Synergy,

Synthesizing

Pedagogy

Mesagogy

Andragogy

Heutagogy

——Active
Independent

Learner Contribution ——— ¥




AUT 117, ELT 117, ILT 167	





AC/DC Machines





Plan of Instruction





Effective Date: 2004	  							Version Number: 2011-1 











Alabama Community College System

Copyright© 2011

All Rights Reserved
PAGE  
2
ACCS Copyright© 2011

All Rights Reserved

