[image: image1.png](e

AL




Commercial/ Industrial Wiring 













ELT 118







COURSE DESCRIPTION  

This course focuses on principles and applications of commercial and industrial wiring.  Topics include, electrical safety practices, an overview of National Electric Code requirements as applied to commercial and industrial wiring, conduit bending, circuit design, pulling cables, transformers, switch gear, and generation principles.  This is a CORE course. This course supports CIP code 46.0302.

CREDIT HOURS 
Theory

1 credit hour

Lab


2 credit hours

Total


3 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1 contact to credit hour ratio) or experimental (2:1 contact to credit hour ratio).

PREREQUISITE COURSES 
Determined by college unless stated otherwise.

CO-REQUISITE COURSES 
Determined by college unless stated otherwise.

INSTRUCTIONAL NOTE:  Foundational academic skills in General Math such as integers, percents, ratio and proportions, metric system and linear equations and Technical Writing such as research, organization, composition, documentation, and report presentation are used throughout this discipline.
INDUSTRY COMPETENCIES:
· Plans layout and installation of electrical wiring, equipment and fixtures

· Installs electrical wiring, equipment, apparatus, and fixtures

· Inspects systems and electrical parts to detect hazards, defects, and need for repair

· Tests electrical systems and continuity of circuits

· Install electrical conduit

· Pull electrical cable

 COURSE OBJECTIVES:  

The cognitive objective of this course is for each student to comprehend foundational knowledge needed to perform stated entry-level industry competencies.

The performance objective of this course is for each student to apply foundational knowledge to industrial wiring problems and exercises encountered in class. 
INDUSTRY COMPETENCIES/CRITERION OBJECTIVES:

Unless otherwise indicated, evaluation of student’s attainment of cognitive and performance objectives is based on knowledge gained from this course.  During performance evaluations, students will be provided necessary tools, equipment, materials, specifications, and any other resources necessary to accomplish the task.  Specifications may be in the form of, but not limited to, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab assignments, or any combination of specifications.

	MODULE A – PRINCIPLES INDUSTRIAL WIRING 

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	Perform tasks in a safe manner
	Perform assigned tasks in a safe manner.

Demonstrate the use of personal protection equipment.

	Practice tool safety
	Use tools in a safe manner.

	Plans layout and installation of electrical wiring, equipment and fixtures.
	Given knowledge gained from this course, and an electrical blueprint, interpret symbols and components from the blueprint.

Draw an electrical diagram according to specifications 

Calculate voltage drops according to the diagram

Calculate conduit fill according to the diagram.

	ENABLING OBJECTIVES/KEY INDICATORS

	· Explain hazards associated with specific types of equipment and tools

· Define electrical terms

· Interpret electric symbols

· Identify NEC requirements for industrial wiring

· Identify insulation types

· Calculate voltage drops

· Calculate conduit fill

· Explain Delta and Wye electrical supply system

· Explain principles of generation


	MODULE B – INDUSTRIAL WIRING TECHNIQUES AND APPLICATIONS 

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	Install electrical wiring, equipment, apparatus, and fixtures
	Wire a circuit according to a wiring diagram and test for continuity.

Connect an electric motor for high.

Connect an electric motor for low voltage.

Reverse rotation for an electric motor.

	Inspect system and electrical parts to detect hazards, defects, and need for repair
	Inspect an electric component and identify the fault.

	Test electrical systems and continuity of circuits
	Use a multimeter to test the power, resistance, volts, and amps of an electric circuit and compare the readings to specifications.

Use an ammeter to test a circuit and to determine if the readings are in accordance with specifications.

Use an ohmmeter to test the resistance of a circuit and determine if readings are in accordance with specifications.

Use a volt meter to measure the voltage of a Delta and Wye electrical supply system and determine if readings are in accordance with specifications.

Use a megohmmeter to test A circuit and determine if the readings are in accordance with specifications.

Use a clamp-on ammeter to test a circuit to determine if the readings are in accordance with specifications.

	Install electrical conduit
	Bend electrical conduit.

Install electrical conduit according to specifications.

	Pull electrical cable
	Pull the electrical cable.

	ENABLING OBJECTIVES/KEY INDICATORS

	· Explain the process of wiring an electric circuit

· Explain the process of bending conduit

· Explain the process of installing conduit

· Explain the process of pulling electrical cable

· Explain the use of a electrical test equipment


COURSE CONTENT OUTLINE

MODULE A – PRINCIPLES INDUSTRIAL WIRING

· Safety and tool use

· Electrical terms and symbols

· Electrical circuits

· NEC requirements for industrial wiring

· Insulation types

· Calculating voltage drops

· Calculating conduit fill

· Delta and Wye electrical supply system

· Principles of generation

MODULE B – INDUSTRIAL WIRING TECHNIQUES AND APPLICATIONS

· Wiring an electric circuit.

· Bending conduit

· Installing conduit

· Pulling electrical cable

· Electrical test equipment

RECOMMENDED METHODS OF EVALUATION:  The table of specifications below identifies the number of enabling objectives/key indicators per cognitive domain level of learning (Knowledge, Comprehension, Application) per module.  Instructors should develop a minimum of 1-3 test questions per Knowledge Level of Learning, 2-4 test questions per Comprehension Level of Learning, and 5-6 questions per Application Level Learning.   Instructors should use the following test item types for each level of learning:

Knowledge:  Multiple Choice, Alternative Response test items (true/false or yes/no) 

Comprehension:  Multiple Choice, Short answer

Application: Multiple Choice, Short Answer Exercises

TABLE OF SPECIFICATIONS:

	Domain of Learning/

Content
	Cognitive Domain


	Total Cognitive
	Total Performance

	
	Knowledge
	Comprehension
	Application
	
	

	MODULE A
	3
	6
	10
	19
	3

	MODULE B
	0
	10
	0
	10
	5

	Number of indicators per level
	3
	16
	10
	29
	8


ELT 118





Commercial/Industrial Wiring





Plan of Instruction





Effective Date: 2005									Version Number: 2005-1						








PAGE  
5
The Alabama College System


