[image: image1.png](e

AL






COURSE DESCRIPTION 

This course focuses on single and three phase motors and also introduces students to DC motors.  Emphasis is placed on field wiring various types of AC and DC motors, troubleshooting procedures, and utilization of test equipment.  Upon completion, students should be able to explain, wire, troubleshoot, and test all types of AC and DC electric motors.  This course supports CIP code 46.0302.

CREDIT HOURS (applicable if entire course is taught in a career/technical education degree or non-degree program)  
Theory

2 credit hours

Lab


1 credit hour

Total


3 credit hour

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1contact to credit hour ratio) or experimental (2:1contact to credit hour ratio).  

PREREQUISITE COURSES 
Determined by college unless stated otherwise.
CO-REQUISITE COURSES 
Determined by college unless stated otherwise.

INSTRUCTIONAL NOTE:  Foundational academic skills in Math such as integers, percents, ratio and proportions, metric system and linear equations, and Technical Writing such as research, organization, composition, documentation, and report presentation are used throughout this discipline. 
INDUSTRY/PROFESSIONAL COMPETENCIES:  
Explain the principles of single phase motors

Explain the principles of DC motors, generators, and controls

Explain the principles of three-phase generation, motor theory, connection, design letters and efficiency ratings

Draw connections dual-voltage

Read and interpret wiring diagrams

Use test equipment 

Demonstrate lockout/tag out procedures 

Calculate overload requirements per NEC 430-32

Calculate branch circuit and conductor

Calculate branch circuit over-current requirements per NEC

Calculate feeder conductor size requirements per NEC

Calculate feeder over-current requirements per NEC

GENERAL INSTRUCTIONAL OBJECTIVES  
The cognitive objective for this course is for each student to comprehend foundational knowledge of single-phase, three-phase motors and generators.
The performance objective of this course is for each student to apply foundational knowledge of single-phase, three-phase motors and generators in a simulated environment.
INDUSTRY/PROFESSIONAL COMPETENCIES/STUDENT PERFORMANCE

Unless otherwise indicated, evaluation of student’s attainment of cognitive and performance objectives is based on knowledge gained from this course.  During performance evaluations, students will be provided necessary tools, equipment, materials, specifications, and any other resources necessary to accomplish the task.  Specifications may be in the form of, but not limited to, certification agencies, national and state codes, health care facility policies, locally developed lab/clinical assignments, or any combination of specifications.

	MODULE A – SINGLE PHASE AC MOTORS

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	A1.0  Explain the principles of single phase motors (3B)
	This competency is measured cognitively

	ENABLING OBJECTIVES/KEY INDICATORS
	      KSA

Indicator

	A1.1.1 Identify the winding and parts of a shaded-pole motor

A1.1.2 Identify the windings, switches, and parts of a split-phase motor

A1.1.3 Identify the windings, switches, capacitors, and parts of a capacitor start run motor

A1.1.4 Identify the windings, commutator, and brush of a repulsion motor

A1.1.5 Identify the windings and parts of a universal motor

A1.1.6 Compare and contrast parts of a universal motor to those of a DC series motor
	a

a

a

a

a

C


	MODULE B – DC  GENERATORS AND MOTORS

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	B1.0 Explain the principles of DC motors, generators, and controls (3B)
	This competency is measured cognitively

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator


	B1.1.1 Identify basic controls for DC generators and motors
	a


	MODULE C – AC GENERATORS AND MOTORS

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	C1.0 Explain the principles of three-phase generation, motor theory, connection, design letters and efficiency ratings (3B)
	This competency is measured cognitively

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	C1.1.1 Explain basic electrical generation

C1.1.2 Explain basic three-phase motor types

C1.1.3 Explain wound rotor motor and synchronous motors
C1.1.4 Identify and number wye and delta connections

C1.1.5 Calculate efficiency of motors

C1.1.6 Identify design code letters per NEC
	A

A

A

A

b

A


	MODULE D – DUAL VOLTAGE CONNECTIONS

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	D1.0  Draw connections for dual voltage motors (3b)
	D1.1 Draw and show connections for dual-voltage motor connections



	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	D1.1.1 Explain the principles of dual voltage motor connections
	B


	MODULE E – WIRING DIAGRAMS

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	E1.0 Read and interpret wiring diagrams (3C)
	E1.1 Draw and label wiring diagrams of wye and delta connections

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	E1.1.1 Explain wiring diagrams of wye and delta motors
	B


	MODULE F – TEST EQUIPMENT

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	F1.0 Use test equipment (3b)


	F1.1 Demonstrate the proper use of a multi meter

F1.2 Demonstrate the proper use of a megger



	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	F1.1.1 Identify a multi meter

F1.1.2 Explain how to use a multi meter

F1.1.3 Explain the purpose of a multi meter
	a

b

A

	F1.2.1 Identify a megger

F1.2.2 Explain how to use a megger

F1.2.3 Explain the purpose of a megger
	a

b

A


	MODULE G – SAFETY PROCEDURES

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	G1.0 Demonstrate lockout/tag out procedures (3b)
	G1.1 Perform lockout/tag out procedures.

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	G1.1.1 Explain the purpose and importance of following safety procedures

G1.1.2 Explain Lock Out/Tag Out procedures

G1.1.3 Explain the importance of performing machine safety checks of equipment and accessories

G1.1.4 Explain the importance of practicing tool safety
	B

B

B

A


	MODULE H – MOTOR CIRCUIT CALCULATIONS

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	H1.0 Calculate overload protection requirements per NEC (3b)


	H1.1 Using the NEC, calculate the minimum size overload required for various sizes of both AC and DC motors

H1.2 Using the NEC, calculate the maximum size overload required for various sizes of both AC and DC motors

	H2.0 Calculate branch circuit conductor (3b)
	H2.1 Using the NEC, calculate the size of branch circuit conductor load in amps and determine size of wire from table 310.16

	H3.0 Calculate branch circuit over-current requirements per NEC (3b)


	H3.1 Using the NEC, calculate the size of the over-current protective devices required for various size and types of motors in amps.

H3.2 Determine the proper over-current device from table 240.6

	H4.0 Calculate feeder conductor size requirements per NEC (3b)


	H4.1 Using the NEC, calculate the size of feeder conductor in amps from various motors and determine size of wire from table 310.16 

	H5.0 Calculate feeder over-current requirements per NEC (3b)
	H5.1Using the NEC, calculate the size of the over-current device required for multiple motors on a feeder (single phase and three phase), and determine the proper over-current device from table 240.6

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	H1.1.1 Explain the process of calculating the minimum size overload required for various sizes of both AC and DC motors

H1.2.1 Explain the process of calculating the maximum size overload required for various sizes of both AC and DC motors
	b

b

	H2.1.1  Explain the process to calculate the size of branch circuit conductor load in amps and determine size of wire from table 310.16
	b

	H3.1.1 Explain the process to calculate the size of the over-current protective device required for various size and types of motors in amps. 

H3.2.1 Explain how to determine the proper over-current protective device from table 240.6
	b

b

	H4.1.1 Explain the process to calculate the size of feeder conductor in amps from various motors and determine size of wire from table 310.16
	b

	H5.1.1 Explain the process to calculate the size of the over-current device required for multiple motors on a feeder (single phase and three phase), and determine the proper over-current device from table 240.6
	b


COURSE CONTENT OUTLINE

MODULE A – Single Phase AC Motors

· Shaded pole

· Split  phase

· Capacitor start/run

· Repulsion

· AC Series
MODULE B – DC Generators and Motors
· Series

· Shunt

· Compound

MODULE C – AC Generators

· Single phase

· Three phase

MODULE D – Dual Voltage Connections

· Single phase

· Three phase

MODULE E – Wiring Diagrams

· Single phase

· Three phase

MODULE F – Test Equipment

· Multi meter

· Megger
MODULE G – Safety Procedures

· Lock-out

· Tag-out
MODULE H – Calculations

· Full load amps of motor per NEC or nameplate

· Over-load

· Branch circuit conductors

· Branch circuit protections

· Feeder conductors

· Feeder circuit protection

RECOMMENDED METHODS OF EVALUATION: The tables of specifications below identify the number of cognitive (knowledge) enabling objectives and psychomotor (performance) objectives per module.  Instructors should develop sufficient numbers of evaluation items to ensure complete coverage of each cognitive and/or psychomotor objective as identified in each module.  For cognitive objectives, use appropriate written test items based on the complexity indicator for each objective.  For psychomotor objectives, create comprehensive checklist evaluations. 
Facts/Nomenclature (A/a):  Multiple Choice, Fill-in, List, Matching, Alternative Response (true/false or yes/no) 

Principles/Procedures (B/b):  Multiple Choice, Fill-in, List, Short Answer

Analysis/Operating Principles (C/c):  Multiple Choice, Short Answer, Essay

Evaluation/Complete Theory (D/d): Multiple Choice, Short Answer, Essay

	ENABLING OBJECTIVES TABLE OF SPECIFICATIONS

	
	Cognitive Domain

	
	Facts/ Nomenclature
	Principles/ Procedures
	Analysis/ Operating Principles
	Evaluation/ Complete Theory
	Total

	Module A
	
	
	
	
	

	Module B
	
	
	
	
	

	Total
	
	
	
	
	


	sTUDENT PERFORMANCE OBJECTIVES Table of Specifications

	
	Psychomotor Domain

	
	Limited Proficiency

(Level 1)
	Partially Proficient

(Level 2)
	Proficient

(Level 3)
	Highly Proficient

(Level 4)
	Total

	Module A
	
	
	
	
	

	Module B
	
	
	
	
	

	Total
	
	
	
	
	


	Knowledge, Skills, and Abilities (KSA) Indicators

	
	Value
	Key Word(s)
	Definition

	Performance 
Ability 
	4
	Highly 

Proficient
	Can do the complete competency quickly and accurately.  Can tell or show others how to do the competency. 

	
	3
	Proficient
	Can do all parts of the competency.  Needs only a spot check of completed work 

	
	2
	Partially

 Proficient
	Can do most parts of the competency.  Needs help only on hardest parts. 

	
	1
	Limited Proficiency
	Can do simple parts of the competency.  Needs to be told or shown how to do most of the competency. 

	

	Knowledge of Skills
	d
	Complete

Theory
	Can predict, isolate, and resolve problems about the competency

	
	c
	Operating Principles
	Can identify why and when the competency must be done and why each step is needed.

	
	b
	Procedures
	Can determine step-by-step procedures for doing the competency.

	
	a
	Nomenclature
	Can name parts, tools, and simple facts about the competency.

	

	Knowledge
	D
	Evaluation
	Can evaluate conditions and make proper decisions about the subject.

	
	C
	Analysis
	Can analyze facts and principles and draw conclusions about the subject.

	
	B
	Principles
	Can identify relationship of basic facts and state general principles about the subject.

	
	A
	Facts
	Can identify basic facts and terms about the subject

	

	Alpha Scale Values - Any item with an upper case letter (A, B, C, D) by itself is taught as general information on a topic.  This information may be related to the competency or encompass multiple competencies.  Examples might include mathematical computations or knowledge of principles such as Ohm’s Law.

A lower case letter indicates a level of ”Knowledge of Skills."  Individuals are taught information pertaining to performing a competency .  These may be indicated alone or in conjunction with a numerical scale value.  A lower case letter by itself indicates the individual is not required to perform the task-just know about the task.  (example: Can state or explain procedures for doing a task).

Numerical Scale Values - The numbers reflect the levels the individual will be able to perform a competency. Number values are always accompanied by lower case letters (i.e. 1a, 2b, 3c...etc.) in order to specify the level of knowledge of skills associated with the competency.   

Example:  An individual with a competency with a scale indicator of 3b has received training of knowledge of skills whereby he or she can determine the correct procedures and perform with limited supervision; only requiring evaluation of the finished product or procedure.

NOTE:  Codes indicate terminal values.


ELT 122





Advanced AC/DC Machines





Plan of Instruction





Effective Date: 2005										Version Number: 2005-1						












































PAGE  
Alabama College System

Copyright© 2004

All rights reserved

