[image: image1.png](e

AL




Elements of Industrial Control Lab

EET 229, AUT 122, ILT 177, INT 177, ELT 177

October 31, 2008

COURSE DESCRIPTION:
This course covers the basics of automatic control of industrial systems using the programmable logic controller. Topics include relay logic, ladder logic, motor controls, and the development of ladder logic using software. Upon completion of this course and the associated theory course a student should be able to configure and program a PLC.
CONTACT/CREDIT HOURS 

Theory Credit Hours  
  

0 hour
Lab Credit Hours



2 hours  

Total Credit Hours 



2 hours
NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as (3:1 contact to credit hour ratio), (2:1 contact to credit hour ratio) or a combination of the two as needed, but all like courses must be treated the same.

PREREQUISITE COURSES 
As determined by college.
CO-REQUISITE COURSES 
AUT 121 or EET 224 or ILT 176 or INT 176 or ELT 176
INSTRUCTOR NOTE:  This is the lab portion of a two part course and should be taught in conjunction with the co-requisite theory course.  Lab projects should be designed to provide the students with ample opportunity to apply the concepts they have been learning in theory.  The learning objectives listed in the modules are identical to those located in the theory course and are for informational purposes only.  The instructor is not expected to re-teach them.  The focus of this course is on the performance objectives.
PROFESSIONAL COMPETENCIES

· Program instructions that perform logical operations.
· Write and enter ladder logic.

· Write PLC programs directly from a narrative description.

· Program control outputs using timer instruction control bits.

· Apply combinations of counters and timers to control systems.

· Use program control instructions to alter a program scan from its normal sequence.

· Use data manipulation instructions.

· Apply common control methods.

INSTRUCTIONAL GOALS

· Cognitive:  Comprehend principles and concepts related to Programmable Logic Controllers.

· Psychomotor:  Apply principles of Programmable Logic Controllers.

· Affective:  Value the importance of adhering to policy and procedures related to Programmable Logic Controllers.

STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab/clinical assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES
	MODULE A – BASIC LADDER LOGIC

	MODULE DESCRIPTION – The purpose of this module is to teach the students to program instructions that perform logical operations.  Topics include Boolean equations, circuit design, relay and ladder logic diagrams.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Program instructions that perform logical operations.
	A1.1
Write the Boolean expression, and draw the gate logic diagram and typical PLC logic ladder diagram for a specified control system.

	3c

	LEARNING OBJECTIVES 
	KSA

	A1.1.1
Describe the binary concept and the functions of gates.

A1.1.2
State the Boolean equation for the AND, OR, and NOT functions.

A1.1.3
Design circuits from Boolean expressions and derive Boolean equations for given logic circuits.

A1.1.4
Develop elementary programs based on logic gate functions.

A1.1.5
Identify the rules for creating PLC ladder logic diagram.

A1.1.6
Describe how to convert a relay logic diagram to a PLC ladder logic diagram.


A1.1.7
Explain how to create ladder logic diagrams when the PLC is in the offline mode.

A1.1.8
Explain how to download PLC ladder logic diagrams and then test it on a trainer.

A1.1.9
Explain how to create program reports and print them.

A1.1.10
Explain how to save a PLC ladder diagram and open an existing PLC ladder logic diagram.

A1.1.11
Define various terms associated with PLC programming.

A1.1.12
Explain whether an identical input or output instruction can be used more than one time in a PLC logic diagram.

A1.1.13
Explain which file holds the main PLC ladder logic diagram.

A1.1.14
Explain which data file holds error messages.

A1.1.15
Describe how to write various file manipulation tasks such as copy file, rename file, open file, and save file.

A1.1.16
Differentiate between PLC input instruction types XIO and XIC.
	B

A

a

b

A

c

b

b

b

b

A

A

B

B

b

A

	MODULE A OUTLINE:
· Boolean equations

· AND

· OR

· NOT

· Circuit design

· Relay logic diagrams

· Ladder logic diagrams

· Logic gate functions


	MODULE B – BASIC PLC PROGRAMMING

	MODULE DESCRIPTION – The purpose of this module is to teach the students to write and enter ladder logic.  Topics include memory maps, data files, program sequencing, logic gate circuits, truth tables , and conversions.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Write and enter ladder logic.
	B1.1
Write and enter a specified ladder logic program containing ANDs and ORs and branching techniques.
	3b

	LEARNING OBJECTIVES 
	KSA

	B1.1.1
Define and identify the functions of a PLC memory map.

B1.1.2
Describe I/O image table files and types of data files.

B1.1.3
Describe the PLC program scan sequence.

B1.1.4
Describe how ladder diagram language, Boolean language, and function charts are used to communicate information to the PLC.

B1.1.5
Define and identify the function of internal relay instructions.

B1.1.6
Identify the common operation modes found in PLCs.

B1.1.7
Describe combinational logic gate circuits.

B1.1.8
Describe sequential logic gate circuits.

B1.1.9
Define terms and definitions associated with logic gate functions.

B1.1.10
Describe how to create PLC ladder logic programs for NOT, AND, OR, NAND, NOR, XOR, and XNOR logic gates.

B1.1.11
Describe how to convert Boolean expressions to PLC ladder logic diagrams.
	A

A

a

b

B

a

B

B

A

b

b

	MODULE B OUTLINE:
· Memory maps

· Data files

· Program sequencing

· Combinational logic gate circuits

· Sequential logic gate circuits

· Truth tables

· Conversions

· Boolean expressions to ladder logic diagrams

· Ladder logic diagrams to logic gate circuits

· Ladder logic diagrams to Boolean expressions


	MODULE C – PLC DIAGRAMS AND LADDER LOGIC

	MODULE DESCRIPTION – The purpose of this module is to teach the students to write PLC programs directly from a narrative description.  Topics include control relays, contactors, motor starters, switches, sensors, and output control devices.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	C1.0
Write PLC programs directly from a narrative description.
	C1.1
Design a PLC program and prepare a typical I/O connection diagram and ladder logic program that will correctly execute the specified hard-wired control circuit.  
	3C

	LEARNING OBJECTIVES 
	KSA

	C1.1.1
Identify the functions of electromagnetic control relays, contactors, and motor starters.

C1.1.2
Identify switches commonly found in PLC installations.

C1.1.3
Explain the operation of sensors commonly found in PLC installations.

C1.1.4
Explain the operation of output control devices commonly found in PLC installations.

C1.1.5
Describe the operation of an electromagnetic latching relay and the PLC programmed LATCH/UNLATCH instruction.

C1.1.6
Differentiate between sequential and combination control processes.

C1.1.7
Convert fundamental relay ladder diagrams to PLC ladder logic programs.
	B

B

B

B

B

C

C

	MODULE C OUTLINE:
· Electromagnetic control relays

· Contactors

· Motor starters

· Switches

· Sensors

· Output control devices




	MODULE D – PROGRAMMING TIMERS

	MODULE DESCRIPTION – The purpose of this module is to teach the students to program control outputs using timer instruction control bits.  Topics include timer instructions, timer ladder logic programs, MOV functions, cascading timer functions, and base value.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	D1.0
Program control outputs using timer instruction control bits.
	D1.1
Design a PLC program and prepare a typical I/O connection diagram and ladder logic program that will execute a specified hard-wired timer control circuit.
	3C

	LEARNING OBJECTIVES 
	KSA

	F1.1.1
Describe the operation of pneumatic on-delay and off-delay timers.

F1.1.2
Describe PLC timer instruction.

F1.1.3
Differentiate between a non-retentive and retentive timer.

F1.1.4
Convert fundamental timer relay schematic diagrams to PLC ladder logic programs.

F1.1.5
Analyze and interpret typical PLC timer ladder logic programs.

F1.1.6
Describe how to use MOV functions to create variable preset value timer functions.

F1.1.7
Describe how to use OFF-delay timers to create PLC ladder logic diagrams.

F1.1.8
Describe how to cascade timer functions in a PLC ladder logic diagram to increase the timer preset values.

F1.1.9
Define various terms associated with PLC timer functions.

F1.1.10
Describe the timer base value of a timer function.


	A

B

B

b

C

b

b

b

B

B

	MODULE D OUTLINE:
· Timer instructions

· Retentive and non-retentive timers

· Timer ladder logic programs

· MOV functions

· OFF delay timers

· Cascading timer functions

· Base value


	MODULE E – PROGRAMMING COUNTERS

	MODULE DESCRIPTION – The purpose of this module is to teach the students to apply combinations of counters and timers to control systems.  Topics include counter instructions, counter functions, counter and timer combinations, counter logic diagrams, and cascading counter functions.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	E1.0
Apply combinations of counters and timers to control systems.
	E1.1
Design a PLC program and prepare a typical I/O connection diagram and ladder logic program that will execute a specified hard-wired counter control circuit.
	3C

	LEARNING OBJECTIVES 
	KSA

	E1.1.1
List and describe the functions of PLC counter instructions.

E1.1.2
Describe the operating principle of a transitional, or one-shot contact.

E1.1.3
Analyze and interpret typical PLC count ladder logic programs.

E1.1.4
Describe how to apply the PLC counter function and associated circuitry to control systems.

E1.1.5
Describe how to apply combinations of counters and timers to control systems.


E1.1.6
Describe how to use count up functions to create PLC ladder logic diagrams.

E1.1.7
Describe how to use count down functions to create PLC ladder logic diagrams.  

E1.1.8
Explain how to reset counter functions.

E1.1.9
Explain various considerations for connecting different counter functions and cascade counter functions.

E1.1.10
Explain how to use timer and counter functions to create PLC ladder logic diagrams.

E1.1.11
Define terms associated with PLC counter functions.


	B

B

C

b

b

b

b

b

b

b

A

	MODULE E OUTLINE:
· Counter instructions

· Counter functions and circuitry

· Counter and timer combinations

· Count up and down logic diagrams

· Counter reset

· Cascading counter functions


	MODULE F – PROGRAM CONTROL INSTRUCTIONS

	MODULE DESCRIPTION – The purpose of this module is to teach the students to use program control instructions to alter a program scan from a normal sequence.  Topics include control instructions, subroutines, MCR functions, jump functions, and label functions

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	F1.0
Use program control instructions to alter a program scan from its normal sequence.
	F1.1
Design a PLC program and prepare a typical I/O connection diagram and ladder logic connection containing specified program control instructions.
	3c

	LEARNING OBJECTIVES 
	KSA

	F1.1.1
State the purpose of program control instructions.

F1.1.2
Describe the operation of the master control reset instructions.

F1.1.3
Describe the operation of the jump and label instruction.

F1.1.4
Explain the function of subroutines.

F1.1.5
Describe the immediate I/O instructions function.

F1.1.6
Describe the forcing capability of a PLC.

F1.1.7
Describe safety considerations built into PLCs and programmed into PLC installation.

F1.1.8
Describe the function of the selectable time-interrupt and fault routine files.

F1.1.9
Explain what happens to instructions on the rungs that are between MCR instructions when the MCR function is activated.

F1.1.10
Explain when you should use the MCR function.


F1.1.11
Explain how to use the compare function to energize the jump coil.

F1.1.12
Describe how to cascade compare functions to set upper and lower limits in a control system.

F1.1.13
Explain how to use the JMP function to skip over rungs in a PLC ladder logic diagram.

F1.1.14
Describe how to use multiple JMP functions with multiple label (LBL) functions in a PLC ladder logic diagram. 

F1.1.15
Describe how to utilize a master control reset (MCR) function to halt the operation of a section of a PLC ladder logic diagram.

F1.1.16
Define various terms associated with PLC compare, jump, and MCR functions.


	A

B

B

C

B

B

c

B

B

B

B

b

b

b

b

A

	MODULE F OUTLINE:
· Control instructions

· Master control reset instructions

· Jump and label instructions

· Subroutines

· Forcing

· Safety

· Selectable time-interrupt and fault routine files

· MCR functions

· Jump functions

· Label functions




	MODULE G – DATA MANIPULATION

	MODULE DESCRIPTION – The purpose of this module is to teach the students to manipulate data using various instructions.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	G1.0
Use data manipulation instructions.
	G1.1
Write a specified program that will copy and move information using various commands.  
	3C

	LEARNING OBJECTIVES 
	KSA

	G1.1.1
Define data manipulation.

G1.1.2
Describe the operation of the word-level instructions used to copy data from one memory location to another.


G1.1.3
Interpret data transfer and data compare instructions.


	A
B

C

	MODULE G OUTLINE:
· Instructions

· Copy

· Data transfer 

· Data compare

· Discrete I/Os versus multibit and analog

· Closed loop control




	MODULE H – COMMON CONTROL METHODS

	INDUSTRY COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	H1.0
Apply common control methods.  
	H1.1
Demonstrate common control methods.
	b

	
	H1.2
Construct a common control circuit, and install the appropriate control devices. 
	b

	
	H1.3
Perform basic troubleshooting activities as required on common circuits.
	c

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

	H1.1.1

Explain characteristics and functions of relays, and timers.

H1.1.2
Explain operating principles of controllers, relays, and timers.
H1.1.3
Illustrate and explain two-wire control.

H1.1.4
Illustrate and explain three-wire control.

H1.1.5
Explain the process of jogging.

H1.1.6
Explain the process of reversing.
H1.1.7
Describe the appropriate use of E-stop. 
H1.1.8
Explain the appropriate use of hand/off/auto switch.

H1.1.9
Explain and illustrate the use of automatic and manual control.
	B

B

B

B

b

b
C

B

B

	H1.2.1
Explain the process of removing and replacing motor starters and controllers.
H1.2.2
Illustrate and construct a functioning motor control circuit.
	b 
b

	H1.3.1
Illustrate the function of various types of test equipment.
H1.3.2
Describe various considerations for performing troubleshooting activities on common control circuits.
	c

c




LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Facts/ Nomenclature
	Principles/ Procedures
	Analysis/ Operating Principles
	Evaluation/ Complete Theory

	
	A/a
	B/b
	C/c
	D/d

	Module A
	38%
	56%
	6%
	

	Module B
	45%
	55%
	
	

	Module C
	
	71%
	29%
	

	Module D
	10%
	80%
	10%
	

	Module E
	9%
	82%
	9%
	

	Module F
	12.5%
	75%
	12.5%
	

	Module G
	33%
	33%
	34%
	

	Module H
	
	77%
	23%
	


	Knowledge, Skills, and Attitudes (KSA) Indicators

	
	Value
	Key Word(s)
	Definition

	Performance 
Ability 
	4
	Highly 

Proficient
	Performs competency quickly and accurately.  Instructs others how to do the competency. 

	
	3
	Proficient
	Performs all parts of the competency.  Needs only a spot check of completed work.

	
	2
	Partially

 Proficient
	Performs most parts of the competency.  Needs help only on hardest parts. 

	
	1
	Limited Proficiency
	Performs simple parts of the competency.  Needs to be told or shown how to do most of the competency. 

	Knowledge of Skills
	d
	Complete

Theory
	Predicts, isolates, and resolves problems about the competency.

	
	c
	Operating Principles
	Identifies why and when the competency must be done and why each step is needed.

	
	b
	Procedures
	Determines step-by-step procedures for doing the competency.

	
	a
	Nomenclature
	Names parts, tools, and simple facts about the competency.

	Knowledge
	D
	Evaluation
	Evaluates conditions and makes proper decisions about the subject.

	
	C
	Analysis
	Analyzes facts and principles and draws conclusions about the subject.

	
	B
	Principles
	Identifies relationship of basic facts and states general principles about the subject.

	
	A
	Facts
	Identifies basic facts and terms about the subject.

	Affective
	*5
	Characterization by Value
	Acting consistently with the new value

	
	*4
	Organization
	Integrating a new value into one's general set of values, giving it some ranking among one's general priorities

	
	*3
	Valuing
	Showing some definite involvement or commitment

	
	*2
	Responding
	Showing some new behaviors as a result of experience

	
	*1
	Receiving
	Being aware of or attending to something in the environment

	Alpha Scale Values - Any item with an upper case letter (A, B, C, D) by itself is taught as general information on a topic.  This information may be related to the competency or encompass multiple competencies.  Examples might include mathematical computations or knowledge of principles such as Ohm’s Law.

A lower case letter indicates a level of ”Knowledge of Skills."  Individuals are taught information pertaining to performing a competency .  These may be indicated alone or in conjunction with a numerical scale value.  A lower case letter by itself indicates the individual is not required to perform the task-just know about the task.  (example: Can state or explain procedures for doing a task).

Numerical Scale Values - The numbers reflect the levels the individual will be able to perform a competency. Number values are always accompanied by lower case letters (i.e. 1a, 2b, 3c...etc.) in order to specify the level of knowledge of skills associated with the competency.   

Example:  An individual with a competency with a scale indicator of 3b has received training of knowledge of skills whereby he or she can determine the correct procedures and perform with limited supervision; only requiring evaluation of the finished product or procedure.

Asterisk items indicate desired affective domain levels and are used to indicate the desired level for a given competency.   They may be used independently or with other indicators (i.e.   1a-*1, 2c-*3).  If used with another indicator, separate with a hyphen.

NOTE:  Codes indicate terminal values.


ELT 177, EET 229, AUT 122, ILT 177, INT 177 Elements of Industrial Control Lab





Plan of Instruction





Effective Date: Fall 2009								Version Number: 2009-1  











Alabama Community College System

Copyright© 2008
All Rights Reserved
PAGE  
2
ACCS Copyright© 2008
All Rights Reserved

