[image: image1.png](e

AL




OSHA Safety Standards















ELT 206


This course may be taught in its entirety in career/technical education degree programs, non-degree programs, and Training for Business and Industry programs.  Individual instructional modules may be taught in customized training, adult education work-based project learner activities, and short-term training.

COURSE DESCRIPTION  

This course provides the student with the knowledge of OSHA safety standards as required by this organization, and as it relates to the job site. Emphasis is placed on overall safety practices, construction site safety practices and safety procedures required by Federal/State laws. Upon completion, the student should be able to understand the requirements of OSHA as it relates to general and specific construction sites. This course supports CIP code 46.0302.
CREDIT HOURS (applicable if entire course is taught in a career/technical education degree or non-degree program)  
Theory

 3 credit hours

Lab


 0 credit hour

Total


 3 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1 contact to credit hour ratio) or experimental (2:1 contact to credit hour ratio).

PREREQUISITE COURSES 
As required by college
CO-REQUISITE COURSES 
As required by college
INSTRUCTIONAL NOTE:  Foundational academic skills in General Math such as integers, percents, ratio and proportions, metric system and linear equations and Technical Writing such as research, organization, composition, documentation, and report presentation are used throughout this discipline.
INDUSTRY COMPETENCIES:

Identify the four major components of safety

Demonstrate knowledge of basic electrical safety
Identify the importance of fire safety
Identify and handle hazardous material in the work place
GENERAL INSTRUCTIONAL OBJECTIVES:  

The cognitive objective for this course is for each student to comprehend foundational knowledge of OSHA safety standards
The performance objective of this course is for each student to apply foundational knowledge of OSHA safety standards in a simulated environment.
INDUSTRY COMPETENCIES/STUDENT PERFORMANCE OBJECTIVES:

Unless otherwise indicated, evaluation of student’s attainment of cognitive and performance objectives is based on knowledge gained from this course.  During performance evaluations, students will be provided necessary tools, equipment, materials, specifications, and any other resources necessary to accomplish the task.  Specifications may be in the form of, but not limited to, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab assignments, or any combination of specifications.

	MODULE A – COMPONENTS OF GENERAL SAFETY

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	A1.0 Identify the four major components of safety (2B)
	A1.1 Demonstrate proper safety skills

	ENABLING OBJECTIVES/KEY INDICATORS 
	KSA 

Indicator

	A1.1.1  Identify type of hazard in every day life.

A1.1.2  Explain how a emergency action plan works.

A1.1.3  Define the proper way to use an emergency action plan
A1.1.4  Demonstrate the department emergency action plan.
A1.1.5  Explain the proper exiting procedures for the school building.

A1.1.6  Explain proper shop and work safety.

   A1.1.7  Explain the relationship with (OSHA) Occupational Safety and Health           Administration and the National Electrical Code.
A1.1.8 Define basic safety equipment  

A1.1.9  Explain why we need personal protective equipment

A1.1.10 Describe proper work clothing

A1.1.11 Explain different types of hard hats and safety glasses

A1.1.12 Explain the difference in respirators and dust masks

A1.1.13 Explain glove types and classes

A1.1.14 Describe the proper foot wear to wear to work

A1.1.15 Describe the effects of loud noises on the body

A1.1.16 Define proper ear protection

A1.1.17 Explain the proper way to care for your safety equipment

A1.1.18 Define blood born pathogen 

A1.1.19 Explain the proper method for cleaning up or containing blood born pathogens 

A1.1.20 Identify concerns of blood born pathogens

A1.1.21 Demonstrate a sample exposure plan

A1.1.22 Explain the importance of good record keeping procedures

A1.1.23 Define first aid

A1.1.24 Explain the importance of knowing first aid

A1.1.25 Explain the importance of taking CPR classes   

A1.1.26 Define and explain ladder safety 

A1.1.27 Explain the different application and ladder types

A1.1.28 Describe proper setup procedure for ladders.

A1.1.29 Describe proper safety on all types of ladder

A1.1.30 Explain the safety concerns with power tools on ladders

A1.1.31 Define and explain scaffold safety 

A1.1.32 Describe proper set up procedures for scaffolds

A1.1.33 Describe the safety difference in mobile and stationary scaffolds

	A
b

b

b

b

B
B
A

B
A

B
B
B
A

A
A

b

A

b

A

b

A

A

B
B
B
B

b

b

B
B
b

B




	MODULE B – BASIC ELECTRICAL SAFETY

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	B1.0 Demonstrate knowledge of basic electrical safety (2B)
	B1.1 This competency is measured cognitively

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA 

Indicator

	B1.1.1  Explain and describe how current can flow thru the body

B1.1.2  Summarize the basic safety rules when working with electrical equipment

B1.1.3  Define the meaning of a damage cord

B1.1.4  Describe procedures to repair damaged cord 

B1.1.5  Describe the importance in a grounded cord

B1.1.6  Describe the importance in following manufactures specifications on equipment
B1.1.7 Describe the importance of using ground fault and arc fault protection

B1.1.8 Explain the importance of grounds 

B1.1.9 Explain ground fault circuit interrupter

B1.1.10 Explain safety concerns with equipment malfunction 

B1.1.11 Explain how an arc happens and the effect it may cause

B1.1.12 Describe how to prevent arcing 

B1.1.13 Explain Arc Fault Interrupter (AFI)

B1.1.14 Describe the details of guarding  lock out and tag out equipment.

B1.1.15 Define a motor guard

B1.1.16 Explain the importance of safety limiting switches

B1.1.17 Explain and demonstrate lock and tag out procedures

B1.1.18 Explain and demonstrate group lock and tag out procedures

B1.1.19 Define confined spaces when working on electrical equipment
B1.1.20 Explain zero energy state lock out and tag out procedures

	B
A

A

B
B
B
B
B

B
B

b

b

B

B

A

A

b

b

A

b

	MODULE C – FIRE SAFETY

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	C1.0 Identify the importance of fire safety (2B)
	C1.1 Utilize proper safety procedures dealing with fire prevention.                                            

C1.2 Utilize and perform fire safety check and drills

C1.3 Demonstrate the proper way to store and use flammable liquids 

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA 

Indicator

	C1.1.1  Explain  how a fire starts

C1.1.2  Explain the importance of materials used for clean up 

C1.1.3  Explain the importance of knowing were the fire safety equipment is located in case of a fire

C1.1.4  Describe and demonstrate the procedures for using a fire extinguisher 

C1.1.5  Explain the difference in all of the fire extinguishers
C1.1.6  Identify the four types of fire

C1.1.7  Describe the difference in putting out all types of fires 
	B
B
B
b

B

A

B

	C1.2.1  Explain why we need to have a fire plan

C1.2.2  Demonstrate the proper way to layout fire plans and safety drills

C1.2.3  Use your skill and layout a fire plan for your school

C1.2.4  Describe the job safety plan for evacuating the job site or work place
	B
b

b

A

	C1.3.1  Define flash point

C1.3.2  Explain and define Flammable liquid 

C1.3.3  Explain why a storage room should be ventilated 

C1.3.4  Explain how to identify flammable material

C1.3.5  Explain the proper safety measure when using flammable material

C1.3.6  Identify and explain the uses for flammable storage cabinets
	A
B
B
B
B
B

	MODULE D – HANDLING OF HAZARDOUS MATERIAL

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	D1.0 Identify and handle hazardous material (2B)
	D1.1 This competency is measured cognitively.

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA 

Indicator

	D1.1.1  Explain the importance of identifying all substances before use

D1.1.2  Identify flammable or combustible waste

D1.1.3  Identify corrosive waste by using MSDS
D1.1.4  Identify unstable or reactive waste

D1.1.5  Explain how to obtain a EPA identification number
D1.1.6  Explain the importance of having a material safety data sheet for hazardous substances in storage

D1.1.7  Explain how to label hazardous material properly 

D1.1.8  Explain the importance of employee training for hazardous material 

D1.1.9  Explain the classification of hazardous substances  

D1.1.10 Identify respirator types and capability 

D1.1.11 Explain how to use a respirator effectively in a dingoes situation

D1.1.12 Describe how to inspect the respirators

D1.1.13 Describe training requirements for employee using respirators

D1.1.14 Describe the proper procedures for working in a hazardous area
D1.1.15 Explain the use of MSDS
	B
a

A

a

b

B

B
B

B
B

b

b

B

b

B


COURSE CONTENT OUTLINE

MODULE A – COMPONENTS OF GENERAL SAFETY
· Hazards in everyday life

· Emergency action plan 

· Exiting procedure for the school building

· OSHA Occupational Safety and Health Administration ad National Electrical Code

· Basic Safety Equipment

· Personal Protective Equipment

· Proper work clothing 

· Respirator and dust masks

· Gloves types and classes

· Blood born pathogen

· First aid

· CPR 

· Ladder safety 

· Scaffold Safety

MODULE B – BASIC ELECTRICAL SAFETY
· Safety concerns with power tools

· Ground fault circuit interrupter

· Ground cords

· Arc fault interrupter (AFI)

· Lock out/tag out procedures

· Group lock out/tag out procedures

· Motor guard

· Safety concerns with equipment malfunction

· Confined spaces

· Safety concerns and procedures with confined spaces

MODULE C – FIRE SAFETY
· Flash point

· Flammable liquid

· Flammable storage cabinets

· Fire extinguisher

· Four fire types A,B,C,D

· Proper exiting procedure for the school building

MODULE D – HANDLING OF HAZARDOUS MATERIAL
· Hazardous material

· Proper safety measure when using hazardous chemicals

· Sample exposure control plan
· Basic training for chemical handling

· RECOMMENDED METHODS OF EVALUATION:  The table of specifications below identifies the number of enabling objectives/key indicators per cognitive domain level of learning (Knowledge, Comprehension, Application) per module.  Instructors should develop a minimum of 1-3 test questions per Knowledge Level of Learning, 2-4 test questions per Comprehension Level of Learning, and 5-6 questions per Application Level Learning.   Instructors should use the following test item types for each level of learning:

Knowledge:  Multiple Choice, Alternative Response test items (true/false or yes/no) 

Comprehension:  Multiple Choice, Short answer

Application: Multiple Choice, Short Answer Exercises

The table of specifications below also identifies the number of objectives per module.  The instructor should ensure each student meets the performance and standards published in each objective.  
TABLE OF SPECIFICATIONS

	Domain of Learning/

Content
	Cognitive Domain
	Total Cognitive
	Total Performance

	
	Knowledge
	Comprehension
	Application
	
	

	Module A
	
	
	
	
	

	Module B
	
	
	
	
	

	Module C
	
	
	
	
	

	Module D
	
	
	
	
	

	Number of indicators per level
	
	
	
	
	


	Cognitive Level

(Thinking)
	Goal For Students
	Teaching Methods
	Teaching Activities

	Knowledge

Descriptive Verbs:

Defines, Lists, States, Describes, Identifies
	Knows common terms, specific facts, methods, procedures, basic concepts, principles
	Lecture

Computer Based Instruction

Video 

Demonstration
	Mnemonics

Examples or Illustrations

Repetition

Summaries 

Reviews

	Comprehension

Descriptive Verbs:

Describe, Explains,

Summarizes
	Understands facts and principles

Interprets verbal material

Interprets charts and graphs

Translates verbal material to mathematical formulas

Estimates future consequences

Justifies methods and procedures
	Informal Lecture

Discussion

Demonstration

Participation

Interactive Computer Based Instruction
	1. Teach to the Knowledge Level

2. Explains and demonstrates concept, principle or procedure learned

3. Put students in new situation, and instructor and students co-solve employing the indicated concept, principle, or procedure.

4. Put students in a new situation, and the students solve the new situation using the concept, principle, or procedure while instructor supervises.

5. Reteach as required

	Application

Descriptive Verbs:

Uses, Solves, Operates, Produces,

Demonstrates, Constructs
	Applies concepts and principles to new situations

Applies laws and theories to practical situations

Solves mathematical problems

Constructs charts, graphs, or simple mechanism

Demonstrates correct usage of a method or procedure
	Demonstration

Individual Research

Lab Exercises

Case Studies

Experiments
	1. Teach to the Knowledge Level

2. Teach to the Comprehension Level

3. Student must identify the concept, principle, or procedure and use it to solve new scenario

4. Reteach as required

	Psychomotor Level

(Doing)
	Goal For Students
	Teaching Methods
	Teaching Activities

	Mechanism

Descriptive Verbs:

Assembles, calibrates, constructs, measures, fixes, dismantles, sketches
	Learned responses have become habitual and can be performed with some confidence and proficiency
	Lab Exercises

Case Studies

Experiments
	1. Demonstration

2. Observation

3. Feedback

4. Reteach as required




RECOMMENDED INSTRUCTIONAL METHODOLOGIES:  The table below links the teaching methods and activities most effective for facilitating student achievement of learning outcomes published in this plan of instruction. 

	Glossary of Terms

	Plan of Instruction (POI)
	A teaching-learning plan which includes student centered instructional objectives, outlined content, instructional and evaluation strategies, and other relevant information needed to guide the development and/or revision of learning experiences such that students achieve stated educational outcomes.   

	Industry Competencies  


	Entry-level skills required students must acquire during enrollment is the course.  

	Course Objectives  


	The overall goal of the course of instruction stated in broad terms.

	Criterion Objectives  


	The terminal outcome each student is required to meet.  Criterion objectives are directly related to industry competencies.  There will be one or more criterion objectives published for each industry competency.

	Enabling Objectives/Key Indicators 
	The required knowledge and/or skill each student must acquire in order to have the best chance of achieving the stated performance in the criterion objective.

	Table of Specifications  


	Use to ensure adequate sampling of student knowledge as specified by the enabling and criterion objectives

	Cognitive Domain 


	The domain of learning typified by thinking and focused on the development of intellectual capabilities.

	Psychomotor Domain  


	The domain of learning typified by performing or doing and focused on the development of motor skills.

	Section Explanation

	Course Description 
	A broad description of key elements in a given course.

	Course Prefix/numbers
	 Used to identify courses taught in multiple disciplines. 

	Co-requisite Course
	Course required in conjunction to the specified course often in the form of a lab

	Modules
	A grouping of interrelated knowledge and skills representing a sub-element of a course.

	Course Content Outline
	A listing of topics for instruction in a particular course

	Contact/Credit hours
	Specifies the recommended contact to credit hours for each course.  Mandates the total credit hours awarded for each course.

	Prerequisite Knowledge
	Intellectual capabilities required for handling the academic rigors of the discipline.

	Recommended Methods of Evaluation 
	Suggests test item options for measuring student achievement of enabling objectives.  Suggests the number of test items required to adequately measure student achievement of enabling objectives.  Mandates the evaluation of criterion objectives. 

	Recommended Instructional Methodologies
	Suggests the most effective instructional methods for achieving stated learning levels

	Directions for Use

	1.
	Review the entire document.

	2.
	Assess the industry competencies specified in the POI keeping in mind that the stated skills are the target outcomes for the course.

	3.
	Assess the criterion objectives written for each competency keeping in mind the objective specifies the behavior each student must exhibit in order to achieve the competency. 

	4.
	Adjust performance evaluation instruments to ensure each criterion objective is addressed.

	5.
	Develop additional performance evaluations as needed

	6.
	Assess enabling objectives/key indicators specifying student outcomes 

	7.
	Adjust objective evaluations based on the guidance provided in the POI table of specification to ensure adequate sampling of student learning outcomes.

	8.
	Evaluate current classroom curriculum and determine if learning experiences support student achievement of skills identified in criterion objectives.  Adjust as necessary.

	9.
	Review recommended instructional methodologies for teaching activities appropriate to specified levels of learning.

	10.
	Develop appropriate learning experiences for those skills not addressed. 

	11.
	Ensure specified contact hours are enough to cover existing and new learning experiences developed.

	12.
	Ensure adequate time exists to evaluate each student on all criterion objectives. 

	13.
	Adjust course syllabus to reflect changes made.

	14. 
	If necessary, adjust school surveys to reflect changes made.


ELT 206





OSHA Safety Standards








Effective Date:   2004  						Version Number: Base Document						








PAGE  
5
Alabama College System


