[image: image1.png](e

AL




Programmable Controls
















ELT 230


This course may be taught in its entirety in career/technical education degree programs, non-degree programs, and Training for Business and Industry programs.  Individual instructional modules may be taught in customized training, adult education work-based project learner activities, and short-term training.

COURSE DESCRIPTION  

This course includes the principles of state-of-the-art programmable logic controls (PLC’s), including hardware, programming, and program design.  Emphasis is placed on, but is not limited to, the following:  hardwiring associated with the PLC, different options available with most PLC’s, basic ladder logic programming, developing working programs, timers, counters, different special functions, and designing programs from existing hardwired systems. This course supports CIP code 46.0302.

CREDIT HOURS (applicable if entire course is taught in a career/technical education degree or non-degree program)  
Theory

 4 credit hours

Lab


 2 credit hour

Total


 6 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1 contact to credit hour ratio) or experimental (2:1 contact to credit hour ratio).

PREREQUISITE COURSES 
ELT 108 and ELT 109 or permission of instructor

CO-REQUISITE COURSES 
Determined by college unless stated otherwise.

INSTRUCTIONAL NOTE:  Foundational academic skills in General Math such as integers, percents, ratio and proportions, metric system and linear equations and Technical Writing such as research, organization, composition, documentation, and report presentation are used throughout this discipline.
INDUSTRY COMPETENCIES:

· Identify the four (4) major components of the PLC’s and their purpose
· Read and interpret program symbol functions

· Read and interpret field wiring symbol functions.

· Install PLC systems and wiring devices
· Demonstrate the ability to perform basic programming

· Demonstrate the ability to develop programs
· Demonstrate the ability to load programs into programmable

logic controllers
· Demonstrate the ability to troubleshooting  the system when 

necessary.

GENERAL INSTRUCTIONAL OBJECTIVES:  

The cognitive objective for this course is for each student to comprehend foundational knowledge of programmable logic controls.
The performance objective of this course is for each student to apply foundational knowledge of programmable logic controls in a simulated environment.
INDUSTRY COMPETENCIES/STUDENT PERFORMANCE OBJECTIVES:

Unless otherwise indicated, evaluation of student’s attainment of cognitive and performance objectives is based on knowledge gained from this course.  During performance evaluations, students will be provided necessary tools, equipment, materials, specifications, and any other resources necessary to accomplish the task.  Specifications may be in the form of, but not limited to, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab assignments, or any combination of specifications.

	MODULE A – MAJOR COMPONENTS

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	A1.0  Identify the four (4) major components of the PLCs  and their purposes (3B)
	A1.1 Describe the operation of the CPU and it’s purpose

in the PLC system.

A1.2  Demonstrate the difference between input and              output devices and explain their functions.

A1.3   Demonstrate how the power supply interfaces with

processor and I/O section and perform tests to

demonstrate if operating properly.

A1.4   Use a programming terminal to show how it

interconnects to the system and program is entered.

	ENABLING OBJECTIVES/KEY INDICATORS 
	KSA 

Indicator

	A1.1.1  Describe several advantages of a programmable logic controller (PLC) over hardwired relay systems

A1.1.2  Identify the four major components of a typical programmable logic controller and describe the function of each

A1.1.3  Describe the function of the processor

A1.1.4  Describe a typical program scan

A1.1.5  Identify the two distinct types of memory

A1.1.6  Describe the function of the watchdog timer

A1.1.7  Identify various memory designs

A1.1.8  Identify and explain the two broad categories of memory use

A1.1.9  Identify the types of information stored in each category of memory

A1.1.10  Define the term byte and bit

A1.1.11  Define decimal, binary, octal, hexadecimal, and binary coded decimal (BCD) numbering systems

A1.1.12  Convert from one numbering system to another

A1.1.13  Define a network
	B

a

A

A

A

A

A

A

A

A

A

b

A

	A1.2.1  Define the term discrete

A1.2.2  Define the term analog

A1.2.3  Describe the I/O section of a programmable logic controller (PLC)

A1.2.4  Describe how basic AC and DC input and output modules work

A1.2.5  Describe the proper wiring connections for input and output devices and their corresponding modules

A1.2.6  Explain why a hardwired emergency-stop function is desirable

A1.2.7  Describe what I/O shielding does
	A

A

a

c

b

B

A

	A1.3.1  Describe the basic components of the regulated power supply and its connections to the processor and I/O Section
	A

	A1.4.1  Explain the method of entering a program through hand held or computer terminal

A1.4.2  Identify different types of programming devices

A1.4.3  Identify different peripheral devices that are used with programmable logic controller (PLC)

A1.4.4  Describe the function of a programming device

A1.4.5  Describe the three types of programming devices
	b

a

a

A

A


	MODULE B – PROGRAM SYMBOL FUNCTIONS

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	B1.0 Read and interpret program

        symbol functions. (3b)


	B1.1  Determine proper logic symbols to use for input

          and output devices.

B1.2  Utilize logic symbols to develop programs. 

B1.3  Convert relay ladder diagrams to relay ladder logic. 

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA 

Indicator

	B1.1.1  Explain the output energize instruction

B1.1.2  Explain the AND, OR, and NOT functions

B1.1.3  Explain the branch start and end instructions

B1.1.4  Describe the term internal relay

B1.1.5  Define the term nesting
	B

B

B

B

A

	B1.2.1  Define the EXAMINE ON instruction

B1.2.2  Define the EXAMINE OFF instruction

B1.2.3  Write and understand the logic for a standard STOP/START motor circuit

B1.2.4  Describe the difference between logical and discrete holding contacts
	A

A

C

C

	B1.3.1  Convert a wiring diagram to a ladder diagram

B1.3.2  List the rules that govern a ladder diagram

B1.3.3  Write a program using a latching relay
	b

A

b


	MODULE C – FIELD WIRING SYMBOL FUNCTIONS

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	C1.0  Read and interpret field wiring symbol functions. (3b)
	C1.1  Use field wiring symbols and explain the proper use of each electromechanical and solid state devices.

C1.2  Demonstrate the use of field wiring device symbols

in relay ladder logic. 

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA 

Indicator

	C1.1.1  Identify the functions of electromagnetic control relays, contactors, and motor starters

C1.1.2  Identify the basic device and switch symbols found in PLC installations

C1.1.3  Explain the operation of sensors and output control devices

C1.1.4  Compare sequential and combination control processes
	A

A

b

C

	C1.2.1  Identify a wiring diagram

C1.2.2  Identify the parts of a wiring diagram
	A

a


	MODULE D – PLC SYSTEMS AND WIRING DEVICES

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	D1.0  Install PLC systems and

          and wiring devices. (3b)


	D1.1  Perform the proper connections while installing PLC systems to meet all safety requirements.

D1.2  Locate the optimal location to install the PLC to ensure the maximum utilization of existing and newly installed equipment.

D1.3  Check input and output devices before start-up and analyze the proper functions of the installed devices and PLC.

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA 

Indicator

	D1.1.1  Write a program using a master control relay

D1.1.2  Explain the importance of safety circuits

D1.1.3  Explain the proper installation of the 4 major components
	b

A

b

	D1.2.1  Outline and describe requirements for a PLC enclosure

D1.2.2  Describe proper grounding practices and preventative maintenance tasks associated with PLC systems

D1.2.3  List environmental concerns with installing PLC’s
	B

b

A

	D1.3.1  Explain start-up procedures listed in the manufactures’ literature

D1.3.2  Explain how input devices are tested

D1.3.3  Explain how to test output devices using a push button or other input device

D1.3.4  Explain safety considerations when testing output devices

D1.3.5  Describe how voltage readings are taken to check input and output modules
	A

b

b

A

b


	MODULE E – BASIC PROGRAMMING

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	E1.0  Demonstrate the ability to

         perform basic programming. (3b)
	E1.1  Design and implement an active, operational program to perform a specific function.

E1.2  Demonstrate the proper mode to enter and execute a program.

E1.3  Analyze the logic continuity of the rungs in ladder logic program to insure safe and proper operation.



	ENABLING OBJECTIVES/KEY INDICATORS
	KSA 

Indicator

	E1.1.1  Explain the term On Line Programming

E1.1.2  Write a program using ON and OFF delays timers
	A

b

	E1.2.1  Describe basic programming techniques

E1.2.2  Explain the term on-line and off-line programming
	A

A

	E1.3.1  Describe the Force ON and Force OFF features, and the hazards that could be associated with both
	B


	MODULE F – PROGRAM DEVELOPMENT

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	F1.0  Demonstrate the ability to develop programs (2b)

	F1.1  Construct complex programs using PLC internal timer, counter, and bit commands

F1.2  Construct complex programs using Master Control Relay, Jump, Label, and subroutine instructions

F1.3  Construct complex programs with data manipulation, Math, and sequencer instructions

	ENABLING OBJECTIVES/KEY INDICATORS 
	KSA 

Indicator

	F1.1.1  Describe the operation of pneumatic on-delay and off-delay timers

F1.1.2  Describe PLC timer on-delay and off-delay instructions and differentiate between a retentive and non-retentive timer

F1.1.3  Write a program using on delay and off delay timers

F1.1.4  Analyze and interpret typical PLC timer lodder logic programs

F1.1.5  List and describe the functions of PLC counter instructions. Describe the operating principle of a one shot contact

F1.1.6  Write a program using up and down counters.

F1.1.7  Define the terms incremental and decrement

F1.1.8  Apply PLC counter functions and associated circuitry to control systems
	B

B

c
c

A

c

A

b



	F1.2.1  Describe the operation of the master control reset, jump, and label instructions

F1.2.2  Explain the function of subroutines

F1.2.3  Describe the immediate input and output instructions function

F1.2.4  Describe the forcing capability of the PLC

F1.2.5  Explain safety considerations built into PLC’s and programmed into a PLC Installation

F1.2.6  Describe the operation of the jump and label instructions

F1.2.7  Explain the function of subroutines
	b

b

A

B

A

b

b

	F1.3.1  Analyze and interpret math instructions as they apply to a PLC program

F1.3.2  Create PLC programs involving math instructions

F1.3.3  Define data manipulation and apply it by writing a PLC program

F1.3.4  Interpret data transfer and data compare instructions as they apply to a PLC program

F1.3.5  Compare the operation of disrete I/O’s with that of multibit and analog types

F1.3.6  Explain the major components of a process control system

F1.3.7  Explain the basic operation of a closed-loop system
	c

c

c

c

B

A

A


	MODULE G – LOAD PROGRAMS

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	G1.0  Demonstrate the ability to load

programs into programmable

logic controllers. (2b)

	G1.1  Demonstrate the use of basic PLC menu commands.

G1.2  State the operating procedures for entering simple and complex programs using hand held and computer based programming devices

G1.3  Demonstrate the operating procedures for downloading simple and complex programs to the PLC processor

G1.4  Demonstrate the procedure for uploading programs from processor to computer file.

G1.5  Use the computer menus to demonstrate how to backup PLC programs and restore programs in the computer file

G1.6  Create the proper directory and associated file to store PLC programs and relative information

G1.7  Demonstrate the proper means of booting up the PC and start procedures for PLC programs

G1.8  State the advantages of online programming vs offline programming



	ENABLING OBJECTIVES/KEY INDICATORS
	KSA 

Indicator

	G1.1.1  Explain how ladder diagram language, Boolean language, and function chart programming language are used to communicate information to the PLC
G1.1.2  Identify  the common operating modes found in PLC’s

G1.1.3  Explain the purpose of basic PLC menu commands
G1.1.4  Explain how to format new disks to store information

G1.1.5  Explain how to use advanced windows operational procedures

G1.1.6  Explain the process to create, rename, and copy files to disks
	B

A

A

b

b

b

	G1.2.1  Describe the procedures for loading complex programs

G1.2.2  Explain the proper way to store programs

G1.2.3  List the advantages and disadvantages of using hand held programming devices

G1.2.4  Describe offline programming and online programming

G1.2.5 State the importance and use of new Windows based RSLogix
	b

b

A

A

A

	G1.3.1  Explain how to download computer file to PLC processor

G1.3.2  Describe the proper means of protecting program disks form physical harm

G1.3.3  Explain the proper means of making the program information and processor compatible

G1.3.4  Explain the reasons why a program may not download to processor
	b

b

b

A

	G1.4.1  Explain the proper mode for a processor when uploading to computer file

G1.4.2  Describe how the deleted computer file may be uploaded back into the computer files

G1.4.3 Explain how processor online programming changes may be saved in proper computer file
	A

b

b

	G1.5.1  Describe how to restore a deleted file from a back up file, or program disk

G1.5.2  Explain how to load a copy of a program from disk to computer

G1.5.3  State the reasons for backing up all program files to a computer disk

G1.5.4  Explain how to restore the system program if there is a system failure

G1.5.5  Describe how to rename file and directories

G1.5.6  Describe proper back-up procedures
	b

b

A

b

b

b

	G1.6.1  Explain how to create directories and files
	b

	G1.7.1  Explain the proper means of booting up the PC and start procedures for PLC programs
	b

	G1.8.1 State the advantages of online programming vs offline programming
	A


	MODULE H – TROUBLESHOOTING

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	H1.0  Demonstrate

the ability to troubleshoot the

system when necessary (2b)
	H1.1  State the difference in troubleshooting hardware and software systems
H1.2  Demonstrate how to troubleshoot input and output devices for hardwired problems.

H1.3  State safety considerations when testing output devices
H1.4  Check for proper voltage reading when checking input and output modules

H1.5  Demonstrate how to force input and output instruction to determine hardwire problem has occurred.

H1.6  Determine the processor, power supply, modules status, and indicators available to assist in troubleshooting

H1.7  Check for a proper grounded PLC System and determine problems associated with a poorly grounded system



	ENABLING OBJECTIVES/KEY INDICATORS
	KSA 

Indicator

	H1.1.1  Identify hardware problems associated with troubleshooting

H1.1.2  Describe how the PLC status indicators on processor, power, and I/O modules are used

H1.1.3  Explain the difference between a fault and system error

H1.1.4  Explain the proper way to use a troubleshooting guide.

H1.1.5  Describe the effect that dust, vibration, excessive temperature, and humidity can cause in PLC installations.

H1.1.6  Explain how the processor software can be used to detect potential problems.

H1.1.7  Explain software fault codes when locating communication problems
	a

B

A

A

B

b

B

	H1.2.1  Explain how to determine if input problem is hardwired or module problem.

H1.2.2  Explain how to use meter to determine if input module has proper voltage into it

H1.2.3  Describe how using shielded cable can eliminate induced voltage into input terminal

H1.2.4  Explain how the diagnostic fault indicators can be used for self detecting input problems or errors

H1.2.5  Describe problems associated with output modules

H1.2.6  Explain method of determining input and output problems by comparing ladder logic and LED’s
	b

b

b

b

A

b

	H1.3.1  Explain the compatibility of output field

H1.3.2  Describe the hazards associated with overriding outputs when testing the operation of machine

H1.3.3  Explain the reason for disconnecting or isolating output devices that could potentially cause damage or injury when test program

H1.3.4  Describe how to monitor associated instructions with the output device for verifying correct device is turned on.

H1.3.5  Explain how to test operation of emergency stop buttons and total system operation.
	A

A

B

b

b

	H1.4.1  Explain correct meters to use when measuring voltage to make sure correct value is being applied

H1.4.2  Describe test points on input and output modules for measuring voltage.

H1.4.3  Explain how to determine if output terminal is turned on and supplying power to a load device
	B

A

b

	H1.5.1  Explain the proper mode to be in when forcing an input or output instruction

H1.5.2  Describe how to recognize on the screen as compared to LED indicator if input or output bit is forced on or off.

H1.5.3  Explain the steps used to enter, enable or disable a forced instruction

H1.5.4  Explain the hazards associated with forcing on an instruction

H1.5.5 Explain how control of an input device is lost when forcing an input bit.


	B

B

b

A

b

	H1.6.1  Explain what the processor status indicators such as memory OK, processor OK, battery OK, and power supply OK means to the machine operation.

H1.6.2  Describe how to tell by status indicator if processor has faulted

H1.6.3  Explain the condition of an input device as relevant to the status indicator LED.

H1.6.4  Describe how the watchdog timer determines the maximum scan time allowed in the operation of processor

H1.6.5  Describe how a leaky input or output device will affect the status indicator on I/O modules


	B

A

B

b

B

	H1.7.1  Describe what components must be bonded together in the PLC System

H1.7.2  Explain the advantages of having a properly grounded system.

H1.7.3  Explain why ground wiring and power wiring must be separated at point of entry to an enclosure

H1.7.4  Describe how and why a poorly grounded system can cause voltage spikes and means of preventing it.

H1.7.5  Show how shielding low voltage cables can eliminate induced voltage problems.
	B

A

B

B

b


COURSE CONTENT OUTLINE

MODULE A – MAJOR COMPONENTS

· Introduction to programmable Logic Controller and basic components

· Processor Unit

· Input and output section

· Power Supply components and operation

· Programming devices peripherals

MODULE B – PROGRAM SYMBOL FUNCTIONS

· Understanding and using relay ladder diagrams

· Relay type instructions

· Understanding and using logic symbols

· Developing ladder logic programs

MODULE C – FIELD WIRING SYMBOL FUNCTIONS

· Understanding NEMA type Electric Motor Control symbols

· Electromechanical and solid state devices operation

· Relay ladder device symbol use

MODULE D – PLC SYSTEMS AND WIRING DEVICES

· Connecting PLC Chassis, I/0 devices, system power, and programming terminal properly

· PLC location considerations and applications

· Start up and testing procedures

MODULE E - BASIC PROGRAMMING

· Program design and implementation

· PLC modes for processor programming and running

· Program logic continuity

· Program safety consideration

MODULE F – PROGRAM DEVELOPMENT

· PLC internal timer, counter, and bit commands

· Master Control Relay, Jump, Label, and subroutine instructions

· Data manipulation, Math, and sequencer instructions

MODULE G – LOAD PROGRAMS

· Menu commands

· Operating procedures

· Upload programs

· Back up and restore programs

· Create directories and files

· Starting procedures

· Online and offline programming

MODULE H – TROUBLESHOOTING

· Hardware and software systems

· Input and output devices

· Safety

· Voltage reading

· Grounded PLC System
RECOMMENDED METHODS OF EVALUATION:  The table of specifications below identifies the number of enabling objectives/key indicators per cognitive domain level of learning (Knowledge, Comprehension, Application) per module.  Instructors should develop a minimum of 1-3 test questions per Knowledge Level of Learning, 2-4 test questions per Comprehension Level of Learning, and 5-6 questions per Application Level Learning.   Instructors should use the following test item types for each level of learning:

Knowledge:  Multiple Choice, Alternative Response test items (true/false or yes/no) 

Comprehension:  Multiple Choice, Short answer

Application: Multiple Choice, Short Answer Exercises

The table of specifications below also identifies the number of objectives per module.  The instructor should ensure each student meets the performance and standards published in each objective.  
TABLE OF SPECIFICATIONS

	Domain of Learning/

Content
	Cognitive Domain
	Total Cognitive
	Total Performance

	
	Knowledge
	Comprehension
	Application
	
	

	Module A
	
	
	
	
	

	Module B
	
	
	
	
	

	Module C
	
	
	
	
	

	Module D
	
	
	
	
	

	Module E
	
	
	
	
	

	Module F
	
	
	
	
	

	Module G
	
	
	
	
	

	Module H
	
	
	
	
	

	Number of indicators per level
	
	
	
	
	


	Cognitive Level

(Thinking)
	Goal For Students
	Teaching Methods
	Teaching Activities

	Knowledge

Descriptive Verbs:

Defines, Lists, States, Describes, Identifies
	Knows common terms, specific facts, methods, procedures, basic concepts, principles
	Lecture

Computer Based Instruction

Video 

Demonstration
	Mnemonics

Examples or Illustrations

Repetition

Summaries 

Reviews

	Comprehension

Descriptive Verbs:

Describe, Explains,

Summarizes
	Understands facts and principles

Interprets verbal material

Interprets charts and graphs

Translates verbal material to mathematical formulas

Estimates future consequences

Justifies methods and procedures
	Informal Lecture

Discussion

Demonstration

Participation

Interactive Computer Based Instruction
	1. Teach to the Knowledge Level

2. Explains and demonstrates concept, principle or procedure learned

3. Put students in new situation, and instructor and students co-solve employing the indicated concept, principle, or procedure.

4. Put students in a new situation, and the students solve the new situation using the concept, principle, or procedure while instructor supervises.

5. Reteach as required

	Application

Descriptive Verbs:

Uses, Solves, Operates, Produces,

Demonstrates, Constructs
	Applies concepts and principles to new situations

Applies laws and theories to practical situations

Solves mathematical problems

Constructs charts, graphs, or simple mechanism

Demonstrates correct usage of a method or procedure
	Demonstration

Individual Research

Lab Exercises

Case Studies

Experiments
	1. Teach to the Knowledge Level

2. Teach to the Comprehension Level

3. Student must identify the concept, principle, or procedure and use it to solve new scenario

4. Reteach as required

	Psychomotor Level

(Doing)
	Goal For Students
	Teaching Methods
	Teaching Activities

	Mechanism

Descriptive Verbs:

Assembles, calibrates, constructs, measures, fixes, dismantles, sketches
	Learned responses have become habitual and can be performed with some confidence and proficiency
	Lab Exercises

Case Studies

Experiments
	1. Demonstration

2. Observation

3. Feedback

4. Reteach as required




RECOMMENDED INSTRUCTIONAL METHODOLOGIES:  The table below links the teaching methods and activities most effective for facilitating student achievement of learning outcomes published in this plan of instruction. 

	Glossary of Terms

	Plan of Instruction (POI)
	A teaching-learning plan which includes student centered instructional objectives, outlined content, instructional and evaluation strategies, and other relevant information needed to guide the development and/or revision of learning experiences such that students achieve stated educational outcomes.   

	Industry Competencies  


	Entry-level skills required students must acquire during enrollment is the course.  

	Course Objectives  


	The overall goal of the course of instruction stated in broad terms.

	Criterion Objectives  


	The terminal outcome each student is required to meet.  Criterion objectives are directly related to industry competencies.  There will be one or more criterion objectives published for each industry competency.

	Enabling Objectives/Key Indicators 
	The required knowledge and/or skill each student must acquire in order to have the best chance of achieving the stated performance in the criterion objective.

	Table of Specifications  


	Use to ensure adequate sampling of student knowledge as specified by the enabling and criterion objectives

	Cognitive Domain 


	The domain of learning typified by thinking and focused on the development of intellectual capabilities.

	Psychomotor Domain  


	The domain of learning typified by performing or doing and focused on the development of motor skills.

	Section Explanation

	Course Description 
	A broad description of key elements in a given course.

	Course Prefix/numbers
	 Used to identify courses taught in multiple disciplines. 

	Co-requisite Course
	Course required in conjunction to the specified course often in the form of a lab

	Modules
	A grouping of interrelated knowledge and skills representing a sub-element of a course.

	Course Content Outline
	A listing of topics for instruction in a particular course

	Contact/Credit hours
	Specifies the recommended contact to credit hours for each course.  Mandates the total credit hours awarded for each course.

	Prerequisite Knowledge
	Intellectual capabilities required for handling the academic rigors of the discipline.

	Recommended Methods of Evaluation 
	Suggests test item options for measuring student achievement of enabling objectives.  Suggests the number of test items required to adequately measure student achievement of enabling objectives.  Mandates the evaluation of criterion objectives. 

	Recommended Instructional Methodologies
	Suggests the most effective instructional methods for achieving stated learning levels

	Directions for Use

	1.
	Review the entire document.

	2.
	Assess the industry competencies specified in the POI keeping in mind that the stated skills are the target outcomes for the course.

	3.
	Assess the criterion objectives written for each competency keeping in mind the objective specifies the behavior each student must exhibit in order to achieve the competency. 

	4.
	Adjust performance evaluation instruments to ensure each criterion objective is addressed.

	5.
	Develop additional performance evaluations as needed

	6.
	Assess enabling objectives/key indicators specifying student outcomes 

	7.
	Adjust objective evaluations based on the guidance provided in the POI table of specification to ensure adequate sampling of student learning outcomes.

	8.
	Evaluate current classroom curriculum and determine if learning experiences support student achievement of skills identified in criterion objectives.  Adjust as necessary.

	9.
	Review recommended instructional methodologies for teaching activities appropriate to specified levels of learning.

	10.
	Develop appropriate learning experiences for those skills not addressed. 

	11.
	Ensure specified contact hours are enough to cover existing and new learning experiences developed.

	12.
	Ensure adequate time exists to evaluate each student on all criterion objectives. 

	13.
	Adjust course syllabus to reflect changes made.

	14. 
	If necessary, adjust school surveys to reflect changes made.


ELT 230





Programmable Controls 


Plan Of Instruction





Effective Date:   2004  						Version Number: Base Document						








PAGE  
16
Alabama College System


