[image: image1.png](e

AL






COURSE DESCRIPTION 

This course introduces the students to the National Electric Code and text and teaches the student how to find needed information within this manual. Emphasis is placed on locating and interpreting needed information within the NEC code manual. Upon completion, students should be able to locate, with the NEC code requirements for a specific electrical installation. This course supports CIP code 46.0302.
CREDIT HOURS (applicable if entire course is taught in a career/technical education degree or non-degree program)  
Theory

3 credit hours

Lab


0 credit hour

Total


3 credit hour

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1contact to credit hour ratio) or experimental (2:1contact to credit hour ratio).  

PREREQUISITE COURSES 
Determined by college unless stated otherwise.

CO-REQUISITE COURSES 
Determined by college unless stated otherwise.

INSTRUCTIONAL NOTE:  Foundational academic skills in Math such as integers, percents, ratio and proportions, metric system and linear equations, and Technical Writing such as research, organization, composition, documentation, and report presentation are used throughout this discipline. 
INDUSTRY/PROFESSIONAL COMPETENCIES:  

· Read and interpret the meaning of the NEC
· Determine  the requirements for branch circuits and feeders
· Determine the size of conductors and overcurrent protection for appliances
· Determine the lighting ,receptacle, and equipment loads for residential applications (2b)

· Determine the lighting, receptacle, and equipment loads for commercial applications
· Explain the service entrance provisions for residential and commercial installations
· Determine the proper size box to use in an installation (2b)

· Determine the proper size conduit or raceway to use for an installation (2b)

· Determine the proper supporting of boxes and cable
· Determine the ampacity of wire in cables or raceways
· Properly size grounding electrode conductors, equipment grounds, and bonding jumpers
· Properly size the wire, over current protection, and overload protection for motors  
GENERAL INSTRUCTIONAL OBJECTIVES  
The cognitive objective for this course is for each student to comprehend foundational knowledge of the National Electric Code book.
The performance objective of this course is for each student to apply foundational knowledge of the National Electric Code requirements in a simulated environment.
INDUSTRY/PROFESSIONAL COMPETENCIES/STUDENT PERFORMANCE

Unless otherwise indicated, evaluation of student’s attainment of cognitive and performance objectives is based on knowledge gained from this course.  During performance evaluations, students will be provided necessary tools, equipment, materials, specifications, and any other resources necessary to accomplish the task.  Specifications may be in the form of, but not limited to, certification agencies, national and state codes, health care facility policies, locally developed lab/clinical assignments, or any combination of specifications.

	MODULE A – OVERVIEW

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	A1.0  Read and interpret the NEC
 (2A)
	A1.1. Layout and locate specific Articles and Tables in the National Electric Code.


	ENABLING OBJECTIVES/KEY INDICATORS
	      KSA

Indicator

	A1.1.1 Define terms associated with the NEC
A1.1.2 Describe the table of contents and its basic structure

A1.1.3 Identify key word headings and subheadings in the NEC index

A1.1.4 Explain how the table of contents breaks down the National Electric Code book

A1.1.5 List annexes A-F and identify the specific purpose of each
A1.1.6 State over current protections requirements

A1.1.7 Identify special equipment 

A1.1.8 Identify the use of special equipment

A1.1.9 Define special conditions
	A
B

B

B

B

B

a
A

A

	MODULE B – BRANCH CIRCUITS AND FEEDER REQUIRMENTS

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	B1.0 Determine  the requirements for branch circuits and feeders. (2B)
	B1.1 Distinguish the difference between neutral and grounded conductors and terminals
B1.2 Explain the requirements for  branch circuit receptacles, lighting outlets, sizing of branch circuits and feeders



	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator


	B1.1.1 State how to identify the various device and equipment terminals.
B1.1.2 Distinguish between neutral and grounded conductor in premises wiring systems

B1.1.3 State how to identify neutral and grounded conductors

B1.2.1 Explain  the branch circuit ratings for general purpose receptacle and lighting circuits.

B1.2.2 Determine how to lay out general purpose  and small appliance receptacles in a dwelling.

B1.2.3 .Explain  the general requirements for  lighting outlets and associated

Switches.

B1.2.4 Determine where ground fault receptacles are required in residential and commercial buildings.

B1.2.5 Explain the general requirements for  device and lighting fixture boxes.

B1.2.6  Explain the requirements for  arc fault  protected circuits in bedrooms.

B1.2.7   Identify or list the circuit rating, overcurrent protection, and maximum load requirements for branch circuits.

B1.2.8. Determine the ampacity and overcurrent protection requirements for feeders.


	A
B

A

B

b

B

b

B

B

B

b

	MODULE C – CONDUCTORS AND OVERCURRENT PROTECTION FOR APPLIANCES 

	INDUSTRY/PROFESSIONAL COMPETENCIES


	STUDENT PERFORMANCE OBJECTIVES

	C1.0 Determine the size of conductors and overcurrent protection for appliances (2b)
	C1.1Determine the correct size of wire to feed appliance circuits.
C1.2Given the nameplate rating, determine the proper 

0vercurrent protection for appliances.

C1.3Determine the proper wiring method to use for appliances



	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	C1.1.1 Apply the demand factors to fastened in place and portable appliances for residential and commercial applications
C1.1.2 Calculate the demand factors for household clothes dryers

C1.1.3 Explain how to determine the heating and air conditioning load in residential and commercial  installations

C1.1.4 Calculate the wire size needed to feed portable and fastened in place appliances.

C1.2.1 Using the nameplate values or horsepower ratings and the ampacity table in the NEC, determine the proper wire size for portable appliances.

C1.2.2 Using the nameplate values or horsepower determine wire size for fastened in place appliances.

C1.2.3Using the nameplate values or horsepower ratings, determine the proper size fuse or circuit breaker for various appliances for short circuit and overload protection.

C1.3.1 Determine the proper wiring method to use when wiring portable and fastened in place residential appliances.

C1.3.2 Determine the proper wiring method to use when wiring commercial type appliances depending the location.
	b
b

b

b

b

b

b

b

b



	MODULE D – LIGHTING AND RECEPTACLE LOAD CALCULATIONS

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	D1.0  Determine the lighting ,receptacle, and equipment loads for residential applications (2b)
D2.0Determine the lighting, receptacle, and equipment loads for commercial applications (2b)
	D1.1Calculate the general lighting  and receptacle loads for  single family and multifamily occupancies
D1.2Calculate the equipment loads for a dwelling

D2.1Calculate the lighting and receptacle loads for specific commercial building

D2.2Calculate the  equipment loads for commercial buildings



	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	D1.1.1 Determine the general lighting and receptacle load requirements for dwellings.
D1.1.2Explain how to determine the minimum number of lighting circuits required in a dwelling. based on NEC minimum requirements

D1.1.3 Apply demand factors for residential and commercial

occupancies  to the general lighting load.

D1.2.1 Explain how to calculate various equipment loads in a dwelling.

D2.1.1 Calculate lighting  loads based on the NEC minimum

vs. the actual lighting load in a commercial building.

D2.1.2 Determine the receptacle load based on the actual number of receptacles versus when number of receptacles are unknown

D2.2.1Explain how to calculate the load for commercial equipment when horsepower or nameplate ratings are given.

D2.2.2 Explain how the demand factors determine the wire size and overcurrent protection size for commercial and residential equipment.

D2.2.3 Determine the wire size and circuit breaker  or fuse size for 

commercial equipment.
	b
b

b

b

b

b

b

b

b

	MODULE E – SERVICES

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	E1.0 Explain the service entrance provisions for residential and commercial installations (2b) 
	E1.1 Explain the various parts of the service on a building. and types of services
E1.2 State the provisions of the NEC pertaining to the service on a building.



	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	E1.1.1Define the service entrance, feeder, and distribution components in a building as described in the NEC.
E1.1.2 Explain service cable provisions in the NEC.

E1.1.3 State the minimum wiring clearances for vertical and horizontal wiring to a building.

E1.1.4Describe the difference between service drop and service lateral requirements

E1.2.1 State the provisions relating to the use of fused disconnects and circuit breakers on a service.

E1.2.2 Explain the different aspects of service equipment and

panelboard installations

E1.2.3 Explain grounding and bonding panelboards on the supply side as well as the load side of the service disconnect means.

E1.2.4Describe the different grounding possibilities for panelboards installed in separate buildings

E1.2.5 Explain how to size the service based on the total computed load for the building be constructed..

E1.2.6 Explain how to properly size the grounding electrode conductor and grounding electrodes on the service of a building.

E1.2.7 Describe the different grounding electrodes on a building and how to be installed at the service location

E1.2.8 Determine the maximum number of disconnects or services or disconnects allowed on a building or structure


	A
B

B

B
B

B

B

B

B

B

B

B



	MODULE F – BOX AND RACEWAY CALCULATIONS

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	F1.0 Determine the proper size box to use in an installation (2b)
 F2.0Determine the proper size conduit or raceway to use for an installation (2b)
F3.0 Determine the proper supporting of boxes and cable (2b)

	F1.1 Using the proper NEC tables ,determine device box and junction or pull box size.
F1.2Determine proper type box to use.

F2.1Using the various NEC tables ,be able to determine the proper conduit to use and how to size it
F3.1Using the NEC, determine how to properly support boxes and secure cable..

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	F1.1.1 Determine the  volume required in a box whether metal or nonmetallic based on size and number of wires, and number of devices and clamps

	b

	F1.1.1 Explain which items are counted when calculating box fill.
F1.1.3 Explain box requirements when using nonmetallic-sheathed cable.

F1.1.4Explain  the fill Table in the NEC for different device, junction, and lighting outlet boxes indicating allowable number of conductors for metal boxes.

F1.1.5 Determine distance from box that cable and conduit must be supported and distance between supports.

F1.1.6Explain how to determine if splices are permitted in a conduit body 

And how splices be made in boxes of any type.

F1.2.1Based on the application and location, determine proper type box to use whether in dry, wet, or hazardous location.

F1.2.2Explain how to figure size of junction or pull box for conductors larger than #6AWG.

F1.2.3 State the rules for straight through pull or junction boxes.

F1.2.4 State the rules for angle pull boxes.

F2.1.1Explain the provisions for maximum number of bends for raceways between pull points.
F2.1.2 Determine the type of raceway best suited for each installation.

F2.1.3 Identify the different types of flexible conduit, and be able to identify the articles associated with each type.

F2.1.4Using the proper tables ,be able to successfully calculate the electrical trade size conduit for each project.

F2.1.5 Explain the provisions for conductors when paralleling conduits.


	b
B

B

b

B
b

b

B

B

B

B

B

b

B



	MODULE G – CONDUCTOR AMPACITIES

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	G1.0 Determine the ampacity of wire in cables or raceways (2b)
	G1.1 Use proper NEC tables to determine the ampacity of nonmetallic and armored cables.
G1.2Use proper NEC tables to determine the ampacity of wires in various  racways.



	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	G1.1.1 Explain how to use Tables 310-16 thorough 310-21 to determine the ampacity of conductors if no more than 86degrees F. or no more than three current carrying conductors in a cable ,raceway, or direct buried
G1.1.2 Determine the correct column to use in the Tables based on temperature limitations or terminal ratings.

G1.1.3 Explain the correction factors for derating the ampacity of conductors based on higher or lower ambient temperatures than the table base value

G1.1.4 Explain the adjustment factors for derating the ampacity of conductors based on more than 3 current carrying conductors in a raceway or cable

G1.1.5 Determine the size of wire needed based on whether continuous or non-continuous load.

G1.1.6Determine the ampacity of cords based on NEC tables

G1.2.1Determine the ampacity of conductors when in a wireway ,busduct, or cable trays

G1.2.2 Explain how the ampacity of wire is affected when paralleling conduits if all wires are in same conduit or in separate conduits.

	B
b

B

B

b

b

b

B



	MODULE H – GROUNDING AND BONDING

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	H1.0 Properly size grounding electrode conductors, equipment grounds, and bonding jumpers (2b)

	H1.1 Determine the proper size and type of grounding
electrode conductors.

H1.2Determine the proper size of equipment ground and bonding jumper conductors.


	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	H1.1.1 Explain how to size the grounding electrode conductors, including made electrodes from the proper tables in the NEC.
	b

	H1.1.2State the types of grounding electrodes permissible for use on a structure or building

H1.1.3Explain when additional electrodes may be needed on a building service to meet the NEC.
H1.1.4Explain the bonding requirements for electrodes on a building service.

H1.2.1Determine what size of equipment ground wire is needed based on the overcurrent rating of a feeder or branch circuit and the NEC table.

H1.2.2Explain the parts of an electrical system that is required to be grounded and the procedures for doing so according to the NEC.

H1.2.3State the requirements for sizing the bonding jumper in the service equipment or distribution system, as well as equipment bonding jumper in
branch circuits.

H1.2.4Explain the importance of proper grounding on a building service or building circuits and equipment.

	B
B

B

b

b

B
B




	MODULE I – MOTOR CIRCUITS

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	I2.0 Properly size the wire, over current protection, and overload protection for motors  (2b)
	I2.1Determine the proper size wire to use when feeding single phase, DC, and three phase motors.

I2.2From the NEC tables, determine the proper size circuit breaker or fuse to use for a particular motor.

I2.3From the NEC tables, determine the proper size overload protection for a motor.

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA

Indicator

	I2.1.3 Explain how to use Table 310-16 to determine the proper gage of wire to use for a motor.

I2.2.1Identify the proper NEC section to use when determining the percent to use when determining the correct size circuit breaker to use for a branch circuit or feeder for a motor.

I2.2.2 Explain how to determine the proper size of circuit breaker to use whether of the instantaneous or inverse time type.

I2.2.3 Explain how to determine the proper size of fuse to use, whether the non-time delay or dual element time delay type.

I2.3.1Identify the proper NEC section to use when sizing the overload protection for a motor.

I2.3.2 Correctly size the overload relay size, separate or internal type for a motor.

I2.3.3Explain how the maximum size of overload relay may be utilized.

I2.3.4Explain how the nameplate values influence the size of overload relay.
	B
B

b

B

b

b

B

B


COURSE CONTENT OUTLINE

MODULE A – OVERVIEW
· Definitions
· Table of Contents

· List of Annexes

· Special Requirements

MODULE B - BRANCH CIRCUITS AND FEEDER REQUIRMENTS
· Identification of device and equipment terminals.
· Distinction between Neutral and Grounded conductors.

· General purpose and lighting branch circuit ratings

· Lighting and switch layouts

· AFCI Protection

· Branch circuit rating, over current ratings, and maximum loads

MODULE C - CONDUCTORS AND OVERCURRENT PROTECTION FOR APPLIANCES
· Demand factors for residential and commercial appliances

· Heating and AC loads for residential and commercial

· Wire sizing for appliances

· Fuse and circuit breaker sizes for appliances

· Differences between portable and fastened-in-place appliances

MODULE D - LIGHTING AND RECEPTACLE LOAD CALCULATIONS
· Figuring general lighting and receptacles loads for dwellings.

· Minimum number of lighting circuits in dwellings

· Demand factors for lighting and receptacles

· Figuring general lighting loads in commercial building

· Determining receptacles loads in commercial building

· Commercial equipment load requirements

· Determining wire size and overcurrent protection ratings in residential and commercial installations

MODULE E - SERVICES
· Service equipment components

· Service cable provisions

· Service wiring clearances

· Types of services

· Overcurrent types and ratings on services

· Grounding and bonding of service equipment

· Types of grounding electrodes
· Maximum number of service disconnects

MODULE F - BOX AND RACEWAY CALCULATIONS
· Calculating box fill.

· Explanation of table for metal boxes

· Cable and conduit supports

· Types of splice, junction, and device boxes

· Box sizing for straight pulls and angle pulls

· Types of raceways and number of bends

· Calculating conduit size

· Provisions for paralleling conduit and conductors

MODULE G - CONDUCTOR AMPACITIES
· Use tables 310-16 through 310-21
· Temperature limitations and/or terminal ratings

· Correction factors for derating the ampacity of conductors

· Adjustment factors for derating the ampacity of conductors

· Size of wire

· Ampacity of cords

· Ampacity of conductors

MODULE H – GROUNDING AND BONDING
· Sizing of and types of grounding electrode conductors

· Bonding electrodes on building services

· Sizing equipment grounds in feeders and branch circuits

· Needs for grounding properly

· Bonding jumper requirements
MODULE I - MOTOR CIRCUITS
· Determining current ratings of DC, single phase and three phase motors

· Wire sizing for motor branch circuits and feeders

· Use overcurrent table for motors

· Determining proper rating of fuse or circuit breaker

· Sizing overload relay for various types of motors

RECOMMENDED METHODS OF EVALUATION: The tables of specifications below identify the number of cognitive (knowledge) enabling objectives and psychomotor (performance) objectives per module.  Instructors should develop sufficient numbers of evaluation items to ensure complete coverage of each cognitive and/or psychomotor objective as identified in each module.  For cognitive objectives, use appropriate written test items based on the complexity indicator for each objective.  For psychomotor objectives, create comprehensive checklist evaluations. 
Facts/Nomenclature (A/a):  Multiple Choice, Fill-in, List, Matching, Alternative Response (true/false or yes/no) 

Principles/Procedures (B/b):  Multiple Choice, Fill-in, List, Short Answer

Analysis/Operating Principles (C/c):  Multiple Choice, Short Answer, Essay

Evaluation/Complete Theory (D/d): Multiple Choice, Short Answer, Essay

	ENABLING OBJECTIVES TABLE OF SPECIFICATIONS

	
	Cognitive Domain

	
	Facts/ Nomenclature
	Principles/ Procedures
	Analysis/ Operating Principles
	Evaluation/ Complete Theory
	Total

	Module A
	
	
	
	
	

	Module B
	
	
	
	
	

	Module C
	
	
	
	
	

	Module D
	
	
	
	
	

	Module E
	
	
	
	
	

	Module F
	
	
	
	
	

	Module G
	
	
	
	
	

	Module H
	
	
	
	
	

	Module I
	
	
	
	
	

	Total
	
	
	
	
	


	sTUDENT PERFORMANCE OBJECTIVES Table of Specifications

	
	Psychomotor Domain

	
	Limited Proficiency

(Level 1)
	Partially Proficient

(Level 2)
	Proficient

(Level 3)
	Highly Proficient

(Level 4)
	Total

	Module A
	
	
	
	
	

	Module B
	
	
	
	
	

	Total
	
	
	
	
	


	Knowledge, Skills, and Abilities (KSA) Indicators

	
	Value
	Key Word(s)
	Definition

	Performance 
Ability 
	4
	Highly 

Proficient
	Can do the complete competency quickly and accurately.  Can tell or show others how to do the competency. 

	
	3
	Proficient
	Can do all parts of the competency.  Needs only a spot check of completed work 

	
	2
	Partially

 Proficient
	Can do most parts of the competency.  Needs help only on hardest parts. 

	
	1
	Limited Proficiency
	Can do simple parts of the competency.  Needs to be told or shown how to do most of the competency. 

	

	Knowledge of Skills
	d
	Complete

Theory
	Can predict, isolate, and resolve problems about the competency

	
	c
	Operating Principles
	Can identify why and when the competency must be done and why each step is needed.

	
	b
	Procedures
	Can determine step-by-step procedures for doing the competency.

	
	a
	Nomenclature
	Can name parts, tools, and simple facts about the competency.

	

	Knowledge
	D
	Evaluation
	Can evaluate conditions and make proper decisions about the subject.

	
	C
	Analysis
	Can analyze facts and principles and draw conclusions about the subject.

	
	B
	Principles
	Can identify relationship of basic facts and state general principles about the subject.

	
	A
	Facts
	Can identify basic facts and terms about the subject

	

	Alpha Scale Values - Any item with an upper case letter (A, B, C, D) by itself is taught as general information on a topic.  This information may be related to the competency or encompass multiple competencies.  Examples might include mathematical computations or knowledge of principles such as Ohm’s Law.

A lower case letter indicates a level of ”Knowledge of Skills."  Individuals are taught information pertaining to performing a competency .  These may be indicated alone or in conjunction with a numerical scale value.  A lower case letter by itself indicates the individual is not required to perform the task-just know about the task.  (example: Can state or explain procedures for doing a task).

Numerical Scale Values - The numbers reflect the levels the individual will be able to perform a competency. Number values are always accompanied by lower case letters (i.e. 1a, 2b, 3c...etc.) in order to specify the level of knowledge of skills associated with the competency.   

Example:  An individual with a competency with a scale indicator of 3b has received training of knowledge of skills whereby he or she can determine the correct procedures and perform with limited supervision; only requiring evaluation of the finished product or procedure.

NOTE:  Codes indicate terminal values.


	RECOMMENDED INSTRUCTIONAL METHODOLOGIES:  The table below links the teaching methods and activities most effective for facilitating student achievement of learning outcomes published in this plan of instruction.


	Cognitive Level

(Thinking)
	Goal For Students
	Teaching Methods
	Teaching Activities

	Knowledge

Descriptive Verbs:

Defines, Lists, States, Describes, Identifies
	Knows common terms, specific facts, methods, procedures, basic concepts, principles
	Lecture

Computer-based Instruction

Video 

Demonstration
	Mnemonics

Examples or Illustrations

Repetition

Summaries 

Reviews

	Comprehension

Descriptive Verbs:

Describe, Explains,

Summarizes
	Understands facts and principles

Interprets verbal material

Interprets charts and graphs

Translates verbal material to mathematical formulas

Estimates future consequences

Justifies methods and procedures
	Informal Lecture

Discussion

Demonstration

Participation

Interactive Computer Based Instruction
	1. Teach to the Knowledge Level

2. Explains and demonstrates concept, principle or procedure learned

3. Put students in new situation, and instructor and students co-solve employing the indicated concept, principle, or procedure.

4. Put students in a new situation, and the students solve the new situation using the concept, principle, or procedure while instructor supervises.

5. Remediate/Reteach as required

	Application

Descriptive Verbs:

Uses, Solves, Operates, Produces,

Demonstrates, Constructs
	Applies concepts and principles to new situations

Applies laws and theories to practical situations

Solves mathematical problems

Constructs charts, graphs, or simple mechanisms

Demonstrates correct usage of a method or procedure
	Demonstration

Individual Research

Lab Exercises

Case Studies

Experiments

Clinicals
	1. Teach to the Knowledge Level

2. Teach to the Comprehension Level

3. Student must identify the concept, principle, or procedure and use it to solve new scenario(s)

4. Remediate/Reteach as required

	Psychomotor Level

(Doing)
	Goal For Students
	Teaching Methods
	Teaching Activities

	Mechanism

Descriptive Verbs:

Assembles, calibrates, inserts, removes, constructs, measures, fixes, dismantles, sketches
	Learned responses have become habitual and can be performed with some confidence and proficiency as designated by the KSAs
	Lab Exercises

Case Studies

Experiments
	1. Demonstration

2. Observation

3. Evaluation

4. Feedback

5. Remediate/Reteach as required


	Glossary of Terms

	Plan of Instruction (POI)
	A teaching-learning plan which includes student centered instructional objectives, outlined content, instructional and evaluation strategies, and other relevant information needed to guide the development and/or revision of learning experiences such that students achieve stated educational and performance outcomes.   

	Industry/Professional Competencies
	 A major task that individuals perform in a given industry or profession .  From these major tasks, performance objectives can be developed.  Meeting performance objectives indicates a student has attained the associated industry/professional competencies.  Taken together, these support the Course Instructional Objectives.

	Course Instructional Objectives
	The overall goal of the course of instruction stated in broad terms.  This is supported by the attainment/completion of the competencies and associated competency tasks and sub-tasks.

	Task
	A skill that individuals perform that enables them to accomplish and satisfactorily complete/attain as given competency.

	Student Performance Objectives
	The skills each student is required to demonstrate during or at the conclusion of each module or course.  These skills are the direct result of the attainment/completion of the professional competencies.

	Enabling Objectives/Key Indicators
	The required knowledge and/or skill each student must acquire in order to have the best chance of achieving the stated Student Performance Objective.

	Knowledge, Skills, and Abilities (KSA) Indicator
	A table that provides an alpha/numeric indicator of knowledge, knowledge of skills, and performance ability(s) students must demonstrate at the conclusion of specified instruction.  Each competency designates the terminal level of KSA students must achieve.  Enabling objectives/Key Indicators have a separate KSA designating the level of knowledge students must have in order to perform the associated competency(s).

	Modules
	A grouping of interrelated knowledge and skills representing a sub-task of a course.  Modules may be taught independently of other course content.

	Prerequisite Courses
	Courses students are required to successfully complete before being allowed entrance into other courses

	Instructional Note
	Knowledge and skills relevant to the course that students will be demonstrating during the course.  For example: computer, technical writing, mathematics, and speaking skills.


	GLOSSARY OF TERMS (Cont)

	Course Prefix/numbers
	 Used to identify courses taught in multiple disciplines. 

	Co-requisite Course
	Course required in conjunction to the specified course often in the form of a lab

	Modules
	A grouping of interrelated knowledge and skills representing a sub-element of a course.

	Course Content Outline
	A listing of topics for instruction in a particular course

	Contact/Credit hours
	Specifies the recommended contact to credit hours for each course.  Mandates the total credit hours awarded for each course.

	Prerequisite Knowledge
	Intellectual capabilities required for handling the academic rigors of the discipline.

	Recommended Methods of Evaluation 
	Suggests test item options for measuring student achievement of enabling objectives.  Suggests the number of test items required to adequately measure student achievement of enabling objectives.  Mandates the evaluation of criterion objectives. 

	Recommended Instructional Methodologies
	Suggests the most effective instructional methods for achieving stated learning levels

	Course Prefix/numbers
	 Used to identify courses taught in multiple disciplines. 

	Co-requisite Course
	Course required in conjunction to the specified course often in the form of a lab

	Modules
	A grouping of interrelated knowledge and skills representing a sub-element of a course.

	Course Content Outline
	A listing of topics for instruction in a particular course

	Contact/Credit hours
	Specifies the recommended contact to credit hours for each course.  Mandates the total credit hours awarded for each course.

	Prerequisite Knowledge
	Intellectual capabilities required for handling the academic rigors of the discipline.

	Recommended Methods of Evaluation 
	Suggests test item options for measuring student achievement of enabling objectives.  Suggests the number of test items required to adequately measure student achievement of enabling objectives.  Mandates the evaluation of criterion objectives. 

	Recommended Instructional Methodologies
	Suggests the most effective instructional methods for achieving stated learning levels


	Directions for Use

	1.
	Review the entire document.

	2.
	Review the competencies specified in the POI keeping in mind that the stated skills are the target outcomes for the course.

	3.
	Review the student performance objectives written for each competency keeping in mind the objective specifies the behavior each student must exhibit in order to achieve the competency. 

	4.
	Adjust evaluation instruments to ensure each objective is addressed.

	5.
	Develop additional evaluations as needed.

	6.
	Review enabling objectives/key indicators specifying student outcomes 

	7.
	Adjust evaluations to ensure adequate sampling of student learning outcomes.

	8.
	Evaluate current classroom curriculum and determine if learning experiences support student achievement of skills identified in objectives.  

	9.
	Review recommended instructional methodologies for teaching activities.

	10.
	Develop appropriate learning experiences. 

	11.
	Adjust course syllabus.


ELT 241





National Electric Code





Plan Of Instruction





Effective Date: ____________		Version Number: Base Document						












































PAGE  
Alabama College System

Copyright© 2004

All rights reserved

