[image: image1.png](e

AL




Conduit Bending and Installation














ELT 244



This course may be taught in its entirety in career/technical education degree programs, non-degree programs, and Training for Business and Industry programs.  Individual instructional modules may be taught in customized training, adult education work-based project learner activities, and short-term training.

COURSE DESCRIPTION  

This course provides students the knowledge to properly bend electrical metallic tubing, rigid galvanized and intermediate metal conduit, and PVC conduit. Emphasis is placed on the theory and practical application of conduit bending methods and installations as governed by applicable articles of the National Electrical Code (NEC). This course supports CIP code 46.0302.

CREDIT HOURS (applicable if entire course is taught in a career/technical education degree or non-degree program)  
Theory

 2 credit hours

Lab


 1 credit hour

Total


 3 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1 contact to credit hour ratio) or experimental (2:1 contact to credit hour ratio).

PREREQUISITE COURSES 
Determined by college unless stated otherwise.

CO-REQUISITE COURSES 
Determined by college unless stated otherwise.

INSTRUCTIONAL NOTE:  Foundational academic skills in General Math such as fractions, angles, and decimals will be used throughout this course. 
INDUSTRY COMPETENCIES:

· Interpret measurements 

· Route conduit installation

· Bend conduit or tubing using benders

· Install conduit or tubing

GENERAL INSTRUCTIONAL OBJECTIVES:  

The cognitive objective for this course is for each student to comprehend foundational knowledge of conduit bending and installation.
The performance objective of this course is for each student to apply foundational knowledge of conduit bending and installation in a simulated environment.
INDUSTRY COMPETENCIES/STUDENT PERFORMANCE OBJECTIVES:

Unless otherwise indicated, evaluation of student’s attainment of cognitive and performance objectives is based on knowledge gained from this course.  During performance evaluations, students will be provided necessary tools, equipment, materials, specifications, and any other resources necessary to accomplish the task.  Specifications may be in the form of, but not limited to, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab assignments, or any combination of specifications.

	MODULE A – MEASUREMENTS

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	A1.0 Interpret measurements (2B)
	A1.1 This competency is measured cognitively.

	ENABLING OBJECTIVES/KEY INDICATORS 
	KSA 

Indicator

	A1.1 Explain the importance of safety while working on scat folding, step and extension ladders   

A1.1 Read tape measure and folding rulers

A1.1 Convert decimals to fractions and vice versa

A1.1 Solve math problems using a scientific calculator related to conduit installations.   
	A

a

b

b


	MODULE B – CONDUIT INSTALLATION

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	B1.0 Route conduit installation (2b)

	B1.1  Determine correct routing for conduit installation

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA 

Indicator

	B1.1.1 Explain concealed and exposed

B1.1.2 Describe adverse environments

B1.1.3 Identify areas of sever physical abuse

B1.1.4 Identify when the installation should be concealed or exposed 

B1.1.5 Identify when the installation should be in the concrete slab or overhead
	A

B

A

B

B

	MODULE C – BENDING CONDUIT

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	C1.0 Bend conduit or tubing using benders (2b)
	C1.1 Bend a stub up conduit bend

C1.2 Bend a back-to-back conduit bend

C1.3 Bend an off set conduit bend

C1.4 Bend a three bend saddle

C1.5 Bend a four bend saddle

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA 

Indicator

	C1.1.1 Identify the gain or take up of the bender

C1.1.2 Identify measurements needed to create bend

C1.1.3 Identify proper bending marks 
	b

b

a

	C1.2.1 Identify the gain or take up of the bender

C1.2.2 Identify measurements needed to create bend

C1.2.3 Identify proper bending marks
	b

b

a

	C1.3.1 Identify the gain or take up of the bender

C1.3.2 Identify measurements needed to create bend

C1.3.3 Identify proper bending marks
	b

b

a

	C1.4.1 Identify the gain or take up of the bender

C1.4.2 Identify measurements needed to create bend

C1.4.3 Identify proper bending marks
	b

b

a

	C1.5.1 Identify the gain or take up of the bender

C1.5.2 Identify measurements needed to create bend

C1.5.3 Identify proper bending marks
	b

b

a


	MODULE D – INSTALL CONDUIT OR TUBING

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	D1.0 Install conduit or tubing (2b)
	D1.1  Install conduit or tubing according to NEC standards

	ENABLING OBJECTIVES/KEY INDICATORS
	KSA 

Indicator

	D1.1.1 Identify supporting requirements

D1.1.2 Identify environment requirements

D1.1.3 Determine maximum number of bends based on a conduit run
	A

A

b


COURSE CONTENT OUTLINE

MODULE A – MEASUREMENTS
· Safety

· Tape measure

· Folding rulers

· Decimals and fractions

· Scientific calculator

MODULE B – CONDUIT INSTALLATION

· Concealed and exposed
· Adverse environments
· Sever physical abuse
· Concrete slab and overhead
MODULE C – CONDUIT SELECTION

· Increasing the conduit size
· Suitable conduit
MODULE D – BENDING CONDUIT

· Supporting requirements

· Environment requirements 
· Bends based on conduit runs
· RECOMMENDED METHODS OF EVALUATION:  The table of specifications below identifies the number of enabling objectives/key indicators per cognitive domain level of learning (Knowledge, Comprehension, Application) per module.  Instructors should develop a minimum of 1-3 test questions per Knowledge Level of Learning, 2-4 test questions per Comprehension Level of Learning, and 5-6 questions per Application Level Learning.   Instructors should use the following test item types for each level of learning:

Knowledge:  Multiple Choice, Alternative Response test items (true/false or yes/no) 

Comprehension:  Multiple Choice, Short answer

Application: Multiple Choice, Short Answer Exercises

The table of specifications below also identifies the number of objectives per module.  The instructor should ensure each student meets the performance and standards published in each objective.  
TABLE OF SPECIFICATIONS

	ENABLING OBJECTIVES TABLE OF SPECIFICATIONS

	
	Cognitive Domain

	
	Facts/ Nomenclature
	Principles/ Procedures
	Analysis/ Operating Principles
	Evaluation/ Complete Theory
	Total

	Module A
	2
	1
	
	
	3

	Module B
	2
	3
	
	
	5

	Module C
	10
	5
	
	
	15

	Module D
	2
	1
	
	
	3

	Total
	16
	10
	
	
	26


	Cognitive Level

(Thinking)
	Goal For Students
	Teaching Methods
	Teaching Activities

	Knowledge

Descriptive Verbs:

Defines, Lists, States, Describes, Identifies
	Knows common terms, specific facts, methods, procedures, basic concepts, principles
	Lecture

Computer Based Instruction

Video 

Demonstration
	Mnemonics

Examples or Illustrations

Repetition

Summaries 

Reviews

	Comprehension

Descriptive Verbs:

Describe, Explains,

Summarizes
	Understands facts and principles

Interprets verbal material

Interprets charts and graphs

Translates verbal material to mathematical formulas

Estimates future consequences

Justifies methods and procedures
	Informal Lecture

Discussion

Demonstration

Participation

Interactive Computer Based Instruction
	1. Teach to the Knowledge Level

2. Explains and demonstrates concept, principle or procedure learned

3. Put students in new situation, and instructor and students co-solve employing the indicated concept, principle, or procedure.

4. Put students in a new situation, and the students solve the new situation using the concept, principle, or procedure while instructor supervises.

5. Reteach as required

	Application

Descriptive Verbs:

Uses, Solves, Operates, Produces,

Demonstrates, Constructs
	Applies concepts and principles to new situations

Applies laws and theories to practical situations

Solves mathematical problems

Constructs charts, graphs, or simple mechanism

Demonstrates correct usage of a method or procedure
	Demonstration

Individual Research

Lab Exercises

Case Studies

Experiments
	1. Teach to the Knowledge Level

2. Teach to the Comprehension Level

3. Student must identify the concept, principle, or procedure and use it to solve new scenario

4. Reteach as required

	Psychomotor Level

(Doing)
	Goal For Students
	Teaching Methods
	Teaching Activities

	Mechanism

Descriptive Verbs:

Assembles, calibrates, constructs, measures, fixes, dismantles, sketches
	Learned responses have become habitual and can be performed with some confidence and proficiency
	Lab Exercises

Case Studies

Experiments
	1. Demonstration

2. Observation

3. Feedback

4. Reteach as required




RECOMMENDED INSTRUCTIONAL METHODOLOGIES:  The table below links the teaching methods and activities most effective for facilitating student achievement of learning outcomes published in this plan of instruction. 

	Glossary of Terms

	Plan of Instruction (POI)
	A teaching-learning plan which includes student centered instructional objectives, outlined content, instructional and evaluation strategies, and other relevant information needed to guide the development and/or revision of learning experiences such that students achieve stated educational outcomes.   

	Industry Competencies  


	Entry-level skills required students must acquire during enrollment is the course.  

	Course Objectives  


	The overall goal of the course of instruction stated in broad terms.

	Criterion Objectives  


	The terminal outcome each student is required to meet.  Criterion objectives are directly related to industry competencies.  There will be one or more criterion objectives published for each industry competency.

	Enabling Objectives/Key Indicators 
	The required knowledge and/or skill each student must acquire in order to have the best chance of achieving the stated performance in the criterion objective.

	Table of Specifications  


	Use to ensure adequate sampling of student knowledge as specified by the enabling and criterion objectives

	Cognitive Domain 


	The domain of learning typified by thinking and focused on the development of intellectual capabilities.

	Psychomotor Domain  


	The domain of learning typified by performing or doing and focused on the development of motor skills.

	Section Explanation

	Course Description 
	A broad description of key elements in a given course.

	Course Prefix/numbers
	 Used to identify courses taught in multiple disciplines. 

	Co-requisite Course
	Course required in conjunction to the specified course often in the form of a lab

	Modules
	A grouping of interrelated knowledge and skills representing a sub-element of a course.

	Course Content Outline
	A listing of topics for instruction in a particular course

	Contact/Credit hours
	Specifies the recommended contact to credit hours for each course.  Mandates the total credit hours awarded for each course.

	Prerequisite Knowledge
	Intellectual capabilities required for handling the academic rigors of the discipline.

	Recommended Methods of Evaluation 
	Suggests test item options for measuring student achievement of enabling objectives.  Suggests the number of test items required to adequately measure student achievement of enabling objectives.  Mandates the evaluation of criterion objectives. 

	Recommended Instructional Methodologies
	Suggests the most effective instructional methods for achieving stated learning levels

	Directions for Use

	1.
	Review the entire document.

	2.
	Assess the industry competencies specified in the POI keeping in mind that the stated skills are the target outcomes for the course.

	3.
	Assess the criterion objectives written for each competency keeping in mind the objective specifies the behavior each student must exhibit in order to achieve the competency. 

	4.
	Adjust performance evaluation instruments to ensure each criterion objective is addressed.

	5.
	Develop additional performance evaluations as needed

	6.
	Assess enabling objectives/key indicators specifying student outcomes 

	7.
	Adjust objective evaluations based on the guidance provided in the POI table of specification to ensure adequate sampling of student learning outcomes.

	8.
	Evaluate current classroom curriculum and determine if learning experiences support student achievement of skills identified in criterion objectives.  Adjust as necessary.

	9.
	Review recommended instructional methodologies for teaching activities appropriate to specified levels of learning.

	10.
	Develop appropriate learning experiences for those skills not addressed. 

	11.
	Ensure specified contact hours are enough to cover existing and new learning experiences developed.

	12.
	Ensure adequate time exists to evaluate each student on all criterion objectives. 

	13.
	Adjust course syllabus to reflect changes made.

	14. 
	If necessary, adjust school surveys to reflect changes made.


ELT 244





Conduit Bending and Installation


Plan Of Instruction





Effective Date:   2004  						Version Number: Base Document						








PAGE  
9
Alabama College System


