[image: image1.png](e

AL




Electrical Blueprint Reading I

ETC 107, EET 109, ILT 109


COURSE DESCRIPTION  
This course will enable the student to obtain to a working knowledge of the elements of blueprint reading; the ability to interpret electrical, mechanical, and architectural drawing; and the ability to visualize the entire building structure in relationship to the electrical system. This is a CORE course.
CREDIT HOURS 

Theory

3 credit hours

Lab


0 credit hours

Total


3 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1 contact to credit hour ratio) or experimental (2:1 contact to credit hour ratio).

PREREQUISITE COURSES (applicable if entire course is taught in a career/technical education degree or non-degree program)

Determined by college unless stated otherwise.

CO-REQUISITE COURSES (applicable if entire course is taught in a career/technical education degree or non-degree program)
Determined by college unless stated otherwise.

INSTRUCTIONAL NOTE:  Foundational academic skills in General Math such as integers, percents, ratios and proportions, metric system, linear equations, and Technical Writing such as research, organization, organization, composition, documentation, report are used throughout this discipline.

INDUSTRY COMPETENCIES
· Read electrical blueprints

· Interpret electrical blueprints
· Draw electrical blueprints

COURSE OBJECTIVES  
The cognitive objective of this course is for each student to comprehend foundational knowledge needed to perform stated industry competencies. 

The performance objective of this course is for each student to apply foundational knowledge to electronic technology problems and exercises encountered in class. 
INDUSTRY COMPETENCIES/STUDENT PERFORMANCE

Unless otherwise indicated, evaluation of student’s attainment of cognitive and performance objectives is based on knowledge gained from this course.  During performance evaluations, students will be provided necessary tools, equipment, materials, specifications, and any other resources necessary to accomplish the task.  Specifications may be in the form of, but not limited to, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab assignments, or any combination of specifications.

	 BLUEPRINT READING

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	Read electrical blueprints


	Given knowledge gained from this course, a basic mechanical drawing, identify components by symbols with 90% accuracy. 

	Interpret electrical blueprints

	Given knowledge gained from this course, a basic blueprint, describe electrical system operation with 90% accuracy.



	Draw electrical blueprints
	Given the knowledge gained from this course and electrical system specifications, draw a blueprint to specification. 

	ENABLING OBJECTIVES/KEY INDICATORS

	· Identify electrical symbols used in residential applications

· Explain the meaning of each symbol used in residential applications

· Design a typical residential blueprint

· Identify electrical symbols used in commercial applications

· Explain the meaning of each symbol used in commercial applications

· Design a typical commercial blueprint

· Identify electrical symbols used in industrial applications

· Explain the meaning of each symbol used in industrial applications

· Design a typical industrial blueprint

· Calculate materials required for installations

· Explain the various NEC code specifications for residential, commercial, and industrial applications

· Adhere to NEC code specifications

· Identify symbols used in motor control circuits

· Explain the meaning of forward and reverse bias

· Identify electrical symbols used in motor control circuits

· Design a basic motor control circuit

· Explain function of timers and counters

· Identify electrical symbols normally used with programmable logic controllers

· Identify correct addressing of a PLC ladder logic program 

· 


COURSE CONTENT OUTLINE
BLUEPRINT READING 

· Computer drawing

· Electronic symbols

· Miscellaneous symbols

· Residential symbols

· The load center

· GFCI connections

· Commercial symbols

· Slab drawings

· Timers and counters

· Motor controls

· PLC symbols

· Ladder logic with timers and counters

RECOMMENDED METHODS OF EVALUATION
The table of specifications below identifies the number of enabling objectives/key indicators per cognitive domain level of learning (Knowledge, Comprehension, Application) per module.  The instructor should develop 1-3 test questions per Knowledge Level of Learning, 2-4 test questions per Comprehension Level of Learning, and 5-6 questions per Application Level Learning.  The instructor should use the following test item types for each level of learning:

Knowledge:  Alternative Response test items (true/false or yes/no) 

Comprehension:  Multiple Choice

Application: Multiple Choice, Short Answer Exercises

The table of specifications also identifies the number of criterion objectives per module (Psychomotor).  The instructor should ensure each student meets the performance and standards published in each objective.  

TABLE OF SPECIFICATIONS
	Domain of Learning/

Content
	Cognitive Domain

Knowledge   Comprehension   Application
	Cognitive Total
	Performance Total

	Circuit Fabrication
	7
	6
	6
	19
	3


ETC 107, EET 109, ILT 109


Electrical Blueprint Reading I


Plan of Instruction





Effective Date: 2005					Version Number: 2005-2








PAGE  
2
Alabama College System


