[image: image2.jpg]Alabama
Department of
Postsecondary Education
Representing the Alabama Community College System





Sensors Technology and Applications

AUT 232, IAT 240, ILT 240 


Industry Evaluated Spring 2013
May 6 2013
[image: image2.jpg]
COURSE DESCRIPTION  
This course provides a study of industrial electronic sensors. Topics include, but are not limited to, photo-electric, temperature, gas and humidity, pressure and strain sensors. The lab enables students to test, and troubleshoot electronic sensors and sensor circuits. Upon completion, students should be able to select, install, test, and troubleshoot industrial electronic sensors.
.  

CREDIT HOURS 

Theory

2 credit hours

Lab


1 credit hour

Total


3 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as 3:1 and/or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)

Recent Changes

	Module
	Changes
	Reason for change

	A1.1 & B1.1
	Added wiring sensors to inputs in both performance objectives
	Added these items due to industry feedback.


PREREQUISITE COURSES 
Determined by college unless stated otherwise.
CO-REQUISITE COURSES 
Determined by college unless stated otherwise.
INDUSTRY COMPETENCIES
· Explain the function, application, construction, and connectivity of electronic sensors.
· Select the appropriate output configuration to interface with control equipment.
INSTRUCTIONAL GOALS

· Cognitive:  Comprehend principles and concepts related to sensors technology and application.
· Psychomotor:  Apply the principles and concepts of sensors technology and application.

· Affective:  Value the importance of adhering to policy and procedures related to sensors technology and application.

. 
STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab/clinical assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES

	MODULE A – SENSORS AND TRANSDUCERS

	MODULE DESCRIPTION – The purpose of this module is to teach the students to perform diagnosis and repair procedures on sensors and transducers.  Topics include temperature, optical, motion, pressure, and flow.  

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Explain the function, application, construction, and connectivity of electronic sensors.
	A1.1
Troubleshoot, diagnose, remove and install/wire various types of sensors and transducers, and check for proper operation.
	3

	LEARNING OBJECTIVES 
	KSA

	A1.1.1
Differentiate between contact and non-contact sensing.

A1.1.2
Differentiate between mechanical and semiconductor sensing.

A1.1.3
Identify and explain the function of mechanical limit switches.

A1.1.4
Identify and explain the function of proximity sensors.
A1.1.5
Differentiate between mechanical limit switches and proximity switches.

A1.1.6
Identify and explain the function of photoelectric sensors such as diffused, retro reflective, through beam, and polarized sensors.
A1.1.7
Identify and explain the function of capacitance sensors.

A1.1.8
Explain the operation of temperature measurement sensors such as RTD’s, thermocouples, and pyrometers.
A1.1.9
Explain the operation of sensors for measurement of position

A1.1.10
Explain the operation of sensors for measurement of velocity

A1.1.11
Explain the operation of sensors for measurement of acceleration 


	3
3
2
2
3
2
3
2
2

2
2
2

	MODULE A OUTLINE:
· Contact and non-contact sensing

· Mechanical and semiconductor sensing

· Mechanical limit switches

· Proximity sensors

· Photoelectric sensors

· Diffused

· Retro reflective

· Through beam

· Polarized

· Capacitance sensors

· Temperature sensors

· Thermo-couple
· Resistance temperature detector
· Pyrometer
· Position and motion sensing 
· Color sensors
· Distance ranging sensors

· Flow sensors
· Pressure sensors

· Float sensors




	MODULE B – INTERPRETING SENSOR DATA 

	MODULE DESCRIPTION – The purpose of this module is to teach the students to select the appropriate output configuration to interface with control equipment.  Topics include NPN and PNP transistors, sourcing and syncing, NO and NC switches, digital outputs, analog outputs, Wheatstone bridge, and analog signal conditioning. 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Select the appropriate output configuration to interface with control equipment.
	B1.1
Troubleshoot, diagnose, remove and install/wire various types of sensors and transducers, and check for proper operation.
	3

	LEARNING OBJECTIVES 
	KSA

	B1.1.1
Describe the interface with NPN and PNP transistors.
B1.1.2
Differentiate between sourcing and syncing.

B1.1.3
Describe how to diagnose a problem using a multi-meter.

B1.1.4
Differentiate between a normally open and normally closed switch.

B1.1.5
Differentiate between a digital output and an analog output.
B1.1.6
Describe a Wheatstone bridge and how it produces variable resistance outputs.
B1.1.7
Explain analog signal conditioning.


	2
3
3
3
3
2
2


	MODULE B OUTLINE:
· NPN and PNP

· Sourcing

· Syncing

· NO and NC

· Digital outputs

· Analog (voltage and current) outputs

· Wheatstone bridge and variable resistance outputs

· Analog signal conditioning  




LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Facts/ Nomenclature
	Principles/ Procedures
	Analysis/ Operating Principles
	Evaluation/ Complete Theory

	
	A/a
	B/b
	C/c
	D/d

	Module A
	
	64%
	36%
	

	Module B
	
	43%
	57%
	


The KSA is NOT determined by the verb used in the learning objective, but rather in the context in which the verb is used and the depth of knowledge and skills required. 
Example: Three KSA levels using the same verb (describe):
KSA 1 – Describe three characteristics of metamorphic rocks. (simple recall)

KSA 2 – Describe the difference between metamorphic and igneous rocks. (requires cognitive processing to determine the differences in the two rock types)

KSA 3 – Describe a model that you might use to represent the relationships that exist within the rock cycle. (requires deep understanding of rock cycle and a determination of how best to represent it)

[image: image1.jpg]Teaching and Learning Continuum

Teacher Contribution

Close Support

Receiving

Moderate Support

Accepting

Consulting

Internalizing

Synergy,

Synthesizing

Pedagogy

Mesagogy

Andragogy

Heutagogy

——Active
Independent

Learner Contribution ——— ¥




	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Recognize basic information about the subject including terms and nomenclature.

· Students must demonstrate ability to recall information such as facts, terminology or rules related to information previously taught.  

· Performs simple parts of the competency.  Student requires close supervision when performing the competency.

	2
	Moderate Knowledge and Proficiency
	· Distinguish relationships between general principles and facts. Adopts prescribed methodologies and concepts.

· Students must demonstrate understanding of multiple facts and principles and their relationships, and differentiate between elements of information.  Students state ideal sequence for performing task. 

· Performs most parts of the competency with instructor assistance as appropriate.

	3
	Advanced Knowledge and Proficiency
	· Examines conditions, findings, or other relevant data to select an appropriate response.  

· The ability to determine why and when a particular response is appropriate and predict anticipated outcomes. 

· Students demonstrate their ability to seek additional information and incorporate new findings into the conclusion and justify their answers.

· Able and willing to perform tasks independently.

	4
	Superior Knowledge and Proficiency
	· Assessing conditions, findings, data, and relevant theory to formulate appropriate responses and develop procedures for situation resolution. Involves higher levels of cognitive reasoning. 
· Requires students to formulate connections between relevant ideas and observations. 

· Students apply judgments to the value of alternatives and select the most appropriate response. 

· Can instruct others how to do the competency.

· Performs competency quickly and accurately.

	A
	Affective Objective
	· Describes learning objectives that emphasize a feeling tone, an emotion, or a degree of acceptance or rejection.  
· Objectives vary from simple attention to selected phenomena to complex but internally consistent qualities of character and conscience. 
· Expressed as interests, attitudes, appreciations, values, and emotional sets or biases.


Version - 6/19/2012

AUT 232, IAT 240, ILT 240





Sensors Technology and Applications





Plan of Instruction





Effective Date: Fall 2010					Version Number: 2013-1						








The Alabama Community College System

Copyright © 2013
All Rights Reserved
PAGE  
2
Supported in part by a grant from the National Science Foundation

Advanced Technology Education Program

