[image: image1.png](e

AL





February 20, 2007

COURSE DESCRIPTION 

This course is designed to provide students with an introduction to process control technology and various instruments used to control processes.  Upon completion, students should be able to comprehend principles of process control technology and the application of various instruments used to control processes in an industrial setting.
CREDIT HOURS
Theory

2 credit hours

Lab


1 credit hour

Total


3 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1 contact to credit hour ratio) or experimental (2:1 contact to credit hour ratio).

PREREQUISITE COURSES 
As required by program
CO-REQUISITE COURSES 
As required by program
INDUSTRY COMPETENCIES
· Explain the principles of process control.
· Use various measurement instruments to control processes.
INSTRUCTIONAL GOALS
· Cognitive - Comprehend foundational knowledge of operation of process control instruments.
· Psychomotor – Operate process control instruments.
· Affective – Value the importance of safety operating process control instruments.
INDUSTRY COMPETENCIES/OBJECTIVES
Unless otherwise indicated, evaluation of student’s attainment of cognitive and performance objectives is based on knowledge gained from this course.  During performance evaluations, students will be provided necessary tools, equipment, materials, specifications, and any other resources necessary to accomplish the task.  Specifications may be in the form of, but not limited to, certification agencies, national and state codes, health care facility policies, locally developed lab/clinical assignments, or any combination of specifications.

	MODULE A – PPRINCIPLES OF PROCESS CONTROL

	INDUSTRY COMPETENCIES
	PERFORMANCE OBJECTIVES

	A1.0
Explain the principles of process control. (C)
	A1.1
This competency is measured cognitively.

	ENABLING OBJECTIVES
	KSA

Indicator

	A1.1.1 
Define terms associated with process control.
A1.1.2
Explain on/off process control

A1.1.3
Explain functions of process control.
A1.1.4
Explain various processes of control applications.
A1.1.5
Explain process control variables.

A1.1.6
Asses error signals in respect to process control and set points.
A1.1.7
Differentiate between an open and control loops.
A1.1.8
Explain various elements of process control.

A1.1.9
Explain various process control signals.

A1.1.10
Use mathematical operations to calculate data in control systems.

A1.1.11
Explain properties of matter

A1.1.12
Explain principles of liquid pressure

A1.1.13
Explain units of pressure

A1.1.14
Explain density and relative density.

A1.1.15
Explain atmospheric pressure.

A1.1.16
Distinguish between gauge and absolute pressure.

A1.1.17
Distinguish between pressure and volume

A1.1.18
Explain the relationship between gas volume and temperature.

A1.1.19
Explain the properties of fluids.

A1.1.20
Distinguish between static suction lift, static suction head, and total static head.
	A
B

B

B

B

C

C

B

B

B

B

B

B

B

B

B

B

B

B

B




	MODULE B – PROCESS CONTROL INSTRUMENTS

	INDUSTRY COMPETENCIES
	PERFORMANCE OBJECTIVES

	B1.0 
Use various measurement instruments to control processes. (B/2b)
	B1.1
Given various simulations use selected instruments to perform activities associated with process control.

	ENABLING OBJECTIVES
	KSA

Indicator

	B1.1.1
Explain safety considerations relative to use of process control instruments.
B1.1.2
Identify components of various pressure sensors.

B1.1.3
Explain the operation of various pressure sensors.

B1.1.4
Explain various methods of measuring flow.

B1.1.5
Explain various methods of measuring liquid levels.
B1.1.6
Identify components of various instruments for measuring liquid levels.
B1.1.7
Identify methods of measuring process elements.

B1.1.8
Identify various electrical instruments for measuring process elements.

B1.1.9
Explain principles of temperature measurement

B1.1.10
Explain the process of calibrating temperature scales.

B1.1.11
Explain industrial uses of temperature measurements.
B1.1.12
Identify components of various bimetallic and fluid filled temperature instruments.

B1.1.13
Explain the operation of bimetallic and fluid filled temperature instruments.

B1.1.14
Explain the operation of open and control loops.
B1.1.15
Define terms associated with control loops.

B1.1.16
Explain the operation on control loops components.

B1.1.17
Explain applications of control loops.
	B
a

b

B

B

a

A

a

B

b

a

b

b

A

b

B


COURSE CONTENT OUTLINE

MODULE A –PRINCIPLES OF PROCESS CONTROL 
· The nature of process control

· On/Off process control

· Functions of automatic process control

· Measuring

· Comparing

· Computing

· Correcting

· Process control applications
· Process control variables

· Temperature

· Flow

· Force

· Liquid level

· Composition

· Density

· Color 
· Error signal evaluation

· Open and closed control loops

· Elements of Process Control

· Control of variables

· Analog control signals

· Digital control signals

· Pneumatic control signals

· Binary numbering

· Measuring elements process control

· Process Control Signals
· Low pressure air

· Low electrical current

· Low electrical voltage

· Range and span

· Signal evaluation

· Hysteresis

· Deadband

· Non-linearity

· Controller output

· Pneumatic signal transmission

· Mathematical operations for measuring data in control system

· Principals of Pressure in Liquids and Gases 
· Properties of matter

· Solids

· Liquids

· Gasses

· Principles of liquid pressure
· Units of pressure

· Density and relative density

· Atmospheric pressure

· Gauge pressure and absolute pressure

· Gas pressure and volume

· Gas volume and temperature
· Properties of Fluid Flow

· Properties of fluids

· Density

· Relative density

· Viscosity

· Fluids in motion

· Static suction lift

· Static suction head

· Total static head

MODULE B –PROCESS CONTROL INSTRUMENTS
· Pressure Sensors

· Functions of measuring instruments

· Manometers

· Bordon tube sensors

· Diaphragm capsules

· Bellows pressure sensors

· Primary Measuring Devices

· Flow measurement methods
· Restricting flow
· Pressure drop

· Orifice plates

· Flow nozzles
· Level Measurement

· Measuring liquid levels

· Types of instruments for measuring liquid levels

· Surface sensing gauges

· Storage tank gauges

· Sight glasses

· Magnetic gauges

· Buoyancy

· Displacer gauges

· Level switches

· Mercury level switches

· Magnetic read switches

· Electrical Instruments

· Conductivity and liquid level
· Capacitance

· Ultrasonic level detectors

· Resistance level detectors

· Photoelectric detectors

· Temperature Measurements

· Principles of temperature measurement

· Temperature
· Heat

· Specific heat

· Temperature scales

· Calibrating temperature scales

· Industrial uses of temperature measurements
· Bimetallic & Fluid Filled Temperature Instruments

· Control loops

· Open and closed control loops

· Control loops definitions

· Control loop components

· Process sensors

· Controllers

· Recorders

· Signal conditioners

· Final control elements

· Control loop applications
ENABLING Objectives Table of specifications

The table below identifies the percentage of cognitive objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Facts/ Nomenclature
	Principles/ Procedures
	Analysis/ Operating Principles
	Evaluation/ Complete Theory

	
	A/a
	B/b
	C/c
	D/d

	Module A
	5%
	85%
	10%
	

	Module B
	41%
	59%
	
	


	Knowledge, Skills, and Attitudes (KSA) Indicators

	
	Value
	Key Word(s)
	Definition

	Performance 
Ability 
	4
	Highly 

Proficient
	Performs competency quickly and accurately.  Instructs others how to do the competency. 

	
	3
	Proficient
	Performs all parts of the competency.  Needs only a spot check of completed work.

	
	2
	Partially

 Proficient
	Performs most parts of the competency.  Needs help only on hardest parts. 

	
	1
	Limited Proficiency
	Performs simple parts of the competency.  Needs to be told or shown how to do most of the competency. 

	Knowledge of Skills
	d
	Complete

Theory
	Predicts, isolates, and resolves problems about the competency.

	
	c
	Operating Principles
	Identifies why and when the competency must be done and why each step is needed.

	
	b
	Procedures
	Determines step-by-step procedures for doing the competency.

	
	a
	Nomenclature
	Names parts, tools, and simple facts about the competency.

	Knowledge
	D
	Evaluation
	Evaluates conditions and makes proper decisions about the subject.

	
	C
	Analysis
	Analyzes facts and principles and draws conclusions about the subject.

	
	B
	Principles
	Identifies relationship of basic facts and states general principles about the subject.

	
	A
	Facts
	Identifies basic facts and terms about the subject.

	Affective
	*5
	Characterization by Value
	Acting consistently with the new value

	
	*4
	Organization
	Integrating a new value into one's general set of values, giving it some ranking among one's general priorities

	
	*3
	Valuing
	Showing some definite involvement or commitment

	
	*2
	Responding
	Showing some new behaviors as a result of experience

	
	*1
	Receiving
	Being aware of or attending to something in the environment

	Alpha Scale Values - Any item with an upper case letter (A, B, C, D) by itself is taught as general information on a topic.  This information may be related to the competency or encompass multiple competencies.  Examples might include mathematical computations or knowledge of principles such as Ohm’s Law.

A lower case letter indicates a level of ”Knowledge of Skills."  Individuals are taught information pertaining to performing a competency .  These may be indicated alone or in conjunction with a numerical scale value.  A lower case letter by itself indicates the individual is not required to perform the task-just know about the task.  (example: Can state or explain procedures for doing a task).

Numerical Scale Values - The numbers reflect the levels the individual will be able to perform a competency. Number values are always accompanied by lower case letters (i.e. 1a, 2b, 3c...etc.) in order to specify the level of knowledge of skills associated with the competency.   

Example:  An individual with a competency with a scale indicator of 3b has received training of knowledge of skills whereby he or she can determine the correct procedures and perform with limited supervision; only requiring evaluation of the finished product or procedure.

Asterisk items indicate desired affective domain levels and are used to indicate the desired level for a given competency.   They may be used independently or with other indicators (i.e.   1a-*1, 2c-*3).  If used with another indicator, separate with a hyphen.

NOTE:  Codes indicate terminal values.


IAT 242





Introduction to Process Technology





Plan of Instruction





Effective Date:      2007  								Version Number: 2007-1						








PAGE  
The Alabama College System

Copyright© 2006
All rights reserved

