[image: image2.jpg]Alabama
Department of
Postsecondary Education
Representing the Alabama Community College System





DC Fundamentals

AUT 110, CCT 111, ELT 108



ETC 101, IAT 141, ILT 160

Industry Evaluated Fall 2010
11/7/2011
[image: image2.jpg]
COURSE DESCRIPTION:
This course is designed to provide students with a working knowledge of basic direct current (DC) electrical principles. Topics include safety, basic atomic structure and theory, magnetism, conductors, insulators, use of Ohm’s law to solve for voltage, current, and resistance, electrical sources, power, inductors, and capacitors.  Students will perform lockout/tagout procedures, troubleshoot circuits and analyze series, parallel, and combination DC circuits using the electrical laws and basic testing equipment to determine unknown electrical quantities. CORE
CREDIT HOURS 

Theory Credit Hours  
  

1 hour
Lab Credit Hours



2 hours 

Total Credit Hours 



3 hours
NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as 3:1 and/or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)

INSTRUCTOR NOTE

Suitable substitutes for this course are the five hour version taught as ETC 118, ELT 111, EET 112, ILT 106, and INT 120.

PREREQUISITE COURSES 
As determined by college.
CO-REQUISITE COURSES 
As determined by college.
PROFESSIONAL COMPETENCIES
· Explain elements of DC electrical theory. 
· Perform tasks in a safe manner. 
· Value the importance of following safety precautions. 
· Read and interpret electrical circuits. 
· Use electrical test equipment to troubleshoot electrical circuits. 
INSTRUCTIONAL GOALS:  

Cognitive:   Comprehend foundational knowledge of DC electricity.

Performance: Apply foundational knowledge of DC electricity.

Affective:  Value the importance of safety while performing maintenance service procedures.
STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab/clinical assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES
	MODULE A – Principles of DC Electricity

	MODULE DESCRIPTION – This module introduces students to basic elements of DC and how to be safe while working in an electrical environment.  It includes Lockout/Tagout procedures, DC theory, functions of magnetism, electrical measurement, and basic laws of electricity.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Perform tasks in a safe manner.
	A1.1
Given a variety of lab situations, perform assigned tasks in a safe manner.  

NOTE:  This is an ongoing evaluation.
	3

	A2.0 
Explain elements of DC electrical theory.
	A2.1 
This competency is measured cognitively.
	2

	A3.0
Value the importance of following safety precautions.
	A3.1
This competency is measured affectively.

NOTE:  This is an ongoing evaluation.
	3

	LEARNING OBJECTIVES 
	KSA

	A1.1.1
Explain the use of personal protective equipment.

A1.1.2
Explain hazards associated with electrical systems.

A1.1.3
Explain lockout/tag out procedures.
	3
2

3

	A2.1.1
Define terms associated with DC electricity.

A2.1.2
Explain the function of each atomic component structure.
A2.1.3
Explain the function of electrical charges.
A2.1.4
State whether a potential difference exists between two charges given their magnitude and polarity.
A2.1.5
State the direction of electron movement between two charges, given their magnitude and polarity.

A2.1.6
Explain the function of conductors.
A2.1.7
Explain the function of insulators.
A2.1.8
Explain the difference between insulators, and conductors.

A2.1.9
Describe the relationship between electrical charge and current.

A2.1.10
Explain the principles of magnetism and how they relate to electrical charges.

A2.1.11
Explain the various units of electrical measurement.

A2.1.12
Explain Ohm’s Law.
A2.1.13
Calculate current using Ohm’s Law.
A2.1.14
Calculate voltage using Ohm’s Law.

A2.1.15
Calculate resistance using Ohm’s Law.
A2.1.16
Describe the linear proportion between current and voltage.
A2.1.17
Explain electrical power.
A2.1.18
Describe power dissipation in resistance.
A2.1.19
Identify power formulas.
A2.1.20
State the relationship between resistance, voltage, current, and power.
A2.1.21
Calculate current flows.
A2.1.22
Calculate voltage drops and rises.
A2.1.23
Calculate resistance.


	1

2

2

1

1

2

2

2

2

2

2

2

2

2

2

2

2

2

1

2

2

2

2

	MODULE A OUTLINE:
· Safety

· Personal protective equipment

· Electrical systems hazards

· Lockout/tagout 

· Terms and symbols associated with electrical theory

· DC Theory

· Characteristics of the atom

· Characteristics of the nucleus

· Electrical charges

· Conductors and insulators

· Electric charge and current

· Magnetism

· Units of electrical measurement

· Electrical quantities

· Voltage

· Current

· Resistance

· Power

· Electrical units of measure

· Volts

· Amperes

· Ohms

· Watts

· Ohm’s Law

· Power Law




	MODULE B – DC ELECTRICal CIRCUITS

	MODULE DESCRIPTION – This module teaches the students how to read and interpret electrical circuits.  They will be introduced to terms and symbols, basic components, various types of circuits, and will learn to solve for unknowns in various circuits.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Read and interpret electrical circuits.
	B1.1
Design and construct a variety of DC circuits.
	3

	LEARNING OBJECTIVES 
	KSA

	B1.1.1
Explain terms and symbols used for DC electrical circuits.

B1.1.2
State the basic components of a DC electrical circuit.

B1.1.3
Identify characteristics of conductors and insulators.

B1.1.4
Describe the differences between schematic and wiring diagrams.

B1.1.5
Differentiate between various resistive circuits such as series, parallel, and series-parallel circuits.

B1.1.6
Use Kirchhoff’s law to solve for unknowns in various resistive circuits.

B1.1.7
Solve for unknowns within a circuit using various network theorems.

B1.1.8
Explain considerations for designing and constructing various DC circuits.


	1
1
1
2

3
3
3
3


	MODULE B OUTLINE:
· Symbols and components

· Conductors and insulators

· Schematics and wiring diagrams

· Resistive circuits

· Series

· Parallel

· Series/Parallel

· Kirchoff’s Law
· Constructing circuits



	MODULE C – DC circuit Testing

	MODULE DESCRIPTION – This module highlights the use of test equipment while troubleshooting problems in various DC circuits.  They will be taught to calculate what reading they should obtain from various locations in a circuit, how to obtain that measurement, and determine what the problem is when the reading is incorrect.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	C1.0
Use electrical test equipment to troubleshoot electrical circuits.
	C1.1
Given a DC circuit previously developed by the student, use various instruments to test the circuit to determine if the readings are in accordance with specifications.
	3

	
	C1.2 
Given various faulty circuits or faulty readings within a circuit, determine the root cause and propose a solution.
	3

	LEARNING OBJECTIVES 
	KSA

	C1.1.1
Explain the characteristics and functions of various instruments used to test DC electrical circuits. 

C1.1.2
Explain procedures for obtaining readings from various instruments used to test DC electrical circuits.
C1.1.3
Calculate power in series circuit, parallel circuit, and a series parallel circuit

	3
2

3

	C1.2.1
Describe the process for determining if a reading is correct or incorrect.

C1.2.2
Explain the procedures for determining the cause of the malfunction.
C1.2.3
Explain the procedures for repairing the malfunction.
	3
3

3

	MODULE C OUTLINE:
· Test equipment

- 
Volt meter

-
Ohm meter

-
Ammeter

-
Multimeter

-
Megohmmeter 

· Troubleshooting

· Determining correct and incorrect readings

· Determining a malfunctions root cause
· Repair procedures


LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Limited Knowledge and Proficiency
	Moderate Knowledge and Proficiency
	Advanced Knowledge and Proficiency
	Superior Knowledge and Proficiency

	KSA
	1
	2
	3
	4

	Module A
	15%
	77%
	8%
	

	Module B
	37%
	13%
	50%
	

	Module C
	
	17%
	83%
	


	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Identifies basic facts and terms about the subject or competency.

· Performs simple tasks associated with the competency.  Needs to be told or shown how to do most tasks.  

· Requires close supervision.

	2
	Moderate Knowledge and Proficiency
	· Identifies relationship of basic facts and states general principles and can determine step-by-step procedures for doing the competency.

· Performs most parts of the competency.  Needs help only on hardest parts.  

· Requires limited supervision.

	3
	Advanced Knowledge and Proficiency
	· Analyzes facts and principles and draws conclusions about the subject to include why and when the competency must be done and why each step is needed.  Can predict outcomes.

· Performs all parts of the competency.  Needs only a spot check of completed work.  

· Requires little or no direct supervision.

	4
	Superior Knowledge and Proficiency
	· Can evaluate conditions and make appropriate decisions as related to resolving problems. 

· Performs competency quickly and accurately with no direct supervision and is able to instruct and supervise others.  


[image: image1.jpg]Teaching and Learning Continuum

Teacher Contribution

Close Support

Receiving

Moderate Support

Accepting

Consulting

Internalizing

Synergy,

Synthesizing

Pedagogy

Mesagogy

Andragogy

Heutagogy

——Active
Independent

Learner Contribution ——— ¥




AUT 110, CCT 111, ELT 108, ETC 101, IAT 141, ILT 160	





DC Fundamentals





Plan of Instruction





Effective Date:  Fall 2006							Version Number:  2011-1











Alabama Community College System

Copyright© 2011

All Rights Reserved
PAGE  
2
ACCS Copyright © 2011

All Rights Reserved


