[image: image2.jpg]Alabama
Department of
Postsecondary Education
Representing the Alabama Community College System





Motors and Transformers I

AUT 135, ILT 166 


03/26/13 

[image: image2.jpg]
COURSE DESCRIPTION:
This course covers motor operation, motor types, motor components, motor feeder and branch circuits. Topics include motor protection and motor control circuits. Upon lab completion students should be able to test motors, transformer types, and test for input and output voltage.
CREDIT HOURS 

Theory Credit Hours  
  

2 hours
Lab Credit Hours



1 hour  

Total Credit Hours 



3 hours
NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as 3:1 and/or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)

	Date
	Recent Change

	03/26/13
	Edited course description to remove fragmented and repetitive sentence.


PREREQUISITE COURSES 
As determined by college.
CO-REQUISITE COURSES 
As determined by college.
PROFESSIONAL COMPETENCIES

· Install motor circuits

· Troubleshoot motor circuits

· Perform motor preventive maintenance

· Install transformers

· Troubleshoot transformers
· Test Transformers for proper operation

· Perform transformer preventive maintenance 
INSTRUCTIONAL GOALS

· Cognitive – Comprehend principles and concepts related to motors and transformers.
· Psychomotor – Apply principles of motors and transformers.
· Affective – Value the importance of adhering to policy and procedures related to motors and transformers.
STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab/clinical assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES
	MODULE A – Motors

	MODULE DESCRIPTION – The purpose of this module is for the student to comprehend the installation, troubleshooting, and maintenance of motor circuits. Topics will include safety, motors, motor circuits, mechanical switching, magnetism, single phase and three phase motors, reduced voltage, motor installation requirements, troubleshooting, and preventive maintenance.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Comprehend the installation, troubleshooting, and maintenance of motor circuits.
	A1.1
Install motor circuits.
	3

	
	A1.1
Troubleshoot motor circuits.
	3

	
	A1.1
Perform motor preventive maintenance.
	3

	LEARNING OBJECTIVES 
	KSA

	A1.1.1
Describe the operation of DC motors.
A1.1.2
Describe the operation of AC motors.
A1.1.3
Explain the difference between single phase and three phase motors.
A1.1.4
Determine motor feeder circuit requirements.
A1.1.5
Determine motor branch circuit requirements. 


A1.1.6
Determine the type of circuit protection for motor circuits.
A1.1.7
Determine the type of circuit protection for control circuits. 

A1.1.8
Test motor coils for open and short.
A1.1.9
Calculate the proper size conductors to be used to supply three phase and single-phase motors in various applications.
A1.1.10
Calculate the proper running size overload protection to be used for three-phase and single-phase motors in various applications.
A1.1.11
Calculate the proper size ground fault and short circuit protection devices to be used for three phase and single phase motors in various applications. 

A1.1.12
Calculate the proper size disconnecting means to be used for three phase and single phase motors in various applications.
A1.1.13
Explain the “service factor” rating for motors.
A1.1.14
Explain National Electrical Code requirements for the installation of electrical motors.
A1.1.15
Calculate the conduit size needed for motor circuit conductors.
A1.1.16
Summarize the process of motor preventive maintenance. 


	2
2

2

3

3

3

3

3

3

3

3

3

2

2

3

2



	MODULE A OUTLINE:
· Motors

· Safety

· Motor circuits

· Mechanical switching

· Magnetism

· Single phase motors

· Three phase motors

· Reduced voltage

· Motor installation requirements

· Troubleshooting

· Preventive maintenance




	MODULE B – TRANSFORMERS

	MODULE DESCRIPTION – The purpose of this module is for the student to comprehend the installation, testing, troubleshooting, and maintenance of transformers. Topics will include single phase and three phase transformers, power distribution systems, transformer sizing and installation, transformer installation requirements, troubleshooting, and preventive maintenance.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Comprehend the installation, testing, troubleshooting, and maintenance of transformers.
	B1.1
Install transformers.
	

	
	B1.1
Troubleshoot transformers.
	

	
	B1.1
Test transformers.
	

	
	B1.1
Perform transformer preventive maintenance.
	

	LEARNING OBJECTIVES 
	KSA

	B1.1.1
Identify different transformer types.
B1.1.2
Describe the operation of each type of transformer.
B1.1.3
Explain the operation of single phase transformers including action and counter action of the primary and secondary magnetic fields.
B1.1.4
Calculate single phase transformer primary and secondary ratios for voltage, current, turns, power, and impedance.
B1.1.5
Identify single phase transformer primary leads, secondary leads, and transformer polarity from schematic diagram.
B1.1.6
Design a single-phase transformer banks to accept a given primary voltage and yield a given secondary voltage.
B1.1.7
Explain the basic operation of three phase transformers including the action and counter action of the primary and secondary fields.
B1.1.8
Calculate three phase transformer primary and secondary transformer ratios for voltage, current turns, power and impedance.
B1.1.9
Identify three phase transformer primary leads, secondary leads, and transformer polarity from a schematic diagram.
B1.1.10
Explain the relationship of line current to coil current and line voltage in Wye and Delta configurations of three phase transformers.
B1.1.11
Design three phase transformer banks to accept a given primary voltage and yield a given secondary voltage.
B1.1.12
State NEC regulations for hanging transformers on a wall or ceiling.
B1.1.13
Apply NEC regulations for hanging transformers on a wall or ceiling.
B1.1.14
State NEC regulations for ventilation of transformers. 

B1.1.15
Apply NEC regulations for ventilation of transformers. 

B1.1.16
State NEC regulations for grounding transformers enclosures. 

B1.1.17
Apply NEC regulations for grounding transformers enclosures. 

B1.1.18
State NEC regulations for indoor installation of transformers.
B1.1.19
Apply NEC regulations for indoor installation of transformers.
B1.1.20
State and Apply NEC regulations for outdoor installation transformers.
B1.1.21
Apply NEC regulations for outdoor installation transformers.
B1.1.22
State NEC regulations for installation of transformer vaults.
B1.1.23
Apply NEC regulations for installation of transformer vaults.
B1.1.24
State NEC regulations for fire rating of transformer vaults.
B1.1.25
Apply NEC regulations for fire rating of transformer vaults.
B1.1.26
State NEC regulations for calculating size of primary and secondary overcurrent protection.
B1.1.27
Apply NEC regulations for calculating size of primary and secondary overcurrent protection.
B1.1.28
State NEC regulations for calculating KVA ratings, primary current, and secondary current transformers. 


B1.1.29
Apply NEC regulations for calculating KVA ratings, primary current, and secondary current transformers.
B1.1.30
State NEC regulations for calculating proper size conductors to supply panel boards.
B1.1.31
Apply NEC regulations for calculating proper size conductors to supply panel boards.
B1.1.32
State NEC regulations for calculating transformer ratios.
B1.1.33
Apply NEC regulations for calculating transformer ratios.
B1.1.34
Calculate size of transformer needed to supply a given load.
B1.1.35
Summarize the process of transformer preventative maintenance.
	2
2

2

3

2

3

2

3

2

3

3

2

2

2

2

2

2

2

2

2

2

2

2

2

2

2

2

2

2

2

2

2

2

3
2

	MODULE B OUTLINE:
· Transformers

· Single phase transformers

· Three phase transformers

· Power distribution systems

· Transformer sizing and installation

· Transformer installation requirements

· Troubleshooting

· Preventive maintenance






LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation. 
	
	Limited Knowledge and Proficiency
	Moderate Knowledge and Proficiency
	Advanced Knowledge and Proficiency
	Superior Knowledge and Proficiency

	KSA
	1
	2
	3
	4

	Module A
	
	38%
	62%
	

	Module B
	
	83%
	17%
	


The KSA is NOT determined by the verb used in the learning objective, but rather in the context in which the verb is used and the depth of knowledge and skills required. 
Example: Three KSA levels using the same verb (describe):
KSA 1 – Describe three characteristics of metamorphic rocks. (simple recall)

KSA 2 – Describe the difference between metamorphic and igneous rocks. (requires cognitive processing to determine the differences in the two rock types)

KSA 3 – Describe a model that you might use to represent the relationships that exist within the rock cycle. (requires deep understanding of rock cycle and a determination of how best to represent it)

[image: image1.jpg]Teaching and Learning Continuum

Teacher Contribution

Close Support

Receiving

Moderate Support

Accepting

Consulting

Internalizing

Synergy,

Synthesizing

Pedagogy

Mesagogy

Andragogy

Heutagogy

——Active
Independent

Learner Contribution ——— ¥





	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Recognize basic information about the subject including terms and nomenclature.

· Students must demonstrate ability to recall information such as facts, terminology or rules related to information previously taught.  
· Performs simple parts of the competency.  Student requires close supervision when performing the competency.

	2
	Moderate Knowledge and Proficiency
	· Distinguish relationships between general principles and facts. Adopts prescribed methodologies and concepts.
· Students must demonstrate understanding of multiple facts and principles and their relationships, and differentiate between elements of information.  Students state ideal sequence for performing task. 
· Performs most parts of the competency with instructor assistance as appropriate.

	3
	Advanced Knowledge and Proficiency
	· Examines conditions, findings, or other relevant data to select an appropriate response.  

· The ability to determine why and when a particular response is appropriate and predict anticipated outcomes. 
· Students demonstrate their ability to seek additional information and incorporate new findings into the conclusion and justify their answers.
· Performs all parts of the competency without instructor assistance.

	4
	Superior Knowledge and Proficiency
	· Assessing conditions, findings, data, and relevant theory to formulate appropriate responses and develop procedures for situation resolution. Involves higher levels of cognitive reasoning. 
· Requires students to formulate connections between relevant ideas and observations. 
· Students apply judgments to the value of alternatives and select the most appropriate response. 
· Can instruct others how to do the competency.
· Performs competency quickly and accurately.

	A
	Affective Objective
	· Describes learning objectives that emphasize a feeling tone, an emotion, or a degree of acceptance or rejection.  
· Objectives vary from simple attention to selected phenomena to complex but internally consistent qualities of character and conscience. 
· Expressed as interests, attitudes, appreciations, values, and emotional sets or biases.


AUT 135, ILT 166





Motors and Transformers I





Plan of Instruction





Effective Date:  Fall 2012										Version Number:  2013-1











Alabama Community College System

Copyright© 2012

All Rights Reserved
PAGE  
2
ACCS Copyright© 2012

All Rights Reserved

