[image: image1.png](e

AL






COURSE DESCRIPTION:   This course involves presentations, discussions and live simulations of work related experiences involved in data, voice, and video infrastructure. Students learn to terminate, test, troubleshoot, and install copper-based cabling systems.  They learn category 5 systems, IBM cabling systems, and coaxial systems.  This course helps prepare students for certification as Network Cabling specialists.    This course supports CIP Code:  47.0105.
CREDIT HOURS 

Theory

1credit hours

Lab


1 credit hours

Total


2 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1 contact to credit hour ratio) or experimental (2:1 contact to credit hour ratio).

PREREQUISITE COURSES 
Determined by college unless stated otherwise 

CO-REQUISITE COURSES 
Determined by college unless stated otherwise
INDUSTRY/PROFESSIONAL COMPETENCIES
· Explain theory and concepts related to network cabling. 

· Connectorize shielded and unshielded twisted pair cablings. 

· Perform cable routing. 
· Connect terminals using TIA/EIA standards.  

· Test and troubleshoot network cable. 
· Explain NEC regulations for data cabling. 
GENERAL INSTRUCTIONAL OBJECTIVES  

Cognitive objective - comprehend foundational knowledge of network cabling.
Psychomotor objective - apply foundational knowledge of network cabling.
INDUSTRY/PROFESSIONAL COMPETENCIES/STUDENT PERFORMANCE

Unless otherwise indicated, evaluation of student’s attainment of cognitive and performance objectives is based on knowledge gained from this course.  During performance evaluations, students will be provided necessary tools, equipment, materials, specifications, and any other resources necessary to accomplish the task.  Specifications may be in the form of, but not limited to, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab assignments, or any combination of specifications.
.

	MODULE A – INTRODUCTION TO NETWORK CABLING

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	A1.0
Explain theory and concepts related to network cabling. (B)
	A1.1
This competency is measured cognitively.

	A2.0
Connectorize shielded and unshielded twisted pair cablings. (3c)
	A2.1
Connectorize shielded and unshielded cable to TIA/EIA standards for modular, plugs, and outlets and test to determine proper operation.

	ENABLING OBJECTIVES
	KSA

Indicator

	A1.1.1
Define terms associated with network cabling.
A1.1.2
Explain safety considerations associated with network cabling.

A1.1.3
Explain the function of specified tools used for network cabling.

A1.1.4
Explain the current TIA/EIA standards as related to color codes, wiring configurations and ANSI level category ratings.

A1.1.5
Differentiate between shielded, unshielded, coaxial, and 2 wired twisted pair cable.
A1.1.6
Differentiate between the different categories of data cable.

A1.1.7
Explain procedures for testing various types of network cable.

A1.1.8
Explain common causes and sources of electrical interference.

A1.1.9
Explain common causes and sources of cross talk. 
	A
B

a

A

C

B

b

B

B


	MODULE B – CABLE ROUTING

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	B1.0
Perform cable routing. (3c)
	B1.1
Develop a plan for routing and labeling cable.

B1.2
Place and label cable and test for proper operation according to a previously developed routing and labeling plan.

	ENABLING OBJECTIVES
	KSA

Indicator

	B1.1.1
Interpret information found on blueprints related to network cabling.

B1.1.2
Identify critical elements of a cable routing plan.
B1.1.3
Identify various methods for labeling cable.
B1.1.4
Differentiate between riser and plenum cable.
	C
A

a

B


	MODULE C – TERMINALS

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	C1.0
Connect terminals using TIA/EIA standards.  (3c)
	C1.1
Perform 66 and 110 four pair twisted cable punchdowns and test for proper operation.
C1.2
Perform 25 pair twisted cable punchdowns and test for proper operation.

C1.3
Perform modular jack punchdowns and test for proper operation.

	ENABLING OBJECTIVES
	KSA

Indicator

	C1.1.1
Explain TIA/EIA standards for wiring, order, and color code.
C1.1.2
Differentiate between standards for shielded and unshielded twisted pair cable.

C1.1.3
Explain characteristics of shielded and unshielded cable.

C1.1.4
Explain configuration color codes for shielded and unshielded cable.

C1.1.5
Explain characteristics of various types of modular jack punchdowns.
	B
C

a

a

a


	MODULE D – SYSTEM-WIDE TESTING AND TROUBLESHOOTING PROCEDURES

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	D1.0
Test and troubleshoot network cable. (3c)
	D1.1
Perform testing and troubleshooting of various cable configurations

	ENABLING OBJECTIVES
	KSA

Indicator

	D1.1.1
Identify testers used to determine continuity and configuration.
D1.1.2
Explain the systematic process of troubleshooting.

D1.1.3
Explain processes to identify and repair common faults associated with cable integrity.
	a
c

c


	MODULE E – NEC FOR DATA CABLING

	INDUSTRY/PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES

	E1.0
Explain NEC regulations for data cabling. (B)
	E1.1
This competency is measured cognitively.

	ENABLING OBJECTIVES
	KSA

Indicator

	E1.1.1
Explain TIA/EIA standards for preventing electrical interference.

E1.1.2
Explain TIA/EIA standards for preventing cross talk.
	B
B


COURSE CONTENT OUTLINE

MODULE A – INTRODUCTION TO NETWORK CABLING
· Terms

· Safety and tool use

· Safety considerations

· Network cabling tools

· TIA/EIA Standards

· Color Codes

· Wiring configurations

· ANSI level category ratings

· Theory of Cabling

· Twisted pair (Shielded/Unshielded)

· Coaxial

· 2 wire twisted pair cable

· Testing procedures

· Connectorizing and cable routing

· TIA/EIA standards

· Configuring and terminating cables

· Modular patch cords

· Plugs

· Outlets

· Testing

MODULE B – CABLE ROUTING

· Planning
· Placing
· Labeling
· Riser and plenum
MODULE C - Terminals

· 66 Blocks
· TIA/EIA standards for wiring, order, and color code

· Grounding

· Unshielded/Shielded

· Testing

· 110 Blocks
· TIA/EIA standards for wiring, order, and color code

· Grounding

· Unshielded/Shielded

· Testing

· 25 Pair twisted cables

· Unshielded/Shielded
· Testing
· Modular jack punchdowns
· Shielded/Unshielded
· Testing
MODULE D – SYSTEM-WIDE TESTING AND TROUBLESHOOTING PROCEDURES

· Cable testers

· Continuity tests

· Configuration tests

· Troubleshooting

· Cable integrity

· Foreign voltage

· Opens

· Shorts

· Reversals

· Transposals

· Split pairs
· Testing 66 and 110 blocks to Modular jacks
MODULE E – NEC FOR DATA CABLING

· TIA/EIA standards

· Electrical interference

· Cross talk

RECOMMENDED METHODS OF EVALUATION:  The tables of specifications below identify the number of cognitive (knowledge) enabling objectives and psychomotor (performance) objectives per module.  Instructors should develop sufficient numbers of test questions to ensure complete coverage of each cognitive and/or psychomotor objectives identified in each module.  For cognitive objectives, use appropriate written test type based on the complexity indicator for each objective.  Create comprehensive, checklist evaluations for each psychomotor objective. 
Facts/Nomenclature (A/a):  Multiple Choice, Fill-in, List, Matching, Alternative Response (true/false or yes/no) 

Principles/Procedures (B/b):  Multiple Choice, Fill-in, List, Short Answer

Analysis/Operating Principles (C/c):  Multiple Choice, Short Answer, Essay

Evaluation/Complete Theory (D/d): Multiple Choice, Short Answer, Essay

	ENABLING OBJECTIVES TABLE OF SPECIFICATIONS

	
	Cognitive Domain

	
	Facts/ Nomenclature
	Principles/ Procedures
	Analysis/ Operating Principles
	Evaluation/ Complete Theory
	Total

Objectives

	Module A
	
	
	
	
	

	Module B
	
	
	
	
	

	Module C
	
	
	
	
	

	Module D
	
	
	
	
	

	Module E
	
	
	
	
	

	Total
	
	
	
	
	


	sTUDENT PERFORMANCE OBJECTIVES Table of Specifications

	
	Psychomotor Domain

	
	Limited Proficiency

1
	Partially Proficient

2
	Proficient

3
	Highly Proficient

4
	Total

Objectives

	Module A
	
	
	
	
	

	Module B
	
	
	
	
	

	Module C
	
	
	
	
	

	Module D
	
	
	
	
	

	Module E
	
	
	
	
	

	Total
	
	
	
	
	


	Knowledge, Skills, and Abilities (KSA) Indicators

	
	Value
	Key Word(s)
	Definition

	Performance 
Ability 
	4
	Highly 

Proficient
	Performs competency quickly and accurately.  Instructs others how to do the competency. 

	
	3
	Proficient
	Performs all parts of the competency.  Needs only a spot check of completed work.

	
	2
	Partially

 Proficient
	Performs most parts of the competency.  Needs help only on hardest parts. 

	
	1
	Limited Proficiency
	Performs simple parts of the competency.  Needs to be told or shown how to do most of the competency. 

	

	Knowledge of Skills
	d
	Complete

Theory
	Predicts, isolates, and resolves problems about the competency.

	
	c
	Operating Principles
	Identifies why and when the competency must be done and why each step is needed.

	
	b
	Procedures
	Determines step-by-step procedures for doing the competency.

	
	a
	Nomenclature
	Names parts, tools, and simple facts about the competency.

	

	Knowledge
	D
	Evaluation
	Evaluates conditions and makes proper decisions about the subject.

	
	C
	Analysis
	Analyzes facts and principles and draws conclusions about the subject.

	
	B
	Principles
	Identifies relationship of basic facts and states general principles about the subject.

	
	A
	Facts
	Identifies basic facts and terms about the subject.

	

	Alpha Scale Values - Any item with an upper case letter (A, B, C, D) by itself is taught as general information on a topic.  This information may be related to the competency or encompass multiple competencies.  Examples might include mathematical computations or knowledge of principles such as Ohm’s Law.

A lower case letter indicates a level of ”Knowledge of Skills."  Individuals are taught information pertaining to performing a competency .  These may be indicated alone or in conjunction with a numerical scale value.  A lower case letter by itself indicates the individual is not required to perform the task-just know about the task.  (example: Can state or explain procedures for doing a task).

Numerical Scale Values - The numbers reflect the levels the individual will be able to perform a competency. Numerical values are always accompanied by lower case letters (i.e. 1a, 2b, 3c...etc.) in order to specify the level of knowledge of skills associated with the competency.   

Example:  An individual with a competency with a scale indicator of 3b has received training of knowledge of skills whereby he or she can determine the correct procedures and perform with limited supervision; only requiring evaluation of the finished product or procedure.

NOTE:  Codes indicate terminal values.


ILT 237





Network Cabling: Copper





Plan of Instruction





Effective Date:	2006								Version Number: 2006-1					








PAGE  
The Alabama College System

Copyright© 2006
All rights reserved

