[image: image1.png]


[image: image1.png]
Elements of Industrial Control II

EET 276, AUT 217, ILT 276, INT 276, ELT 276

October 31, 2008


COURSE DESCRIPTION:

This course includes the advanced principals of PLC's including hardware, programming, variable speed drives, and troubleshooting. Emphasis is placed on developing advanced working programs, and troubleshooting hardware and software communication problems. Upon completion, students should be able to demonstrate their ability in developing programs and troubleshooting the system.
CONTACT/CREDIT HOURS 

Theory Credit Hours  
  

3 hours
Lab Credit Hours



0 hours  

Total Credit Hours 



3 hours
NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as (3:1 contact to credit hour ratio), (2:1 contact to credit hour ratio) or a combination of the two as needed, but all like courses must be treated the same.

PREREQUISITE COURSES 

As determined by college.

CO-REQUISITE COURSES 

EET 274 or AUT 218 or ILT 286 or INT 286 or ELT 286
INSTRUCTOR NOTE:  This is the theory portion of a two part PLC course and should be taught in conjunction with co-requisite lab.  Lectures should be designed to provide the students with the concepts they will be demonstrating in the lab.  The focus of this course is on teaching the learning objectives to a sufficient level so that students grasp the concepts and are prepared to perform in the lab.
PROFESSIONAL COMPETENCIES

· Develop advanced PLC programs.
· Troubleshoot a PLC system.
INSTRUCTIONAL GOALS

· Cognitive – Comprehend principles and concepts related to advanced programmable logic controllers.
· Psychomotor – Apply principles of advanced programmable logic controllers.
· Affective – Value the importance of adhering to policy and procedures related to advanced programmable logic controllers.
STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab/clinical assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES

	MODULE A – Advanced Programming

	MODULE DESCRIPTION – The purpose of this module is to teach the students to develop advanced PLC programming techniques.  Topics include control instructions, comparison instructions, math instructions, data manipulation, sequencers and/or PID instructions, and variable speed drives. 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Develop advanced PLC programs.
	A1.1
This competency is measured cognitively.
	C

	
	A1.2
This competency is measured cognitively.
	C

	
	A1.3
This competency is measured cognitively.
	C

	
	A1.4
This competency is measured cognitively.
	C

	
	A1.5
This competency is measured cognitively.
	C

	
	A1.6
This competency is measured cognitively.
	C

	LEARNING OBJECTIVES 
	KSA

	A1.1.1
 Describe the zone control commands.
A1.1.2  Describe the jump and label commands. 
A1.1.3
 Describe the subroutine commands.
	c
c

c

	A1.2.1
 Describe the greater than instruction.

A1.2.2
 Describe the less than instruction.

A1.2.3
 Describe the equal to instruction.
	c
c

c

	A1.3.1  Describe the add function.

A1.3.2  Describe the subtract function.

A1.3.3  Describe the multiply function.

A1.3.4  Describe the divide function.
	c
c

c

c

	A1.4.1  Explain the move command.
A1.4.2  Explain the copy command.
	c
c

	A1.5.1  Explain the function of a sequencer and/or PID control.
	c

	A1.6.1
Explain the function of a variable speed drive.

A1.6.2
Explain how to install and set up a variable speed drive.

A1.6.3
Describe how to set the operational parameters.
A1.6.4
Identify and interpret error codes.

A1.6.5
Describe how to analyze and clear error codes.
	c
c

c

c

c

	MODULE A OUTLINE:

· Control Instructions

· Zone control commands

· Jump and label commands 

· Subroutine commands

· Comparison Instruction
· Greater than instruction

· Less than instruction

· Equal to instruction

· Math Instructions
· Add function

· Subtract function

· Multiply function

· Divide function

· Data Manipulations
· Move command

· Function of a sequencer
· Variable speed drive
· Input/output commands

· Operational parameters

· Error codes




	MODULE B – Troubleshooting

	MODULE DESCRIPTION – The purpose of this module is to teach the students to troubleshoot a PLC system.  Topics include troubleshooting hardware and software problems.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Troubleshoot a PLC system.
	B1.1
This competency is measured cognitively.
	C

	
	B1.2
This competency is measured cognitively.
	C

	LEARNING OBJECTIVES 
	KSA

	B1.1.1
Describe the troubleshooting techniques for the controller.
B1.1.2
Describe the troubleshooting techniques for wiring/termination.
B1.1.3
Describe the troubleshooting techniques for field devices.
B1.1.4
Describe the process of using software to troubleshoot the PLC system.
	c
c

c

c

	B1.2.1
Describe the operation and troubleshooting process of the communication software.

B1.2.2
Describe the process of troubleshooting the PLC program. 
	c
c

	MODULE B OUTLINE:

· Troubleshooting hardware 
· Controller troubleshooting techniques
· Wiring/Termination troubleshooting techniques
· Field Device troubleshooting techniques
· Software based troubleshooting techniques 
· Troubleshooting Software

· The operation and troubleshooting process of the communication software

· Troubleshooting the PLC program


LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Facts/ Nomenclature
	Principles/ Procedures
	Analysis/ Operating Principles
	Evaluation/ Complete Theory

	
	A/a
	B/b
	C/c
	D/d

	Module A
	
	
	100%
	

	Module B
	
	
	100%
	


	Knowledge, Skills, and Attitudes (KSA) Indicators

	
	Value
	Key Word(s)
	Definition

	Performance 
Ability 
	4
	Highly 

Proficient
	Performs competency quickly and accurately.  Instructs others how to do the competency. 

	
	3
	Proficient
	Performs all parts of the competency.  Needs only a spot check of completed work.

	
	2
	Partially

 Proficient
	Performs most parts of the competency.  Needs help only on hardest parts. 

	
	1
	Limited Proficiency
	Performs simple parts of the competency.  Needs to be told or shown how to do most of the competency. 

	Knowledge of Skills
	d
	Complete

Theory
	Predicts, isolates, and resolves problems about the competency.

	
	c
	Operating Principles
	Identifies why and when the competency must be done and why each step is needed.

	
	b
	Procedures
	Determines step-by-step procedures for doing the competency.

	
	a
	Nomenclature
	Names parts, tools, and simple facts about the competency.

	Knowledge
	D
	Evaluation
	Evaluates conditions and makes proper decisions about the subject.

	
	C
	Analysis
	Analyzes facts and principles and draws conclusions about the subject.

	
	B
	Principles
	Identifies relationship of basic facts and states general principles about the subject.

	
	A
	Facts
	Identifies basic facts and terms about the subject.

	Affective
	*5
	Characterization by Value
	Acting consistently with the new value

	
	*4
	Organization
	Integrating a new value into one's general set of values, giving it some ranking among one's general priorities

	
	*3
	Valuing
	Showing some definite involvement or commitment

	
	*2
	Responding
	Showing some new behaviors as a result of experience

	
	*1
	Receiving
	Being aware of or attending to something in the environment

	Alpha Scale Values - Any item with an upper case letter (A, B, C, D) by itself is taught as general information on a topic.  This information may be related to the competency or encompass multiple competencies.  Examples might include mathematical computations or knowledge of principles such as Ohm’s Law.

A lower case letter indicates a level of ”Knowledge of Skills."  Individuals are taught information pertaining to performing a competency .  These may be indicated alone or in conjunction with a numerical scale value.  A lower case letter by itself indicates the individual is not required to perform the task-just know about the task.  (example: Can state or explain procedures for doing a task).

Numerical Scale Values - The numbers reflect the levels the individual will be able to perform a competency. Number values are always accompanied by lower case letters (i.e. 1a, 2b, 3c...etc.) in order to specify the level of knowledge of skills associated with the competency.   

Example:  An individual with a competency with a scale indicator of 3b has received training of knowledge of skills whereby he or she can determine the correct procedures and perform with limited supervision; only requiring evaluation of the finished product or procedure.

Asterisk items indicate desired affective domain levels and are used to indicate the desired level for a given competency.   They may be used independently or with other indicators (i.e.   1a-*1, 2c-*3).  If used with another indicator, separate with a hyphen.

NOTE:  Codes indicate terminal values.


ILT 276, EET 276, AUT 217, INT 276, ELT 276 





Elements of Industrial Control II 





Plan of Instruction





Effective Date: Fall 2009								Version Number: 2009-1  











Alabama Community College System

Copyright© 2008

All Rights Reserved
PAGE  
2
ACCS Copyright© 2008

All Rights Reserved

