[image: image1.jpg]Alabama
Department of
Postsecondary Education
Representing the Alabama Community College System






May 29, 2012
[image: image1.jpg]
COURSE DESCRIPTION 

This course is designed to provide students with an introduction to process control technology and various instruments used to control processes.  Upon completion, students should be able to comprehend principles of process control technology and the application of various instruments used to control processes in an industrial setting.  

CREDIT HOURS 

Theory

2 credit hours

Lab


1 credit hour

Total


3 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as 3:1 and/or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)

PREREQUISITE COURSES 
As determined by college.


CO-REQUISITE COURSES 
As determined by college.


INDUSTRY/PROFESSIONAL COMPETENCIES

· Explain the principles of process control.
· Use various measurement instruments to control processes.
INSTRUCTIONAL GOALS  

· Cognitive:  Comprehend knowledge of process control.

· Psychomotor:  Apply fundamental knowledge of process control.
· Affective:  Value the importance of adherence to policy and procedures related to process control.

STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, manufacturer’s specifications, technical orders, regulations, international, national, and state codes, certification agencies, locally developed lab assignments, or any combination of specifications.

	MODULE A – PRINCIPLES OF PROCESS CONTROL

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

Indicator

	A1.0   Explain the principles of process control.
	A1.1
This competency is measured cognitively.
	2

	LEARNING OBJECTIVES

	A1.1.1 Define terms associated with process control.
A1.1.2
Explain on/off process control

A1.1.3
Explain functions of process control.
A1.1.4
Explain various processes of control applications.
A1.1.5
Explain process control variables.

A1.1.6
Assess error signals in respect to process control and set points.
A1.1.7
Differentiate between open and control loops.
A1.1.8
Explain various elements of process control.

A1.1.9
Explain various process control signals.

A1.1.10
Use mathematical operations to calculate data in control systems.

A1.1.11
Explain properties of matter

A1.1.12
Explain principles of liquid pressure

A1.1.13
Explain units of pressure

A1.1.14
Explain density and relative density.

A1.1.15
Explain atmospheric pressure.

A1.1.16
Distinguish between gauge and absolute pressure.

A1.1.17
Distinguish between pressure and volume

A1.1.18
Explain the relationship between gas volume and temperature.

A1.1.19
Explain the properties of fluids.

A1.1.20
Distinguish between static suction lift, static suction head, and total static head.
	1
2
2
2
2
3
3
2
2
2
2
2
2
2
2
2
2
2
2
2


	MODULE A OUTLINE:

· The nature of process control

· On/Off process control

· Functions of automatic process control

· Process control applications

· Process control variables

· Error signal evaluation

· Open and closed control loops

· Elements of Process Control

· Control of variables

· Analog control signals

· Digital control signals

· Pneumatic control signals

· Binary numbering

· Measuring elements process control


	MODULE A OUTLINE (Continued)

· Process Control Signals

· Low pressure air

· Low electrical current

· Low electrical voltage

· Range and span

· Signal evaluation

· Mathematical operations for measuring data in control system

· Principals of Pressure in Liquids and Gases 
· Properties of matter

· Principles of liquid pressure

· Units of pressure

· Density and relative density

· Atmospheric pressure

· Gauge pressure and absolute pressure

· Gas pressure and volume

· Gas volume and temperature

· Properties of Fluid Flow

· Properties of fluids

· Fluids in motion


	MODULE B – PROCESS CONTROL INSTRUMENTS

	PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE OBJECTIVES
	KSA

Indicator

	B1.0  Use various measurement instruments to control processes.
	B1.1
Given various simulations use selected instruments to perform activities associated with process control.
	2

	LEARNING OBJECTIVES

	B1.1.1
Explain safety considerations relative to use of process control instruments.
B1.1.2
Identify components of various pressure sensors.

B1.1.3
Explain the operation of various pressure sensors.

B1.1.4
Explain various methods of measuring flow.

B1.1.5
Explain various methods of measuring liquid levels.
B1.1.6
Identify components of various instruments for measuring liquid levels.
B1.1.7
Identify methods of measuring process elements.

B1.1.8
Identify various electrical instruments for measuring process elements.

B1.1.9
Explain principles of temperature measurement

B1.1.10
Explain the process of calibrating temperature scales.

B1.1.11
Explain industrial uses of temperature measurements.
B1.1.12
Identify components of various bimetallic and fluid filled temperature instruments.

B1.1.13
Explain the operation of bimetallic and fluid filled temperature instruments.

B1.1.14
Explain the operation of open and control loops.
B1.1.15
Define terms associated with control loops.

B1.1.16
Explain the operation on control loops components.

B1.1.17
Explain applications of control loops.
	2
1
2
2
2
1
1
1
2
2
1
2
2
1
2
2

	MODULE B OUTLINE:
· Pressure Sensors

· Functions of measuring instruments

· Manometers

· Bordon tube sensors

· Diaphragm capsules

· Bellows pressure sensors

· Primary Measuring Devices

· Flow measurement methods

· Level Measurement

· Measuring liquid levels

· Types of instruments for measuring liquid levels


	MODULE B OUTLINE (Continued)

· Electrical Instruments

· Conductivity and liquid level

· Capacitance

· Ultrasonic level detectors

· Resistance level detectors

· Photoelectric detectors

· Temperature Measurements

· Principles of temperature measurement

· Temperature scales

· Calibrating temperature scales

· Industrial uses of temperature measurements

· Bimetallic & Fluid Filled Temperature Instruments

· Control loops

· Open and closed control loops

· Control loops definitions

· Control loop components

· Control loop applications


LEARNING objectives Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation. 

	KSA
	Limited Knowledge and Proficiency
1
	Moderate Knowledge and Proficiency
2
	Advanced Knowledge and Proficiency
3
	Superior Knowledge and Proficiency
4

	Module A
	1
	17
	2
	-

	Module B
	6
	10
	-
	-


	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Recognize basic information about the subject including terms and nomenclature.

· Students must demonstrate ability to recall information such as facts, terminology or rules related to information previously taught.  

· Performs simple parts of the competency.  Student requires close supervision when performing the competency.

	2
	Moderate Knowledge and Proficiency
	· Distinguish relationships between general principles and facts. Adopts prescribed methodologies and concepts.

· Students must demonstrate understanding of multiple facts and principles and their relationships, and differentiate between elements of information.  Students state ideal sequence for performing task. 

· Performs most parts of the competency with instructor assistance as appropriate.

	3
	Advanced Knowledge and Proficiency
	· Examines conditions, findings, or other relevant data to select an appropriate response.  

· The ability to determine why and when a particular response is appropriate and predict anticipated outcomes. 

· Students demonstrate their ability to seek additional information and incorporate new findings into the conclusion and justify their answers.

· Performs all parts of the competency without instructor assistance.

	4
	Superior Knowledge and Proficiency
	· Assessing conditions, findings, data, and relevant theory to formulate appropriate responses and develop procedures for situation resolution. Involves higher levels of cognitive reasoning. 
· Requires students to formulate connections between relevant ideas and observations. 

· Students apply judgments to the value of alternatives and select the most appropriate response. 

· Can instruct others how to do the competency.

· Performs competency quickly and accurately.

	A
	Affective Objective
	· Describes learning objectives that emphasize a feeling tone, an emotion, or a degree of acceptance or rejection.  
· Objectives vary from simple attention to selected phenomena to complex but internally consistent qualities of character and conscience. 
· Expressed as interests, attitudes, appreciations, values, and emotional sets or biases.


INT 105





Introduction to Process Technology





Plan of Instruction





Effective Date:      2013  								Version Number: 2005-2						








PAGE  
The Alabama Community College System

Copyright© 2012

All rights reserved

