[image: image1.jpg]Alabama Community
College System





Basic Electricity


 IET 114, INT 114




6/15/15
[image: image1.jpg]
COURSE DESCRIPTION
This course provides an introduction to direct current (DC) and alternating current (AC) electrical theory. Topics include atomic theory, magnetism, properties of conductors and insulators, and characteristics of series, parallel, and series-parallel circuits.  Inductors and capacitors are introduced and their effects on DC and AC circuits are examined. Students are prepared to analyze complex circuits, solve for unknown circuit variables and use basic electronic test equipment.  This course also provides hands on laboratory exercises to analyze, construct, test, and troubleshoot electrical circuits. Emphasis is placed on the use of a scientific calculator, the operation of common test equipment, and the physical wiring of electrical circuits. 
CREDIT HOURS 
Theory

2 credit hour

Lab


1 credit hours

Total


3 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Programs may schedule practical lab hours as 3:1 or 2:1 contact to credit ratio; Clinical hours are 3:1 contact to credit ratio; and Preceptorships may be scheduled as 3:1 (P3) or 5:1 (P5) (Ref Board Policy 705.01).

PREREQUISITE COURSES 
As required by program.
CO-REQUISITE COURSES 
As required by program.
Professional COMPETENCIES
· Perform tasks in a safe manner. 
· Explain elements of DC electrical theory. 
· Explain elements of AC electrical theory. 
· Read and interpret electrical drawings. 
· Use electrical test equipment to troubleshoot electrical circuits. 
INSTRUCTIONAL GOALS:  

Cognitive:   Comprehend principles and concepts related to DC and AC electricity.

Performance: Apply principles of DC and AC electricity.

Affective:  Value the importance of adhering to policy and procedures related to DC and AC electricity
STUDENT OBJECTIVES
Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab/clinical assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES

	MODULE A – Principles of Electricity

	MODULE DESCRIPTION:  This module introduces students to basic elements electricity and how to be safe while working in an electrical environment.  It includes Lockout/Tagout procedures, DC and AC theory, functions of magnetism, electrical measurement, and basic laws of electricity.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Perform tasks in a safe manner. 
	A1.1
Given a variety of lab situations, perform assigned tasks in a safe manner.  

NOTE:  This is an ongoing evaluation.
	3

	A2.0 
Explain elements of DC electrical theory. 
	A2.1 
This competency is measured cognitively.
	3

	A3.0
Explain elements of AC electrical theory. 
	A3.1
This competency is measured cognitively.

	3

	LEARNING OBJECTIVES
	KSA

	A1.1.1
Explain the use of personal protective equipment.

A1.1.2
Explain hazards associated with electrical systems.

A1.1.3
Explain lockout/tag out procedures.
A1.1.4
Explain NFPA 70E protection.
	3

2
3
3

	A2.1.1
Identify the particles in an atom.

A2.1.2
State the electrical charge of the atomic particles.

A2.1.3
Explain the function of electrical charges.
A2.1.4
State whether a potential difference exists between two charges given their magnitude and polarity.
A2.1.5
State the direction of electron movement between two charges, given their magnitude and polarity.

A2.1.6
Explain the function of conductors.
A2.1.7
Explain the function of insulators.
A2.1.8
Explain the difference between insulators, and conductors.

A2.1.9
Describe the relationship between electrical charge and current.

A2.1.10
Explain the function of voltage sources.

A2.1.11
Define voltage, current, resistance, and power.

A2.1.12
State the units of measurement for voltage, current, resistance, and power.

A2.1.13
Describe the relationship between, voltage, current, resistance, and power.

A2.1.14
Explain Ohm’s Law and solve for current, voltage, and resistance.

A2.1.15
Explain electrical power.
A2.1.16
Explain the Power Law and identify power formulas.
A2.1.17
Describe the relationship between electricity and magnetism.

A2.1.18
Explain the operation of an electromagnet.

A2.1.19
Explain how magnetic induction works.

A2.1.20
Explain the electrical units of capacitance and inductance.

A2.1.21
Describe the linear proportion between current and voltage.

A2.1.22
Explain electrical power factor.
	1

1

1

1

1
3
3
3
2
3
3
3
3
3
3
3
2

3
2

3
2

2

	A3.1.1
Identify a sine wave.

A3.1.2
Describe period, frequency, and amplitude.

A3.1.3
State the unit of measurement for frequency.

A3.1.4
Describe peak, peak-to-peak, and effective voltage.
A3.1.5
Define capacitance and its measurement.

A3.1.6
Define inductance and its measurement.
A3.1.7
Calculate impedance.
A3.1.8
Calculate AC electricity in terms of voltage, impedance, and current for series circuits.
A3.1.9
Calculate AC electricity in terms of voltage, impedance, and current for parallel circuits.
A3.1.10
Calculate AC electricity in terms of voltage, impedance, and current for series-parallel circuits.
A3.1.11 
Describe phase relationships and phase-shift
A3.1.12
Describe the use of power factor and its calculations.
	2
2

3
2

2

2
3
3
3
3
2
2

	MODULE A OUTLINE:
· Safety

· Personal protective equipment

· Electrical systems hazards

· Lockout/tagout 
· Arc Flash protection
· DC Theory

· Characteristics of the atom

· Characteristics of the nucleus

· Electrical charges

· Conductors and insulators

· Electric charge and current

· Units of electrical measurement

· Electrical quantities

· Voltage

· Current

· Resistance

· Power

· Electrical units of measure

· Volts

· Amperes

· Ohms

· Watts

· Ohm’s Law

· Power Law
· Magnetism
· AC Theory

· Peak to Peak and effective voltage

· Capacitance

· Inductance

· Circuit Calculations 
· Power Factor
· Phase shift

· Power factor calculations




	MODULE B – ELECTRICal CIRCUITS

	MODULE DESCRIPTION:  This module teaches the students how to read and interpret electrical drawings and build the associated circuits.  They will be introduced to terms and symbols, basic components, various types of circuits, and will learn to solve for unknowns in various circuits.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0 
Read and interpret electrical drawings. 
	B1.1
Construct circuits based on drawing specifications.
	3

	LEARNING OBJECTIVES
	KSA 

	B1.1.1
Explain terms and symbols used for electrical circuits.

B1.1.2
State the basic components of a electrical circuit.

B1.1.3
Identify characteristics of conductors and insulators.

B1.1.4
Describe the differences between schematic and wiring diagrams.

B1.1.5
Differentiate between various resistive circuits such as series, parallel, and series-parallel circuits.

B1.1.6
Solve for unknowns within a circuit using various network theorems.

B1.1.7
Explain considerations for designing and constructing various circuits.

	2
2
3
2
2
3
1

	MODULE B OUTLINE:
· Symbols and components

· Conductors and insulators

· Schematics and wiring diagrams

· Resistive circuits

· Series

· Parallel

· Series/Parallel

· Constructing circuits



	MODULE C – circuit Testing

	MODULE DESCRIPTION:  This module highlights the use of test equipment while troubleshooting problems in various circuits.  They will be taught to calculate what reading they should obtain from various locations in a circuit, how to obtain that measurement, and determine what the problem is when the reading is incorrect.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	C1.0
Use electrical test equipment to troubleshoot electrical circuits. 
	C1.1
Given a circuit previously developed by the student, use various instruments to test the circuit to determine if the readings are in accordance with specifications.
	3



	
	C1.2
Given various faulty circuits or faulty readings within a circuit, determine the root cause and propose a solution.
	3

	LEARNING OBJECTIVES
	KSA 

	C1.1.1
Explain the characteristics and functions of various instruments used to test electrical circuits. 

C1.1.2
Explain procedures for obtaining readings from various instruments used to test electrical circuits.
C1.1.3
Calculate power in series circuit, parallel circuit, and a series parallel circuit
	3
3
3

	C1.2.1
Describe the process for determining if a reading is correct or incorrect.

C1.2.2
Explain the procedures for determining the cause of the malfunction.
C1.2.3
Explain the procedures for repairing the malfunction.
	3
3
3

	MODULE C OUTLINE:

· Test equipment

- 
Volt meter

-
Ohm meter

-
Ammeter

-
Multimeter 

· Troubleshooting

· Determining correct and incorrect readings

· Determining a malfunctions root cause
· Repair procedures




LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Limited Knowledge and Proficiency
	Moderate Knowledge and Proficiency
	Advanced Knowledge and Proficiency
	Superior Knowledge and Proficiency

	
	1
	2
	3
	4

	Module A
	13%
	34%
	53%
	

	Module B
	13%
	57%
	30%
	

	Module C
	
	
	100%
	


	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Recognize basic information about the subject including terms and nomenclature.

· Students must demonstrate ability to recall information such as facts, terminology or rules related to information previously taught.  

· Performs simple parts of the competency.  Student requires close supervision when performing the competency.

	2
	Moderate Knowledge and Proficiency
	· Distinguish relationships between general principles and facts. Adopts prescribed methodologies and concepts.

· Students must demonstrate understanding of multiple facts and principles and their relationships, and differentiate between elements of information.  Students state ideal sequence for performing task. 

· Performs most parts of the competency with instructor assistance as appropriate.

	3
	Advanced Knowledge and Proficiency
	· Examines conditions, findings, or other relevant data to select an appropriate response.  

· The ability to determine why and when a particular response is appropriate and predict anticipated outcomes. 

· Students demonstrate their ability to seek additional information and incorporate new findings into the conclusion and justify their answers.

· Able and willing to perform tasks independently.

	4
	Superior Knowledge and Proficiency
	· Assessing conditions, findings, data, and relevant theory to formulate appropriate responses and develop procedures for situation resolution. Involves higher levels of cognitive reasoning. 
· Requires students to formulate connections between relevant ideas and observations. 

· Students apply judgments to the value of alternatives and select the most appropriate response. 

· Can instruct others how to do the competency.

· Performs competency quickly and accurately.

	A
	Affective Objective
	· Describes learning objectives that emphasize a feeling tone, an emotion, or a degree of acceptance or rejection.  
· Objectives vary from simple attention to selected phenomena to complex but internally consistent qualities of character and conscience. 
· Expressed as interests, attitudes, appreciations, values, and emotional sets or biases.


IET 114, INT 114





BASIC ELECTRICITY





Plan of Instruction





Effective Date: Fall 2013					Version Number: 2013-1








The Alabama Community College System

Copyright © 2013
All Rights Reserved

PAGE  
2
ACCS Copyright © 2013
All Rights Reserved


