[image: image2.jpg]Alabama
Department of
Postsecondary Education
Representing the Alabama Community College System





Concepts of Direct Current

EET 112, ELT 111, ETC 118, ILT 106, INT 120

01/05/12
[image: image2.jpg]
COURSE DESCRIPTION:
This course provides an advanced study of direct current (DC) concepts and application principles. Specific topics include safety, terms and symbols, electrical theory, Ohm’s law, power law, electrical measurement, DC electrical components, series, parallel, and series-parallel circuit construction. Students gain hands-on experience through various laboratory problems.  Emphasis is placed on the use of scientific calculators, reading schematics, and the operation of common test equipment used to analyze and troubleshoot DC circuits and to prove the theories taught during classroom instruction.  This course may serve as a substitute core for DC Fundamentals.
CREDIT HOURS 

Theory Credit Hours  
  

3 hours
Lab Credit Hours



2 hour  

Total Credit Hours 



5 hours
NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as 3:1 and/or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)

PREREQUISITE COURSES 
As determined by college.
CO-REQUISITE COURSES 
As determined by college.
PROFESSIONAL COMPETENCIES

· Practice safety.
· Explain concepts related to electrical theory.
· Use electrical measurement instruments.
· Identify DC electrical components. 
· Construct basic DC circuits.
· Construct and analyze various DC circuits.
INSTRUCTIONAL GOALS

· Cognitive – Comprehend principles and concepts related to the fundamentals of direct current.
· Psychomotor – Apply principles of the fundamentals of direct current.

· Affective – Value the importance of adhering to policy and procedures related to the fundamentals of direct current.

STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab/clinical assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES
	MODULE A – INTRODUCTION TO ELECTRICAL THEORY

	MODULE DESCRIPTION – 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Practice safety.
	A1.1
Perform lab activities in a safe manner.
	3

	
	A1.2
Select and safely use the appropriate tools.
	3

	A2.0
Explain concepts related to electrical theory. 
	A2.1
This competency is measured cognitively.
	2

	LEARNING OBJECTIVES 
	KSA

	A1.1.1
Explain safety rules and procedures for lab activities.
	2

	A1.2.1
Explain the proper use of basic electrical tools. 

A1.2.2
Explain inspection procedures for tools.
	2

2

	A2.1.1
Define terms associated with DC electricity.

A2.1.2
Identify basic symbols used with DC electricity.

A2.1.3
Explain the electrical characteristics of the atom.

A2.1.4
Define metric prefixes.

A2.1.5
Convert between decimal and metric notations.

A2.1.6
Explain Ohm’s law formulas.

A2.1.7
Calculate circuit values using Ohm’s law.

A2.1.8
Explain power law formulas.

A2.1.9
Calculate circuit values using power law.
	1

1

2

1

2

2

2

2

2

	MODULE A OUTLINE:
· Safety and tool use
· Terms 

· Symbols

· Electrical characteristics of the atom

· Conductors

· Insulators

· Engineering notations

· Metric Prefixes

· DC Ohm’s Law

· Formulas

· Calculations

· DC Power Law

· Formulas

· Calculations




	MODULE B – UNITS OF ELECTRICAL MEASUREMENT

	MODULE DESCRIPTION – 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Use electrical measurement instruments.
	B1.1
Measure voltage, current, and resistance of a simple circuit.
	3

	LEARNING OBJECTIVES 
	KSA

	B1.1.1
Explain electrical quantities.

B1.1.2
Identify electrical units of measure.

B1.1.3
Explain the use of various electrical measurement instruments.
	2

1

3

	MODULE B OUTLINE:
· Electrical quantities

· Voltage

· Current

· Resistance

· Power

· Electrical units of measure

· Volts

· Amperes

· Ohms

· Watts

· Electrical measurement instruments




	MODULE C – DC ELECTRICAL COMPONENTS

	MODULE DESCRIPTION – 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	C1.0
Identify DC electrical components. 
	C1.1
This competency is measured cognitively.
	2

	LEARNING OBJECTIVES 
	KSA

	C1.1.1
Identify various electrical components. 

C1.1.2
Explain the function of various electrical components.

C1.1.3
Identify resistors value and tolerance by color code.

C1.1.4
Determine a resistors power rating by examining its size.

C1.1.5
Define the variable resistors.

C1.1.6
Explain the purpose of variable resistors.

C1.1.7
Explain the purpose of resistor power rating.

	1

2

3

3

2

2

2

	MODULE C OUTLINE:
· Resistors

· Batteries

· Wire

· Rheostats

· Potentiometers

· Other components




	MODULE D – DC CIRCUIT CONSTRUCTION

	MODULE DESCRIPTION – 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	D1.0
Construct basic DC circuits.
	D1.1
Construct DC circuits and measure various electrical quantities.
	2

	LEARNING OBJECTIVES 
	KSA

	D1.1.1
Identify common electrical symbols used in schematics.

D1.1.2
Identify various power supplies for DC circuits.

D1.1.3
Explain various techniques for wiring DC circuits.
	1
1

2

	MODULE D OUTLINE:
· Schematics and symbols

· Power supplies
· Circuit construction techniques



	MODULE E – DC CIRCUITS

	MODULE DESCRIPTION – 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	E1.0
Construct and analyze various DC circuits. 
	E1.1
Construct a series DC circuit and measure various electrical quantities.
	3

	
	E1.2
Construct a parallel DC circuit and measure various electrical quantities.
	3

	
	E1.3
Construct a series-parallel DC circuit and measure various electrical quantities.
	3

	LEARNING OBJECTIVES 
	KSA

	E1.1.1
Identify a series circuit.

E1.1.2
Explain the electrical characteristics of a series circuit.

E1.1.3
Analyze series DC circuits using Ohm’s Law.

E1.1.4
Calculate power in series circuit.
	1

2

3

3

	E1.2.1
Identify a parallel circuit.

E1.2.2
Explain the electrical characteristics of a parallel circuit.

E1.2.3
Analyze parallel DC circuits using Ohm’s Law.

E1.2.4
Calculate power in parallel circuit.
	1

2

3

3

	E1.3.1
Identify a series- parallel circuit. 

E1.3.2
Explain the electrical characteristics of a series- parallel circuit.

E1.3.3
Analyze series- parallel DC circuits using Ohm’s Law.

E1.3.4
Calculate power in series- parallel circuit.
	1

2

3

3

	MODULE C OUTLINE:
· Series DC circuits

· Calculation of electrical units

· Measurements of electrical units

· Troubleshooting
· Kirchoff’s Voltage Law

· Parallel Dc circuits
· Calculation of electrical units

· Measurements of electrical units

· Troubleshooting
· Kirchoff’s Current Law

· Series/parallel dc circuits
· Calculation of electrical units

· Measurements of electrical units 

· Voltage Dividers and Current Dividers
· Troubleshooting



LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Limited Knowledge and Proficiency
	Moderate Knowledge and Proficiency
	Advanced Knowledge and Proficiency
	Superior Knowledge and Proficiency

	KSA
	1
	2
	3
	4

	Module A
	25%
	75%
	
	

	Module B
	33%
	33%
	33%
	

	Module C
	14%
	57%
	29%
	

	Module D
	67%
	33%
	
	

	Module E
	25%
	25%
	50%
	


	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Identifies basic facts and terms about the subject or competency.

· Performs simple tasks associated with the competency.  Needs to be told or shown how to do most tasks.  

· Requires close supervision.

	2
	Moderate Knowledge and Proficiency
	· Identifies relationship of basic facts and states general principles and can determine step-by-step procedures for doing the competency.

· Performs most parts of the competency.  Needs help only on hardest parts.  

· Requires limited supervision.

	3
	Advanced Knowledge and Proficiency
	· Analyzes facts and principles and draws conclusions about the subject to include why and when the competency must be done and why each step is needed.  Can predict outcomes.

· Performs all parts of the competency.  Needs only a spot check of completed work.  

· Requires little or no direct supervision.

	4
	Superior Knowledge and Proficiency
	· Can evaluate conditions and make appropriate decisions as related to resolving problems. 

· Performs competency quickly and accurately with no direct supervision and is able to instruct and supervise others.  


[image: image1.jpg]Teaching and Learning Continuum

Teacher Contribution

Close Support

Receiving

Moderate Support

Accepting

Consulting

Internalizing

Synergy,

Synthesizing

Pedagogy

Mesagogy

Andragogy

Heutagogy

——Active
Independent

Learner Contribution ——— ¥




EET 112, ELT 111, ETC 118, ILT 106, INT 120





Concepts of Direct Current





Plan of Instruction





Effective Date:  2005							Version Number:  2012-1











Alabama Community College System

Copyright© 2011

All Rights Reserved
PAGE  
2
ACCS Copyright© 2011

All Rights Reserved

