[image: image2.jpg]Alabama
Department of
Postsecondary Education
Representing the Alabama Community College System





Principles of Industrial Pumps and Piping Systems
INT 127 


07/18/13 

[image: image2.jpg]
COURSE DESCRIPTION:
This course provides instruction in the fundamental concepts of industrial pumps and piping systems.  Topics include pump identification, operation, and installation, maintenance and troubleshooting, and piping systems, and their installation.  Upon course completion, students will be able to install, maintain, and troubleshoot industrial pumps and piping systems. 
CREDIT HOURS 

Theory Credit Hours  
  

2 hours
Lab Credit Hours



1 hour 

Total Credit Hours 



3 hours
NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Programs may schedule practical lab hours as 3:1 or 2:1 contact to credit ratio; Clinical hours are 3:1 contact to credit ratio; and Preceptorships may be scheduled as 3:1 (P3) or 5:1 (P5) (Ref Board Policy 705.01).

PREREQUISITE COURSES 
As determined by college.
CO-REQUISITE COURSES 
As determined by college.
PROFESSIONAL COMPETENCIES

· Perform tasks in a safe manner. 
· Read and interpret blueprints and mechanical drawings. 
· Perform maintenance on pumps commonly used in industrial applications.  
· Assemble, install, and/or repair pipe systems.  
INSTRUCTIONAL GOALS

· Cognitive – Comprehend principles and concepts related to pumps and piping systems.
· Psychomotor – Apply principles of pumps and piping systems.
· Affective – Value the importance of adhering to policy and procedures related to pumps and piping systems.
STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab/clinical assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES
	MODULE A – SAFETY AND PRINT READING

	MODULE DESCRIPTION – This module is designed to teach students how to perform tasks in a safe manner and to read and interpret blueprints and mechanical drawings. Topics include safety policies, Personal Protective Equipment, lockout/tag out, housekeeping, safety checks, safe material handling, tool safety and use, and print reading.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Perform tasks in a safe manner.
	A1.1
Given a variety of lab situations, perform assigned tasks in a safe manner.  

NOTE:  This is an ongoing evaluation.
	2

	A2.0
Read and interpret blueprints and mechanical drawings.
	A2.1
This competency is measured cognitively.
	3

	LEARNING OBJECTIVES 
	KSA

	A1.1.1
Explain the importance of safety policies.

A1.1.2
Describe the use of personal protective equipment.

A1.1.3
Explain Lock Out/Tag Out procedures.

A1.1.4
Explain good housekeeping practices.

A1.1.5
Explain the importance of performing machine safety checks of equipment and accessories.

A1.1.6
Explain the importance of using safe material handling techniques for lifting, transporting, and storing.

A1.1.7
Explain the importance of practicing tool safety.
	3

2

3

2

2

2

2

	A2.1.1
Locate pumps on blueprints and mechanical drawings.

A2.1.2
Locate piping system specifications on blueprints and mechanical drawings. 
	3

3

	MODULE A OUTLINE:
· Safety

· Policies

· Personal Protective Equipment

· Lockout/Tag out

· Housekeeping

· Safety checks

· Safe material handling

· Tool safety and use

· Print reading


	MODULE B – PUMP MAINTENANCE

	MODULE DESCRIPTION – This module is designed to teach students how to perform maintenance on pumps commonly used in industrial applications. Topics include types and functions of pumps, technical information, pump components, tools and tool use, pump analysis, disassembly and reassembly, alignment tool types, setup and calibration, obtaining readings, and performing adjustments.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Perform maintenance on pumps commonly used in industrial applications. 
	B1.1
Given a variety of pumps, perform maintenance on the pump to include disassembly, examining pump components, replacing defective parts, and reassembling the pumps. 
	3



	
	B1.2
Perform alignment of pumps to various applications.
	3

	LEARNING OBJECTIVES 
	KSA

	B1.1.1
Differentiate between various types of pumps and their applications.

B1.1.2
Describe where to obtain technical information concerning various types of pumps.

B1.1.3
Interpret technical information concerning various types of pumps.

B1.1.4
Identify components commonly found on pumps.

B1.1.5
Explain considerations for troubleshooting pump performance.

B1.1.6
Describe considerations for disassembly and reassembly of various types of pumps.
	2

2

3

1

3

2

	B1.2.1
Differentiate between various types of alignment instruments.

B1.2.2
Describe considerations for setup and calibration on various alignment instruments.

B1.2.3
Explain the process of obtaining alignment readings.

B1.2.4
Explain the process of performing adjustments on pumps and pump applications to bring into alignment.
	2

2

2

2

	MODULE B OUTLINE:
· Pumps

· Types and functions of pumps

· Technical information

· Pump components

· Tools and tool use

· Pump analysis
· Disassembly and reassembly
· Alignment tools

· Types

· Setup and calibration

· Obtaining readings

· Performing adjustments


	MODULE C – PIPING SYSTEMS

	MODULE DESCRIPTION – This module is designed to teach students how to assemble, install, and/or repair pipe systems. Topics include types of piping systems, piping system tools, ID/OD, and joining piping systems.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	C1.0
Assemble, install, and/or repair pipe systems.
	C1.1
Given drawings and specifications for various piping system applications, install piping systems.
	3

	LEARNING OBJECTIVES 
	KSA


	C1.1.5
Determine inside and outside diameter.

C1.1.6
Explain the use and importance of cutting oil.

C1.1.7
Explain the hazards of non-metallic glue and cleaner.

C1.1.8
Differentiate between the uses of different non-metallic fittings.

C1.1.9
Describe considerations for using solder to join piping system components.
	2
2

2

3

3

2

2

2



	MODULE C OUTLINE:
· Types of piping systems

· Piping system tools

· ID/OD

· Joining piping systems

· Pipe joints

· Pipe cutting

· Pipe threading

· Soldering joints


LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation. 
	
	Limited Knowledge and Proficiency
	Moderate Knowledge and Proficiency
	Advanced Knowledge and Proficiency
	Superior Knowledge and Proficiency

	KSA
	1
	2
	3
	4

	Module A
	
	55%
	45%
	

	Module B
	10%
	70%
	20%
	

	Module C
	
	67%
	33%
	


The KSA is NOT determined by the verb used in the learning objective, but rather in the context in which the verb is used and the depth of knowledge and skills required. 
Example: Three KSA levels using the same verb (describe):
KSA 1 – Describe three characteristics of metamorphic rocks. (simple recall)

KSA 2 – Describe the difference between metamorphic and igneous rocks. (requires cognitive processing to determine the differences in the two rock types)

KSA 3 – Describe a model that you might use to represent the relationships that exist within the rock cycle. (requires deep understanding of rock cycle and a determination of how best to represent it)

[image: image1.jpg]Teaching and Learning Continuum

Teacher Contribution

Close Support

Receiving

Moderate Support

Accepting

Consulting

Internalizing

Synergy,

Synthesizing

Pedagogy

Mesagogy

Andragogy

Heutagogy

——Active
Independent

Learner Contribution ——— ¥





	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Recognize basic information about the subject including terms and nomenclature.

· Students must demonstrate ability to recall information such as facts, terminology or rules related to information previously taught.  

· Performs simple parts of the competency.  Student requires close supervision when performing the competency.

	2
	Moderate Knowledge and Proficiency
	· Distinguish relationships between general principles and facts. Adopts prescribed methodologies and concepts.

· Students must demonstrate understanding of multiple facts and principles and their relationships, and differentiate between elements of information.  Students state ideal sequence for performing task. 

· Performs most parts of the competency with instructor assistance as appropriate.

	3
	Advanced Knowledge and Proficiency
	· Examines conditions, findings, or other relevant data to select an appropriate response.  

· The ability to determine why and when a particular response is appropriate and predict anticipated outcomes. 

· Students demonstrate their ability to seek additional information and incorporate new findings into the conclusion and justify their answers.

· Able and willing to perform tasks independently.

	4
	Superior Knowledge and Proficiency
	· Assessing conditions, findings, data, and relevant theory to formulate appropriate responses and develop procedures for situation resolution. Involves higher levels of cognitive reasoning. 
· Requires students to formulate connections between relevant ideas and observations. 

· Students apply judgments to the value of alternatives and select the most appropriate response. 

· Can instruct others how to do the competency.

· Performs competency quickly and accurately.

	A
	Affective Objective
	· Describes learning objectives that emphasize a feeling tone, an emotion, or a degree of acceptance or rejection.  
· Objectives vary from simple attention to selected phenomena to complex but internally consistent qualities of character and conscience. 
· Expressed as interests, attitudes, appreciations, values, and emotional sets or biases.


Version - 6/19/2012

INT 127





Principles of Industrial Pumps and Piping Systems





Plan of Instruction





Effective Date:  2008							Version Number:  2013-1











Alabama Community College System

Copyright© 2012

All Rights Reserved
PAGE  
7
ACCS Copyright© 2012

All Rights Reserved

