[image: image1.png](e

AL




Principles Industrial Environmental Controls












INT 128



COURSE DESCRIPTION  

This course focuses on basic knowledge and skills to service perform routine troubleshooting, maintenance, and adjustments of HVACR systems in an industrial environment.  After completion, students will be able to perform routine, low-level maintenance on institutional environmental systems.  Additionally, students receive instruction to complete the EPA 608 certification examination.  This course supports CIP code 47.0303 and 15.0501.

CREDIT HOURS (applicable if entire course is taught in a career/technical education degree or non-degree program)  
Theory

1 credit hour

Lab


2 credit hours

Total


3 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1 contact to credit hour ratio) or experimental (2:1 contact to credit hour ratio).

PREREQUISITE COURSES 
Determined by college unless stated otherwise.

CO-REQUISITE COURSES 
Determined by college unless stated otherwise.

INSTRUCTIONAL NOTE:  Foundational academic skills in General Math such as integers, percents, ratio and proportions, metric system and linear equations and Technical Writing such as research, organization, composition, documentation, and report presentation are used throughout this discipline.
INDUSTRY COMPETENCIES:
· Use tools properly and safely

· Handle and dispose of hazardous materials

· Troubleshoot an HVAC/R system

· Use HVAC/R test equipment 

· Service air filtration systems

· Clean and lubricate an HVAC/R system 

· Calibrate and adjust thermostats

· Adjust air flow, high limit, and fan control settings

· Use soldering and brazing equipment to fabricate HVAC/R lines 

· Cut and threat pipe

· Join non-metallic pipe

GENERAL INSTRUCTIONAL OBJECTIVES:  

The cognitive objective of this course is for each student to comprehend foundational knowledge needed to perform stated entry-level industry competencies.

The performance objective of this course is for each student to apply foundational knowledge of industrial environmental controls encountered in class. 
INDUSTRY COMPETENCIES/STUDENT PERFORMANCE OBJECTIVES: 

Unless otherwise indicated, evaluation of student’s attainment of cognitive and performance objectives is based on knowledge gained from this course.  During performance evaluations, students will be provided necessary tools, equipment, materials, specifications, and any other resources necessary to accomplish the task.  Specifications may be in the form of, but not limited to, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab assignments, or any combination of specifications.

	MODULE A – HVAC/R PRINCIPLES AND PRACTICES

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	Use tools properly and safely
	Select the proper tools for use with the lab assignment.

Use tools safely.

	Use HVAC/R test equipment
	Use HVAC/R test equipment to identify refrigerant high and low pressures. 

Use HVAC/R test equipment to determine the temperature of the refrigerant.

	Handle and dispose of hazardous materials
	Dispose of the passive refrigerants.

Dispose of the active refrigerants.

	ENABLING OBJECTIVES/KEY INDICATORS

	· Explain hazards associated with specific types of equipment and tools

· Explain recovery, reclamation, and recycling of refrigerants

· Explain the process of handling and disposal of refrigerants (passive)

· Explain the process of handling and disposal of refrigerants (active)

· Identify the basic components of an HVAC/R system

· Explain the operation of basic components of an HVAC/R system

· Identify types of compressors, condensing units, and evaporator units

· Explain refrigerant pressure-temperature charts

· Identify refrigerants by pressures or color codes

· Explain the operation of a two-valve manifold set

· Explain heat transfer

· Explain a ton of cooling

· Explain cubic feet per minute

· Calculate cubic feet per minute

· Identify types of gas valves and fittings

· Differentiate between input BTU and output BTU


	MODULE B – PIPES AND PIPE FITTING FOR HVAC/R

	INDUSTRY COMPETENCIES
	STUDENT PERFORMANCE

	Use soldering and brazing equipment to fabricate HVAC/R lines
	Set up the soldering equipment.

Set up the brazing equipment.

Solder the copper tubing together.

Braze the tubing and fixtures together.

	Cut, thread, and join metallic pipe
	Cut metallic pipe.

Thread metallic pipe.

Join metallic pipe.

	Cut, thread, and join non-metallic pipe
	Cut nonmetallic pipe.

Thread nonmetallic pipe.

Join nonmetallic pipe.

	ENABLING OBJECTIVES/KEY INDICATORS

	· Explain types of solder and alloys

· Match the proper flux for each alloy

· Explain the process of setting up soldering equipment

· Explain the process of soldering tubing 

· Explain the process of setting up brazing equipment

· Explain the process of brazing

· Explain the process of brazing copper to brass

· Explain the process of cutting, threading and joining metallic pipe

· Explain the process of cutting, threading, and joining non-metallic pipe


	MODULE C – MAINTAINING HVAC/R SYSTEMS

	INDUSTRY COMPETENCIES
	STUDENT PERFORMACE

	Troubleshoot an HVAC/R system
	Troubleshoot an HVAC/R system and identify the fault.

	Service air filtration systems
	Correct a fault in an HVAC/R.

	Clean and lubricate an HVAC/R system
	Clean an HVAC/R system.

Lubricate an HVAC/R the system.

	Calibrate and adjust an thermostat
	Calibrate a thermostat.

Adjust a thermostat.

	Adjust air flow, high limit, and fan control settings
	Adjust airflow of an HVAC/R system. 

Adjust high limit settings of an HVAC/R system.

Adjust fan control settings of an HAVC/R.

	ENABLING OBJECTIVES/KEY INDICATORS

	· Explain the process of troubleshooting HVAC/R systems

· Identify components of an air filtration system

· Explain the process of servicing an air filtration system

· Explain the process of calibrating and adjusting a thermostat

· Explain the process of adjusting air flow, high limit, and fan control settings

· Identify types of cleaning agents used for HVAC/R systems

· Identify types of lubricants used for HVAC/R systems
· Explain the process of lubricating an HVAC/R system


COURSE CONTENT OUTLINE

MODULE A – HVAC/R PRINCIPLES AND PRACTICES 

· Safety and tool use

· Recovery, reclamation, and recycling of refrigerants

· Basic components of an HVAC/R system

· Types of compressors, condensing units, and evaporator units

· Refrigerant pressure-temperature charts

· Refrigerants pressures and color codes

· Using a two-valve manifold set

· Heat transfer

· Ton of cooling

· Calculating cubic feet per minute

· Types of gas valves and fittings

· Input BTU and output BTU


MODULE B – PIPES AND PIPE FITTING FOR HVAC/R

· Soldering 

· Brazing

· Cutting, threading, and joining metallic pipe

· Cutting, threading, and joining non-metallic pipe


MODULE C – MAINTAINING HVAC/R SYSTEMS
· Troubleshooting HVAC/R systems

· Servicing air filtration systems

· Calibrating and adjusting a thermostat

· Adjusting air flow, high limit, and fan control settings

· Cleaning and lubricating HVAC/R systems

RECOMMENDED METHODS OF EVALUATION:  The table of specifications below identifies the number of enabling objectives/key indicators per cognitive domain level of learning (Knowledge, Comprehension, Application) per module.  Instructors should develop a minimum of 1-3 test questions per Knowledge Level of Learning, 2-4 test questions per Comprehension Level of Learning, and 5-6 questions per Application Level Learning.   Instructors should use the following test item types for each level of learning:

Knowledge:  Multiple Choice, Alternative Response test items (true/false or yes/no) 

Comprehension:  Multiple Choice, Short answer

Application: Multiple Choice, Short Answer Exercises

The table of specifications below also identifies the number of objectives per module.  The instructor should ensure each student meets the performance and standards published in each objective.  
TABLE OF SPECIFICATIONS:

	Domain of Learning/

Content
	Cognitive Domain
	Total Cognitive
	Total Performance

	
	Knowledge
	Comprehension
	Application
	
	

	MODULE A
	4
	11
	1
	16
	6

	MODULE B
	1
	8
	0
	9
	10

	MODULE C
	3
	5
	0
	8
	9

	Number of indicators per level
	8
	24
	1
	35
	25


INT 128





Principles of Industrial Environmental Controls





Plan Of Instruction





Effective Date:   2005  							Version Number: 2005-1						








PAGE  
7
Alabama College System

