[image: image1.png](e

AL




Plumbing and Pipefitting Applications













PLB 112 


3-27-08

COURSE DESCRIPTION: Students perform various basic plumbing and pipefitting tasks.  Safety and regulatory compliance is emphasized throughout this course.  At the conclusion of this course students will be able to develop basic plumbing drawings and schematics, use hand and power tools, measure fittings, and join pipe with oxy-fuel equipment.  
CREDIT HOURS 

Theory
  

0 credit hour 

Lab



3 credit hours
Total



3 credit hours

Note: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1 contact to credit ratio) or experimental (2:1 contact to credit hour ratio).

PREREQUISITE COURSES 
As required by college.
INDUSTRY COMPETENCIES/STUDENT OBJECTIVES: 

Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed assignments, or any combination of specifications.

INDUSTRY COMPETENCIES:
· Safely use various hand and power tools to perform plumbing and pipefitting activities.

· Use oxy-fuel equipment. 
GENERAL INSTRUCTIONAL GOALS:  

Cognitive:  Comprehend principles and practices associated with plumbing and pipefitting.

Performance: Apply principles and practices associated with plumbing and pipefitting.

Affective:  Value the importance of following safety and regulatory standards associated with plumbing and pipefitting.
Modules A through C are covered as part of PLB 111
	Module d – PLUMBING AND PIPEFITTING SAFETY AND TOOL USE

	PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE
	KSA Indicators

	D1.0
Safely use various hand and power tools to perform plumbing and pipefitting activities.
	D1.1
Given common tasks associated with plumbing and pipefitting select the appropriate tool and demonstrate its use.
	3b

	D2.0
Use oxy-fuel equipment. 
	D2.1
Use oxy-fuel equipment to join pipe.
	3b

	LEARNING OBJECTIVES 

	See PLB 111 for learning objectives

	MODULE D OUTLINE

· Plumbing tools

· Care and maintenance of tools

· Hand tools

· Power tools 

· Drilling

· Boring

· Reaming 

· Measuring, layout, and cutting tools
· Oxy-fuel equipment

· Components

· Safety

· Setup

· Lighting and adjusting the flame

· Activities

· Cutting

· Piercing

· Washing


	Knowledge, Skills, and Attitudes (KSA) Indicators

	
	Value
	Key Word(s)
	Definition

	Performance 
Ability 
	4
	Highly 

Proficient
	Performs competency quickly and accurately.  Instructs others how to do the competency.

	
	3
	Proficient
	Performs all parts of the competency.  Needs only a spot check of completed work.

	
	2
	Partially

 Proficient
	Performs most parts of the competency.  Needs help only on hardest parts.

	
	1
	Limited 

Proficiency
	Performs simple parts of the competency.  Needs to be told or shown how to do most of the competency.

	Knowledge of Skills
	d
	Complete

Theory
	Predicts, isolates, and resolves problems about the competency.

	
	c
	Operating Principles
	Identifies why and when the competency must be done and why each step is needed.

	
	b
	Procedures
	Determines step-by-step procedures for doing the competency.

	
	a
	Nomenclature
	Names parts, tools, and simple facts about the competency.

	Knowledge
	D
	Evaluation
	Evaluates conditions and makes proper decisions about the subject.

	
	C
	Analysis
	Analyzes facts and principles and draws conclusions about the subject.

	
	B
	Principles
	Identifies relationship of basic facts and states general principles about the subject.

	
	A
	Facts
	Identifies basic facts and terms about the subject.

	Affective
	*5
	Characterization 

by Value
	Acting consistently with the new value.

	
	*4
	Organization
	Integrating a new value into one's general set of values, giving it some ranking among one's general priorities.

	
	*3
	Valuing
	Showing some definite involvement or commitment.

	
	*2
	Responding
	Showing some new behaviors as a result of experience.

	
	*1
	Receiving
	Being aware of or attending to something in the environment.

	Alpha Scale Values - Any item with an upper case letter (A, B, C, D) by itself is taught as general information on a topic.  This information may be related to the competency or encompass multiple competencies.  Examples might include mathematical computations or knowledge of principles such as Ohm’s Law.

A lower case letter indicates a level of ”Knowledge of Skills."  Individuals are taught information pertaining to performing a competency .  These may be indicated alone or in conjunction with a numerical scale value.  A lower case letter by itself indicates the individual is not required to perform the task-just know about the task.  (example: Can state or explain procedures for doing a task).

Numerical Scale Values - The numbers reflect the levels the individual will be able to perform a competency. Number values are always accompanied by lower case letters (i.e. 1a, 2b, 3c...etc.) in order to specify the level of knowledge of skills associated with the competency.   

Example:  An individual with a competency with a scale indicator of 3b has received training of knowledge of skills whereby he or she can determine the correct procedures and perform with limited supervision; only requiring evaluation of the finished product or procedure.

Asterisk items indicate desired affective domain levels and are used to indicate the desired level for a given competency.   They may be used independently or with other indicators (i.e.   1a-*1, 2c-*3).  If used with another indicator, separate with a hyphen.

NOTE:  Codes indicate terminal values.


PLB 112





Plumbing and Pipefitting Applications





Plan of Instruction





Effective Date: NLT Fall 2009							Version Number: 2008-1						








The Alabama Community College System

Copyright © 2008
All Rights Reserved

PAGE  
2
ACCS Copyright© 2008
All rights reserved

