[image: image1.png](e

AL




Pipes and Fittings


















PLB 113 


3-2-08 

COURSE DESCRIPTION: This course includes the theory of joining pipe and fittings. Topics include, methods of joining pipe and fittings, selecting and using power tools, and methods of securing piping. Upon completion students will be able to identify pipe and fittings, identify tools, properly care for tools and identify various types of pipe securing devices.  This is a CORE course.
CREDIT HOURS 

Theory
  

1 credit hour 

Lab



2 credit hours
Total



3 credit hours

Note: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1 contact to credit ratio) or experimental (2:1 contact to credit hour ratio).

PREREQUISITE COURSES 
As required by college.
INSTRUCTOR NOTE:  Module F – Carbon Steel and Pipe Fittings is optional for instruction.  If colleges do not have sufficient equipment or tools or other infrastructure to present this module then they may choose not to.
INDUSTRY COMPETENCIES/STUDENT OBJECTIVES: 

Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed assignments, or any combination of specifications.

INDUSTRY COMPETENCIES:

· Explain safety requirements associated with pipe and fittings.
· Use tools safely and properly.
· Explain requirements for planning and performing pipe and fitting installation. 
· Install and test various types of pipe and fittings.
GENERAL INSTRUCTIONAL GOALS:  

Cognitive:  Comprehend principles and practices associated with plumbing and pipefitting.
Performance: Apply principles and practices associated with plumbing and pipefitting.
Affective:  Value the importance of following safety and regulatory standards associated with plumbing and pipefitting.
	MODULE A –INTRODUCTION OF PIPE AND FITTINGS

	PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE
	KSA Indicators

	A1.0
Explain safety requirements associated with pipe and fittings.
	A1.1
This competency is measured cognitively.
	B

	A2.0
Use tools safely and properly.
	A2.1
Given common tasks associated with installing pipe and fittings select the appropriate tool and demonstrate its use. 
	3b

	A3.0
Explain requirements for planning and performing pipe and fitting installation. 
	A3.1
Develop a plan for installation of various types of pipe and fittings.


	3b

	LEARNING OBJECTIVES

	A1.1.1
Describe common OSHA requirements.

A1.1.2
Describe material safety data sheets (MSDS).

A1.1.3
Explain the importance of maintaining a clean work environment.

A1.1.4
Describe the common acts and conditions that cause accidents and how to prevent common accidents.

A1.1.5
Describe the use and care of personal protective equipment.

A1.1.6
Identify job-site hazardous work specific to the installation of various types of pipe and fittings.

A1.1.7
Explain the proper use of ladders.

A1.1.8
Explain how to work safely in and around a trench.

A1.1.9
Explain lockout/tagout procedures.
	B

B

b
B

B

B

b

b

b

	A2.1.1
Explain basic hand and power tools used in pipes and fittings 
A2.1.2
Explain the importance of maintain hand and power tools.

A2.1.3
Describe the use of measuring, layout, and cutting tools.
	B

B

b

	A3.1.1
Explain the importance of having a well developed plan.
A3.1.2
Identify elements of an effective installation plan.
	B
A

	MODULE A OUTLINE

· 
Safety

· Federal and state requirements

· OSHA

· MSDS 

· Housekeeping

· Personal Protective Equipment

· Ladder use

· Lifting

· Lockout/Tagout

· Trenching and excavation

· Proximity work

· Plumbing tools

· Care and maintenance of tools

· Hand tools

· Power tools 

· Drilling

· Boring

· Reaming 

· Measuring, layout, and cutting tools

· Job planning

· Specifications

· Material selection
· Tool selection 

· Layout


	MODULE B – PLASTIC PIPE AND FITTINGS

	PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE
	KSA Indicators

	B1.0
Install and test various types of pipe and fittings.
	B1.1
Install and test plastic pipe and fittings.
	3b

	LEARNING OBJECTIVES

	B1.1.1
Match the type of materials for plastic piping systems to their intended use.
B1.1.2
Match the type of plastic fittings and valves to their uses.

B1.1.3
Describe the use of various types of hangers and supports for plastic pipe systems.

B1.1.4
Describe how to measure, cut, and join plastic pipe system.
B1.1.5
Describe how to handle, store and protect plastic pipe and fittings.
	a

a

a

b

b

	MODULE B OUTLINE

· Types of materials

· Types of fittings and valves

· Hangers and supports

· Types

· Techniques

· Measuring, cutting, and joining

· Handling, storing, and protecting plastic pipe and fittings


	MODULE C – COPPER PIPE AND FITTINGS

	PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE
	KSA Indicators

	C1.0
Install and test various types of pipe and fittings.
	C1.1
Install and test copper pipe and fittings.
	3b

	LEARNING OBJECTIVES

	C1.1.1
Explain hazards and safety precautions associated with copper pipe and fittings.

C1.1.2
Match the proper type of copper pipe, fittings, and valves for its intended use.

C1.1.3
Describe how to measure, cut, and join copper pipe and fittings.

C1.1.4
Explain how to pressure test copper pipe and fittings. 

C1.1.5
Explain how to insulate copper pipe and fittings.
	B
a

b

b

b

	MODULE C OUTLINE

· Hazards and safety precautions

· Types of materials

· Hard drawn (rigid)

· Soft

· Classifications

· Storage and handling requirements

· Types of fittings and valves

· Water supply

· DWV

· Alternative

· Other

· Installing

· Measuring

· Bending

· Cutting and reaming

· Grooving

· Joining

· Hanging and supporting

· Types of hangers and supports

· Attachments

· Connectors

· Structural attachments

· Pressure testing 

· Insulating


	MODULE D – CAST-IRON PIPE AND FITTINGS

	PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE
	KSA Indicators

	D1.0
Install and test various types of pipe and fittings.
	D1.1
Install and test cast-iron pipe and fittings.
	3b

	LEARNING OBJECTIVES

	D1.1.1
Describe hazards and safety precautions associated with installing cast-iron pipe and fittings.
D1.1.2
Differentiate between proper and improper application of cast-iron pipe and fittings.

D1.1.3
Describe how to store and handle cast-iron pipe and fittings.

D1.1.4
Describe various types of fittings used for cast-iron pipe.

D1.1.5
Describe how to measure, cut and join cast-iron pipe and fittings.

D1.1.6
Describe how to hang and support cast-iron pipe systems.

D1.1.7
Describe how to test cast-iron pipe and fittings.
	B
a

b

a

b

b

b

	MODULE D OUTLINE

· Hazards and safety precautions

· Proper and improper applications

· Types

· Sizes

· Labeling

· Material storage and handling

· Fittings

· Bends

· Branches

· Increasers

· Traps

· Measuring, cutting, and joining

· Lead and oakum joints

· Compression joints

· Hub and No hub

· Hangers and supports

· Types

· Horizontal pipe runs

· Vertical pipe

· Installation

· Wooden structures

· Masonry and concrete structures

· Testing


	MODULE E – CORRUGATED STAINLESS STEEL TUBING (CSST)

	PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE
	KSA Indicators

	E1.0
Install and test various types of pipe and fittings.
	E1.1
Install and test corrugated stainless steel pipe (CSST) and fittings.
	3b

	LEARNING OBJECTIVES

	E1.1.1
Describe the advantages of CSST.

E1.1.2
Describe sizes and labeling of CSST.

E1.1.3
Differentiate between proper and improper applications of CSST.

E1.1.4
Identify different types of regulators and valves and their uses.

E1.1.5
Describe how to install elements of CSST.

E1.1.6
Describe how to hand and support CSST.

E1.1.7
Describe how to inspect and test CSST.
	B

a

B

a

b

b

b

	MODULE E OUTLINE:
· Introduction to CSST

· Advantages

· Sizes and labeling

· Proper and improper applications

· Regulators and valves

· Uses

· Installation

· Types of installations

· Cutting

· Connecting

· CSST to Appliances

· CSST to CSST

· Hanging and supporting

· Inspecting and testing


	MODULE F – CARBON STEEL PIPE AND FITTINGS

	PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE
	KSA Indicators

	F1.0
Install and test various types of pipe and fittings.
	F1.1
Install and test carbon steel pipe and fittings.
	3b

	LEARNING OBJECTIVES

	F1.1.1
Explain safety considerations for carbon steel pipe and fittings installation.

F1.1.2
Identify common types of materials, schedules, sizes, and labels used for carbon steel piping.

F1.1.3
Identify common fittings and valves used with carbon steel piping.

F1.1.4
Describe how to measure, cut, groove, and join carbon steel piping.

F1.1.5
Describe how to hang and support carbon steel piping. 
	B
a

a

b

b

	MODULE F OUTLINE

· Safety

· Types

· Uses

· Domestic and imported

· Threads

· Labels

· Storage and handling

· Fittings and valves

· Threaded

· Tees

· Elbows

· Unions

· Couplings

· Other

· Valves

· Grooved

· Fittings

· Valves

· Measuring, cutting, threading, and joining

· Measuring

· Cutting

· Reaming

· Threading

· Joining

· Grooved pipe

· Grooving

· Joining

· Hanging and supporting

· Pipe attachments

· Connectors

· Structural attachments


Learning Objectives Table of specifications

The table below identifies the percentage of cognitive objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Facts/ Nomenclature

A/a
	Principles/ Procedures

B/b
	Analysis/ Operating Principles
C/c
	Evaluation/ Complete Theory
D/d

	Module A
	7%
	93%
	-
	-

	Module B
	60%
	40%
	-
	-

	Module C
	20%
	80%
	-
	-

	Module D
	29%
	71%
	-
	-

	Module E
	29%
	71%
	-
	-

	Module F
	40%
	60%
	-
	-


	Knowledge, Skills, and Attitudes (KSA) Indicators

	
	Value
	Key Word(s)
	Definition

	Performance 
Ability 
	4
	Highly 

Proficient
	Performs competency quickly and accurately.  Instructs others how to do the competency.

	
	3
	Proficient
	Performs all parts of the competency.  Needs only a spot check of completed work.

	
	2
	Partially

 Proficient
	Performs most parts of the competency.  Needs help only on hardest parts.

	
	1
	Limited 

Proficiency
	Performs simple parts of the competency.  Needs to be told or shown how to do most of the competency.

	Knowledge of Skills
	d
	Complete

Theory
	Predicts, isolates, and resolves problems about the competency.

	
	c
	Operating Principles
	Identifies why and when the competency must be done and why each step is needed.

	
	b
	Procedures
	Determines step-by-step procedures for doing the competency.

	
	a
	Nomenclature
	Names parts, tools, and simple facts about the competency.

	Knowledge
	D
	Evaluation
	Evaluates conditions and makes proper decisions about the subject.

	
	C
	Analysis
	Analyzes facts and principles and draws conclusions about the subject.

	
	B
	Principles
	Identifies relationship of basic facts and states general principles about the subject.

	
	A
	Facts
	Identifies basic facts and terms about the subject.

	Affective
	*5
	Characterization 

by Value
	Acting consistently with the new value.

	
	*4
	Organization
	Integrating a new value into one's general set of values, giving it some ranking among one's general priorities.

	
	*3
	Valuing
	Showing some definite involvement or commitment.

	
	*2
	Responding
	Showing some new behaviors as a result of experience.

	
	*1
	Receiving
	Being aware of or attending to something in the environment.

	Alpha Scale Values - Any item with an upper case letter (A, B, C, D) by itself is taught as general information on a topic.  This information may be related to the competency or encompass multiple competencies.  Examples might include mathematical computations or knowledge of principles such as Ohm’s Law.

A lower case letter indicates a level of ”Knowledge of Skills."  Individuals are taught information pertaining to performing a competency .  These may be indicated alone or in conjunction with a numerical scale value.  A lower case letter by itself indicates the individual is not required to perform the task-just know about the task.  (example: Can state or explain procedures for doing a task).

Numerical Scale Values - The numbers reflect the levels the individual will be able to perform a competency. Number values are always accompanied by lower case letters (i.e. 1a, 2b, 3c...etc.) in order to specify the level of knowledge of skills associated with the competency.   

Example:  An individual with a competency with a scale indicator of 3b has received training of knowledge of skills whereby he or she can determine the correct procedures and perform with limited supervision; only requiring evaluation of the finished product or procedure.

Asterisk items indicate desired affective domain levels and are used to indicate the desired level for a given competency.   They may be used independently or with other indicators (i.e.   1a-*1, 2c-*3).  If used with another indicator, separate with a hyphen.

NOTE:  Codes indicate terminal values.


PLB 113





Pipes and Fittings





Plan of Instruction





Effective Date: NLT Fall 2009							Version Number: 2008-1						








The Alabama Community College System

Copyright © 2008
All Rights Reserved

PAGE  
9
ACCS Copyright© 2008
All rights reserved


