[image: image1.png](e

AL




Pressure and Non-pressure Systems Application











PLB 116 


3-27-08

COURSE DESCRIPTION: Students perform various basic pressure and non-pressure pipe systems tasks.  Safety and regulatory compliance is emphasized throughout this course.  At the conclusion of this course students will be able to rough-in basic plumbing systems for pressure and non-pressure pipe systems.  
CREDIT HOURS 

Theory
  

0 credit hour 

Lab



3 credit hours
Total



3 credit hours

Note: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1 contact to credit ratio) or experimental (2:1 contact to credit hour ratio).

PREREQUISITE COURSES 
As required by college.
INDUSTRY COMPETENCIES/STUDENT OBJECTIVES: 

Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed assignments, or any combination of specifications.

INDUSTRY COMPETENCIES:

· Install potable water systems.
· Install DWV systems for residential and commercial applications.
· Install venting systems.
· Install fuel gas pipe systems.
· Install compressed air systems.
GENERAL INSTRUCTIONAL GOALS:  

Cognitive:  Comprehend principles and practices associated with pressure and non-pressure systems applications.

Performance: Apply principles and practices associated with pressure and non-pressure systems applications.

Affective:  Value the importance of following safety and regulatory standards associated with pressure and non-pressure systems applications.
Modules A is covered as part of PLB 115
	MODULE B - POTABLE WATER SYSTEMS

	PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE
	KSA Indicators

	B1.0
Install potable water systems.
	B1.1
Given the requirements of a residential water distribution system, install the pipes and fixtures.

B1.2
Given the requirements of a commercial water distribution system, install the pipes and fixtures.
	3b
3b

	LEARNING OBJECTIVES 

	See PLB 115 for learning objectives

	MODULE B OUTLINE

· Residential

· Water service pipe

· Internal distribution piping

· Testing
· Backflow prevention
· Fixture connections

· Commercial

· Water service pipe

· Internal distribution piping

· Testing
· Backflow prevention
· Fixture connections


	MODULE C – DRAINAGE, WASTE, AND VENT (DWV) SYSTEMS

	PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE
	KSA Indicators

	C1.0
Install DWV systems for residential and commercial applications.
	C1.1
Select and install DWV piping system components for residential applications.

C1.2
Select and install various types of corrosive-resistant waste piping systems for commercial applications.
	3b
3b

	C2.0
Install venting systems.
	C2.1
Select and install various types of venting systems based on local codes and application.
	3b

	LEARNING OBJECTIVES 

	See PLB 115 for learning objectives.

	MODULE C OUTLINE

· Residential DWV

· Pipes and fittings

· Drainage 

· Backwater valves

· Installation and testing

· Hangers and supports

· Structural integrity

· Commercial DWV

· Pipes and fittings

· Drainage 

· Backwater valves

· Installation and testing

· Hangers and supports

· Structural integrity

· Corrosive-resistant waste piping

· Corrosive wastes

· Types

· Borosilicate glass pipe

· Plastic pipe

· Silicon cast-iron pipe

· Stainless steel pipe 

· Performance testing

· Venting systems

· Principles of venting

· Local code requirements

· Types of vents

· Installing vents


	MODULE D – FUEL GAS PIPE SYSTEMS

	PROFESSIONAL COMPETENCIES
	STUDENT PERFORMANCE
	KSA Indicators

	D1.0
Install fuel gas pipe systems.
	D1.1
Install a natural gas pipe system.

D1.2
Install a propane gas pipe system.
	3b
3b

	D2.0
Install compressed air systems.
	D2.1
Install a basic compressed air system.
	3b

	LEARNING OBJECTIVES 

	See PLB 115 for learning objectives

	Module D Outline
· Natural

· Safety precautions

· Components

· Functions

· Connecting appliances

· Codes and certification requirements

· Design, size, purge, and test

· Propane

· Safety precautions

· Components

· Functions

· Connecting appliances

· Codes and certification requirements

· Design, size, purge, and test

· Compressed air

· Safety

· Components

· Applications of compressed air systems

· Methods of conditioning compressed air

· Installing compressed air systems


	Knowledge, Skills, and Attitudes (KSA) Indicators

	
	Value
	Key Word(s)
	Definition

	Performance 
Ability 
	4
	Highly 

Proficient
	Performs competency quickly and accurately.  Instructs others how to do the competency.

	
	3
	Proficient
	Performs all parts of the competency.  Needs only a spot check of completed work.

	
	2
	Partially

 Proficient
	Performs most parts of the competency.  Needs help only on hardest parts.

	
	1
	Limited 

Proficiency
	Performs simple parts of the competency.  Needs to be told or shown how to do most of the competency.

	Knowledge of Skills
	d
	Complete

Theory
	Predicts, isolates, and resolves problems about the competency.

	
	c
	Operating Principles
	Identifies why and when the competency must be done and why each step is needed.

	
	b
	Procedures
	Determines step-by-step procedures for doing the competency.

	
	a
	Nomenclature
	Names parts, tools, and simple facts about the competency.

	Knowledge
	D
	Evaluation
	Evaluates conditions and makes proper decisions about the subject.

	
	C
	Analysis
	Analyzes facts and principles and draws conclusions about the subject.

	
	B
	Principles
	Identifies relationship of basic facts and states general principles about the subject.

	
	A
	Facts
	Identifies basic facts and terms about the subject.

	Affective
	*5
	Characterization 

by Value
	Acting consistently with the new value.

	
	*4
	Organization
	Integrating a new value into one's general set of values, giving it some ranking among one's general priorities.

	
	*3
	Valuing
	Showing some definite involvement or commitment.

	
	*2
	Responding
	Showing some new behaviors as a result of experience.

	
	*1
	Receiving
	Being aware of or attending to something in the environment.

	Alpha Scale Values - Any item with an upper case letter (A, B, C, D) by itself is taught as general information on a topic.  This information may be related to the competency or encompass multiple competencies.  Examples might include mathematical computations or knowledge of principles such as Ohm’s Law.

A lower case letter indicates a level of ”Knowledge of Skills."  Individuals are taught information pertaining to performing a competency .  These may be indicated alone or in conjunction with a numerical scale value.  A lower case letter by itself indicates the individual is not required to perform the task-just know about the task.  (example: Can state or explain procedures for doing a task).

Numerical Scale Values - The numbers reflect the levels the individual will be able to perform a competency. Number values are always accompanied by lower case letters (i.e. 1a, 2b, 3c...etc.) in order to specify the level of knowledge of skills associated with the competency.   

Example:  An individual with a competency with a scale indicator of 3b has received training of knowledge of skills whereby he or she can determine the correct procedures and perform with limited supervision; only requiring evaluation of the finished product or procedure.

Asterisk items indicate desired affective domain levels and are used to indicate the desired level for a given competency.   They may be used independently or with other indicators (i.e.   1a-*1, 2c-*3).  If used with another indicator, separate with a hyphen.

NOTE:  Codes indicate terminal values.


PLB 116





Pressure and Non-pressure System Applications





Plan of Instruction





Effective Date: NLT Fall 2009							Version Number: 2008-1						








The Alabama Community College System

Copyright © 2008
All Rights Reserved

PAGE  
6
ACCS Copyright© 2008
All rights reserved


