[image: image1.png](e

AL




Plumbing Codes

PLB 117 


3-27-08

COURSE DESCRIPTION:  This course includes reading and interpreting international codes, local codes, and general regulations.  Emphasis is on basic principles, definitions, materials, facility requirements, and technical review.  Upon completion, students will be able to read and interpret applicable codes. This is a CORE class.
CONTACT/CREDIT HOURS 
Theory Credit Hours  
  

3 hour 

Lab Credit Hours



0 hours  

Total Credit Hours 



3 hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1 contact to credit hour ratio) or experimental (2:1 contact to credit hour ratio).

PREREQUISITE COURSES 
As required by college

CO-REQUISITE COURSES 
As required by college
PROFESSIONAL COMPETENCIES

· Explain the history and use of plumbing codes.

· Interpret plumbing code requirements for installation of various piping systems.
INSTRUCTIONAL GOALS

Cognitive – Comprehend the use of plumbing codes to ensure compliance with code requirements.
Psychomotor – There are no psychomotor goals directly associated with this course.
Affective – Value to importance of complying with code requirements while performing plumbing activities.
PROFESSIONAL COMPETENCIES/OBJECTIVES

Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab assignments, or any combination of specifications.

	MODULE A – introduction to plumbing codes

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA Indicators

	A1.0
Explain the history and use of plumbing codes.
	A1.1
This competency is measured cognitively.
	B

	LEARNING OBJECTIVES 

	A1.1.1
State key points associated with the history of plumbing codes.
A1.1.2
State the intent of the code.

A1.1.3
State the importance of complying with plumbing codes.

A1.1.4
Describe the model and local plumbing codes and their purposes.

A1.1.5
State the purpose of various code organizations associated with plumbing.

A1.1.6
Explain the procedure for modifying plumbing codes.
	A
A

A
B
A
b

	MODULE A OUTLINE:
· History of codes
· Plumbing code agencies

· International Code Council (ICC)

· International Association of Plumbing and Mechanical Officials (IAPMO)

· American National Standards Institute (ANSI)
· Model codes

· Adoption

· Code changes


	MODULE B – APPLYING PLUMBING CODES

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA Indicators

	B1.0
Interpret plumbing code requirements for installation of various piping systems.
	B1.1
Use plumbing code to calculate and size various potable water piping systems.
B1.2
use plumbing code to calculate and size various DWV systems.

B1.3
Use International Fuel Gas Code to calculate and size various fuel gas piping systems.

B1.4
Calculate and size various propane piping systems.
	C
C

C

C



	LEARNING OBJECTIVES 

	B1.1.1
Describe requirements for installing various piping systems based on the International Plumbing Code.
B1.1.2
Describe requirements for installing various piping systems.
	C
C

	MODULE B OUTLINE:

· Locating code requirements (International Plumbing Code)

· Locating code requirements (International Fuel Gas Code)

· Propane piping systems.


LEARNING Objectives Table of specifications

The table below identifies the percentage of cognitive objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Facts/ Nomenclature
	Principles/ Procedures
	Analysis/ Operating Principles
	Evaluation/ Complete Theory

	
	A/a
	B/b
	C/c
	D/d

	Module A
	67%
	33%
	-
	-

	Module B
	-
	-
	100%
	-


	Knowledge, Skills, and Attitudes (KSA) Indicators

	
	Value
	Key Word(s)
	Definition

	Performance 
Ability 
	4
	Highly 

Proficient
	Performs competency quickly and accurately.  Instructs others how to do the competency. 

	
	3
	Proficient
	Performs all parts of the competency.  Needs only a spot check of completed work.

	
	2
	Partially

 Proficient
	Performs most parts of the competency.  Needs help only on hardest parts. 

	
	1
	Limited Proficiency
	Performs simple parts of the competency.  Needs to be told or shown how to do most of the competency. 

	Knowledge of Skills
	d
	Complete

Theory
	Predicts, isolates, and resolves problems about the competency.

	
	c
	Operating Principles
	Identifies why and when the competency must be done and why each step is needed.

	
	b
	Procedures
	Determines step-by-step procedures for doing the competency.

	
	a
	Nomenclature
	Names parts, tools, and simple facts about the competency.

	Knowledge
	D
	Evaluation
	Evaluates conditions and makes proper decisions about the subject.

	
	C
	Analysis
	Analyzes facts and principles and draws conclusions about the subject.

	
	B
	Principles
	Identifies relationship of basic facts and states general principles about the subject.

	
	A
	Facts
	Identifies basic facts and terms about the subject.

	Affective
	*5
	Characterization by Value
	Acting consistently with the new value

	
	*4
	Organization
	Integrating a new value into one's general set of values, giving it some ranking among one's general priorities

	
	*3
	Valuing
	Showing some definite involvement or commitment

	
	*2
	Responding
	Showing some new behaviors as a result of experience

	
	*1
	Receiving
	Being aware of or attending to something in the environment

	Alpha Scale Values - Any item with an upper case letter (A, B, C, D) by itself is taught as general information on a topic.  This information may be related to the competency or encompass multiple competencies.  Examples might include mathematical computations or knowledge of principles such as Ohm’s Law.

A lower case letter indicates a level of ”Knowledge of Skills."  Individuals are taught information pertaining to performing a competency .  These may be indicated alone or in conjunction with a numerical scale value.  A lower case letter by itself indicates the individual is not required to perform the task-just know about the task.  (example: Can state or explain procedures for doing a task).

Numerical Scale Values - The numbers reflect the levels the individual will be able to perform a competency. Number values are always accompanied by lower case letters (i.e. 1a, 2b, 3c...etc.) in order to specify the level of knowledge of skills associated with the competency.   

Example:  An individual with a competency with a scale indicator of 3b has received training of knowledge of skills whereby he or she can determine the correct procedures and perform with limited supervision; only requiring evaluation of the finished product or procedure.

Asterisk items indicate desired affective domain levels and are used to indicate the desired level for a given competency.   They may be used independently or with other indicators (i.e.   1a-*1, 2c-*3).  If used with another indicator, separate with a hyphen.

NOTE:  Codes indicate terminal values.


PLB 117





Plumbing Codes





Plan of Instruction





Effective Date: NLT Fall 2009							Version Number: 2008-1











Alabama Community College System

Copyright© 2008

All Rights Reserved
PAGE  
4
ACCS Copyright© 2008

All Rights Reserved

