[image: image1.jpg]Alabama
Department of
Postsecondary Education
Representing the Alabama Community College System





Photovoltaic Principles & Design

REN 115

12/21/12
[image: image1.jpg]
COURSE DESCRIPTION:  This course covers basic principles and design of photovoltaic (PV) systems.  Upon completion of the course, students should have demonstrated a basic understanding of PV markets and applications, safety basics, electricity basics, solar energy fundamentals, PV module fundamentals, system components, PV system sizing and electrical and mechanical design, and performance analysis, maintenance and troubleshooting.  The course prepares the student to take the National American Board of Certified Energy Practitioners (NABCEP) PV Entry Level Exam.  Though highly recommended, taking the exam is not a mandatory requirement of the course. 
CONTACT/CREDIT HOURS 

Theory

1 credit hours

Lab


2 credit hour

Total


3 credit hours

NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule practical  lab hours as 3:1 or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)

PREREQUISITE COURSES 

As determined by college.

CO-REQUISITE COURSES 

As determined by college.

INSTRUCTIONAL NOTE:  Professional competencies listed in this document are from North American Board of Certified Energy Practitioners (NABCEP), “NABCEP PV Entry Level Program Learning Objectives, September 2009”.
POI CHANGES: 12/21/12 - Updated the definitions for the KSA indicators and reformatted the overall structure.

PROFESSIONAL COMPETENCIES

· Perform tasks in a safe manner. 
· Identify photovoltaic markets and applications.
· Apply basic electrical principles associated with photovoltaic systems.
· Comprehend basic theory of solar energy.
· Comprehend basic theory of photovoltaic module operation.
· Comprehend how photovoltaic system components operate.
· Size photovoltaic system appropriate for a particular electrical load requirement.
· Determine the electrical requirements necessary to support a photovoltaic system.
· Determine the mechanical requirements necessary to support a photovoltaic system.
· Troubleshoot, analyze and maintain photovoltaic systems.
INSTRUCTIONAL GOALS

· Cognitive – Comprehend principles and concepts related to photovoltaic applications.
· Psychomotor – Apply principles of photovoltaic applications.
· Affective – Value the importance of adhering to safety, policy and procedures related to photovoltaic applications.
STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES
	MODULE A – SAFETY BASICS

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Perform tasks in a safe manner. 

(NABCEP Learning Objective 2)
NOTE:  This is an ongoing evaluation.
	A1.1
Use safety practices when installing PV systems, components and equipment.
Samples of Behavior
· Demonstrate safe work habits.

· Demonstrate proper use of tools and equipment.

· Demonstrate proper use of personal protection equipment.
	3

	LEARNING OBJECTIVES 

	A1.1.1
Identify the various safety hazards associated with operating and non-operating PV systems and components.
A1.1.2
List different types of personal protective equipment (PPE) commonly required for installing and maintaining PV systems.

A1.1.3
Identify safe practices for operating and non-operating PV systems, components, and equipment.

A1.1.4
Explain OSHA standards Discuss requirements for personal fall arrest and safety monitoring systems.

A1.1.5
Recognize the principal electrical safety hazards associated with PV systems, including electrical shock and arc flash.
	2
1

3

3

2



	MODULE A OUTLINE:

· Safety hazards

· PPE

· Safety practices

· Hoisting & rigging

· Ladders

· Stairways

· Guardrails

· Head, feet, hearing, & face protection

· Power tools

· Fall protection

· Electrical safety particular to PV systems


	MODULE B – PV MARKETS & APPLICATIONS

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Identify photovoltaic markets and applications.

(NABCEP Learning Objective 1)
	B1.1
Explain the various and applications and market trends associated with photovoltaic systems.
	3

	LEARNING OBJECTIVES 

	B1.1.1
Identify key contributions to the development of PV technology.
B1.1.2
Identify common types of PV system applications for both stand-alone and utility interactive systems with and without energy storage.

B1.1.3
Associate key features and benefits of specific types of PV systems, including residential, commercial, BIPV, concentrating PV, and utility-scale.
B1.1.4
List the advantages and disadvantages of PV systems compared to alternative electricity generation sources.

B1.1.5
Describe the features and benefits of PV systems that operate independently of the electric utility grid.
B1.1.6
Describe the features and benefits of PV systems that are interconnected to and operate in parallel with the electric utility grid.
B1.1.7
Describe the roles of various segments of the PV industry and how they interact with one other.
B1.1.8
List market indicators, value propositions, and opportunities for both grid-tied and stand-alone PV system application.
B1.1.9
Discuss the importance of conservation and energy efficiency as they relate to PV system applications.
	1
3
3

3

3
3
3

3

3

	MODULE B OUTLINE:

· PV technology development

· PV systems

· Types

· Characteristics

· Advantages & Disadvantages

· Stand-alone systems

· Grid-tied systems

· PV industry

· PV market

· Energy efficiency & conservation


	MODULE C – ELECTRICAL BASICS

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	C1.0   
Apply basic electrical principles associated with photovoltaic systems.

(NABCEP Learning Objective 3)
	C1.1   
Using basic electrical test equipment and Ohm’s law, test and analyze a basic photovoltaic circuit.
Samples of Behavior
Apply the following activities:

· Safety

· Electrical test equipment
	3

	LEARNING OBJECTIVES 

	C1.1.1
Identify basic electrical parameters.
C1.1.2
Explain the difference between electrical power (rate of work performed) and energy (total work performed).

C1.1.3
Describe the function and purpose of common electrical system components.

C1.1.4
Identify basic electrical test equipment and its purpose, including voltmeters, ammeters, ohmmeters and watt-hour meters.
C1.1.5
Calculate voltage, current, resistance or power given any other two parameters.

C1.1.6
Explain the fundamentals of electric utility system operations.
	1
2
2
2
3
2

	MODULE C OUTLINE:

· Basic electrical parameters

· Electrical charge

· Current

· Voltage

· Power 
· Resistance

· Hydraulic analogies

· Volume

· Flow

· Pressure

· Hydraulic power
· Friction

· Electrical power & energy

· Common electrical system components

· Basic electrical test equipment

· Ohm’s Law

· Electric utility system operations fundamentals


	MODULE D – SOLAR ENERGY FUNDAMENTALS

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	D1.0
Comprehend basic theory of solar energy.

(NABCEP Learning Objective 4)
	D1.1
Explain the basic theory associated with capturing solar energy using a photovoltaic system
	3

	LEARNING OBJECTIVES 

	D1.1.1
Define basic terminology associated with solar theory.
D1.1.2
Diagram the sun’s apparent movement across the sky over any given day and over an entire year at any given latitude, and define the solar window.
D1.1.3
For given dates, times and locations, identify the sun’s position using sun path diagrams, and determine when direct solar radiation strikes the north, east, south and west walls and horizontal surfaces of a building.
D1.1.4
Differentiate between solar irradiance (power), solar irradiation (energy), and explain the meaning of the terms peak sun, peak sun hours, and insulation.
D1.1.5
Identify factors that reduce or enhance the amount of solar energy collected by a PV array.

D1.1.6
Use a standard compass to determine true geographic south from magnetic south at any location given a magnetic declination map.

D1.1.7
Quantify the effects of changing orientation on the amount of solar energy received on an array surface at any given location using solar energy databases and computer software tools.
D1.1.8
Explain the consequences of array shading and best practices for minimizing shading and preserving array output.
D1.1.9
Demonstrate the use of equipment and software tools to evaluate solar window obstructions and shading at given locations, and quantify the reduction in solar energy received.
D1.1.10
Identify rules of thumb and spacing distances required to avoid inter-row shading from adjacent sawtooth rack mounted arrays at specified locations between 9 am and 3 pm solar time throughout the year.
D1.1.11
Define the concepts of global, direct, diffuse and albedo solar radiation, and the effects on flat-plate and concentrating solar collectors.
D1.1.12
Identity the instruments and procedures for measuring solar power and energy.
	1
3

3

3

3

3

3

3

3

3

3

2

	MODULE D OUTLINE:

· Basic terminology
· Sun’s movement

· Solar window

· Sun path diagramming

· Solar power and energy

· Factors determining amount of solar energy collected

· Compass reading

· Orientation (azimuth & tilt angle)

· Array shading

· Solar window obstructions & shading

· Inter-row shading

· Flat-plate solar collectors

· Solar power & solar energy measurement


	MODULE E – PV MODULE FUNDAMENTALS

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	E1.0
Comprehend basic theory of photovoltaic module operation.

(NABCEP Learning Objective 5)
	E1.1
Explain how a photovoltaic module operates
	3

	LEARNING OBJECTIVES 

	E1.1.1
Explain how a solar cell converts sunlight into electrical power.
E1.1.2
Distinguish between PV cells, modules, panels and arrays.
E1.1.3
Identify the five key electrical output parameters for PV modules using manufacturers’ literature and label these points on a current-voltage curve.
E1.1.4
Describe the effects of varying incident solar irradiance and cell temperature on PV module electrical output, illustrate the results on an I-V curve, and indicate changes in current, voltage and power.
E1.1.5
Determine the operating point on a given I-V curve given the electrical load.
E1.1.6
Explain why PV modules make excellent battery chargers based on their I-V characteristics.
E1.1.7
Describe the effects of connecting similar and dissimilar PV modules in series and in parallel on electrical output, and diagram the resulting I-V curves.
E1.1.8
Define various performance rating and measurement conditions for PV modules and arrays, including STC, SOC, NOCT, and PTC.
E1.1.9
Compare the fabrication of solar cells from various manufacturing processes.
E1.1.10
Describe the components and the construction for a typical flat-plate PV module made from crystalline silicon solar cells, and compare to thin-film modules.
E1.1.11
Calculate the efficiency and determine the power output per unit area.

E1.1.12
Discuss the significance and consequences of PV modules being limited current sources.

E1.1.13
Explain the purpose and operation of bypass diodes.
E1.1.14
Identify the standards and design qualification testing that help ensure the safety and reliability of PV modules.
	2
2

2

2

3

2

3

2

3

2

3

2

2

3

	MODULE E OUTLINE:

· Solar cells

· PV cells, modules, panels, & arrays

· Electrical output parameters for PV modules

· Effects of solar irradiance and cell temperature

· Operating point

· PV modules as battery chargers

· Effects of connecting PV modules

· Performance ratings & measurement conditions

· Solar cell fabrication

· Flat plate PV module

· Efficiency & power output calculations

· PV modules as current source

· Bypass diodes

· Standards & design qualification testing


	MODULE F – PV SYSTEM COMPONENTS

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	F1.0
Comprehend how photovoltaic system components operate.

(NABCEP Learning Objective 6)
	F1.1
Describe how system components of a photovoltaic system operation.
	3

	LEARNING OBJECTIVES 

	F1.1.1
Describe the purpose and principles of operation for major PV system components.
F1.1.2
List the types of PV system balance of system components, and describe their functions and specifications.
F1.1.3
Identify the primary types, functions, features, specifications, settings and performance indicators associated with PV system power processing equipment.
F1.1.4
List the basic types of PV systems, their major subsystems and components, and the electrical and mechanical BOS components required.
	3
2

2

2

	MODULE F OUTLINE:

· PV system component operations

· PV system balance of system components

· PV system power processing equipment

· PV system types & characteristics


	MODULE G – PV SYSTEM SIZING PRINCIPLES

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	G1.0
Size photovoltaic system appropriate for a particular electrical load requirement.

(NABCEP Learning Objective 7)
	G1.1
Select and size the correct photovoltaic system to appropriately match the application.
Samples of Behavior:

Apply the following activities:

· Safety

· Test equipment
	3

	LEARNING OBJECTIVES 

	G1.1.1
Describe the basic principles, rationale and strategies for sizing stand-alone PV systems versus utility-interactive PV systems.
G1.1.2
Determine the peak power demand and energy consumption over a given period of time.
G1.1.3
Beginning with PV module DC nameplate output, list the de-rating factors and other system losses, and their typical values, and calculate the resulting effect on AC power and energy production, using simplified calculations, and online software tools including PVWATTS.
G1.1.4
For a specified PV module and inverter in a simple utility-interactive system, determine the maximum and minimum number of modules that may be used in source circuits and the total number of source circuits that may be used with a specified inverter, depending upon the expected range of operating temperatures, the inverter voltage windows for array maximum power point tracking and operation, using both simple calculations and inverter manufacturers’ online string sizing software tools.

G1.1.5
Size and configure the PV array, battery subsystem, and other equipment as required, to meet the electrical load during the critical design period.
	3
3

3

3

3

	MODULE G OUTLINE:

· Sizing stand-alone PV systems

· Peak power demand & energy consumption calculations

· De-rating factors & system losses

· Source circuit & module calculations

· Sizing & configuring PV components with an electrical load 


	MODULE H – PV SYSTEM ELECTRICAL DESIGN

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	H1.0
Determine the electrical requirements necessary to support a photovoltaic system.

(NABCEP Learning Objective 8) 
	H1.1
Explain electrical requirements associated with installing a PV system.
	3

	LEARNING OBJECTIVES 

	H1.1.1
Draw and prepare simple one-line electrical diagrams for interactive and standalone PV systems showing all major components and subsystems, and indicate the locations of the PV source and output circuits, inverter input and output circuits, charge controller and battery circuits, as applicable, and mark the directions of power flows through the system under various load conditions

H1.1.2
Relate how PV modules are configured in series and parallel to build voltage, current and power output for interfacing with inverters, charge controllers, batteries and other equipment.

H1.1.3
Identify basic properties of electrical conductors including materials, size, voltage ratings and insulation coverings and understand how conditions of use affect their ampacity, resistance and corresponding overcurrent protection requirements.

H1.1.4
Explain the importance of nameplate specifications on PV modules, inverters and other equipment.

H1.1.5
Determine the requirements for charge control in battery-based PV systems, based on system voltages, current and charge rates. 

H1.1.6
Identify the labeling requirements for electrical equipment in PV systems at points of interconnection to other electrical systems, on battery banks, etc.

H1.1.7
Describe the basic principles of PV system grounding, the differences between grounded conductors, grounding conductors, grounding electrode conductors, the purposes of equipment grounding, PV array ground-fault protection, and the importance of single-point grounding

H1.1.8
Calculate voltage drop for simple PV source circuits.

H1.1.9
Identify the requirements for plan review, permitting, inspections, construction contracts and other matters associated with approvals and code-compliance for PV systems.

H1.1.10
Demonstrate knowledge of key articles of the National Electrical Code.
	3
3

3

3

3

3

3

3

3

3

	MODULE H OUTLINE:

· Electrical diagrams

· Module configuration

· Electrical conductor properties

· Nameplate specifications

· Charge control (battery-based systems)

· Electrical equipment labeling requirements

· System grounding

· Ohm’s Law

· Approval requirements & code requirements

· NEC (Solar Photovoltaic Systems)


	MODULE I – PV SYSTEM MECHANICAL DESIGN

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	I1.0
Determine the mechanical requirements necessary to support a photovoltaic system.

(NABCEP Learning Objective 9)
	I1.1
Explain mechanical requirements associated with installing a PV system.
	
3

	LEARNING OBJECTIVES 

	I1.1.1
Identify the common ways PV arrays are mechanically secured and installed in various locations.
I1.1.2
Compare and contrast the features and benefits of different PV array mounting systems and practices.

I1.1.3
Explain the effects on PV cell operating temperature of environmental conditions.
I1.1.4
Compare and contrast building-integrated PV (BIPV) applications features and benefits with conventional PV array designs.
I1.1.5
Identify desirable material properties for use with various applications for PV systems.

I1.1.6
List the requirements for roofing systems expertise, and identify the preferred structural attachments and weather sealing methods for PV arrays affixed to different types of roof compositions and coverings.

I1.1.7
Identify the types and magnitudes of mechanical loads experienced by PV modules, arrays and their support structures in established combinations according to ASCE 7-05 Minimum Design Loads for Buildings and Other Structures.

I1.1.8
Identify PV system mechanical design attributes that affect the installation and maintenance of PV arrays.

I1.1.9
Identify mechanical design features that affect the electrical and thermal performance of PV arrays.

I1.1.10
Recognize the importance of PV equipment manufacturers’ instructions with regard to mounting and installation procedures, the skills and competencies required of installers, and the implications on product safety, performance, code-compliance and warranties.
	2
3

2

3

2

2

2

2

2

2

	MODULE I OUTLINE:

· PV array installation

· PV array mounting systems

· PV cell operating environment

· Building integrated applications

· Installation material properties

· Roofing systems

· Mechanical attributes

· Manufacturers’ installation specifications


	MODULE J – PV SYSTEM PERFORMANCE ANALYSIS, MAINTENANCE & TROUBLESHOOTING

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	J1.0
Troubleshoot, analyze and maintain photovoltaic systems.

(NABCEP Learning Objective 10)
	J1.1
Perform a comprehensive photovoltaic system analysis.
Samples of Behavior
Apply the following activities:
· Safety

· Test equipment
	4

	LEARNING OBJECTIVES 

	J1.1.1
Discuss various potential problems related to PV system design, components, installation, operation or maintenance that may affect the performance and reliability of PV systems

J1.1.2
Identify and describe the use and meaning of typical performance parameters monitored in PV systems.
J1.1.3
Compare PV system output with expectations based on system sizing, component specifications and actual operating conditions, and explain why actual output may be different than expected.
J1.1.4
Describe typical maintenance requirements for PV arrays and other system components.

J1.1.5
Explain the safety requirements for operating and maintaining different types of PV systems and related equipment.

J1.1.6
Develop a simple maintenance plan for a given PV system detailing major tasks and suggested intervals.

J1.1.7
Describe basic troubleshooting principles and progression.
	3
3

3

3

2

4

2

	MODULE J OUTLINE:

· PV system malfunction identification

· PV performance parameters

· Maintenance requirements

· Related safety

· Manufacturers’ maintenance & operating instructions

· System diagnosis & problem resolution


LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Limited Knowledge and Proficiency
	Moderate Knowledge and Proficiency
	Advanced Knowledge and Proficiency
	Superior Knowledge and Proficiency

	
	1
	2
	3
	4

	Module A
	20%
	40%
	40%
	-

	Module B
	12%
	-
	88%
	-

	Module C
	17%
	66%
	17%
	-

	Module D
	8%
	8%
	84%
	-

	Module E
	-
	64%
	36%
	-

	Module F
	-
	75%
	25%
	-

	Module G
	-
	-
	100%
	-

	Module H
	-
	-
	100%
	-

	Module I
	-
	80%
	20%
	-

	Module J
	-
	29%
	57%
	14%


	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Recognize basic information about the subject including terms and nomenclature.

· Students must demonstrate ability to recall information such as facts, terminology or rules related to information previously taught.  

· Performs simple parts of the competency.  Student requires close supervision when performing the competency.

	2
	Moderate Knowledge and Proficiency
	· Distinguish relationships between general principles and facts. Adopts prescribed methodologies and concepts.

· Students must demonstrate understanding of multiple facts and principles and their relationships, and differentiate between elements of information.  Students state ideal sequence for performing task. 

· Performs most parts of the competency with instructor assistance as appropriate.

	3
	Advanced Knowledge and Proficiency
	· Examines conditions, findings, or other relevant data to select an appropriate response.  

· The ability to determine why and when a particular response is appropriate and predict anticipated outcomes. 

· Students demonstrate their ability to seek additional information and incorporate new findings into the conclusion and justify their answers.

· Performs all parts of the competency without instructor assistance.

	4
	Superior Knowledge and Proficiency
	· Assessing conditions, findings, data, and relevant theory to formulate appropriate responses and develop procedures for situation resolution. Involves higher levels of cognitive reasoning. 
· Requires students to formulate connections between relevant ideas and observations. 

· Students apply judgments to the value of alternatives and select the most appropriate response. 

· Can instruct others how to do the competency.

· Performs competency quickly and accurately.

	A
	Affective Objective
	· Describes learning objectives that emphasize a feeling tone, an emotion, or a degree of acceptance or rejection.  
· Objectives vary from simple attention to selected phenomena to complex but internally consistent qualities of character and conscience. 
· Expressed as interests, attitudes, appreciations, values, and emotional sets or biases.


REN 115





Photovoltaic Principles & Design





Plan of Instruction





Effective Date: Fall 2013										Version Number:  2013-1








Alabama Community College System

Copyright© 2013
All Rights Reserved
PAGE  
2
ACCS Copyright© 2013
All Rights Reserved

