[image: image2.jpg]Alabama
Department of
Postsecondary Education
Representing the Alabama Community College System





Fundamentals of Respiratory Care I

RPT 212

8/14/12 

[image: image2.jpg]
COURSE DESCRIPTION:
A fundamental course which presents the scientific basis for respiratory care procedures and application of basic chemistry and physics as related to compressed gases and respiratory care equipment operation. Experimental laboratory is required and emphasis includes: design, functional characteristics, and operation of commonly encountered respiratory care equipment, use of medical gases and applied chemistry, physics, and mathematics. Upon completion, the student should be able to demonstrate an adequate knowledge base concerning function and troubleshooting of respiratory care equipment and concepts of applied physics, chemistry, and mathematics. CORE 

CONTACT/CREDIT HOURS 

Theory Credit Hours  
  

2 hours
Lab Credit Hours



2 hour  

Total Credit Hours 



4 hours
NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as 3:1 and/or 2:1 contact to credit ratio.  Clinical hours are 3:1 contact to credit ratio. (Ref Board Policy 705.01)

PREREQUISITE COURSES 
As determined by college.
CO-REQUISITE COURSES 
As determined by college.
PROFESSIONAL COMPETENCIES

· Describe the physical characteristics and related gas laws of medical gas as related to therapeutic devices used in respiratory care practice.

· Perform methods and procedures to prevent infection.
· Discuss the importance of obtaining an accurate medical history and patient assessment.
· Describe the indications, goals, clinical objectives, complications and hazards associated with medical gas therapy. 
· Describe the proper assembly and function of medical gas delivery devices, storage methods, and safety mechanisms.
· Describe the proper assembly and usage of aerosol delivery devices.
· Describe the proper use of humidity and bland aerosol therapy as they apply to the respiratory system.
· Discuss the rationale of implementing and evaluating lung expansion therapy.
INSTRUCTIONAL GOALS

· Cognitive – Comprehend principles and concepts related to respiratory care.
· Psychomotor – Apply principles of respiratory care.
· Affective – Value the importance of adhering to policy and procedures related to respiratory care.
STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab/clinical assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES
	MODULE A – pHYSICAL PRINCIPLES IN RESPIRATORY CARE

	MODULE DESCRIPTION – The purpose of this module is to teach the students the foundational principles of medical gases and related delivery devices. Topics include heat, energy, thermodynamics, states of matter, fluid dynamics and the Bernoulli effect. 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Describe the physical characteristics and related gas laws of medical gas as related to therapeutic devices used in respiratory care practice.
	A1.1
This module is measured cognitively.
	2

	LEARNING OBJECTIVES 
	KSA

	A1.1.1
Explain the three common temperature scales and the conversion process.
A1.1.2
Discuss heat transfer and the effects of water vaporization.
A1.1.3
Describe the properties that characterize the three states of matter.
A1.1.4
Describe gas behavior under changing conditions.
A1.1.5
Describe the principles of flow and fluid dynamics.
	2
2
2
2
2

	MODULE A OUTLINE:
· States of Matter

· Internal energy of matter

· Heat and the First Law of Thermodynamics

· Heat transfer

· Conduction 

· Convection

· Radiation

· Evaporation and condensation

· Laws of thermodynamics

· Internal energy and temperature

· Absolute zero

· Temperature scales

· Change of State

· Liquid–solid phase changes (melting and freezing)

· Melting

· Freezing

· Properties of liquids

· Pressure in liquids

· Buoyancy (Archimedes' Principle)

· Viscosity

· Cohesion and adhesion

· Surface tension

· Capillary action

· Liquid–Vapor Phase Changes

· Boiling

· Evaporation, vapor pressure, and humidity

· Influence of temperature

· Humidity

· Properties of Gases

· Kinetic activity of gases

· Molar volume and gas density

· Molar volume

· Density

· Gaseous diffusion

· Gas pressure

· Measuring atmospheric pressure

· Clinical pressure measurements

· Partial pressures (Dalton's Law)

· Solubility of gases in liquids (Henry's Law)

· Gas Behavior Under Changing Conditions

· Gas laws

· Effect of water vapor

· Corrected pressure computations

· Correction factors

· Properties of gases at extremes of temperature and pressure

· Critical temperature and pressure

· Fluid Dynamics

· Pressures in flowing fluids

· Patterns of flow

· Laminar flow

· Turbulent flow

· Transitional flow

· Flow, velocity, and cross-sectional area

· The Bernoulli Effect

· Fluid entrainment

· The Venturi and pitot tubes

· Fluidics and the Coanda effect


	MODULE B – Infection Control

	MODULE DESCRIPTION – The purpose of this module is to teach the students the methods and procedures for infection control. Topics include clean and aseptic techniques, disease prevention, and standard/universal precautions.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Perform methods and procedures to prevent infection.


	B1.1
Demonstrate appropriate hand washing techniques designed to prevent infection.  

B1.1
Demonstrate appropriate use of PPE according to patient conditions and procedures.
	3

3

	LEARNING OBJECTIVES 
	KSA

	B1.1.1
Identify the pathogens associated within the health care environment.
B1.1.2 
Describe strategies to prevent the spread of infection in the hospital.
B1.1.3
Identify and describe the appropriate use of PPE according to patient conditions and procedures.
B1.1.4   Describe equipment handling procedures.
	2

2

2
2

	MODULE B OUTLINE:

· Spread of Infection

· Sources of infectious agents

· Susceptible hosts

· Modes of transmission

· Contact transmission

· Droplet transmission

· Airborne transmission

· Miscellaneous types of aerosol transmission

· Other sources of infection not involving person-to-person transmission

· Infection Prevention Strategies

· Creating a safe culture

· Decreasing host susceptibility

· Eliminating the source of pathogens

· Interrupting routes of transmission

· Standard precautions

· Hand hygiene

· Gloves

· Mouth, nose, eye, and face protection

· Respiratory protection

· Gowns, aprons, and protective apparel

· Transmission-based precautions 
· Airborne infection isolation

· Protective environment

· Patient placement

· Transport of infected patients

· Disinfection and Sterilization

· Spaulding approach to disinfection and sterilization of patient care equipment

· Cleaning
· Disinfection

· Chemical disinfection

· Sterilization

· Steam sterilization

· Flash sterilization

· Low-temperature sterilization technologies

· Equipment Handling Procedures

· Maintenance of in-use equipment

· Nebulizers

· Ventilators and ventilator circuits

· Bag-mask devices

· Suction systems

· Oxygen therapy apparatus

· Pulmonary function equipment

· Other respiratory care devices

· Processing reusable equipment

· Respiratory care equipment

· Disposable equipment

· Fluids and medications precautions

· Handling contaminated articles and equipment

· Using needles and syringes

· Handling laboratory specimens


	MODULE C – Patient Assessment

	MODULE DESCRIPTION – The purpose of this module is to teach the students how to perform patient assessment and gather clinical laboratory data. 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	C1.0
Discuss the importance of obtaining an accurate medical history and patient assessment.
	C1.1
Obtain vital signs and recognize normal/abnormal values.

C1.1
Perform basic patient assessment.

C1.1
Evaluate clinical laboratory data.
	3

3

2

	LEARNING OBJECTIVES 
	KSA

	C1.1.1
Describe how to obtain vital signs and recognize normal/abnormal values.
C1.1.2
Identify abnormalities in lung function associated with common pulmonary symptoms.
C1.1.3   Describe the mechanisms responsible for normal and abnormal lung sounds.
C1.1.4   Explain why it is necessary to examine the precordium, abdomen, and extremities in a patient with cardiopulmonary disease.
C1.1.5
Describe how to collect and evaluate clinical laboratory data.
	2

2

2
2

2

	MODULE C OUTLINE:

· Interviewing the Patient and Taking a Medical History

· Principles of interviewing

· Structure and technique for interviewing

· Common cardiopulmonary symptoms

· Dyspnea

· Breathlessness

· Positional dyspnea

· The language of dyspnea

· Assessing dyspnea in the interview

· Psychogenic dyspnea: panic disorders and hyperventilation

· Cough

· Sputum production

· Hemoptysis

· Chest pain

· Fever

· Pedal edema

· Format for the medical history

· Physical Examination

· General appearance

· Level of consciousness

· Vital signs

· Body temperature

· Pulse rate

· Electrocardiography(12-lead ECG)

· Respiratory rate

· Blood pressure

· Examination of the head and neck

· Head

· Neck

· Examination of the thorax and lungs

· Inspection

· Thoracic configuration

· Breathing pattern and effort

· Palpation

· Vocal and tactile fremitus

· Thoracic expansion

· Skin and subcutaneous tissues

· Percussion of the chest

· Percussion over lung fields

· Clinical implications

· Auscultation of the lungs

· Stethoscope

· Technique

· Terminology

· Mechanisms and significance of lung sounds

· Normal breath sounds

· Bronchial breath sounds

· Diminished breath sounds

· Wheezes and stridor

· Crackles

· Pleural friction rub

· Voice sounds

· Bronchophony

· Cardiac examination

· Inspection and palpation

· Auscultation of heart sounds

· Abnormal heart sounds

· Abdominal examination

· Examination of the extremities

· Clubbing

· Cyanosis

· Pedal edema

· Capillary refill

· Peripheral skin temperature

· Skin color, degree of moisture, and turgor


	MODULE D – medical gas therapy

	MODULE DESCRIPTION – The purpose of this module is to teach the students to recognize the clinical indications, goals, hazards, and contraindications of medical gas therapy. Topics include the use of oxygen, hyperbaric oxygenation, nitric oxide and heliox.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	D1.0
Describe the indications, goals, clinical objectives, complications and hazards associated with medical gas therapy.


	D1.1
Select and administer the appropriate oxygen delivery device for the patient based on clinical presentation.

D1.1.
Suggest/modify therapy based on clinical assessment.
	3
3

	LEARNING OBJECTIVES 
	KSA

	D1.1.1
Discuss the clinical indications and goals of oxygen therapy.
D1.1.2
Discuss the hazards and complications associated with oxygen therapy.
D1.1.3
Identify the appropriate oxygen delivery device for the patient based on clinical presentation. 
D1.1.4
Describe how to assess and modify oxygen therapy based on clinical assessment.
D1.1.5   Describe how to implement and follow protocol based oxygen therapy.
D1.1.6   Discuss the use of other gas mixtures and applications as applied to the cardiopulmonary patient.
	3
2
3
3
2
2

	MODULE D OUTLINE:

· Oxygen Therapy

· General goals and clinical objectives

· Clinical practice guidelines

· Assessing the need for oxygen therapy

· Precautions and hazards of supplemental oxygen

· Oxygen toxicity

· Depression of ventilation

· Retinopathy of prematurity

· Absorption atelectasis

· Fire hazard
· Oxygen delivery systems: design and performance
· Low-flow systems

· Nasal cannula

· Nasal catheter

· Transtracheal catheter

· Performance characteristics of low-flow systems

· Troubleshooting low-flow systems

· Reservoir systems

· Reservoir cannula

· Reservoir masks

· Non-rebreathing reservoir circuit

· Troubleshooting reservoir systems

· High-flow systems

· Principles of gas mixing

· Air-entrainment systems

· Air-entrainment (Venturi) mask

· Air-entrainment nebulizer

· Troubleshooting air-entrainment systems

· Providing moderate to high FIO2 at high flow

· Problems with downstream flow resistance

· Blending systems

· Mixing gases manually

· Oxygen blenders

· Enclosures

· Oxygen tents

· Hoods

· Incubators

· Other oxygen delivery devices

· High-flow nasal cannula
· Bag-mask devices

· Demand- flow and pulse-dose systems

· Selecting a delivery approach

Purpose

Patient

 Performance

General goals and patient categories

Protocol-based oxygen therapy

· Hyperbaric Oxygen Therapy

· Physiologic effects

· Methods of administration

· Indications

· Air embolism

· Carbon monoxide poisoning

· Complications and hazards

· Troubleshooting

· Other Medical Gas Therapies

· Nitric oxide therapy

· Mode of action

· Indications

· Dosing

· Toxicity and adverse effects

· Methods of administration

· Withdrawing therapy

· Helium-oxygen (heliox) therapy

· Indications

· Guidelines for use

· Troubleshooting and hazards

· Carbon dioxide-oxygen (carbogen) therapy


	MODULE E – Storage and delivery of medical gases

	MODULE DESCRIPTION – The purpose of this module is to teach the proper procedures of assembling, administering, troubleshooting and storing medical gases. Topics include oxygen delivery devices, liquid and gaseous storage methods, and national safety standards of medical gas transport and storage. 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	E1.0
Describe the proper assembly and function of medical gas delivery devices, storage methods, and safety mechanisms. 
	E1.1
Assemble and perform quality assurance of medical gas delivery devices, including troubleshooting and correcting problems.
	3

	LEARNING OBJECTIVES 
	KSA

	E1.1.1
Distinguish between various gas supply systems.
E1.1.2
Describe how to assemble, check for proper function, and identify malfunctions in various gas delivery systems.
E1.1.3
Differentiate between safety systems that apply to various equipment connections.
	2
3
2

	MODULE E OUTLINE:

· Characteristics of Medical Gases

· Oxygen (O2)

· Characteristics

· Production

· Fractional Distillation

· Physical Separation

· Air

· Carbon Dioxide (CO2)

· Helium (He)

· Nitric Oxide (NO)

· Nitrous Oxide (N2O)

· Storage of Medical Gases

· Gas cylinders

· Markings and identification

· Cylinder sizes and content

· Cylinder safety relief valves

· Filling (charging) cylinders

· Compressed gases

· Liquefied gases

· Measuring cylinder contents

· Compressed gas cylinders

· Liquid gas cylinders

· Estimating the duration of cylinder gas flow

· Estimating the duration of liquid oxygen cylinder gas flow

· Gas cylinder safety

· Cylinder storage

· Cylinder transport

· Cylinder use

· Bulk oxygen

· Gas supply systems

· Bulk oxygen safety precautions

· Distribution and Regulation of Medical Gases

· Central piping systems

· Safety indexed connector systems

· American standard safety system (ASSS)

· Pin-index safety system (PISS)

· Diameter-index safety system (DISS)

· Quick-connect systems

· Regulating gas pressure and flow

· High-pressure reducing valves

· Preset reducing valve

· Adjustable reducing valve

· Multiple-stage reducing valve

· Proper use of high-pressure reducing valves

· Low-pressure gas flow meters
· Flow restrictor

· Bourdon gauge

· Thorpe tube  


	MODULE F – Aerosol Drug Therapy 

	MODULE DESCRIPTION – The purpose of this module is to teach the proper assembly, application, and troubleshooting of aerosol delivery devices. 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	F1.0
Describe the proper assembly and usage of aerosol delivery devices. 
	F1.1
Assemble aerosol medication delivery devices. 
F1.1
Suggest/modify therapy based on clinical assessment, including troubleshooting.
	3
3

	LEARNING OBJECTIVES 
	KSA

	F1.1.1
Describe how particle size, motion, and airway characteristics affect aerosol deposition.

F1.1.2
Describe how to select the best aerosol drug delivery system for a given patient.

F1.1.3
Describe how to initiate, assess, and modify aerosol drug therapy.

F1.1.4
Describe the benefits of assessment-based bronchodilator therapy protocols.
F1.1.5
Describe how to protect patients and caregivers from exposure to aerosolized drugs.
	2

3

3

2
3


	MODULE F OUTLINE:

· Characteristics of Therapeutic Aerosols

· Aerosol output

· Particle size

· Deposition

· Inertial impaction

· Sedimentation

· Diffusion

· Aging

· Quantifying aerosol delivery

· Hazards of Aerosol Therapy

· Infection

· Airway reactivity

· Pulmonary and systemic effects

· Drug concentration

· Eye irritation

· Second-hand exposure to aerosol drugs

· Aerosol Drug Delivery Systems

· Metered-dose inhalers

· Breath-actuated pressurized metered dose inhaler (pMDI)

· Dose counters

· Factors affecting pMDI performance and drug delivery

· Temperature

· Nozzle size and cleanliness

· Priming

· Timing of actuation intervals

· Aerosol delivery characteristics

· Technique

· pMDI accessory devices

· Spacers and holding chambers

· Dry powder inhalers (DPIs)

· Equipment design and function

· Factors affecting the DPI performance and drug delivery

· Intrinsic resistance and inspiratory flow rate

· Exposure to humidity and moisture

· Patient's inspiratory flow ability

· Technique

· Nebulizers

· Pneumatic (jet) nebulizers

· Factors affecting nebulizer performance

· Nebulizer design

· Flow

· Gas source (hospital versus home)

· Humidity and temperature

· Characteristics of drug formulation

· Small-volume nebulizers (SVNs)

· SVN with a reservoir

· Continuous small volume nebulizer with collection bag

· Breath-enhanced nebulizers

· Breath-actuated nebulizers

· Technique

· Infection control issues

· Large-volume jet nebulizers

· Hand-bulb atomizers and spray pumps

· Ultrasonic nebulizers

· Large-volume ultrasonic nebulizers

· Small-volume ultrasonic nebulizers 

· Vibrating mesh nebulizers

· New-generation nebulizers

· New nebulizer designs for liquids

· AERx®

· Respimat®

· Smart nebulizers

· Advantages and disadvantages of aerosol systems

· Special medication delivery issues for infants and children

· Selecting an aerosol drug delivery system

· Assessment-Based Bronchodilator Therapy Protocols

· Sample protocol

· Assessing patient response

· Use and limitations of peak flow monitoring

· Other components of patient assessment

· Dose-response assessment

· Frequency of patient assessment

· Patient education

· Special Considerations

· Acute care and off-label use

· Continuous nebulization for refractory bronchospam

· Aerosol administration to mechanically ventilated patients

· Use of a SVN during mechanical ventilation

· Use of a vibrating mesh nebulizer during mechanical ventilation

· Use of a pMDI during mechanical ventilation

· Aerosol generator placement

· Placement during noninvasive ventilation

· Placement during high-flow nasal oxygen

· Placement during intrapulmonary percussive ventilation

· Placement during high-frequency oscillatory ventilation

· Controlling Environmental Contamination

· Negative pressure rooms 

· Booths and stations

· Personal protective equipment


	MODULE G – Humidity and Bland Aerosol Therapy

	MODULE DESCRIPTION – The purpose of this module is to teach the proper assembly, application, and troubleshooting of humidity and bland aerosol therapy.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	G1.0
Describe the proper use of humidity and bland aerosol therapy as they apply to the respiratory system.
	G1.1
Apply humidity and bland aerosol therapy.

G1.1
Suggest/modify therapy based on clinical assessment, including troubleshooting. 
	3
3

	LEARNING OBJECTIVES 
	KSA

	G1.1.1
Discuss the indications, contraindications, and hazards that pertain to humidification and bland aerosol therapy.

G1.1.2
Discuss how to select the appropriate therapy to condition a patient's inspired gas.

G1.1.3
Describe how to identify and resolve common problems associated with humidification and bland aerosol therapy.
	3
2
3

	MODULE G OUTLINE:

· Humidity Therapy

· Physiologic control of heat and moisture exchange

· Indications for humidification and warming of inspired gases

· Equipment

· Physical principles governing humidifier function

· Temperature

· Surface area

· Contact time

· Thermal mass

· Types of humidifiers

· Active humidifiers

· Bubble

· Passover

· Vaporizer humidifiers

· Heat and moisture exchangers

· Active heat moisture exchangers (hmes)

· Heating systems

· Reservoir and feed systems

· Manual systems

· Automatic systems

· Setting humidification levels

· Problem solving and troubleshooting

· Condensation

· Cross contamination

· Proper conditioning of the inspired gas

· Bland Aerosol Therapy

· Equipment for bland aerosol therapy

· Aerosol generators

· Large-volume jet nebulizers

· Ultrasonic nebulizers

· Airway appliances

· Enclosures (mist tents and hoods)

· Sputum induction

· Problem solving and troubleshooting

· Cross contamination

· Environmental exposure

· Inadequate aerosol output

· Overhydration

· Bronchospasm  




	MODULE H – Lung Expansion Therapy

	MODULE DESCRIPTION – The purpose of this module is to teach the proper assembly, application, and troubleshooting of lung expansion therapy equipment. Topics include the various types of equipment used and patient assessment before, during, and after therapy.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	H1.0
Discuss the rationale of implementing and evaluating lung expansion therapy.
	H1.1
Apply lung expansion therapy.

H1.1
Suggest/modify therapy based on clinical assessment, including troubleshooting.
	3
3

	LEARNING OBJECTIVES 
	KSA

	H1.1.1
Discuss the clinical findings seen in atelectasis and the impact of these findings on the respiratory system.
H1.1.2
Discuss the indications, hazards, and complications associated with the various modes of lung expansion therapy.

H1.1.3
Describe the primary responsibilities of the respiratory therapist in planning, implementing, and evaluating lung expansion therapy.
	2

3

2

	MODULE H OUTLINE:

· Causes and Types of Atelectasis

· Factors associated with causing atelectasis

· Clinical Signs of Atelectasis

· Lung Expansion Therapy

· Incentive spirometry

· Physiologic basis

· Indications

· Contraindications

· Hazards and complications

· Equipment

· Administration

· Preliminary planning

· Implementation

· Follow-up

· Intermittent positive airway pressure breathing

· Physiologic basis

· Indications

· Contraindications

· Hazards and complications

· Administration

· Preliminary planning

· Evaluating alternatives

· Baseline assessment

· Implementation

· Equipment preparation

· Patient orientation

· Patient positioning

· Initial application

· Adjusting parameters

· Discontinuation and follow-up

· Post-treatment assessment

· Record keeping

· Monitoring and troubleshooting

· Machine performance

· Patient response

· Positive airway pressure therapy  

· Physiologic basis

· Indications

· Contraindications

· Hazards and complications

· Equipment

· Administering intermittent continuous positive airway pressure 

· Planning

· Procedures

· Monitoring and troubleshooting


LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation. 
	
	Limited Knowledge and Proficiency
	Moderate Knowledge and Proficiency
	Advanced Knowledge and Proficiency
	Superior Knowledge and Proficiency

	KSA
	1
	2
	3
	4

	Module A
	
	100%
	
	

	Module B
	
	40%
	60%
	

	Module C
	
	
	100%
	

	Module D
	
	40%
	60%
	

	Module E
	
	40%
	60%
	

	Module F
	
	40%
	60%
	

	Module G
	
	40%
	60%
	

	Module H
	
	40%
	60%
	


The KSA is NOT determined by the verb used in the learning objective, but rather in the context in which the verb is used and the depth of knowledge and skills required. 
Example: Three KSA levels using the same verb (describe):
KSA 1 – Describe three characteristics of metamorphic rocks. (simple recall)

KSA 2 – Describe the difference between metamorphic and igneous rocks. (requires cognitive processing to determine the differences in the two rock types)

KSA 3 – Describe a model that you might use to represent the relationships that exist within the rock cycle. (requires deep understanding of rock cycle and a determination of how best to represent it)

[image: image1.jpg]Teaching and Learning Continuum

Teacher Contribution

Close Support

Receiving

Moderate Support

Accepting

Consulting

Internalizing

Synergy,

Synthesizing

Pedagogy

Mesagogy

Andragogy

Heutagogy

——Active
Independent

Learner Contribution ——— ¥




	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Recognize basic information about the subject including terms and nomenclature.

· Students must demonstrate ability to recall information such as facts, terminology or rules related to information previously taught.  
· Performs simple parts of the competency.  Student requires close supervision when performing the competency.

	2
	Moderate Knowledge and Proficiency
	· Distinguish relationships between general principles and facts. Adopts prescribed methodologies and concepts.
· Students must demonstrate understanding of multiple facts and principles and their relationships, and differentiate between elements of information.  Students state ideal sequence for performing task. 
· Performs most parts of the competency with instructor assistance as appropriate.

	3
	Advanced Knowledge and Proficiency
	· Examines conditions, findings, or other relevant data to select an appropriate response.  

· The ability to determine why and when a particular response is appropriate and predict anticipated outcomes. 
· Students demonstrate their ability to seek additional information and incorporate new findings into the conclusion and justify their answers.
· Performs all parts of the competency without instructor assistance.

	4
	Superior Knowledge and Proficiency
	· Assessing conditions, findings, data, and relevant theory to formulate appropriate responses and develop procedures for situation resolution. Involves higher levels of cognitive reasoning. 
· Requires students to formulate connections between relevant ideas and observations. 
· Students apply judgments to the value of alternatives and select the most appropriate response. 
· Can instruct others how to do the competency.
· Performs competency quickly and accurately.

	A
	Affective Objective
	· Describes learning objectives that emphasize a feeling tone, an emotion, or a degree of acceptance or rejection.  
· Objectives vary from simple attention to selected phenomena to complex but internally consistent qualities of character and conscience. 
· Expressed as interests, attitudes, appreciations, values, and emotional sets or biases.


RPT 212





Fundamentals of Respiratory Care I





Plan of Instruction





Effective Date:  Fall Semester 2012					Version Number:  2011-1








Alabama Community College System

Copyright© 2011

All Rights Reserved
PAGE  
2
ACCS Copyright© 2012
All Rights Reserved

