[image: image2.jpg]Alabama
Department of
Postsecondary Education
Representing the Alabama Community College System





Introduction to Instrumentation and Process Control 
IET 108, ILT 108, IST 210

February 5, 2010
[image: image2.jpg]
COURSE DESCRIPTION:
This course is an introductory study of the control devices and methods used in industry for the control and transmission of information pertaining to process variables. This study includes an introduction to instrumentation and control mathematics. This course also provides instruction in the fundamental concepts of pressure, level, flow, temperature, and analyticals. 
CONTACT/CREDIT HOURS 

Theory Credit Hours  
  

2 hours
Lab Credit Hours



1 hour  

Total Credit Hours 



3 hours
NOTE: Theory credit hours are a 1:1 contact to credit ratio.  Colleges may schedule lab hours as manipulative (3:1 contact to credit hour ratio) or experimental (2:1 contact to credit hour ratio).

PREREQUISITE COURSES 
As determined by college.
CO-REQUISITE COURSES 
As determined by college.
PROFESSIONAL COMPETENCIES

· Comprehend the basic principles of process control 
· Comprehend pressure in a process control loop.
· Comprehend temperature in a process control loop.
· Comprehend level measurement in a process control loop.
· Comprehend flow measurement in a process control loop.
· Comprehend analytical measurements in process controls.
· Read and interpret block diagrams and instrument drawings.
INSTRUCTIONAL GOALS

· Cognitive – Comprehend principles and concepts related to process control and instrumentation.
· Psychomotor – Apply principles of process control and instrumentation.
· Affective – Value the importance of adhering to policy and procedures related to process control and instrumentation.
STUDENT OBJECTIVES

Condition Statement:  Unless otherwise indicated, evaluation of student’s attainment of objectives is based on knowledge gained from this course.  Specifications may be in the form of, but not limited to, cognitive skills diagnostic instruments, manufacturer’s specifications, technical orders, regulations, national and state codes, certification agencies, locally developed lab/clinical assignments, or any combination of specifications.

STUDENT LEARNING OUTCOMES
	MODULE A – INTRODUCTION TO PROCESS CONTROL

	MODULE DESCRIPTION – The purpose of this module is to teach the students to comprehend the basic principles of process control.  Topics include safety, terms, concepts, and functions of elements of process control.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	A1.0
Comprehend the basic principles of process control. 

	A1.1    This competency will be measured cognitively.
	2

	LEARNING OBJECTIVES 
	KSA

	A1.1.1
Define various terms associated with process control.

A1.1.2
Explain the concept of the control loop.

A1.1.3
Describe the function of a sensor.

A1.1.4   Describe the function of a transmitter

A1.1.5   Describe the function of a controller.

A1.1.6   Describe the function of a recorder

A1.1.7   Describe the function of a transducer

A1.1.8   Describe the function of a final control element 
A1.1.9
Describe the basic safety rules and practices for industrial process control.
	1
2

2

2

2

2

2

2

2

	MODULE A OUTLINE:
· Safety
· Pressurized piping
· Steam

· Chemicals (toxics and acidics)

· Electrical safety

· Lock-out/tag-out

· Terms

· Process variables

· Set Point

· Range

· Lower range value

· Upper range value

· Span

· Process control loop

· Etc




	MODULE B – PRESSURE MEASUREMENT

	MODULE DESCRIPTION – The purpose of this module is for the student to comprehend pressure in a process control loop.  Topics include pressure definition, conversions, pressure indicators, pressure sensors, and pressure transmitters.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	B1.0
Comprehend pressure in a process control loop.
	B1.1
This competency is measured cognitively.
	3

	LEARNING OBJECTIVES 
	KSA

	B1.1.1
Define pressure as force over area.
B1.1.2
Convert different units used in pressure measurement.

B1.1.3
Identify and describe the operation of pressure indicators.

B1.1.4
Identify and describe the operation of a pressure sensors.
B1.1.5
Identify and describe the operation of pressure transmitters.


	1
2

3

3

3

	MODULE B OUTLINE:
· Pressure defined
· Pressure converted

· Pressure sensors
· Bourdon tubes

· Bellows 

· Capacitive and inductive pressure sensors
· Pressure indicators
· Manometers

· Gauges

· Pressure transmitters

· Electrical
· Pneumatic


	MODULE C – TEMPERATURE MEASUREMENT

	MODULE DESCRIPTION – The purpose of this module is for the student to comprehend temperature in a process control loop.  Topics include temperature measurement, conversions, temperature indicators, temperature sensors, and temperature transmitters.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	C1.0
Comprehend temperature in a process control loop.
	C1.1
This competency is measured cognitively.
	3

	LEARNING OBJECTIVES 
	KSA

	C1.1.1
Define temperature as a measurement of kinetic energy.

C1.1.2
Define the concept and measurement of latent heat.

C1.1.3
Convert different units used in temperature measurement.

C1.1.4
Identify and describe the operation of temperature indicators.

C1.1.5
Identify and describe the operation of a temperature sensors.

C1.1.6
Identify and describe the operation of temperature transmitters.



	1
2

2

3

3

3

	MODULE C OUTLINE:
· Temperature defined

· Temperature converted

· Temperature sensors

· Bimetal
· Thermometer 

· Resistance Thermal Device (RTD)
· Thermocouple

· Thermistor

· Filled system

· Temperature indicators

· Temperature Gauges

· Thermistats

· Thermometer

· Temperature transmitters

· Electrical

· Pneumatic


	MODULE D – LEVEL MEASUREMENT

	MODULE DESCRIPTION – The purpose of this module is for the student to comprehend level measurement in a process control loop.  Topics include defining levels, level indicators, level sensors, and level transmitters.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	D1.0
Comprehend level measurement in a process control loop.
	D1.1
This competency is measured cognitively.
	3

	LEARNING OBJECTIVES 
	KSA

	D1.1.1
Define fluid level measurement in process control systems.

D1.1.2
Differentiate between depth and height used in level measurement.

D1.1.3
Identify and describe the operation of level indicators.

D1.1.4
Identify and describe the operation of a level sensors.

D1.1.5
Identify and describe the operation of level transmitters.



	1
3

3

3

3

	MODULE D OUTLINE:
· Level defined

· Level measured using pressure
· Level sensors

· Float switch
· Sight glass 

· Tape gauge
· Displacer

· Nuclear devices

· Radar and sonar devices

· Capacitance

· Level indicators

· Sight glass

· Level transmitters

· Electrical
· Pneumatic
· Various uses of Differential Pressure (DP) cells




	MODULE E – FLOW MEASUREMENT

	MODULE DESCRIPTION – The purpose of this module is for the student to comprehend flow measurement in a process control loop.  Topics include fluid flow measurement definition, flow indicators, flow sensors, and flow transmitters.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	E1.0
Comprehend flow measurement in a process control loop.
	E1.1
This competency is measured cognitively.
	3

	LEARNING OBJECTIVES 
	KSA

	E1.1.1
Define fluid flow measurement in process control systems.

E1.1.2
Differentiate between laminar and turbulent flow measurement.

E1.1.3
Identify and describe the operation of flow indicators.

E1.1.4
Identify and describe the operation of a flow sensors.

E1.1.5
Identify and describe the operation of flow transmitters.



	1
3

3

3

3

	MODULE E OUTLINE:
· Flow defined

· Flow measured using differential pressure

· Flow sensors

· Flow switch

· Sight glass 

· Turbine meter
· Rotometer
· Nuclear devices

· Orifice plate 
· Venturi tube
· Flow nozzle

· Pitot tube

· Electromagnetic meter (Magmeter)

· Mass flow meter

· Flow indicators

· Sight glass

· Rotometer
· Flow transmitters

· Electrical

· Pneumatic

· Various uses of Differential Pressure (DP) cells




	MODULE F – ANALYTICALS

	MODULE DESCRIPTION – The purpose of this module is for the student to comprehend analytical measurements in process controls.  Topics include analytical measurements for environmental, economic, and production purposes.  Incentives for analytical measurement will also be looked at as well as analytical indicators, sensors, and transmitters.

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	F1.0
Comprehend analytical measurements in process controls.
	F1.1
This competency is measured cognitively.
	3

	LEARNING OBJECTIVES 
	KSA

	F1.1.1
Define various analytical measurements.

F1.1.2
Differentiate between environmental, economic, and production incentives for analytical measurement.

F1.1.3
Identify and describe the uses of analytical indicators.

F1.1.4
Identify and describe the uses of analytical sensors.

F1.1.5
Identify and describe the uses of analytical transmitters.



	1
3

3

3

3



	MODULE F OUTLINE:
· Analytical measurements for environmental purposes
· Analytical measurements for economic purposes

· Analytical measurements for production purposes

· Analytical sensors

· Combustion
· CO2 
· O2
· CO

· CH4
· Chemical properties
· pH

· ORP
· Conductivity
· Optical measurement
· Color

· Turbidity

· Opacity

· Chromatography

· Spectrometry

· Mass spectrometry
· Carbon Analyzers
· Monitors
· Personnel

· Area

· Unit or plant boundaries
· Analytical transmitters




	MODULE G – PROCESS INSTRUMENT DIAGRAMS AND DRAWINGS

	MODULE DESCRIPTION – The purpose of this module is to teach the students to read and interpret block diagrams and instrument drawings.  Topics include block diagrams, instrument tag fundamentals, interpreting tags, P & ID drawing, and loop sheet diagram drawing. 

	PROFESSIONAL COMPETENCIES
	PERFORMANCE OBJECTIVES
	KSA

	G1.0
Read and interpret block diagrams and instrument drawings. 
	G1.1
Draw a block diagram of a process system.
	2

	
	G1.2
Identify type and location of device by tag.
	2

	
	G1.3   Draw a Piping and Instrumentation Diagram 
	2

	
	G1.4  Draw a Loop Sheet Diagram
	2

	LEARNING OBJECTIVES 
	KSA

	G1.1.1
Explain the function of a block diagram.

G1.1.2
Explain the types of lines in a block diagram.

G1.1.3
Explain instrument tag numbers.


G1.1.4
Explain the format of the instrument balloon.

G1.1.5
Identify the various instrumentation symbols.

G1.1.6
Explain the function of a Piping and Instrumentation drawing (P&ID).
G1.1.7
Explain the function of a loop sheet.
	2
2

2

2

2

2

2

	G1.2.1
Describe the information contained on an instrument tag and how it is used.

G1.2.2
Explain the different types of tags and their meanings.
	2
2

	MODULE G OUTLINE:
· Block diagrams

· Function

· Lines

· Balloons

· Symbols

· Instrument tag fundamentals

· Types of instrument functions
· Identify loop numbers

· Location of devices

· P & ID
· Rough sketch

· Equipment list

· Final draft
· Loop sheet


LEARNING OUTCOMES Table of specifications

The table below identifies the percentage of learning objectives for each module.  Instructors should develop sufficient numbers of test items at the appropriate level of evaluation.  
	
	Limited Knowledge and Proficiency
	Moderate Knowledge and Proficiency
	Advanced Knowledge and Proficiency
	Superior Knowledge and Proficiency

	
	1
	2
	3
	4

	Module A
	12%
	88%
	
	

	Module B
	20%
	20%
	60%
	

	Module C
	17%
	33%
	50%
	

	Module D
	20%
	
	80%
	

	Module E
	20%
	
	80%
	

	Module F
	20%
	
	80%
	

	Module G
	
	100%
	
	


	Learner’s Knowledge, Skills and Abilities

	Indicator
	Key Terms
	Description

	1
	Limited Knowledge and Proficiency
	· Identifies basic facts and terms about the subject or competency.

· Performs simple tasks associated with the competency.  Needs to be told or shown how to do most tasks.  

· Requires close supervision.

	2
	Moderate Knowledge and Proficiency
	· Identifies relationship of basic facts and states general principles and can determine step-by-step procedures for doing the competency.

· Performs most parts of the competency.  Needs help only on hardest parts.  

· Requires limited supervision.

	3
	Advanced Knowledge and Proficiency
	· Analyzes facts and principles and draws conclusions about the subject to include why and when the competency must be done and why each step is needed.  Can predict outcomes.

· Performs all parts of the competency.  Needs only a spot check of completed work.  

· Requires little or no direct supervision.

	4
	Superior Knowledge and Proficiency
	· Can evaluate conditions and make appropriate decisions as related to resolving problems. 

· Performs competency quickly and accurately with no direct supervision and is able to instruct and supervise others.  


[image: image1.jpg]Teaching and Learning Continuum

Teacher Contribution

Close Support

Receiving

Moderate Support

Accepting

Consulting

Internalizing

Synergy,

Synthesizing

Pedagogy

Mesagogy

Andragogy

Heutagogy

——Active
Independent

Learner Contribution ——— ¥




IET 108, ILT 108, IST 210





Introduction to Instrumentation and Process Control 





Plan of Instruction





Effective Date:  Fall 2010  						Version Number: 2010-1  








Alabama Community College System

Copyright© 2010

All Rights Reserved
PAGE  
2
ACCS Copyright© 2010

All Rights Reserved

